| Project Name |  |  |  |
| --- | --- | --- | --- |
| ALL |  |  |  |
| Revision |  | Release Date | Checksum |
| BMC | OLD: N/A NEW: N/A | N/A | N/A |
| SMT | OLD: 12.61.37 NEW: 12.61.39 | 2025/07/02 | 87D5, 80DD, 7EDD, C09D |
| ZIP | OLD: N/A NEW: N/A | N/A | N/A |

| DOS Utilities Version |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BMC Version | FRU.exe | SENSEL.exe | KCS.exe | bmcfwud.exe | sdrfru.exe |
| 1.00 ~ now | 0.44 | 0.70 | 1.0 | 1.7.0.141 | 1.24.1.92 |

GPU Card Support

INTEL: INTEL MIC 225W: 5110P INTEL MIC 245W INTEL MIC 270W: 31S1P INTEL MIC 300W: 3120P, 7120P NVIDIA: M1060, M2090, M2070/2070A, M2075, M2050 K1, K2, K10, K20, K20X, K40/40M, K80, K340, K4000, K5200, M30, M60 M40, M5000, M6000, M4 RTX3090, RTX A6000, RTX8000 A40, A10, A100 AMD: S9150, S7150, W7100 MI50, MI100 Qualcomm: AI100

| Software Component Version |  |  |  |
| --- | --- | --- | --- |
| Component Name | Version | SVN number | Commit Date |
| GIGABYTE Kernel | 12.61.39 | 10304 | 2025-06-24 |
| Redfish | 1.8 | 10313 | 2025-07-01 |
| Web UI | N/A |  |  |
| Raid Manager | N/A |  |  |
| Socflash | 1.22.07 | r113 | 2021-04-06 |
| Gigaflash | 2.0.16 | Linux/windows : r195 X86_EFI : r194 ARM_EFI : r193 | 2025-01-24 |
| EC | 01.19 | 8363 | 2022-12-21 |
| SKU | 1745577908 | 10235 | 2025-04-22 |

F –Feature, B – Bug fixed

| No. |  | Type | Issue Description |  |  |  |  | Note |  | P |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12.61.39 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Update new pci devices support |  |  |  |  |  |  |
| 2 | F |  |  | [defect] Fix the backup/restore function that does not retain alert information. |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Remove SSH service. |  |  |  |  |  |  |
| 4 | B |  |  | [redfish][defect] Resolve the NTP does not synchronize between web and Redfish. |  |  |  |  |  |  |
| 5 | B |  |  | [redfish][defect] Resolve the issue that Redfish cannot patch the NTP server. |  |  |  |  |  |  |
| 12.61.37 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Do not block port 80 when disabling the firewall. |  |  |  |  |  |  |
| 2 | F |  |  | [defect] Fix the issue where the 'urlError' function is undefined. |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Update the error message for firmware image verification. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] add new pci devices support |  |  |  |  |  |  |
| 12.61.35 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] upload newest pci_devices.json |  |  |  |  |  |  |
| 2 | F |  |  | [feature] P_VBAT sdr thersold Lower Non-Critical 2.5V and Lower Critical 2.3V |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Add snmp service restart. |  |  |  |  |  |  |
| 4 | F |  |  | [redfish][merge] CVE-2024-54085 Removed condition to get the Host IP from request header/https://git.ami.com/core/lts/dev/ext-packs/technologypack/redfish/rtp-core/-/merge_requests/2078 |  |  |  |  |  |  |
| 5 | F |  |  | [redfish][defect] fix POST trigger and metric report will be show error message |  |  |  |  |  |  |
| 12.61.33 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature][BMC] Add a new SDR to support P_VDDCR sensor |  |  |  |  |  |  |
| 12.61.31 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Adjust the threshold value for VR_VOUT_CPU_ROME/ Milan |  |  |  |  |  |  |
| 12.61.29 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Modify PSU sensor type in log event message follow IPMI spec. |  |  |  |  |  |  |
| 2 | B |  |  | [Defect] Fix BMC becomes abnormal after backup/restore configuration with the different lan mode./ |  |  |  |  |  |  |
| 3 | F |  |  | [Feature] Support RTX4000_Ada for thermal solution. |  |  |  |  |  |  |
| 12.61.27 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Fix the upload SSL certificate issue. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Avoid not loading the unique password when restoring the default configuration. |  |  |  |  |  |  |
| 3 | F |  |  | [feature] The new feature allows remote media to mount CD/DVD ISOs through HTTP support for dynamic port numbers. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] Update Remote Media page HTTP port number help message. |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Modify the OEM ipmi command: get PowerCapacityWatts function |  |  |  |  |  |  |
| 6 | F |  |  | [feature] Hide SSH-related features on Web UI. |  |  |  |  |  |  |
| 7 | F |  |  | [feature] Merge add ECC Asserted/Deasserted SEL massage to email’s format from V13 code |  |  |  |  |  |  |
| 8 | F |  |  | [feature] Modify the sensor type ("0x0C") sensor’s name to "Memory". |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Merge RC commit r6767 to Trunk. |  |  |  |  |  |  |
| 12.61.25 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Do not restart the IPMI service when BMC is in flash mode. |  |  |  |  |  |  |
| 2 | B |  |  | [feature] Merge AMI Vulnerabilities for CVE-2023-34345, CVE-2023-34344, CVE-2023-34342. |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Adjust iptables blocking rules to prevent blocking a specific IP address when attempting to block all traffic. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] Merge v13 SSL Certificates string inputs rule to v12. |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Display ipv6_gateway field and get the correct ipv6_gateway value. |  |  |  |  |  |  |
| 6 | B |  |  | [redfish][defect] Fix PATCH ReplaceCertificate return 500 error. |  |  |  |  |  |  |
| 7 | B |  |  | [redfish][defect] Fix SMTP error that webui can not setting. |  |  |  |  |  |  |
| 8 | B |  |  | [redfish][defect] Modify the issue of certificate error caused by date value (1-9). |  |  |  |  |  |  |
| 9 | F |  |  | [redfish][feature] Add PowerRestorePolicy for redfish. |  |  |  |  |  |  |
| 10 | B |  |  | [redfish][defect] Modify MediaStatus and EnableRMedia without synchronization problem on redfish. |  |  |  |  |  |  |
| 12.61.23 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add a new mechanism to load FAN profile robustly during system booting up. |  |  |  |  |  |  |
| 2 | B |  |  | [redfish][defect] Fix HTTP mount path issue for VirtualMedia ISO format. |  |  |  |  |  |  |
| 3 | B |  |  | [redfish] [defect] Solved the inventory is empty for specific BIOS inventory data. |  |  |  |  |  |  |
| 4 | F |  |  | [redfish][feature] Support SMTP configuration synchronization between IPMI and Redfish./ |  |  |  |  |  |  |
| 5 | B |  |  | [redfish][defect] Solved the unique password becomes default password of Redfish when resetting BMC configuration to default. |  |  |  |  |  |  |
| 6 | B |  |  | [redfish][defect] fix PATCH ReplaceCertificate return 500 error |  |  |  |  |  |  |
| 12.61.21 |  |  |  |  |  |  |  |  |  | P3 |
| 2 | F |  |  | [feature] modify pop-up messages. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] fix webui add port rule setting error. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] 1.some flash type need trigger keep alive thread. default not trigger thread. |  |  |  |  |  |  |
| 5 | F |  |  | [revert] trunk r9556:[feature] 1.some flash type need trigger keep alive thread. default not trigger thread. |  |  |  |  |  |  |
| 6 | F |  |  | [feature] some flash type need trigger keep alive thread. default not trigger thread. |  |  |  |  |  |  |
| 7 | B |  |  | Merged revision(s) 9566 from trunk/V12.2_20191206_rc:/[defect] Force stop keepalive function when flash firmware. |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add MBVerCNBH54 define |  |  |  |  |  |  |
| 9 | B |  |  | [defect] fix can not setting domain name with TLD length is 7 on AD page |  |  |  |  |  |  |
| 10 | F |  |  | [feature] upload newest pci_devices.json |  |  |  |  |  |  |
| 11 | F |  |  | [feature] upload newest pci_devices.json |  |  |  |  |  |  |
| 12 | F |  |  | [Merge] Add sel event-assertity. |  |  |  |  |  |  |
| 13 | F |  |  | [feature] check set gpio low to get second image and can update SCP both image |  |  |  |  |  |  |
| 14 | F |  |  | [sku][BMC] 1.add sku/devmap for R282-Z93-SW-MH-003 based on R282-Z93-00 2.add CRA4960 & CMT3160 sensor |  |  |  |  |  |  |
| 15 | F |  |  | [sku] 1.remove S253-JF0-B9 sku /devmap 2.modify S253-EF0-00 devmap |  |  |  |  |  |  |
| 16 | F |  |  | [sku][CMC] add sku/devmap for H263-S62-IAW1-C40 based on H263-S62-IAW1-C40-ES-CGG-002 |  |  |  |  |  |  |
| 17 | F |  |  | [sku][BMC] remove raid sensors for R272-Z31-OB1 |  |  |  |  |  |  |
| 18 | F |  |  | [sku][CMC] modify NDxx_CPU_DTS to NDxx_CPU_TLIMIT for H263-V60-AAW1-000 |  |  |  |  |  |  |
| 19 | F |  |  | [sku] remove PSU2 sensors for S253-JF0-AAH1-B90 |  |  |  |  |  |  |
| 20 | F |  |  | [sku] add sku/devmap for TO24-JD2-00 / TO24-JD3-00 based on TO24-JD0-00 |  |  |  |  |  |  |
| 21 | F |  |  | [sku][BMC] modify M.2 and lan sensors for R282-Z93-SW-MH-003 |  |  |  |  |  |  |
| 22 | F |  |  | [sku][CMC] add sku/devmap for H262-P61-00 based on H262-P60-00 |  |  |  |  |  |  |
| 23 | F |  |  | [fanprofile] commit fanprofile R282_Z93_SW.json by kate.kung |  |  |  |  |  |  |
| 24 | F |  |  | [fanprofile] commit fanprofile G482_Z53.json by mike.lin |  |  |  |  |  |  |
| 25 | F |  |  | [fanprofile] commit fanprofile S253_JF0_AAH1_B90.json by lisa.lin |  |  |  |  |  |  |
| 26 | F |  |  | [sku][BMC] add SLOTx_TEMP for R162-ZA1-00 / R162-ZA1-ES-NorthernData-001 |  |  |  |  |  |  |
| 27 | F |  |  | [sku][BMC] modify SLOTx_TEMP for R162-ZA1-00 / R162-ZA1-ES-NorthernData-001 |  |  |  |  |  |  |
| 28 | F |  |  | [sku][CMC] add sku/devmap for CNBH54-00 |  |  |  |  |  |  |
| 29 | F |  |  | [sku][BMC] add sku/devmap for R162-Z13-CD4 |  |  |  |  |  |  |
| 30 | F |  |  | [sku][CMC] Enable cold redundant for H263-V60-AAW1-000_CMC |  |  |  |  |  |  |
| 31 | F |  |  | [sku][CMC] rename NDxx_OCP_TEMP to NDxx_SLOT_TEMP for CNBH34/CNBH54 |  |  |  |  |  |  |
| 32 | F |  |  | [fanprofile] commit fanprofile H273-Z82-AA51-ZB0_CMC.json by marc.huang |  |  |  |  |  |  |
| 33 | F |  |  | [sku][BMC] modify SLOT3 sensors for S472-Z30-00 |  |  |  |  |  |  |
| 34 | F |  |  | [sku] uplaod S472_Z30_ES.json for new S472-Z30-ES-ThomasKrenn-002. S472_Z30_ES.json is copy from S472_Z30.json |  |  |  |  |  |  |
| 35 | F |  |  | [fanprofile] commit fanprofile S472_Z30.json by lisa.lin |  |  |  |  |  |  |
| 36 | F |  |  | [sku] modify MZ12HDx/sku.h.give R162-Z13-CD4 own fan profile.and new fan profile copy from R162.json |  |  |  |  |  |  |
| 37 | F |  |  | [fanprofile] commit fanprofile R162_CD4.json by henry.tang |  |  |  |  |  |  |
| 38 | F |  |  | [sku][CMC] remove fan sensors for H273-Z82-IAW1-000_CMC |  |  |  |  |  |  |
| 39 | F |  |  | [fanprofile] commit fanprofile R162_ZA1.json by tim.kuo |  |  |  |  |  |  |
| 40 | F |  |  | [sku][CMC] add sku/devmap of H273-Z81-LAW1-A60-SW-001 based on H273-Z81-LAW1-000 |  |  |  |  |  |  |
| 41 | F |  |  | [sku] can check the CPU0 status correctly |  |  |  |  |  |  |
| 42 | F |  |  | [sku][CMC] modify NDx_PWR for H263-V11-LAW1-000 |  |  |  |  |  |  |
| 43 | F |  |  | [sku] create W333-X30-ES-NEC-003 base on W331-X30-AA01-ML0 |  |  |  |  |  |  |
| 44 | F |  |  | [fanprofile] commit fanprofile H253-Z10-AAY1-TS0_CMC.json by kate.kung |  |  |  |  |  |  |
| 45 | F |  |  | [sku] add PSU2 status for MX33BS0 |  |  |  |  |  |  |
| 46 | F |  |  | [sku][CMC] modify NDx_CUR for H263-V11-LAW1-000 |  |  |  |  |  |  |
| 47 | B |  |  | [defect] Fixed an issue where sometimes auto fan control is not working correctly. |  |  |  |  |  |  |
| 48 | F |  |  | [feature] update pci.idz file to 2024.02.02 |  |  |  |  |  |  |
| 12.61.19 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Modify display SEL raw data in SMTP email./ |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Merge AMI's patch: [LTS-V12] Web application validate untrusted input to prevent persistent cross site scripting/https://git.ami.com/core/lts/dev/core/common/-/merge_requests/3336 |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Remove HTTP option when apply mount hard disk in general setting page |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Remove Additional Code. |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Modify FRU configure get/set command./ |  |  |  |  |  |  |
| 6 | F |  |  | [revert] r9453/ |  |  |  |  |  |  |
| 7 | F |  |  | [feature] Modify FRU configure get/set command./ |  |  |  |  |  |  |
| 8 | F |  |  | [defect] add MBVerCNBH42 define |  |  |  |  |  |  |
| 9 | F |  |  | [defect] Merge AMI's patch: [LTS-V12]Fix FQDN validation/https://git.ami.com/core/lts/dev/core/common/-/merge_requests/4171 |  |  |  |  |  |  |
| 10 | F |  |  | [feature] add MBVerCNBH52 define |  |  |  |  |  |  |
| 11 | B |  |  | [revert] Temporary remove clear sku function for Remote Media page bug. |  |  |  |  |  |  |
| 12 | F |  |  | [revert] Add back clear sku function. |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Fix Remote Media page Image Name select menu display error. |  |  |  |  |  |  |
| 14 | F |  |  | [feature] Dynamically hide GPU Inventory pages |  |  |  |  |  |  |
| 15 | B |  |  | [defect][CMC] fix can not find PSU2_FRU info |  |  |  |  |  |  |
| 16 | F |  |  | [fanprofile] commit fanprofile CNBH0T.json by austin.chen |  |  |  |  |  |  |
| 17 | F |  |  | [sku][CMC] Remove DIMM TEMP because BMC won't read DIMM temp |  |  |  |  |  |  |
| 18 | F |  |  | [fanprofile] commit fanprofile H263-V60-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 19 | F |  |  | [sku][BMC] add sku/devmap of R282-Z94-ES-PTGlobalMileniaTeknologi-001 based on R282-Z94-00 |  |  |  |  |  |  |
| 20 | F |  |  | [sku][BMC] add RAID_INFO for R282-Z94-ES-PTGlobalMileniaTeknologi-001 |  |  |  |  |  |  |
| 21 | F |  |  | [sku][BMC] add devmap G262-ZO0-SW-MH-001 |  |  |  |  |  |  |
| 22 | F |  |  | [feature][CMC] Modify midboard OCP_TEMP sensor change to registar 0x90/ |  |  |  |  |  |  |
| 23 | F |  |  | [feature][CMC] Modify NDxx_PWR sensor follow H273's SDR for H253 platform./ |  |  |  |  |  |  |
| 24 | F |  |  | [sku][CMC] Modify nvme sensors name for H233-Z80-AAN1-000, H233-Z80-AAW1-000, H233-Z80-AAN1-000 |  |  |  |  |  |  |
| 25 | F |  |  | [sku] add TO23-JD1-ZB0 devmap |  |  |  |  |  |  |
| 26 | F |  |  | [sku][CMC] Modify CMC sku/devmap H273-Z84-AAW1-000_CMC/H273-Z85-AAW1-000_CMC based on H273-Z80-AAW1-000_CMC/H273-Z82-AAW1-000_CMC |  |  |  |  |  |  |
| 27 | B |  |  | [feature] update the GPU sensor |  |  |  |  |  |  |
| 28 | F |  |  | [feature] update the GPU slot accroding webui menu gpu number |  |  |  |  |  |  |
| 29 | F |  |  | [sku][CMC] 1.Add NDx_GPU_TLIMIT for get BMC gpu tlimit 2.Modify CPU_DTS to CPU_TLIMIT 3.Modify ND0x to NDx |  |  |  |  |  |  |
| 30 | F |  |  | [sku][CMC] Modify P_5V scan timing for H223 series and CHBN0S-00 |  |  |  |  |  |  |
| 31 | F |  |  | [sku] create H273-Z82-AA51-ZB0_CMC devmap by link to H273-Z82-AAN1_CMC devmap |  |  |  |  |  |  |
| 32 | F |  |  | [sku] 1.according request form to modify CNBH42 series 2. add CNBH42 define |  |  |  |  |  |  |
| 33 | B |  |  | [sku][CMC] fix H273-P80-AAN1 can not find PSU2_FRU info |  |  |  |  |  |  |
| 34 | F |  |  | [sku][CMC] add CMC sku/devmap for H263-S62-IAW1-C40-ES-CGG-002 based on H263-S64-IAW1-000 |  |  |  |  |  |  |
| 35 | F |  |  | [sku][CMC] modify NVME addr for H223-V10-AAW1-000 |  |  |  |  |  |  |
| 36 | F |  |  | [sku][CMC] 1.add sku/devmap of CNBH52-00 based on H263-S66-AAW1-000 2.add CNBH52 define |  |  |  |  |  |  |
| 37 | F |  |  | [sku] add sku/devmap of S253-JF0-AAH1-B90 based on S253-JF0-AAH1-000 |  |  |  |  |  |  |
| 38 | F |  |  | [sku] modify PSU sensors for S253-JF0-AAH1-000 / S253-JF0-AAH1-B90 / S253-JF0-B9 |  |  |  |  |  |  |
| 12.61.17 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Merge AMI Vulnerabilities for CVE-2023-34473, CVE-2023-34472, CVE-2023-34471, CVE-2023-34338, CVE-2023-34337, CVE-2023-34330, CVE-2023-34329, CVE-2023-28863, CVE-2022-40242, CVE-2022-40258, CVE-2022-26872 |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Add clear external SKU function in SKU update page. |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Workaround for snmp config from old version BMC./ |  |  |  |  |  |  |
| 4 | F |  |  | [feature] For specific customer request, to keep new threshold value after BMC power reset. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Fixed the issue where KCS would repeatedly the same session id command./ |  |  |  |  |  |  |
| 6 | F |  |  | [feature] Add get BIOS1/2 BMC1/2 version use redfish command./ |  |  |  |  |  |  |
| 7 | F |  |  | [feature] Change PSU information and let MFR_ID length to 64. |  |  |  |  |  |  |
| 8 | F |  |  | [feature] update redfish PSU info when detect sensor |  |  |  |  |  |  |
| 9 | F |  |  | [redfish] Add SKU item to display SKU version of /redifsh/v1/Systems/Self. |  |  |  |  |  |  |
| 10 | F |  |  | [feature] Syncronize Chassis serial number from BMC eeprom directly |  |  |  |  |  |  |
| 11 | F |  |  | [feature] Keep all information from FRU0 after SKU update |  |  |  |  |  |  |
| 12 | F |  |  | [feature] Make psu information from sensors can easy mapping to redfish PowerSupplies information. |  |  |  |  |  |  |
| 12.61.15 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Support overheat auto power off by thresholds for T182-Z60/ZL0. |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Merge AMI_MegaRAC_SPx_KVM_Lighttpd_Videocap_Vulnerabilities for CVE-2023-37293 CVE-2023-37297 CVE-2023-37296 CVE-2023-37295 CVE-2023-37294 CVE-2023-3043 CVE-2023-34333 CVE-2023-34332 |  |  |  |  |  |  |
| 3 | B |  |  | [defect] fix PSU SERIAL/MODEL name are not correct. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] sync V13 code to V12 to update read IPV4 and MAC info function |  |  |  |  |  |  |
| 12.61.13 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Delete overheat auto power off for T182-Z60/ZL0. |  |  |  |  |  |  |
| 12.61.11 |  |  |  |  |  |  |  |  |  |  |
| 1 | F |  |  | [feature] Add support of overheat auto power off and read adm1278 pin and iout for T182-ZL0. |  |  |  |  |  |  |
| 12.61.09 |  |  |  |  |  |  |  |  |  |  |
| 1 | F |  |  | [feature] Add support read adm1278 pin and iout for T182-Z60. |  |  |  |  |  |  |
| 12.61.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add support of overheat auto power off for T182-Z60. |  |  |  |  |  |  |
| 12.61.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect][CMC] Fix all node power loading will restore when PSU alert. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] remove redfish Dre function |  |  |  |  |  |  |
| 3 | B |  |  | [defect] modify CMC get BMC ip/mac cmd to fix cmc can not read bmc ip/mac when bmc node in Dedicated mode |  |  |  |  |  |  |
| 4 | B |  |  | [defect]Hide HPM Firmware update support for CMC |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Fix rtl8370 get ip fail when change dhcp speed. |  |  |  |  |  |  |
| 6 | B |  |  | [defect] fix BMC cannot get CMC INLET_TEMP |  |  |  |  |  |  |
| 7 | F |  |  | [feature] add CMC show node IPv6 ifno and modfiy node_bmc.c to use oem cmd to send each node and cmc ipv6 info to each node |  |  |  |  |  |  |
| 8 | B |  |  | Merged revision(s) 9092 from trunk/V12.2_20191206:/[feature] Add MI200 GPU power status sensor driver. |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Dynamically change webui reset action text |  |  |  |  |  |  |
| 10 | B |  |  | [defect] add new device id HGX_H100 to pci_devices.json |  |  |  |  |  |  |
| 11 | B |  |  | [defect]CMC M lan ip did not change when change the DHCP server to another one. |  |  |  |  |  |  |
| 12 | B |  |  | [defect][CMC] Fix set time is incorrect by webUI on CMC platform./ |  |  |  |  |  |  |
| 13 | F |  |  | [feature] Add CMC Updated Type and show CMC information in Firmware Update for CMC |  |  |  |  |  |  |
| 14 | B |  |  | [defect][CMC] Add CNBH40, CNBH41 to IPM support list./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect][CMC] Fix get node power status are incorrect at NDxx sensor./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect][CMC] Fix ND0x_Inlet_Temp will log low critical assert for H223./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect][CMC] When get midboard HDD status must disable SGPIO(GPIOJ0~J3) for CNBH40 and CNBH41./ |  |  |  |  |  |  |
| 18 | F |  |  | [feature] add new pci device id V70 into pci_devices.json |  |  |  |  |  |  |
| 19 | B |  |  | [defect] fix CMC will send wrong psu status when eplist_read_cache dont get data.let CMC send invalid status info to bmc |  |  |  |  |  |  |
| 20 | F |  |  | [feature] add CMC sku/devmap for H263-S63-AAW1-ZB0-SW-015 based on H263-S63-AAW1-000 |  |  |  |  |  |  |
| 21 | F |  |  | [feature] add CMC sku/devmap of H263-S66-AAW1-000 / H273-Z84-AAW1-000 based on H263-S65-AAW1-000 / H273-Z83-AAW1-000 |  |  |  |  |  |  |
| 22 | F |  |  | [feature][CMC] Add new SKU for H262-002-H3_CMC and H262-003-H3_CMC/ |  |  |  |  |  |  |
| 23 | F |  |  | [feature] Add MI200 GPU power status sensor. |  |  |  |  |  |  |
| 24 | F |  |  | [feature] add CMC sku/devmap of H263-S67-AAW1-000 / H273-Z85-AAW1-000 based on H263-S66-AAW1-000 / H273-Z84-AAW1-000 |  |  |  |  |  |  |
| 25 | B |  |  | [defect] Enable cold redundant for H263-S60 / S61 / S62 / S63 / S65 |  |  |  |  |  |  |
| 26 | B |  |  | [defect] add DS3231M for 3rd generation 2U4N CMC |  |  |  |  |  |  |
| 27 | B |  |  | [defect] need enable CR function before CMC follow node BMC cold redundant |  |  |  |  |  |  |
| 28 | F |  |  | [feature] add devmap of H223 H263 |  |  |  |  |  |  |
| 29 | F |  |  | [feature] add devmap of H263-S62-LBW1-000_CMC.xml |  |  |  |  |  |  |
| 30 | B |  |  | [defect] commit fanprofile H223-S10-ABP1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 31 | F |  |  | [feature] Add RTC sensor on TO24-JDx / |  |  |  |  |  |  |
| 32 | F |  |  | [feature] add CMC sku/devmap of H263-V11-LAW1-000 / H223-V10-AAW1-000 based on H263-V11-AAW1-000 |  |  |  |  |  |  |
| 33 | B |  |  | [defect][CMC] [defect][CMC] Change upper critical and upper non-critical in NDxx_CUR sensor for CNBH40./ |  |  |  |  |  |  |
| 34 | B |  |  | Add pure code |  |  |  |  |  |  |
| 35 | B |  |  | [defect] remove Dre function |  |  |  |  |  |  |
| 36 | B |  |  | Add pure code for ldap./ |  |  |  |  |  |  |
| 37 | B |  |  | [redfish] Let 'SSL' encryption typ not need to give certificate key when setting general LDAP configuration by redfish./ |  |  |  |  |  |  |
| 38 | B |  |  | [defect] Let snmp can get correct sensor id. |  |  |  |  |  |  |
| 12.61.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] add H100_400W device id into pci_devices.json |  |  |  |  |  |  |
| 2 | B |  |  | [defect] add INLET_TEMP_2U4N SDR |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Adjust web maxtimeout value./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] update pci_devices.json to add new device L40S |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Merge ami's patch: Addressed stack overflow and heap memory corruption in adviserd,Fix stack overflow in singleport plugin./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Merge ami's patch: Added fix to return error if request length size exceeds the expected limit |  |  |  |  |  |  |
| 7 | B |  |  | [defect] create new devmaps/MX33/R112-X30-00.xml and modify sku.h for this. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] remove NDxx_M2_TEMP for H273-Z82-IAW1-000 CMC devmap |  |  |  |  |  |  |
| 9 | B |  |  | [defect] 1.modify P_3V3_SENSOR sensor for TO24 series 2. remove Expander_EP2, Expander_EP4, Expander_921 sensors for TO24-JD0-00 |  |  |  |  |  |  |
| 10 | B |  |  | [defect][CMC] Change read BPB CPLD version from I2C. |  |  |  |  |  |  |
| 11 | F |  |  | [feature] add devmap of R282-Z95-SW-IT-003 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile H263-S65-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 13 | B |  |  | [defect] commit fanprofile H263-S65-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 14 | B |  |  | [defect] modify G492-ZD2-00.xml GPU mapping |  |  |  |  |  |  |
| 15 | B |  |  | [defect] CMC inlet_temp sensor use INLET_TEMP_2U4N SDR |  |  |  |  |  |  |
| 16 | B |  |  | [defect] update INLET_TEMP sdr |  |  |  |  |  |  |
| 17 | B |  |  | [defect] commit fanprofile H252-3C0-00_CMC.json by marc.huang |  |  |  |  |  |  |
| 18 | F |  |  | [feature] add CMC sku/devmap for H273-Z83-ABN1/ABW1-000 based on H273-Z83-AAN1/AAW1-000 |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Merge ami's patch:Dynamic SSL Certificate Generation Script Changes |  |  |  |  |  |  |
| 12.61.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] add GPU Device ID A800_80G to pci_devices.json |  |  |  |  |  |  |
| 2 | B |  |  | [defect] avoid getting raid info failed when number of logical and physical devices is large |  |  |  |  |  |  |
| 3 | B |  |  | [defect] fix some GPU Inventory info issue/1. nvqual run fail/2. redis memory is full/3. can not mount KIRIN iso/ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Don't reinitialize raid before getting raid bbu info. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] correct build error |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Disable empty field of GPU Inventory list. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Add an ipmi oem cmd to set and get gpio pin direct and data. |  |  |  |  |  |  |
| 8 | B |  |  | [redfish] avoid ipmi get raid timeout |  |  |  |  |  |  |
| 9 | B |  |  | [redfish] Fix init raid hazard after init raid failed. |  |  |  |  |  |  |
| 10 | B |  |  | [defect] remove PSU1_HOTSPOT1/PSU2_HOTSPOT1 sensor for R182-Z92-00./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] commit fanprofile G482_Z50.json by kevin.li |  |  |  |  |  |  |
| 12 | B |  |  | [defect] add fan sensor for H273-Z82-IAW1-000_CMC |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Fix H263-V11-AAW1-000_CMC can not build sku. |  |  |  |  |  |  |
| 14 | B |  |  | [defect][CMC] Get PSU FRU from storage or PMBUS command follow devmap for H223 platform/ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Add build time to SKU name. |  |  |  |  |  |  |
| 16 | B |  |  | [defect][CMC] Set HDD max number to 6, node numbar to 3 for H223 platform. / |  |  |  |  |  |  |
| 17 | B |  |  | [defect] add NDxx_NVMe_TEMP for H263-S64-IAW1-GB0_CMC |  |  |  |  |  |  |
| 18 | B |  |  | [defect][CMC] Fix devmap parser fail for H263-S62-LAN1-000_CMC/ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] add raid_info for G492-PD0-GB |  |  |  |  |  |  |
| 20 | B |  |  | [defect] modify raid_info for G492-PD0-GB |  |  |  |  |  |  |
| 12.60.49 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Merge AMI's patch: Disable the SLP protocol./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Merge AMI's patch: add header like SERVER_ADDR in fcgi to mod_proxy./ |  |  |  |  |  |  |
| 3 | F |  |  | Merged revision(s) 8848 from tags/test_version/12.60/12.60.61:/[feature] Support LAN mode: Failover (eth1,eth0), Dedicated (eth1), and ShareNIC (eth0)./[defect] Fix IP missing issue after switch LAN mode to ShareNIC. (Merge AMI GIT commit 9bd926c8)/[defect] Synchronize LAN configuration when switching LAN modes./[defect] Avoid reserving VLAN IDs on unused LAN interfaces./[feature] Add lan mode file to Network Cfg when doing factory reset and BMC update with preserved configuration./[defect] Workaround for new LAN mode, avoid to use old LAN config after preserve update BMC./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] modify sellog info and webui issue |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add MBVerCNBH41 define |  |  |  |  |  |  |
| 6 | B |  |  | [defect] commit fanprofile G292_Z46.json by bruce.su |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile R282_Z96.json by kate.kung |  |  |  |  |  |  |
| 8 | B |  |  | [defect] commit fanprofile R282_Z93_00.json by kate.kung |  |  |  |  |  |  |
| 9 | B |  |  | [defect] modify ADM1278 rval for CNBH30 |  |  |  |  |  |  |
| 10 | B |  |  | [defect] commit fanprofile RI15-L01-ES-001.json by chester.yeh |  |  |  |  |  |  |
| 11 | F |  |  | [feature] add sku/devmap for G482-Z54-ES-Neuchips-002 based on G482-Z54-00 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 13 | B |  |  | [defect] remove unused sensor for PVT system |  |  |  |  |  |  |
| 14 | F |  |  | [feature] 1.add CMC sku/devmap of H263-S64-IAW1-GB0 2.add H263-S64-IAW1-000_CMC SKU |  |  |  |  |  |  |
| 15 | B |  |  | [defect][CMC] Remove low critical in ND0x_VIN sensors for H223 platform./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] add RAID_INFO for MD72-HB0-00 |  |  |  |  |  |  |
| 17 | B |  |  | [defect][CMC] Change upper critical and upper non-critical in NDxx_CUR sensor for CNBH32 and CNBH34 platform./ |  |  |  |  |  |  |
| 18 | B |  |  | [defect] modify NDxx_OCP_TEMP to NDxx_SLOT_TEMP for H223-S10-AAP1-000_CMC |  |  |  |  |  |  |
| 19 | B |  |  | [defect] restore i2c4 of H262-Z6A-00_CMC |  |  |  |  |  |  |
| 20 | B |  |  | [defect] commit fanprofile G482_Z53.json by kevin.li |  |  |  |  |  |  |
| 21 | F |  |  | [feature] 1.add CNBH41 define 2.add CMC sku/devmap of CNBH41 |  |  |  |  |  |  |
| 22 | B |  |  | [defect] Modify CMC devmap for H263-V10-AAW1-000_CMC/H263-V11-AAW1-000_CMC/H263-V60-AAW1-000_CMC. |  |  |  |  |  |  |
| 23 | B |  |  | [defect] add fan sensor for H263-S64-IAW1-GB0_CMC |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Merge AMI's patch: Get Host IP from X-Server-Addr header./ |  |  |  |  |  |  |
| 12.60.47 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] add GPU Device ID RTX6000_Ada to pci_devices.json |  |  |  |  |  |  |
| 2 | B |  |  | [defect] add ADM1278 current sdr of UC/UNC is close to 30/29 for power cap |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Fix IGSI model use MB devmap after update SKU with model patch./ |  |  |  |  |  |  |
| 4 | B |  |  | Merged revision(s) 6440 from trunk/V12.2_20191206_rc:/[defect] Use PostSKU's devmap first than SKU's devmap when select BMC devmap./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add MBVerCNBH40 define |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Merge AMI's patch: Fix security issue to enforce negotiated intergrity and confidentiality parameter./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile H253-Z10-AAM1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 8 | B |  |  | [defect] commit fanprofile H253-Z10-AAP1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 9 | B |  |  | [defect] commit fanprofile H253-Z10-AAU1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 10 | F |  |  | [feature] add CMC sku/devmap of H253-Z10-AAY1-TS0 |  |  |  |  |  |  |
| 11 | B |  |  | [defect][JBOD] Add BPB switch function when BPB CPLD update for TO21-JS0. / |  |  |  |  |  |  |
| 12 | B |  |  | [defect] add new devmap RI15-L01-ES-Hitachi-001.xml and modify MU92/sku.h for this |  |  |  |  |  |  |
| 13 | B |  |  | [defect] modfiy RI15-L01-ES-Hitachi-001 devmap to add BPB fan into devmap |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile T182_Z70.json by marc.huang |  |  |  |  |  |  |
| 15 | F |  |  | [feature] 1.add CNBH40 define 2.add CMC sku/devmap of CNBH40-00 |  |  |  |  |  |  |
| 16 | B |  |  | [defect] add H262-Z6A and CMC SKU devmap |  |  |  |  |  |  |
| 17 | B |  |  | [defect] add sku/devmap and change GPU current UC/UNC to 30/29 |  |  |  |  |  |  |
| 18 | B |  |  | [revert] revert r8629(BMC / BIOS Restore function) |  |  |  |  |  |  |
| 12.60.45 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Fixed memory leak issue and vin/pout information incorrect issue. |  |  |  |  |  |  |
| 2 | F |  |  | [merge] Adding PBKDF2 password Hash support for Redfish Authentication |  |  |  |  |  |  |
| 3 | B |  |  | [defect][CMC] Fix CMC Power Consumption information does not meet the definition of help./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect][CMC] Fix CMC firmware update does not write support for CPLD./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect][CMC] Hidden BIOS dump when CMC./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] add new device ID : RTX4090 of pci_devices |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Add new API for GbtUtility to upload unprocessed SCP firmware file. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] add rest api to send ipmi raw cmd./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Disable MCTP PCIe function on miniDP project/ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Fix the issue of SSH cannot save. |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Fix error msg [code: 1231] showing when enter video log page. |  |  |  |  |  |  |
| 12 | B |  |  | [defect] add GPU Device ID A2000 to pci_devices.json |  |  |  |  |  |  |
| 13 | B |  |  | [defect] r8285 add second version of openssl |  |  |  |  |  |  |
| 14 | B |  |  | [defect] update the code let trunk version can update the BMC SCP BIOS on ampere system |  |  |  |  |  |  |
| 15 | B |  |  | [defect] add the bin file libcrypto and libssl 1.1 |  |  |  |  |  |  |
| 16 | F |  |  | [feature] Disable SMASH and enable solssh feature.// |  |  |  |  |  |  |
| 17 | F |  |  | [feature] Merge Revision 7271, 7274, 7581, 7753, 7776, 8377, 8433, 8482, 8674 from tools/skugen |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Merge AMI's patch to fix network issues (commit 636442b0, ee6ce130, 3c024100, cbaa86fc, 66efb975 in LTS-v12 Branch):/1. Fix vlan static ip missing after update BMC with preserve config./2. Fix lan interface down after disable vlan when ipv6 is disabled./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Media redirection for mounting ISO file whose file name contains the - character. |  |  |  |  |  |  |
| 20 | B |  |  | [defect] Disable Scroll Lock key on KVM to avoid keyboard input fail in Linux OS. |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Change WebUI BMC FW image update select default to image 1. |  |  |  |  |  |  |
| 22 | F |  |  | [feature] Add lan reset when platform is some models to avoid intel i350/x550 chip abnormal./ |  |  |  |  |  |  |
| 23 | B |  |  | [defect] add M.2+RAID card sensor of R272-Z31-00 |  |  |  |  |  |  |
| 24 | B |  |  | [defect] remove unused sensor of H253-Z10-AAP1-000_CMC |  |  |  |  |  |  |
| 25 | B |  |  | [defect] add NDxx_M2_TEMP for H223-S10-AAP1-000_CMC |  |  |  |  |  |  |
| 26 | B |  |  | [defect] commit fanprofile H223-S10-AAP1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 27 | B |  |  | revert 8553, add CMC NODE_PWR |  |  |  |  |  |  |
| 28 | B |  |  | [defect] update NDxx_CUR sdr for CNBH32 and H263-S62/S63/S64 |  |  |  |  |  |  |
| 29 | F |  |  | [feature] add R112-X30-0E devmap/sku |  |  |  |  |  |  |
| 30 | F |  |  | [feature] add H263-S65-AAN1-000 / H263-S65-AAW1-000 / H273-Z83-AAN1-000 / H273-Z83-AAW1-000 CMC devmap |  |  |  |  |  |  |
| 31 | B |  |  | [defect] modify sensor by request form for W331-X30-AA01-ML0 |  |  |  |  |  |  |
| 32 | F |  |  | [feature] add SKU/devmap for R272-B50-CD2 / MB51-PS1-CD |  |  |  |  |  |  |
| 33 | F |  |  | [feature] add CMC sku/devmap of H273-P82-AAW1-000 / H273-P80-AAN1-000 |  |  |  |  |  |  |
| 34 | B |  |  | [defect] commit fanprofile G262_ZO0.json by tim.kuo |  |  |  |  |  |  |
| 35 | B |  |  | [defect] add CX6 sensor and change RAID slot of R272-Z31-00 |  |  |  |  |  |  |
| 36 | B |  |  | [defect] 1.merge code from v13.3, [defect] update PEX89 series get temp method by spec, [feature] Add driver for PEX89XXX sensor temp. 2.add PEX89144 sensor for S253-JF0 |  |  |  |  |  |  |
| 37 | B |  |  | [defect] add PEX89144 sensor for S253-EF0 |  |  |  |  |  |  |
| 38 | B |  |  | [defect] add CX6 SLOT6 sensor of R272-Z31-00 |  |  |  |  |  |  |
| 39 | B |  |  | [defect] modify CX6 device name of R272-Z31-00 |  |  |  |  |  |  |
| 40 | F |  |  | [feature] Add devmap R162-ZA0. |  |  |  |  |  |  |
| 41 | B |  |  | [defect] remove unused sensor of W331-X30-AA01-ML0 |  |  |  |  |  |  |
| 42 | B |  |  | [defect] commit fanprofile G262_ZR0.json by tim.kuo |  |  |  |  |  |  |
| 43 | F |  |  | [feature] add devmaps/sku of G492-ZD2-SW-W6-001 and R182-Z90-SW-W6-002 base on G492-ZD2-00 and R182-Z90-00 |  |  |  |  |  |  |
| 44 | F |  |  | [feature] add CNBH0T define, add CMC devmaps/sku of H263-V10-AAW1-000 / H263-V11-AAW1-000 / H263-V60-AAW1-000 |  |  |  |  |  |  |
| 45 | B |  |  | [defect] commit fanprofile G482_Z50.json by bruce.su |  |  |  |  |  |  |
| 46 | B |  |  | [defect] add Raid/M.2 sensor for G492-ZD2/ZL2 by request form |  |  |  |  |  |  |
| 47 | B |  |  | [defect] commit fanprofile R272_Z32.json by marc.huang |  |  |  |  |  |  |
| 48 | B |  |  | [defect] commit fanprofile G492_ZL2.json by zac.zhan |  |  |  |  |  |  |
| 49 | B |  |  | [defect] modify fan sensor for H282-ZC0-00 / H282-ZC1-00 |  |  |  |  |  |  |
| 50 | B |  |  | [defect] remove FAKE_CMC_SENSOR for H282-ZC0-00 / H282-ZC1-00 |  |  |  |  |  |  |
| 51 | B |  |  | [defect] rename S253-EF0/S253-JF0 to S253-EF0-00/S253-JF0-00 |  |  |  |  |  |  |
| 52 | B |  |  | [defect] rename TO24-JD0/TO24-JD1 to TO24-JD0-00/TO24-JD1-00 |  |  |  |  |  |  |
| 53 | B |  |  | [defect] modify sensor name for H233-Z80-AAN1-000_CMC/H233-Z80-AAW1-000_CMC |  |  |  |  |  |  |
| 54 | F |  |  | [feature] Add lan link status sensor for MZC2-TS0-00./ |  |  |  |  |  |  |
| 55 | B |  |  | [defect] rename S253-JF0-00 to S253-JF0-AAH1-000 |  |  |  |  |  |  |
| 56 | B |  |  | [defect] update NDxx_CPU_TEMP sdr |  |  |  |  |  |  |
| 57 | B |  |  | [defect] Separate G492-ZD2 to use other fanprofile |  |  |  |  |  |  |
| 58 | B |  |  | [defect] commit fanprofile G492_ZD2.json by kate.kung |  |  |  |  |  |  |
| 59 | B |  |  | [defect] Modify HDDs sensor event follow front view for H263-S61/S63/S64/ |  |  |  |  |  |  |
| 60 | B |  |  | [defect] commit fanprofile H233-Z80-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 61 | B |  |  | [defect] commit fanprofile H233-Z80-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 62 | B |  |  | [defect] add NDxx_NVMe_TEMP for H253-Z10 CMC devmap |  |  |  |  |  |  |
| 63 | B |  |  | [defect] add a PCIE temp sensor for G242-Z10 |  |  |  |  |  |  |
| 64 | B |  |  | [defect][CMC] Fix ND_XXX sensor value are incorrect for H273./ |  |  |  |  |  |  |
| 65 | B |  |  | [defect] commit fanprofile G242_001.json by bruce.su |  |  |  |  |  |  |
| 66 | F |  |  | [feature] 1.add CMC sku/devmap of H262-NO0-SW-H3-001 / H262-NO1-SW-H3-002 2.include 2520/sku.h |  |  |  |  |  |  |
| 67 | B |  |  | [defect] commit fanprofile H233-Z80-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 68 | B |  |  | [defect] commit fanprofile H233-Z80-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 69 | B |  |  | [defect] remove NVMeG0_TEMP and NVMeG2_TEMP for H233-Z80 CMC devmap |  |  |  |  |  |  |
| 70 | B |  |  | [defect] remove NDxx_M2_TEMP for H233-Z80 CMC devmap |  |  |  |  |  |  |
| 71 | F |  |  | [feature][CMC] Change FRU1 manufacturer name and product name follow customer's request./ |  |  |  |  |  |  |
| 72 | B |  |  | [defect]add PSU2 sensor for S253-JF0-AAH1-000 |  |  |  |  |  |  |
| 73 | B |  |  | [defect]1.add PSU2 sensor for S253-EF0-00 2.fix NVMe temperature sensor will be abnormal for S253-EF0-00 / S253-JF0-AAH1-000 |  |  |  |  |  |  |
| 74 | B |  |  | [defect] commit fanprofile G292_Z45.json by bruce.su |  |  |  |  |  |  |
| 75 | B |  |  | [defect] JBOD not need MB CPLD so remove and keep location1 |  |  |  |  |  |  |
| 76 | B |  |  | [defect] update NDxx_DIMM_TEMP sdr |  |  |  |  |  |  |
| 77 | B |  |  | [defect][CMC] Modify HDD sensor mapping to 24 HDDs for CNMH32-00./ |  |  |  |  |  |  |
| 78 | F |  |  | [feature] add CMC sku/devmap of H273-Z81-IAW1-000_CMC |  |  |  |  |  |  |
| 79 | B |  |  | [defect] support to display MACAddress in /redfish/v1 |  |  |  |  |  |  |
| 12.60.43 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] After AC,sensor(LM5066 and Q50SN) will sent assert to cause CPU throttled. |  |  |  |  |  |  |
| 2 | B |  |  | [merge] Adding PBKDF2 password Hash support for Redfish Authentication |  |  |  |  |  |  |
| 3 | B |  |  | [Merge] merge rc commit r7840, 7842, [defect] OEM cmd add node power to BMC sensor list |  |  |  |  |  |  |
| 4 | B |  |  | [defect] add tca9539 and tca9538 device for MP32-AR2 |  |  |  |  |  |  |
| 5 | B |  |  | [defect] check FAKE_CMC sensor TYPE value ,avoid IPMIMain restart |  |  |  |  |  |  |
| 6 | B |  |  | Add pure code |  |  |  |  |  |  |
| 7 | B |  |  | [merge] AMI Code:Adding PBKDF2 password Hash support for Redfish Authentication/https://git.ami.com/core/lts/dev/ext-packs/technologypack/redfish/rtp-core/-/commit/0b210a1ac8d6245d3123f87fd29628ca2088361f/https://git.ami.com/core/lts/dev/ext-packs/technologypack/redfish/common/-/commit/aedb89e0f4103c5b13e1adf1d244a234d2ccbe24// |  |  |  |  |  |  |
| 8 | B |  |  | [defect] User enumeration security fix merge from AMI https://git.ami.com/core/lts/dev/ext-packs/technologypack/redfish/rtp-core/-/merge_requests/1860/diffs |  |  |  |  |  |  |
| 9 | B |  |  | [defect] merge code from v13.4 , follow ami code for mapping redfish sensor number and member id |  |  |  |  |  |  |
| 10 | B |  |  | [defetc] Let's RAID card information update,after presever update. |  |  |  |  |  |  |
| 11 | B |  |  | [defect] commit fanprofile H273-Z80-LAN1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile H273-Z80-LAW1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 13 | B |  |  | [defect] commit fanprofile H273-Z81-LAN1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile H273-Z81-LAW1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 15 | B |  |  | [defect] HWSKU sensor add parameter for immersion cooling system. |  |  |  |  |  |  |
| 16 | B |  |  | [defect] commit fanprofile R112_X30.json by jeff.wang |  |  |  |  |  |  |
| 17 | B |  |  | [defect] add M.2+Raid card sensor |  |  |  |  |  |  |
| 18 | B |  |  | [defect] commit fanprofile G482_Z53.json by peter.lin2 |  |  |  |  |  |  |
| 19 | B |  |  | [defect] delete CPU0_FAN IN R112-X30-GB devmap |  |  |  |  |  |  |
| 20 | B |  |  | [defect] add ocp sensor for R272-Z33-OB/OB1./ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] commit fanprofile TO21_JS0.json by chester.yeh |  |  |  |  |  |  |
| 22 | F |  |  | [feature] add SKU/devmap for W331-X30-AA01-ML0 |  |  |  |  |  |  |
| 23 | F |  |  | [feature] Add raid info on slot 4 for S452-Z30 |  |  |  |  |  |  |
| 24 | F |  |  | [feature] add new sku/devmap G292-Z20-SW-IT-001/G292-Z44-SW-IT-002 base on G292-Z20-00&G292-Z44-00 with deleting GPU_FAN12E |  |  |  |  |  |  |
| 25 | B |  |  | [defect] fix no NODE_PWR driver to cause sensor are all Disabled |  |  |  |  |  |  |
| 26 | B |  |  | [defect] add two PCIE sensor for G292-Z40 |  |  |  |  |  |  |
| 27 | B |  |  | [defect] add PSU POWER IN/OUT in devmap R271-B50-ES-Cloudflare-002 |  |  |  |  |  |  |
| 28 | B |  |  | [defect] distribute G292-Z20/Z44-SW to new fan-profile |  |  |  |  |  |  |
| 29 | B |  |  | [defect] modify R112-X30-GB RAID INFO TAG FROM TCA9548 to TCA9545 |  |  |  |  |  |  |
| 30 | B |  |  | [defect] remove NDxx_PCH_TEMP for H223-Z10-AAP1-000_CMC |  |  |  |  |  |  |
| 31 | B |  |  | [defect] remove unused PWM of G292-Z20/Z44-SW-IT |  |  |  |  |  |  |
| 32 | B |  |  | [defect] Add BPB CPLD version for TO21-JS0./ |  |  |  |  |  |  |
| 33 | F |  |  | [feature]1.Add TO21-JS0-GL devmap. 2.Modify devmap TO21-JS0 to TO21-JS0-00. 3.Change SDR P_1V26_BMC to P_1V2_BMC. |  |  |  |  |  |  |
| 34 | F |  |  | [feature] Delete TO21-JS0.xml |  |  |  |  |  |  |
| 35 | B |  |  | [defect] Change P_1V26_BMC SDR P_1V15 to P_1V2. |  |  |  |  |  |  |
| 36 | B |  |  | [defect] remove G292_Z20/Z44_SW fanprofile |  |  |  |  |  |  |
| 37 | B |  |  | [defect] modify PWM sensor for CNBH0S-00 |  |  |  |  |  |  |
| 38 | B |  |  | [defect] modify R152-P33 SGPIO function |  |  |  |  |  |  |
| 39 | B |  |  | [defect] remove NDxx_M2_TEMP for H223-S10-AAP1-000_CMC |  |  |  |  |  |  |
| 40 | B |  |  | [defect] commit fanprofile G292_Z40.json by bruce.su |  |  |  |  |  |  |
| 41 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 42 | B |  |  | [defect] commit fanprofile G292_Z40.json by bruce.su |  |  |  |  |  |  |
| 43 | B |  |  | [defect] add M.2+RAID card sensor of R272-Z31-00 |  |  |  |  |  |  |
| 44 | B |  |  | [CEC] [Release] update to v01.20 |  |  |  |  |  |  |
| 45 | B |  |  | [CEC] [Release] update to v01.1A |  |  |  |  |  |  |
| 12.60.41 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] release redis connect and replies space to reduce memory leak |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Allow spaces exist in field Bind DN./ |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Change the banner file name for WebUI to support changing the second (client) right banner via change_logo_tool./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Merge AMI's security patch: AMI_MegaRAC_SPx_Password_Reset_Interception/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Modify rest api dump broken image bmc/bios. |  |  |  |  |  |  |
| 6 | B |  |  | Merged revision(s) 7613 from tags/test_version/12.60/12.60.76[defect] Merge IPV6_SLAAC_FIX.patch for IPv6 SLAAC auth issue.(7619) |  |  |  |  |  |  |
| 7 | B |  |  | [defect] 1.add SDR I120_1020 2.add ADM1278_CUR3 function for support CNBH0G 0.3m and 0.5m Rsense 3.modify ADM1278_PWR for support CNBH0G 0.3m and 0.5 Rsense 4.add IsSpecificMBver function for check MBverID(7636) |  |  |  |  |  |  |
| 8 | B |  |  | [defect] CNBH0G R sense is 0.15m/0.25m ,so modify ADM1278 parameter(7682) |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Fix error handler UI message bug(7828) |  |  |  |  |  |  |
| 10 | B |  |  | [defect] [defect] add ipmi oem command return value for SVN 1822(7893) |  |  |  |  |  |  |
| 11 | B |  |  | [defect] clear data and reset I2C when CMC IPMB error(8083) |  |  |  |  |  |  |
| 12 | B |  |  | [defect] add semicolon |  |  |  |  |  |  |
| 13 | B |  |  | [defect] NVAPI scan state default change to off |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Add "Tatlow" platform ID(0x0C)./ |  |  |  |  |  |  |
| 15 | F |  |  | [feature] Add lan sensor to check lan link status./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Remove NCSI LAN status for S252-ZC0-SW-TS-001./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Modify LAN sensor for S252-ZC0-SW-TS-001./ |  |  |  |  |  |  |
| 18 | B |  |  | [defect][CMC] Fix NDxx_CUR and NDxx_PWR are incorrect for H263/ - H263 is use eight 0.5m resistors/ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] rename model name from G492-001-C2 to G492-001-C20 |  |  |  |  |  |  |
| 20 | B |  |  | [defect] seperate R282_Z91_0D to independent fan-profile |  |  |  |  |  |  |
| 21 | B |  |  | [defect] modify node power sensor for H252-3C0-00 / H231-G20-00 / H261-3C0-00 / H261-H60-00 / H261-NO0-00 / H262-PC0-00 / H252-Z10-00 / H252-Z12-00 / H261-Z60-00 / H261-Z61-00 / H262-Z60-00 / H262-Z6A-00 / H262-Z6B-00 / H262-Z6B-ICP1-000 / H262-Z6B-ICU1-000 / H262-ZL0-00 /H262-ZL1-00 / H262-ZL2-00 / H282-Z60-00 / H282-ZC0-00 / H282-ZC1-00 |  |  |  |  |  |  |
| 22 | B |  |  | [defect] add LAN STATUS for R272-P3B |  |  |  |  |  |  |
| 23 | B |  |  | [defect] update the NCSI channel LAN sensor name |  |  |  |  |  |  |
| 24 | B |  |  | [defect] commit fanprofile G492_PD0.json by bruce.su |  |  |  |  |  |  |
| 25 | B |  |  | [defect] modify H223-S10-AAP1-000 and H223-Z10-AAP1-000 cmc devmap |  |  |  |  |  |  |
| 26 | F |  |  | [feature] Modify temp name and add raid temp. |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Modify TO21-JS0 devmap. |  |  |  |  |  |  |
| 28 | B |  |  | [defect] add raid temp and hba temp sensor |  |  |  |  |  |  |
| 29 | B |  |  | [defect] remove redundant RISER temp sensors of R282-Z91-0D |  |  |  |  |  |  |
| 30 | F |  |  | [feature] add H262-001-IX0 CMC devmap |  |  |  |  |  |  |
| 31 | B |  |  | [defect] 1. add H262-001-IX0_CMC into CNBH0x/sku.h 2. remove unused sensor |  |  |  |  |  |  |
| 32 | F |  |  | [feature] add SKU/devmap for H262-001-IX0 based on H262-Z6B-ICP1 |  |  |  |  |  |  |
| 33 | B |  |  | [defect] rename H262-001-IX0_CMC to H262-Z6B-ICP2-IX0_CMC |  |  |  |  |  |  |
| 34 | B |  |  | [defect] rename H262-001-IX0 to H262-Z6B-ICP2-IX0 |  |  |  |  |  |  |
| 35 | F |  |  | [feature] add H273-Z80-LAN1-000 / H273-Z80-LAW1-000 / H273-Z81-LAN1-000 / H273-Z81-LAW1-000 CMC devmap |  |  |  |  |  |  |
| 36 | B |  |  | [defect] modify PWM sensor for H223-S10-AAP1-000 and H223-Z10-AAP1-000 CMC devmap |  |  |  |  |  |  |
| 37 | B |  |  | [defect] add SLOT name in sensor |  |  |  |  |  |  |
| 38 | B |  |  | [defetc] Modify NIC card location and change sensor name. |  |  |  |  |  |  |
| 39 | B |  |  | [defect] modify R112-X30-GB devmap to delete no use sensor |  |  |  |  |  |  |
| 40 | B |  |  | [defect] Modify sensor name. |  |  |  |  |  |  |
| 41 | B |  |  | [defect] Fix SKU(CMBD40) build error/ |  |  |  |  |  |  |
| 42 | B |  |  | [defect] update the NIC_Card location for R272-P3B-TS devmap |  |  |  |  |  |  |
| 43 | F |  |  | [feature] Add link status. |  |  |  |  |  |  |
| 44 | B |  |  | [defect] add link status for R272-P3B-TS devmap |  |  |  |  |  |  |
| 45 | B |  |  | [defect][CMC] 1. Change read BPB CPLD version from I2C./2. Add CPU DTS sensor for H223-Z10-AAP1-000./ |  |  |  |  |  |  |
| 46 | B |  |  | [defect][CMC] Remove CPU DTS sensors for H223-Z10-AAP1-000 / |  |  |  |  |  |  |
| 47 | B |  |  | [defect] commit fanprofile H223-Z10-AAP1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 48 | F |  |  | [feature] add CMBH42 / H253-Z10-AAP1-000 / H253-Z10-LAP1-000 / H253-Z10-IAP1-000 / H253-Z10-AAM1-000 / H253-Z10-LAM1-000 / H253-Z10-IAM1-000 / H253-Z10-AAU1-000 / H253-Z10-LAU1-000 / H253-Z10-IAU1-000 cmc sku/devmap |  |  |  |  |  |  |
| 49 | B |  |  | [defect] commit fanprofile H273-Z80-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 50 | B |  |  | [defect] commit fanprofile H273-Z81-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 51 | B |  |  | [defect] commit fanprofile H273-Z82-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 52 | B |  |  | [defect][CMC] Fix CMC CPLD update can't work in Altera Jtag. / |  |  |  |  |  |  |
| 53 | B |  |  | [defect][CMC] Modify BPB CPLD update switch for H223./ |  |  |  |  |  |  |
| 54 | B |  |  | [defect][CMC] Modify only have BP1 for H223 / |  |  |  |  |  |  |
| 55 | B |  |  | [defect][CMC] Add enable set GPIOQ4 to low in H223 devmaps/ |  |  |  |  |  |  |
| 56 | B |  |  | [defect] modify ADC chnl for H253-Z10-AAP1-000 / H253-Z10-LAP1-000 / H253-Z10-IAP1-000 / H253-Z10-AAM1-000 / H253-Z10-LAM1-000 / H253-Z10-IAM1-000 / H253-Z10-AAU1-000 / H253-Z10-LAU1-000 / H253-Z10-IAU1-000 CMC devmap |  |  |  |  |  |  |
| 57 | F |  |  | [feature] 1.Create sku COPDB10 for TO21-JS0. 2. Temporary Delete G182-C20-00.xml for svn commit error. |  |  |  |  |  |  |
| 58 | B |  |  | [defect] Remove TO21-JS0.xml |  |  |  |  |  |  |
| 59 | B |  |  | [defect] commit fanprofile G482_Z50.json by peter.lin2 |  |  |  |  |  |  |
| 60 | B |  |  | [defect] commit fanprofile H273-Z80-LAN1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 61 | B |  |  | [defect] commit fanprofile H273-Z80-LAW1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 62 | B |  |  | [defect] commit fanprofile H273-Z81-LAN1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 63 | B |  |  | [defect] commit fanprofile H273-Z81-LAW1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 64 | B |  |  | [defect] commit fanprofile H253-Z10-AAM1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 65 | B |  |  | [defect] commit fanprofile H253-Z10-AAP1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 66 | B |  |  | [defect] commit fanprofile H253-Z10-AAU1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 67 | B |  |  | [defect] Add "Tatlow" platform ID/ |  |  |  |  |  |  |
| 68 | B |  |  | [defect][CMC] Fix ND_XXX sensor value are incorrect for H263./ |  |  |  |  |  |  |
| 69 | B |  |  | [redfish][defect] Fix: AssetTag of Systems/Self doesn't sync with Product Asset Tag of FRU0/ |  |  |  |  |  |  |
| 70 | B |  |  | [redfish][defect] Fix: AssetTag of Chassis/Self doesn't sync with Product Asset Tag of FRU0/ |  |  |  |  |  |  |
| 71 | B |  |  | [defect] fix validator fail on PCIeFunctions page |  |  |  |  |  |  |
| 72 | B |  |  | [defetc] Dynamic get/set strip size for build raid. |  |  |  |  |  |  |
| 73 | B |  |  | [defect] free redis object space of redfish_device.c to avoid memory full |  |  |  |  |  |  |
| 74 | B |  |  | [defect] Fix strip size bug and add stop sensor scan when create raid. |  |  |  |  |  |  |
| 75 | B |  |  | [defect] Update raid information after create raid. |  |  |  |  |  |  |
| 76 | B |  |  | [defect] fix host can obtain cleartext credentials for all BMC IPMI/WebUI users./Merge form AMI commit : https://git.ami.com/core/lts/dev/ext-packs/technologypack/redfish/rtp-core/-/merge_requests/1786/ |  |  |  |  |  |  |
| 77 | B |  |  | [defect] Always update raid information when run delete raid command. |  |  |  |  |  |  |
| 78 | B |  |  | [redfish][defect] Fix autotest fail for Storage and Storage Links./ |  |  |  |  |  |  |
| 79 | B |  |  | [defect] The init_telemetry should be global variable, or it will trigger telemery every 3s cause high CPU usage. |  |  |  |  |  |  |
| 80 | B |  |  | [CEC] [defect] Modify and Enable restore mechanism for BIOS |  |  |  |  |  |  |
| 81 | F |  |  | [CEC] [Release] update to v01.19 |  |  |  |  |  |  |
| 82 | B |  |  | [CEC] [defect] BIOS config table broken case : restore header size = config table size + identity size |  |  |  |  |  |  |
| 83 | B |  |  | [defect] Change "Tatlow" platform ID to 0x0D./ |  |  |  |  |  |  |
| 84 | B |  |  | [defect] Always block sysadmin login via ssh./ |  |  |  |  |  |  |
| 85 | B |  |  | [defect] 1.update H223 CMC INA219 device sensor 2.add INA219 power sensor for H223 CMC |  |  |  |  |  |  |
| 12.60.39 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Modify dump broken image fun file. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] MZ72-HB0 is enable UART2./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Modify dump broken image header. |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Add MZ91-FS0 CPU_FAN. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add gpu temp , riser and raid sensor of R282-Z91-0D |  |  |  |  |  |  |
| 6 | B |  |  | [defect] commit fanprofile G292_Z45.json by bruce.su |  |  |  |  |  |  |
| 7 | F |  |  | [feature] Base on S252-ZC0-00 create S252-ZC0-SW-TS-001. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] add nic card |  |  |  |  |  |  |
| 9 | B |  |  | [defect] add new fanprofile R272_P3B.json |  |  |  |  |  |  |
| 10 | B |  |  | Add get RAID type information |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Merge AMI's security patch: AMI_MegaRAC_SPx_User_enumeration_via_API (2)/ |  |  |  |  |  |  |
| 12 | F |  |  | [feature] Modify default password for sysadmin. |  |  |  |  |  |  |
| 13 | F |  |  | [feature] Add gbt oem cmd to enable/disable ssh./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile S253_JF0.json by lisa.lin |  |  |  |  |  |  |
| 15 | F |  |  | [feature] Add RAID/HBA for S252-ZC0-SW-TS-001 |  |  |  |  |  |  |
| 16 | F |  |  | [feature] add G492-001-C2 devmap/sku base on G492-ZD2-00 |  |  |  |  |  |  |
| 17 | B |  |  | [defect] modify fan addr for H223-S10-AAP1-000 and H223-Z10-AAP1-000 cmc devmap |  |  |  |  |  |  |
| 18 | B |  |  | [defect] seperate G492-001-C2's fan-profile to G492_001 |  |  |  |  |  |  |
| 19 | B |  |  | [defect] commit fanprofile G492_001.json by chester.yeh |  |  |  |  |  |  |
| 20 | B |  |  | [defect] commit fanprofile H263-S60-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Remove HBA for S252-ZC0-SW-TS-001. |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile H263-S61-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 23 | B |  |  | [defect] commit fanprofile H263-S61-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 24 | B |  |  | [defect] commit fanprofile H263-S62-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 25 | B |  |  | [defect] commit fanprofile H263-S62-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 26 | B |  |  | [defect] commit fanprofile H263-S63-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 27 | B |  |  | [defect] commit fanprofile H263-S63-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 28 | B |  |  | [defect] commit fanprofile H263-S64-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 29 | B |  |  | [defect] commit fanprofile H263-S64-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 30 | B |  |  | [defect] commit fanprofile G292_Z43.json by bruce.su |  |  |  |  |  |  |
| 31 | B |  |  | [CEC] [defect] 1) modify restore area address and size 2) add config table : broken case |  |  |  |  |  |  |
| 32 | B |  |  | [CEC] [defect] Disable restore mechanism for BIOS, just do recovery |  |  |  |  |  |  |
| 33 | F |  |  | [CEC] [Release] update to v01.18 |  |  |  |  |  |  |
| 12.60.37 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] webui HDD Inventory support Micron Manufacturer |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Support Phison HDD Manufacturer information on web ui. |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Update pci.ids.gz file version 2022.10.28. |  |  |  |  |  |  |
| 4 | B |  |  | [defect] add L40 device ID to pci_devices.json |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Modify segment number and WebUI HDD location mapping in WEBUI sel log./ |  |  |  |  |  |  |
| 6 | F |  |  | [feature] Modify support OEM iptable update funcion for http./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Merge AMI's patch to fix unexpected ARP packet when set default gateway as 0.0.0.0. (EIP #713298)/ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] fix no FPGA info after DC and sensor will be error after remove delta module |  |  |  |  |  |  |
| 9 | B |  |  | fix error for r8210 |  |  |  |  |  |  |
| 10 | F |  |  | [feature] Add rest api for dump broken image. |  |  |  |  |  |  |
| 11 | F |  |  | [feature] Add RAID/HBA INFO for R272-Z31-OB1 slot 1 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile G482_Z53.json by bruce.su |  |  |  |  |  |  |
| 13 | B |  |  | [defcet][CMC] Fix NDxx_CUR not match NDxx_PWR sensor for H263 / |  |  |  |  |  |  |
| 14 | B |  |  | [defcet][CMC] Fix NDxx_CUR not match NDxx_PWR sensor for CNBH36/ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Add Error model name source on 2500 FanProfile Error List. |  |  |  |  |  |  |
| 16 | B |  |  | [defect] add TMP_CMBD40 for S253-JF0 and S253-EF0 |  |  |  |  |  |  |
| 17 | B |  |  | [defect] modify FRU_COEP921 sensor for TO24-JD1 |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Modify TO24 lm5066_PSU Pin devmap. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] remove tca9539 U58 for MP32 devmaps |  |  |  |  |  |  |
| 20 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 21 | B |  |  | [defect] creat R272-P3B-00 devmap /add R272-P3B-00 under MP32-AR2-00 board in sku.h |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile G292_Z40.json by bruce.su |  |  |  |  |  |  |
| 23 | B |  |  | [defect] modify R272-P3B-00 devmap |  |  |  |  |  |  |
| 24 | F |  |  | [feature] add H263-S64-IAW1-000 and H273-Z82-IAW1-000 CMC devmap |  |  |  |  |  |  |
| 25 | B |  |  | [defect] update the sensor name tca9538 |  |  |  |  |  |  |
| 26 | F |  |  | [feature] creat new R272-P3B-TS devmap and modify MP32ARx/sku.h |  |  |  |  |  |  |
| 27 | B |  |  | [defect] commit fanprofile H262-Z62-ZB_CMC.json by zac.zhan |  |  |  |  |  |  |
| 28 | B |  |  | [defect] update the raid card location and remove nvme sensor |  |  |  |  |  |  |
| 29 | B |  |  | [defect] add R282-Z91-0D devmap/sku base on R282-Z91-00 |  |  |  |  |  |  |
| 30 | B |  |  | [defect] add NVME_TEMP for S253-EF0 and S253-JF0 |  |  |  |  |  |  |
| 31 | B |  |  | [defect] fix error for remove delta module |  |  |  |  |  |  |
| 32 | B |  |  | [defect] fix error for remove delta module of G492-ZD0. |  |  |  |  |  |  |
| 33 | B |  |  | [defect] modify MP32/R272-P3B-TS DEVMAP |  |  |  |  |  |  |
| 34 | F |  |  | [feature] Add devmap 'TO21-JS0' |  |  |  |  |  |  |
| 35 | B |  |  | revert r8190 r8193 [defect] fix error for remove delta module. |  |  |  |  |  |  |
| 36 | B |  |  | [defect] remove ND0x_CPU_DTS for H223-Z10-AAP1-000_CMC |  |  |  |  |  |  |
| 37 | B |  |  | [defect] add INLET_TEMP sensor for H262-P60-00_CMC |  |  |  |  |  |  |
| 38 | F |  |  | [feature] add H273-Z80-ES-Ubisoft-004 CMC devmap |  |  |  |  |  |  |
| 39 | B |  |  | [defect] modify FAN sensor for S253-JF0 |  |  |  |  |  |  |
| 40 | B |  |  | [defect] modify R272-P3B-TS DEVMAP fix "can not read sensor" error & CPLD info error |  |  |  |  |  |  |
| 41 | B |  |  | [defect] remove hide tag for CPU and DIMM current sensor |  |  |  |  |  |  |
| 42 | F |  |  | Merged revision(s) 6576, 6705 from CommonRTP1.8_rc:/1.[feature] Support redfish multipart update BMC/BIOS/HPM_BMC/HPM_BIOS/HPM_SCP/MB_CPLD/BPB_CPLD./2.[feature] support redfish dual bios upgrade |  |  |  |  |  |  |
| 43 | F |  |  | Merged revision 6201 from CommonRTP1.8_rc :[feature] Support SCP firmware inventory. |  |  |  |  |  |  |
| 44 | F |  |  | [feature] Add processor OperatingSpeedMHz information on redfish. |  |  |  |  |  |  |
| 45 | B |  |  | [defect] Fixed fill out wrong value about processor MaxSpeedMHz information. |  |  |  |  |  |  |
| 46 | B |  |  | [defect] fix ipmi_redis.c memory leak problem |  |  |  |  |  |  |
| 47 | B |  |  | [defect] Get PCIe device model/Manufacturer from smbios and add pcie functions link. |  |  |  |  |  |  |
| 48 | B |  |  | Merged revisions 8196/8197 from CommonRTP1.8_rc:/1.[feature] support SMTP mail function/2.[defect] fix wrong message when turning off SMTP service |  |  |  |  |  |  |
| 49 | B |  |  | Merged revision 8203 from CommonRTP1.8_rc : [defect] fix EventService SMTP items of validator missing |  |  |  |  |  |  |
| 50 | B |  |  | Merged revision 7880 from CommonRTP1.8_rc : /[defect] Fix validator fail:/1. replace 'Ok' of Severity to 'OK'/2. add 'MemberId' 'MinNumNedded' 'MaxNumSupported' 'RedundancySet' attributes to Redundancy/ |  |  |  |  |  |  |
| 51 | F |  |  | [CEC] [feature] add restore mechanism : before recovery, it saves header info and broken block to restore area |  |  |  |  |  |  |
| 52 | F |  |  | [CEC] [Release] update to v01.17 |  |  |  |  |  |  |
| 12.60.35 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect]Fix set gpu_temp thresholds fail when update FW preserve. |  |  |  |  |  |  |
| 2 | B |  |  | [defect]Modify fix pci_device.json log. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] add device 3080Ti to pci_devices |  |  |  |  |  |  |
| 4 | B |  |  | [defect]fix error Status for PSU remove |  |  |  |  |  |  |
| 5 | B |  |  | Merged revision(s) 7671 from tags/test_version/12.60/12.60.89:/1. [feature] Support RAID/HBA card at the same time./Merged revision(s) 7861-7862 from |  |  |  |  |  |  |
| 6 | B |  |  | Merged revision(s) 7544 from trunk/V12.2_20191206_rc:/1. Add miss commit/Merged revision(s) 5953 from trunk/V12.2_20191206_rc:/2. Disable log message. It will print much time when insert HBA card.// |  |  |  |  |  |  |
| 7 | B |  |  | Merged revision(s) 8066 from trunk/V12.2_20191206_rc:/[defect] Call scripts for restart compmanager, or direct execute compmanager will cause crash./ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Make space allowed again in Bind DN setting. |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Add back the ability of NTP server settings available to start with numbers. |  |  |  |  |  |  |
| 10 | B |  |  | Merged revision(s) 8087 from trunk/V12.2_20191206_rc:/[feature] Do DeRegister from processor manager when stop component manager./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Move action warm reset to PendTask and delay to do cold/warm reset when network is set in progress./ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] add L4 device to pci_devices.json |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Fix flag not reset issue for delay to do cold/warm reset when network is set in progress./ |  |  |  |  |  |  |
| 14 | B |  |  | Merged revision(s) 7156,7192,7193,7196,7201,7211,7212,7213,7214,7215,7424,7425,7702,7804 from tags/test_version/12.60/12.60.89:/[feature] Add SNMP function: Memory Health / PSU Collection./[feature] Support storage collection to get onboard/raid HDD info./[feature] Add SNMP function: BMC version / BMC release / BMC uptime./[feature] Add SNMP function: PCIe Card collcection./[feature] Support PSU collection to get PSU redundancy./[feature] Support SEL log clear SNMP GET function./[defect] Adjusted PCIe card collection, avoid some device cannot show and SNMP crash issue./[feature] Add SNMP function: RAID/HBA Controller./[feature] Add SNMP functions: BIOS release, memory state, PSU detail./[feature] Add SNMP functions for RAID Controller: Controller ID, Volume Strip, Volume AccessPolicy, Volume WritePolicy, Volume ReadPolicy, Drive Detail./[feature] Modify SNMP function to support RAID/HBA cards at the same time./[feature] Add SNMP functions: storage serial / storage type / pcie card vendor id / pcie card device id / raid physical drive product name./ |  |  |  |  |  |  |
| 15 | B |  |  | [defetc] Rename libspx_restservice_sasit package name. |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Merge AMI's security patches:/1. AMI_MegaRAC_SPx_Default_UID/2. AMI_MegaRAC_SPx_User_enumeration_via_API/ |  |  |  |  |  |  |
| 17 | F |  |  | [feature] add H262-PC2-IAU1-MT0 CMC devmap |  |  |  |  |  |  |
| 18 | B |  |  | [defect] update the TCA9539 sensor in MP32AR1 and MP32AR2 |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Add TO24-JD1 SAS4_Expander sensor. |  |  |  |  |  |  |
| 20 | B |  |  | [defect]Modify TO24-JD1 repeat sensor name. |  |  |  |  |  |  |
| 21 | B |  |  | [defect] commit fanprofile MC12_LE0.json by jeff.wang |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile TO24_JD0.json by chester.yeh |  |  |  |  |  |  |
| 23 | B |  |  | [defect] commit fanprofile TO24_JD1.json by chester.yeh |  |  |  |  |  |  |
| 24 | B |  |  | [defect] update CPLD name |  |  |  |  |  |  |
| 25 | F |  |  | [feature] add H261-H60-SW-NJ2-003 BMC/CMC SKU/devmap |  |  |  |  |  |  |
| 26 | F |  |  | [feature] add devmap of R272-Z33-OB./ |  |  |  |  |  |  |
| 27 | B |  |  | [defect] update the tca9539 sensor value |  |  |  |  |  |  |
| 28 | B |  |  | [defect] add tca9538 and tca9539 sensor in ampere system |  |  |  |  |  |  |
| 29 | B |  |  | [defect] modify S253 devmap by request form |  |  |  |  |  |  |
| 30 | B |  |  | [defect] 1. add sdr I10_1020, I20_1020, I30_1020, I120_1020, V5_1020, V55_1020 for TO24 2. modify TO24 devmap by request form |  |  |  |  |  |  |
| 31 | B |  |  | [defect] commit fanprofile R271.json by eason.tsai |  |  |  |  |  |  |
| 32 | B |  |  | [defect] revert R271.json to revision 8061 because this change is to test fan-profile tool |  |  |  |  |  |  |
| 33 | B |  |  | [defect] commit fanprofile G482_Z53.json by bruce.su |  |  |  |  |  |  |
| 34 | F |  |  | [feature] add H262-PC2-IAU2 CMC devmap |  |  |  |  |  |  |
| 35 | F |  |  | [feature] Add scripts for build single model sku. |  |  |  |  |  |  |
| 36 | B |  |  | [defect] rename CMC devmap H262-PC2-IAU2 to H262-PC2-IAY1-C40 |  |  |  |  |  |  |
| 37 | B |  |  | [defect] update GPU ADM1278 sensor for G492-Z51 |  |  |  |  |  |  |
| 38 | F |  |  | [feature] add sku/devmap for R112-X30-GB |  |  |  |  |  |  |
| 39 | B |  |  | [defect]Fix power consumption add psu_power. |  |  |  |  |  |  |
| 40 | B |  |  | [defect]Modify T024-JD0 fix power consumption add psu_power. |  |  |  |  |  |  |
| 41 | B |  |  | [defect] 1. add sdr I10_1020_INA, I10_1020_LM, I20_1020, I30_1020, V5_1015, V55_1015 for TO24 2. modify TO24 devmap by request form 3. rename I10_1020 to I10_1020_LM |  |  |  |  |  |  |
| 42 | B |  |  | [defect] Modify CMC CR status must follow node BMC CR status |  |  |  |  |  |  |
| 43 | B |  |  | [defect] commit fanprofile G292_Z43.json by bruce.su |  |  |  |  |  |  |
| 44 | B |  |  | [defect] update tca9539 value for MP32-AR1 devmaps |  |  |  |  |  |  |
| 45 | B |  |  | [defect] update tca9539 value for MP32-AR2 devmaps |  |  |  |  |  |  |
| 46 | B |  |  | Merged revision 6968 from CommonRTP1.8_rc :[defect] fix issue for SimpleStorage |  |  |  |  |  |  |
| 47 | B |  |  | Merged revision(s) 6981, 6988 from trunk/CommonRTP1.8_rc:/1.[defect] get status content by the overall health state on Systems page/2.[defect] systems status don't get memory:0/ |  |  |  |  |  |  |
| 48 | B |  |  | Merged revision(s) 7672,7686 from tags/test_version/12.60/12.60.89:/1.[feature] Support RAID/HBA card at the same time/Merged revision(s) 7863 from |  |  |  |  |  |  |
| 12.60.33 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] fix error in numerical calculation for removing decimal point |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix upload SSH Key fail issue./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect]Fix set gpu_temp thresholds fail when update FW preserve. |  |  |  |  |  |  |
| 4 | B |  |  | [defect]Modify fix pci_device.json log. |  |  |  |  |  |  |
| 5 | F |  |  | [feature] add T182-ZM1-ZB sku/devmap base on T182-ZM0-ZB |  |  |  |  |  |  |
| 6 | B |  |  | [defect] commit fanprofile G482_Z53.json by linus.shen |  |  |  |  |  |  |
| 7 | B |  |  | [defect] modify CMC devmap for H223-S10-AAP1-000 |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add H223-Z10-AAP1-000 CMC devmap |  |  |  |  |  |  |
| 9 | B |  |  | [defect] commit fanprofile H262-Z62-00_CMC.json by zac.zhan |  |  |  |  |  |  |
| 10 | B |  |  | [defect] commit fanprofile H262-Z61-SW-G2-002_CMC.json by zac.zhan |  |  |  |  |  |  |
| 11 | B |  |  | [defect] commit fanprofile H262-Z62-ZB_CMC.json by zac.zhan |  |  |  |  |  |  |
| 12 | B |  |  | [defect] add two group sensor for PCIE |  |  |  |  |  |  |
| 13 | B |  |  | [defect] commit fanprofile H262-Z62-ZB_CMC.json by zac.zhan |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile H262-Z61-SW-G2-002_CMC.json by zac.zhan |  |  |  |  |  |  |
| 15 | F |  |  | [feature] add H262-PC2-IAU1-MT0 CMC devmap |  |  |  |  |  |  |
| 16 | B |  |  | [defect] update the TCA9539 sensor in MP32AR1 and MP32AR2 |  |  |  |  |  |  |
| 17 | B |  |  | [defect] remove any chances of command injection |  |  |  |  |  |  |
| 18 | B |  |  | Merged revision 6968 from CommonRTP1.8_rc :[defect] fix issue for SimpleStorage |  |  |  |  |  |  |
| 19 | B |  |  | Merged revision(s) 6981, 6988 from trunk/CommonRTP1.8_rc:/1.[defect] get status content by the overall health state on Systems page/2.[defect] systems status don't get memory:0/ |  |  |  |  |  |  |
| 12.60.31 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Remove TCP Flood (SYN Flood Protection) option in firewall settings./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Merged revision(s) 7864 from trunk/V12.2_20191206_rc:[defect] 1.add power off Asserted/Deasserted sel msg to email format 2.add time sync sel msg to email format |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Fix upload SSH Key fail issue./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Fix no gpu information and capabilities after power cycle. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Fix DCMI set asset tag will have Product Extra incorrect data when asset tag more then 16 bytes./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Add PCIe Card in PCIe skip list |  |  |  |  |  |  |
| 7 | B |  |  | [defect] fix error status and event for PSU status |  |  |  |  |  |  |
| 8 | B |  |  | [defect] update the DIMM_TEMP lower and lower Non-ctritical |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Add parser error list & solve repeat problem of devmap and fanprofile error list |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Combine PCIe card with the same VID & DID into one |  |  |  |  |  |  |
| 11 | B |  |  | Merged revision(s) 7916 from trunk/V12.2_20191206_rc:/[defect] Update raid storelib to MR7.19 for RAID 9560 LD issue./ |  |  |  |  |  |  |
| 12 | B |  |  | Merged revision(s) 7918 from trunk/V12.2_20191206_rc:/[defect] Add storelib MR7.19/ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] add A4500 device ID to pci_devices |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Add new chip models GD25B512ME/MX25U51245G in support list/ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] fix GPU info sometimes is show unsupported issue. |  |  |  |  |  |  |
| 16 | B |  |  | [defect] rename one of redundant mode property to NotRedundant |  |  |  |  |  |  |
| 17 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Change MZ42G21 series's fan-profile to G292_Z45 and generate G292_Z45.json base on G292_Z44.json(r7457) |  |  |  |  |  |  |
| 19 | B |  |  | [defect] fix FSC json format error |  |  |  |  |  |  |
| 20 | F |  |  | [feature] Add RAID INFO for R272-Z31-00 |  |  |  |  |  |  |
| 21 | B |  |  | [defect] commit fanprofile G292_Z40.json by linus.shen |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile G292_Z40.json by linus.shen |  |  |  |  |  |  |
| 23 | B |  |  | [defect] commit fanprofile H263-S63-LAN1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 24 | B |  |  | [defect] commit fanprofile H263-S62-LAN1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 25 | B |  |  | [defect] H263-S64 CMC enable cold redundant |  |  |  |  |  |  |
| 26 | B |  |  | [defect] 1. modify fan sensor name for S251-3O1 and S251-3O0 2.modify M2 sensor for S251-3O1 |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Add tca9539 sensor in ampere devmap |  |  |  |  |  |  |
| 28 | B |  |  | [defect] modify PSU power in sdr to H242-Z11-BY |  |  |  |  |  |  |
| 29 | B |  |  | [defect] add RAID_INFO for S251-3O1-00 |  |  |  |  |  |  |
| 30 | B |  |  | [defect] modify BPVERCBP10A1 G482_HA0 to BPVERCBP10A1 G481_HA0/[feature] add G481_HA0.json FanProfile/[defect] delete G482_HA0.json FanProfile |  |  |  |  |  |  |
| 31 | B |  |  | [defect] commit fanprofile R282_Z93_00.json by peter.lin2 |  |  |  |  |  |  |
| 32 | B |  |  | [detect] fix PSU POWER is too low issue |  |  |  |  |  |  |
| 33 | B |  |  | [defect] commit fanprofile R282_Z96.json by peter.lin2 |  |  |  |  |  |  |
| 34 | B |  |  | [defect] remove unused ADC sensor for H242-Z11-BY |  |  |  |  |  |  |
| 35 | B |  |  | [defect] commit fanprofile S251_3O1.json by chester.yeh |  |  |  |  |  |  |
| 36 | B |  |  | [defect] commit fanprofile S251_3O0.json by chester.yeh |  |  |  |  |  |  |
| 37 | B |  |  | [defect] remove unused M2 sensor for H242-Z11-BY |  |  |  |  |  |  |
| 38 | B |  |  | [defect] Add CMBD040-00 devmap for fix gensku error./ |  |  |  |  |  |  |
| 39 | B |  |  | [defect] Add parser error list & solve repeat problem of devmap and fanprofile error list |  |  |  |  |  |  |
| 40 | B |  |  | [defect] commit fanprofile H262-Z61-SW-G2-002_CMC.json by zac.zhan |  |  |  |  |  |  |
| 41 | B |  |  | [defect] add CMC sensor for H282-ZC0-00 / H282-ZC1-00 |  |  |  |  |  |  |
| 42 | B |  |  | [defect] add CMC sensor for H252-Z10-00 / H252-Z12-00 |  |  |  |  |  |  |
| 43 | B |  |  | [defect] add CMC sensor for H262-PC0-00 |  |  |  |  |  |  |
| 44 | B |  |  | [defect] add CMC sensor for H231-G20-00 / H261-3C0-00 / H261-H60-00 / H261-NO0-00 |  |  |  |  |  |  |
| 45 | B |  |  | [defect] add CMC sensor for H252-3C0-00 |  |  |  |  |  |  |
| 46 | B |  |  | [defect] remove soft link of H261-Z60-00 / H261-Z61-00 devmap |  |  |  |  |  |  |
| 47 | B |  |  | [defect] add CMC sensor for H261-Z60-00 / H261-Z61-00 / H262-Z60-00 / H262-Z6A-00 / H262-Z6B-00 / H262-Z6B-ICP1-000 / H262-Z6B-ICU1-000 / H262-ZL0-00 / H262-ZL1-00 / H262-ZL2-00 / H282-Z60-00 |  |  |  |  |  |  |
| 48 | B |  |  | [defect] add missing devmap for MZ series./ |  |  |  |  |  |  |
| 49 | B |  |  | [defect] add VR sensor for MC22-HS0-00./ |  |  |  |  |  |  |
| 50 | B |  |  | [defect] commit fanprofile H262-Z62-ZB_CMC.json by zac.zhan |  |  |  |  |  |  |
| 51 | B |  |  | [defect] commit fanprofile H262-Z62-00_CMC.json by zac.zhan |  |  |  |  |  |  |
| 52 | B |  |  | [detect] modify delete mode.(if fanprofile error list, devmap error list & parser error list exists, delete these files) |  |  |  |  |  |  |
| 53 | B |  |  | [defect] commit fanprofile R262_ZA2.json by linus.shen |  |  |  |  |  |  |
| 54 | B |  |  | [defect] add missing devmap./ |  |  |  |  |  |  |
| 55 | B |  |  | [defect] modify devmap for TO24 |  |  |  |  |  |  |
| 56 | B |  |  | [defect]update the sensor number |  |  |  |  |  |  |
| 57 | B |  |  | [defect] add missing devmap. |  |  |  |  |  |  |
| 58 | B |  |  | [defect] remove soft link of G292-Z2A-NJ.xml |  |  |  |  |  |  |
| 59 | B |  |  | [defect] copy G292-Z2A-NJ base on G292-Z24-00 and remove GPU_FAN 12,56 |  |  |  |  |  |  |
| 60 | B |  |  | [defect] delete generator 2600 sku and add S260-NF1-00 devmap |  |  |  |  |  |  |
| 61 | F |  |  | [feature] add H262-PC1-ES-DUG-001 CMC devmap |  |  |  |  |  |  |
| 62 | B |  |  | [defect] modify devmap for TO24 |  |  |  |  |  |  |
| 63 | B |  |  | [defect] remove psu get from E4 power board |  |  |  |  |  |  |
| 64 | B |  |  | [defect] Fix BoardProductName shows wrong information |  |  |  |  |  |  |
| 65 | B |  |  | [defect] remove sku 2600 link |  |  |  |  |  |  |
| 66 | F |  |  | [feature] add sku/devmap for G292-Z46-SW-BB-001 |  |  |  |  |  |  |
| 67 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 68 | B |  |  | [defect] update H262-PC1-ES-DUG-001 CMC devmap sensor |  |  |  |  |  |  |
| 69 | B |  |  | Merged revision 7060 from CommonRTP1.8_rc :[defeat] Block HPM_BMC parameter from BMC Fw Update |  |  |  |  |  |  |
| 70 | F |  |  | [feature] support to change Redundancy mode |  |  |  |  |  |  |
| 71 | B |  |  | [defect] rename one of redundant mode property to NotRedundant |  |  |  |  |  |  |
| 12.60.29 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Allow negative values to be stored for sensor lower threshold via webui./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] fix BOOTFW version not correct in ipmi hpm check command. |  |  |  |  |  |  |
| 3 | F |  |  | [redfish] Init and Update PSU status |  |  |  |  |  |  |
| 4 | B |  |  | [defect] commit fanprofile H262-Z61-SW-G2-002_CMC.json by zac.zhan |  |  |  |  |  |  |
| 5 | F |  |  | 1.add devmaps MH61-HD4-GL |  |  |  |  |  |  |
| 6 | F |  |  | [feature] add PSU1/PUS2 INLET TEMP sensor to G152-ZL0-00 |  |  |  |  |  |  |
| 7 | B |  |  | [defect] remove raid sensor for S472-Z30 |  |  |  |  |  |  |
| 8 | B |  |  | [defect] commit fanprofile G152-ZL0.json by rick.kao |  |  |  |  |  |  |
| 9 | B |  |  | [defect] commit fanprofile MX33_BS0.json by jeff.wang |  |  |  |  |  |  |
| 10 | B |  |  | [defect] commit fanprofile G482_Z50.json by linus.shen |  |  |  |  |  |  |
| 11 | B |  |  | [defect] change G292-Z2A-NJ sku position and link with G292-Z24-00 |  |  |  |  |  |  |
| 12 | B |  |  | [defect]Modify MZC2-TS0 devmap. |  |  |  |  |  |  |
| 13 | B |  |  | [defect] 1.modify node power sensor for H262-Z61-SW-G2-002 2.add inlet temp sensor for H262-Z61-SW-G2-002 |  |  |  |  |  |  |
| 14 | B |  |  | [defect] add M2 sensor and CAT34TS02_TEMP for S251-3O1-00 |  |  |  |  |  |  |
| 15 | F |  |  | [feature] add devmap of R281-3C2-ES-SunComputerDubai-001 |  |  |  |  |  |  |
| 16 | F |  |  | [feature] add SKU/devmap of H242-Z11-BY based on H242-Z11-00 and add PSU Input Power sensor |  |  |  |  |  |  |
| 17 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Change MZ42G21 series's fan-profile to G292_Z45 and generate G292_Z45.json base on G292_Z44.json(r7457) |  |  |  |  |  |  |
| 19 | F |  |  | [redfish] Init and Update PSU status |  |  |  |  |  |  |
| 20 | F |  |  | [feature] Add raw data/sensor reading value to redfish log and save other type sensor to redis. |  |  |  |  |  |  |
| 21 | B |  |  | Merged revision 6987 from CommonRTP1.8_rc :[defeat] set TotalSystemMemoryGiB by inventory to avoid value is 0 |  |  |  |  |  |  |
| 22 | B |  |  | Merged revision 7060 from CommonRTP1.8_rc :[defeat] Block HPM_BMC parameter from BMC Fw Update |  |  |  |  |  |  |
| 12.60.27 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Disable gpu inventory page if current GPU is not one of the NVIDIA A100 series./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] fix did't show data on GPU Inventory with A100 40G |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Add BIOS keepalive feature. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] add sku/devmap of MZ12-HD7-SU and MZ12-HD7-00 base on MZ12-HD7-C4 |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add lan_temp sensor to G152-ZL0-00 |  |  |  |  |  |  |
| 6 | B |  |  | [defect] rename LAN_TEMP of G152-ZL0-00 |  |  |  |  |  |  |
| 7 | F |  |  | [feature] add devmap of W353-I00-ES-MultilaserPro-001 |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmaps MH61-HD3-GL/TO22-C21-GL/TO22-C22-GL |  |  |  |  |  |  |
| 9 | B |  |  | [defect] commit fanprofile H262-Z61-SW-G2-002_CMC.json by zac.zhan |  |  |  |  |  |  |
| 10 | B |  |  | 1.add devmaps MH61-HD4-GL |  |  |  |  |  |  |
| 11 | F |  |  | [feature] add PSU1/PUS2 INLET TEMP sensor to G152-ZL0-00 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] remove raid sensor for S472-Z30 |  |  |  |  |  |  |
| 13 | B |  |  | [defect] commit fanprofile G152-ZL0.json by rick.kao |  |  |  |  |  |  |
| 14 | B |  |  | Merged revision(s) 7525 from trunk/CommonRTP1.8_rc:/[defect] Declare C function one time, or table overflow happened and sometimes get eventLog_list will return 0 data,then try to get data again./ |  |  |  |  |  |  |
| 12.60.25 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [merge] merge 4108 and 4109 and 7646 modify sel_HDD count by sku. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] commit fanprofile Default.json by eason.tsai |  |  |  |  |  |  |
| 3 | B |  |  | [defect] commit fanprofile G482_Z53.json by linus.shen |  |  |  |  |  |  |
| 4 | B |  |  | [merge][defect] /modify the webui error msg that the raid operation failed./fix problems caused when operating raid./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] remove CPU_DTS for H233-Z80-AAN1-000_CMC, H233-Z80-AAW1-000_CMC, H273-Z80-AAN1-000_CMC, H273-Z80-AAW1-000_CMC, H273-Z81-AAN1-000_CMC, H273-Z81-AAW1-000_CMC, H273-Z82-AAN1-000_CMC, H273-Z82-AAW1-000_CMC, H273-ZL0-AA1-00_CMC, H273-ZL0-AB1-00_CMC |  |  |  |  |  |  |
| 6 | B |  |  | [defect] modify H233/H273 ,CNBH34 NVMe sensor slot value for fix NVMe sensor disable |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile R282_Z93_00.json by kate.kung |  |  |  |  |  |  |
| 8 | B |  |  | [defect] revert r6090 and r6091 |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Add SDR P_VDDCR_MC12 copy from P_VDDCR according to requests for MC12-LE0-00 |  |  |  |  |  |  |
| 10 | B |  |  | [defect][CMC] Fix CMC not will received HDD sensor of type drive_slot for H233/H273/ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] modify devmap of G152-ZL0 by request form |  |  |  |  |  |  |
| 12 | B |  |  | [defect] redefine position number of BPB HDD from HDD0 to HDD50 for S472-Z30 |  |  |  |  |  |  |
| 13 | B |  |  | [defect] fix the mouse on COM2 can not work for S472-Z30 |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Add raid sensor path back to S252-CZ0. |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Modify MZ32-AR1 is enable UART2 |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Separate G262_ZO0 to use other fanprofile |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Rename fanprofile G262-ZO0 to G262_ZO0. |  |  |  |  |  |  |
| 18 | B |  |  | [defect] test svn cp function |  |  |  |  |  |  |
| 19 | B |  |  | Revert "[defect] test svn cp function" |  |  |  |  |  |  |
| 20 | F |  |  | [feature] add devmap of R272-B50-CD |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Modify not to support VLAN ID 1./ |  |  |  |  |  |  |
| 22 | F |  |  | [feature] add devmap of R162-Z12-CD3./ |  |  |  |  |  |  |
| 23 | F |  |  | [feature] add devmap/SKU of G482-Z54-SW-CM-001 |  |  |  |  |  |  |
| 24 | F |  |  | [feature] add devmap/SKU of G152-001-C4 |  |  |  |  |  |  |
| 25 | B |  |  | [defect] Add RAID sensor of S472-Z30-00. |  |  |  |  |  |  |
| 26 | B |  |  | [defect] change fan name by request form |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Mapping fan,votlage and other temperatures sensor name/value to redfish log. |  |  |  |  |  |  |
| 28 | F |  |  | [feature] add devmap of TO24-JD0, TO24-JD1 |  |  |  |  |  |  |
| 29 | B |  |  | [defect] Set sensor severity value to ok when get deassert event. |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Modify VR sensor for R262-ZA0-00./ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] Modify PSU I/O sensor for R162-Z12-CD and R162-Z13-CD |  |  |  |  |  |  |
| 32 | B |  |  | [defect] commit fanprofile G482_Z53.json by linus.shen |  |  |  |  |  |  |
| 33 | B |  |  | [defect] add H100 UC/UNC to pci_devices |  |  |  |  |  |  |
| 34 | F |  |  | [feature] add devmap of R162-Z13-CD3./ |  |  |  |  |  |  |
| 35 | F |  |  | [feature] add devmap of S253-JF0, S253-EF0 |  |  |  |  |  |  |
| 36 | F |  |  | [feature] add devmap of H261-004-NJ2 |  |  |  |  |  |  |
| 37 | B |  |  | [defect] fix GPU_TEMP is same as GPU_MEM_TEMP |  |  |  |  |  |  |
| 38 | B |  |  | [defect] fix status is not ready to cause gpu temp is 0 |  |  |  |  |  |  |
| 39 | B |  |  | Merged revision(s) 7525 from trunk/CommonRTP1.8_rc:/[defect] Declare C function one time, or table overflow |  |  |  |  |  |  |
| 40 | F |  |  | [feature] add sku/devmap of MZ12-HD7-SU and MZ12-HD7-00 base on MZ12-HD7-C4 |  |  |  |  |  |  |
| 12.60.23 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [merge] merge 4108 and 4109 and 7646 modify sel_HDD count by sku. |  |  |  |  |  |  |
| 2 | B |  |  | [merge][defect] /modify the webui error msg that the raid operation failed./fix problems caused when operating raid./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect][CMC] Fix NVMe Temp will return NA for CNBH32 and CNBH34 platform/ |  |  |  |  |  |  |
| 4 | F |  |  | [feature] add H262-NO0-SW-G2-003, H262-Z61-SW-G2-002 CMC devmap |  |  |  |  |  |  |
| 5 | F |  |  | [feature] add devmap of H262-Z61-SW-G2-002 |  |  |  |  |  |  |
| 6 | B |  |  | [defect] commit fanprofile Default.json by eason.tsai |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile G482_Z53.json by linus.shen |  |  |  |  |  |  |
| 8 | B |  |  | [defect] remove CPU_DTS for H233-Z80-AAN1-000_CMC, H233-Z80-AAW1-000_CMC, H273-Z80-AAN1-000_CMC, H273-Z80-AAW1-000_CMC, H273-Z81-AAN1-000_CMC, H273-Z81-AAW1-000_CMC, H273-Z82-AAN1-000_CMC, H273-Z82-AAW1-000_CMC, H273-ZL0-AA1-00_CMC, H273-ZL0-AB1-00_CMC |  |  |  |  |  |  |
| 9 | B |  |  | [defect] modify H233/H273 ,CNBH34 NVMe sensor slot value for fix NVMe sensor disable |  |  |  |  |  |  |
| 12.60.21 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add G262-ZR0-SW-TS-002 devmap/sku base on G262-ZR0-00 |  |  |  |  |  |  |
| 2 | B |  |  | [defect] add NVME card sensor |  |  |  |  |  |  |
| 3 | B |  |  | [defect] modify current sensor critical for G241-G41 devmap |  |  |  |  |  |  |
| 4 | F |  |  | [feature] add BF2 sensor of G492-ZD2 |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add devmap of H262-Z6A-Y9 |  |  |  |  |  |  |
| 6 | B |  |  | [defect] modify CMC CNBH0G system node current sensor for support 0.3m and 0.5m Rsense |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile R182_003.json by peter.lin2 |  |  |  |  |  |  |
| 8 | B |  |  | [defect][CMC] Fixed an issue where NVMe temp would detect busbar temp for H263 and H273/ |  |  |  |  |  |  |
| 9 | B |  |  | [defect][CMC] Fixed an issue where NVMe temp would detect busbar temp for H233/ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] CMC H233 system add GPU sensor |  |  |  |  |  |  |
| 11 | B |  |  | [defect] CMC H233 remove unused sensor (node01/04) |  |  |  |  |  |  |
| 12 | B |  |  | [defect] show PORT/RAID status for tank./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] CMC H233 system add M2 sensor |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile H233-Z80-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 15 | B |  |  | [defect] commit fanprofile H233-Z80-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Modify ADC sensor for MC12-LE0-00 |  |  |  |  |  |  |
| 17 | B |  |  | [defect] commit fanprofile CNBH30.json by marc.huang |  |  |  |  |  |  |
| 18 | B |  |  | [defect] commit fanprofile H262-NO0-00_CMC.json by marc.huang |  |  |  |  |  |  |
| 19 | B |  |  | [defect] commit fanprofile H262-NO1-00_CMC.json by marc.huang |  |  |  |  |  |  |
| 20 | B |  |  | [defect] commit fanprofile H262-PC0-00_CMC.json by marc.huang |  |  |  |  |  |  |
| 21 | B |  |  | [defect] commit fanprofile H262-PC0-ES-Ciara-027_CMC.json by marc.huang |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile H262-PC1-00_CMC.json by marc.huang |  |  |  |  |  |  |
| 23 | B |  |  | [defect] commit fanprofile H262-PC1-ES-CGG-001_CMC.json by marc.huang |  |  |  |  |  |  |
| 24 | B |  |  | [defect] commit fanprofile H262-PC2-00_CMC.json by marc.huang |  |  |  |  |  |  |
| 25 | B |  |  | [defect] commit fanprofile R282_Z96.json by kate.kung |  |  |  |  |  |  |
| 26 | B |  |  | [defect] commit fanprofile Default.json by eason.tsai |  |  |  |  |  |  |
| 27 | B |  |  | [defect] commit fanprofile R282_Z93_00.json by peter.lin2 |  |  |  |  |  |  |
| 28 | F |  |  | [feature] add two group of PCIE sensor |  |  |  |  |  |  |
| 29 | B |  |  | [defect] update sensor name of CX6 |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Remove PHYSICAL_SECUR sensor from MZ31-AR0-00 & MZ32-AR0-00 & MZ32-AR1-00(except S472-Z30-00) |  |  |  |  |  |  |
| 31 | B |  |  | [defect] Remove PHYSICAL_SECUR sensor from R272-Z32-00 |  |  |  |  |  |  |
| 32 | B |  |  | [defect] Separate G492-ZL2 to use other fanprofile |  |  |  |  |  |  |
| 33 | B |  |  | [defect] commit fanprofile G492_ZD0.json by tim.kuo |  |  |  |  |  |  |
| 34 | B |  |  | [defect] separate I282-ZD0 series to use other fanprofile |  |  |  |  |  |  |
| 35 | B |  |  | [defect] Change RAID Management to PCIe Slot 6 of S252-ZC0-00/S252-ZC1-00's devmap. |  |  |  |  |  |  |
| 36 | B |  |  | [defect] Modify ADC sensor and add new sdr of P_VDDCR_MC12 according to requests for MC12-LE0-00 |  |  |  |  |  |  |
| 37 | B |  |  | [defect] add H261-004-NJ2 CMC devmap |  |  |  |  |  |  |
| 38 | B |  |  | [defect] Remove GPU detection from WebUI./ |  |  |  |  |  |  |
| 39 | B |  |  | [defect][CMC] Set default fan duty to 80%. / |  |  |  |  |  |  |
| 40 | B |  |  | [defect][CMC] Revert r7626 (not in trunk) / |  |  |  |  |  |  |
| 41 | B |  |  | [defect] fix ampere system power on always write CPU UNC/UC |  |  |  |  |  |  |
| 42 | B |  |  | [defect] modify I40_1020 UC/UNC |  |  |  |  |  |  |
| 43 | B |  |  | [defect] Modify ADC sensor and add new sdr of P_VDDCR_MC12 according to requests for MC12-LE0-00 |  |  |  |  |  |  |
| 44 | B |  |  | [defect] Modify upper threshold of SDR P_VDDCR_MC12 according to requests for MC12-LE0-00 |  |  |  |  |  |  |
| 12.60.19 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] avoid the value is over define size lead to get wrong value |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Remove GPU detection from WebUI./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] commit fanprofile R282_Z93_00.json by kate.kung |  |  |  |  |  |  |
| 4 | F |  |  | [feature] Add G262-ZR0-SW-TS-002 devmap/sku base on G262-ZR0-00 |  |  |  |  |  |  |
| 12.60.17 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | Merged revision(s) 7511 form tag/test_version/12.60/12.60.83:[defect] read ADM1278 ID reg 0x9a for detect adm1278 / INA219 device |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Modify the chinese translation of chassis./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] add ADM1278_CUR2 function for peak 5.16A |  |  |  |  |  |  |
| 4 | B |  |  | [defect] add I5.16_1020 SDR for TO52/32 system ADM1278 sensor |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add I40/45/90/95 SDR |  |  |  |  |  |  |
| 6 | B |  |  | [defect] qualcomm temp value can't be 0 when no card on slot |  |  |  |  |  |  |
| 7 | F |  |  | [feature] Add nvidia A30X card into PCI device list./ |  |  |  |  |  |  |
| 8 | B |  |  | [merge]merge gpu set Uc/Unc by pci_devices json. |  |  |  |  |  |  |
| 9 | B |  |  | [defect] update gpu threshold. |  |  |  |  |  |  |
| 10 | B |  |  | [defect]modify pci_devices json from Bruce to update gpu Uc/Unc |  |  |  |  |  |  |
| 11 | B |  |  | [defect] 1.add I300/140/85/50/25/15_1020 SDR 2.modify I40 SDR M value from 64 to 32 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] avoid the value is over define size lead to get wrong value |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Don't translate memory GB into Mib from SMBIOS. |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile G242_P32.json by kevin.tsan |  |  |  |  |  |  |
| 15 | B |  |  | [defect] fix webui no show AIR temp sensor |  |  |  |  |  |  |
| 16 | F |  |  | [feature] Add sensor of SYS_POWER for R281-3C3-HP/R181-2A1-HP./ |  |  |  |  |  |  |
| 17 | F |  |  | [feature] add G482-Z54-ES-Neuchips GPU_TEMP 9&10 |  |  |  |  |  |  |
| 18 | F |  |  | [feature] add efi-aarch64 SKU package. |  |  |  |  |  |  |
| 19 | F |  |  | [feature] add efi-aarch64 SKU package. |  |  |  |  |  |  |
| 20 | F |  |  | [feature] add G482-Z54-SW-HY-001 sku/devmap and RAID Management on it ,copy base on G482-Z54-00 |  |  |  |  |  |  |
| 21 | B |  |  | [defect] modify current sensor critical |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile G482_Z53.json by linus.shen |  |  |  |  |  |  |
| 23 | B |  |  | [defect] add RAID sensor to devmap for R272-Z30-00 |  |  |  |  |  |  |
| 24 | B |  |  | [defect] commit fanprofile G292_Z22.json by bruce.su |  |  |  |  |  |  |
| 25 | B |  |  | [defect] update TO52-Z50-ZB sensor critical |  |  |  |  |  |  |
| 26 | B |  |  | [defect] add CNBH0S-00 ,CMC H223-S10-AAP1-000 devmap |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Change H261-003-IC to "Milan" platform./ |  |  |  |  |  |  |
| 28 | B |  |  | [defect] add NVME sensor for R152-P33-00 |  |  |  |  |  |  |
| 29 | B |  |  | [defect] update PMC_TEMP sensor of G292-Z40 |  |  |  |  |  |  |
| 30 | B |  |  | [defect] modify 12V_CPU0/1 sensor parameter for G241-G40-00 |  |  |  |  |  |  |
| 31 | B |  |  | [defect] commit fanprofile R152_P33.json by kevin.tsan |  |  |  |  |  |  |
| 32 | B |  |  | [defetc] fix can't read GPU2 temp |  |  |  |  |  |  |
| 33 | B |  |  | [revert] revert r7603 [defetc] fix can't read GPU2 temp |  |  |  |  |  |  |
| 12.60.15 |  |  |  |  |  |  |  |  |  |  |
| 1 | B |  |  | [defect] Only A100 series can show GPU info |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Show GPU inventory page when GPU is detected./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Require/Import GPU collection into app.js./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Adjust SEL log message length to 512, and fix role privileges array size not fit issue./ |  |  |  |  |  |  |
| 5 | B |  |  | Merged revision(s) 6986 from branch/V12.2_20191206_FK_20220212:[defect] add power off Deassertion sel log. |  |  |  |  |  |  |
| 6 | B |  |  | [defect] add E50SN_CUR2 function |  |  |  |  |  |  |
| 7 | B |  |  | Merged revision(s) 7534,7535 from tags/test_version/12.60/12.60.82/[defect] Fix KVM cannot connect with proxy./ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] WA solution for fixing IPMB could not send between CMC and BMC./merge from http://10.1.116.221/svn/AMI/tags/test_version/12.60/12.60.84 r7493/ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] commit fanprofile CNBH34.json by marc.huang |  |  |  |  |  |  |
| 10 | B |  |  | [defect] commit fanprofile H273-Z80-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 11 | B |  |  | [defect] commit fanprofile H273-Z80-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile H273-Z81-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 13 | B |  |  | [defect] commit fanprofile H273-Z81-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile H273-Z82-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 15 | B |  |  | [defect] commit fanprofile H273-Z82-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 16 | B |  |  | [defect] add H262-PC1-ES-CGG-001 CMC devmap sensor. |  |  |  |  |  |  |
| 17 | B |  |  | [defect] revert r7433 devmap of G182-C20-00 |  |  |  |  |  |  |
| 18 | B |  |  | [defect] add MB_TEMP3 for R272-Z31-00 and R272-Z31-OB1 |  |  |  |  |  |  |
| 19 | B |  |  | [defect] update the INA219 acclosing value |  |  |  |  |  |  |
| 20 | F |  |  | [feature] add G482-Z54-ES-Neuchips EXT_FAN3/4 sensor |  |  |  |  |  |  |
| 21 | F |  |  | [feature] add devmap/sku of H252-Z12-T6 and MZ12-HD8-T6 base on H252-Z12-00 & MZ12-HD8-00 |  |  |  |  |  |  |
| 22 | B |  |  | [defect] update the ADM1278 address |  |  |  |  |  |  |
| 23 | B |  |  | [defect] commit fanprofile R272_Z32.json by marc.huang |  |  |  |  |  |  |
| 24 | B |  |  | [defect] modify FRU for MZ12-HD8-T6 and H252-Z12-T6 |  |  |  |  |  |  |
| 25 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 26 | B |  |  | [defect] add NIC card sensor for G242-P32 |  |  |  |  |  |  |
| 27 | B |  |  | [defect] remove the GPU sensor and fan |  |  |  |  |  |  |
| 28 | B |  |  | [defect] add CMC CNBH0P-T6 ,H252-Z12-T6_CMC devmap |  |  |  |  |  |  |
| 29 | B |  |  | [defect] modify gpu name for R281-3C4-YE |  |  |  |  |  |  |
| 30 | B |  |  | [defect] commit fanprofile CNBH34.json by marc.huang |  |  |  |  |  |  |
| 31 | B |  |  | [defect] commit fanprofile H273-Z82-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 32 | B |  |  | [defect] commit fanprofile H273-Z82-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 33 | B |  |  | [defect] commit fanprofile H273-Z81-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 34 | B |  |  | [defect] commit fanprofile H273-Z81-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 35 | B |  |  | [defect] commit fanprofile H273-Z80-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 36 | B |  |  | [defect] commit fanprofile H273-Z80-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 37 | B |  |  | [defect] add Mellanox BF2 sensor to devmap of G492-Z51-00 |  |  |  |  |  |  |
| 38 | B |  |  | [defect] commit fanprofile R282_Z96.json by peter.lin2 |  |  |  |  |  |  |
| 39 | B |  |  | [defect] hide the 12V sensor |  |  |  |  |  |  |
| 40 | B |  |  | [defect] commit fanprofile G482_Z50.json by linus.shen |  |  |  |  |  |  |
| 41 | B |  |  | [defect] update the sensor and MB CPLD version |  |  |  |  |  |  |
| 42 | F |  |  | [feature] add devmap/sku of G292-Z2A-NJ based on G292-Z21-NJ |  |  |  |  |  |  |
| 43 | F |  |  | [feature] add G482-Z54-ES-Neuchips EXT_FAN1/2 sensor |  |  |  |  |  |  |
| 44 | B |  |  | [defect] commit fanprofile R282_Z93_00.json by kate.kung |  |  |  |  |  |  |
| 45 | B |  |  | [defect] add R152-P33 sku devmap |  |  |  |  |  |  |
| 46 | B |  |  | [defect] Add INA219 sensor in G292-Z43 |  |  |  |  |  |  |
| 47 | B |  |  | [defect] commit fanprofile G482_Z53.json by linus.shen |  |  |  |  |  |  |
| 48 | B |  |  | [defect] update INA219 acclosing value. |  |  |  |  |  |  |
| 49 | B |  |  | [defect] commit fanprofile G482_Z53.json by linus.shen |  |  |  |  |  |  |
| 50 | B |  |  | [defect] remove hide tag for AIR Temp |  |  |  |  |  |  |
| 51 | B |  |  | [defect] Add qualcomm sensor of G292-Z24 |  |  |  |  |  |  |
| 52 | B |  |  | [defect] remove MB_CPLD_VER , update the CPLD_VERSION and remove SPECPower policy from fanpolicy |  |  |  |  |  |  |
| 53 | B |  |  | [defect] Add INA219 sensor of G292-Z4X |  |  |  |  |  |  |
| 54 | B |  |  | [defect] commit fanprofile G242_P31.json by kevin.tsan |  |  |  |  |  |  |
| 55 | B |  |  | [defect] remove the gpu , nvme , ocp sensor |  |  |  |  |  |  |
| 56 | B |  |  | [defect] modify TO52/32 current sensor |  |  |  |  |  |  |
| 57 | B |  |  | [defect] commit fanprofile R262_ZA2.json by peter.lin2 |  |  |  |  |  |  |
| 58 | F |  |  | [feature] add devmap of I152-ZC0-TS./ |  |  |  |  |  |  |
| 59 | B |  |  | [defect] update the fan can read and cab be controll |  |  |  |  |  |  |
| 60 | B |  |  | [defect] Set Severity as Critical when Entrycode is Deassert |  |  |  |  |  |  |
| 61 | B |  |  | [defect] Change comment to describe want it doing |  |  |  |  |  |  |
| 12.60.13 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add A100X into pci devices list./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Merge r7184: Modify Support Belfuse power brick for TO52-Z50./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Fixed an issue where chassis Power-Consumption help info shown in wrong language./ |  |  |  |  |  |  |
| 4 | F |  |  | [feature] Show NIC IP info on page NIC inventory./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Merge AMI issue patch: Fix to prevent IPMI Authenticatin bypass when RMCP is enable |  |  |  |  |  |  |
| 6 | F |  |  | [Merge][feature] Only support get bios backup version on ROT mode of Ampere./[Merge][feature] Only support get bios backup version on DUAL/ROT mode of Ampere(AST2500)./[Merge][defect] Fix clean build error/[Merge][defect] Add SKU platform tag "ARM" for deternmine Ampere platform/Merge from http://10.1.116.221/svn/AMI/trunk/V12.2_20191206_rc r7414 to r7416/ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile G482_Z50.json by peter.lin2 |  |  |  |  |  |  |
| 8 | B |  |  | [defect] commit fanprofile CNBH32.json by kate.kung |  |  |  |  |  |  |
| 9 | B |  |  | [defect] commit fanprofile H263-S60-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 10 | B |  |  | [defect] commit fanprofile H263-S60-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 11 | B |  |  | [defect] commit fanprofile H263-S61-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile H263-S61-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 13 | B |  |  | [defect] commit fanprofile H263-S62-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile H263-S62-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 15 | B |  |  | [defect] commit fanprofile H263-S63-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 16 | B |  |  | [defect] commit fanprofile H263-S63-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 17 | B |  |  | [defect] commit fanprofile H263-S64-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 18 | B |  |  | [defect] commit fanprofile H263-S64-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 19 | B |  |  | [defect] commit fanprofile CNBH32.json by kate.kung |  |  |  |  |  |  |
| 20 | B |  |  | [defect] commit fanprofile H263-S60-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 21 | B |  |  | [defect] commit fanprofile H263-S60-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile H263-S61-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 23 | B |  |  | [defect] commit fanprofile H263-S61-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 24 | B |  |  | [defect] commit fanprofile H263-S62-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 25 | B |  |  | [defect] commit fanprofile H263-S62-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 26 | B |  |  | [defect] commit fanprofile H263-S63-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 27 | B |  |  | [defect] commit fanprofile H263-S63-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 28 | B |  |  | [defect] commit fanprofile H263-S64-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 29 | B |  |  | [defect] commit fanprofile H263-S64-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 30 | B |  |  | [defect] commit fanprofile H273-Z82-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 31 | B |  |  | [defect] commit fanprofile H273-Z82-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 32 | B |  |  | [defect] commit fanprofile H273-Z81-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 33 | B |  |  | [defect] commit fanprofile H273-Z81-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 34 | B |  |  | [defect] commit fanprofile H273-Z80-AAW1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 35 | B |  |  | [defect] commit fanprofile H273-Z80-AAN1-000_CMC.json by marc.huang |  |  |  |  |  |  |
| 36 | B |  |  | [defect] commit fanprofile CNBH34.json by marc.huang |  |  |  |  |  |  |
| 37 | B |  |  | [defect] commit fanprofile MP32_AR1.json by mike.yu |  |  |  |  |  |  |
| 38 | B |  |  | [defect] commit fanprofile G482_HA0.json by stanley.yang |  |  |  |  |  |  |
| 39 | B |  |  | [defect] commit fanprofile G292_Z43.json by peter.lin2 |  |  |  |  |  |  |
| 40 | B |  |  | [defect] commit fanprofile H263-S62-LAN1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 41 | B |  |  | [defect] commit fanprofile H263-S62-LAN1-000_CMC.json by zac.zhan |  |  |  |  |  |  |
| 42 | B |  |  | [defect] commit fanprofile G292_Z43.json by bruce.su |  |  |  |  |  |  |
| 43 | F |  |  | [feature] porting G182-C20 sensor |  |  |  |  |  |  |
| 44 | B |  |  | [defect][CMC] Get PSU FRU from storage or PMBUS command follow devmap for CNBH32/ |  |  |  |  |  |  |
| 45 | B |  |  | [defect][CMC] Fix fan sensors name are incorrect for H263-S62-LAN1-000/ |  |  |  |  |  |  |
| 46 | B |  |  | [revert][CMC] Fix fan sensors name are incorrect for H263-S62-LAN1-000/ |  |  |  |  |  |  |
| 47 | B |  |  | [defect][CMC] Fix fan sensors name are incorrect for H263-S62-LAx1-000/ |  |  |  |  |  |  |
| 48 | F |  |  | [feature] add devmap/sku of G482-Z54-ES-Neuchips-001 base on G482-Z54-00 |  |  |  |  |  |  |
| 49 | B |  |  | [defect] add CPU CAPPING sensor to fix Ampere power limit don't set to CPU reg problem. |  |  |  |  |  |  |
| 50 | F |  |  | [feature] Add 4 common BPBID define to handle most project's BPBID. |  |  |  |  |  |  |
| 51 | B |  |  | [SKU Release]MP32-AR1-SW-HZ-001_1650907714 |  |  |  |  |  |  |
| 52 | B |  |  | [defect]add H273-Z82 CMC devmap ,sku ,FSC |  |  |  |  |  |  |
| 53 | B |  |  | [defect]Y2 BIOS/BMC setting requirement for channel servers |  |  |  |  |  |  |
| 54 | B |  |  | [defect]add G292 and H262 and S251 devmap and sku |  |  |  |  |  |  |
| 55 | B |  |  | [defect]G292 and H262 and S251 devmap and sku update |  |  |  |  |  |  |
| 56 | B |  |  | [defect]add MZ62-HD0-NJ2 sku and devmap |  |  |  |  |  |  |
| 57 | B |  |  | [defect] G241 power board change to v2.0 of INA219 |  |  |  |  |  |  |
| 58 | B |  |  | [defect] update the HIC_TEMP number |  |  |  |  |  |  |
| 59 | B |  |  | [defect] V11 HPM git merge to V12 |  |  |  |  |  |  |
| 60 | B |  |  | [defect] revert 7286 V11 HPM git merge to V12 |  |  |  |  |  |  |
| 61 | B |  |  | [defect] remove I2C chnl 1 |  |  |  |  |  |  |
| 62 | B |  |  | [defect] add sensor INA219 and update HDD value |  |  |  |  |  |  |
| 63 | B |  |  | [defect] modity R181 R281 fanprofile form V11.7 |  |  |  |  |  |  |
| 64 | B |  |  | [defect] add INA219 sensor |  |  |  |  |  |  |
| 65 | B |  |  | [defect] update INA219 for CPDGDSA V30 |  |  |  |  |  |  |
| 66 | B |  |  | [defect] update the link number |  |  |  |  |  |  |
| 67 | B |  |  | [defect] remove ADM1278 |  |  |  |  |  |  |
| 68 | B |  |  | [defect] add devmap sensor BMC can get the inactive BIOS version |  |  |  |  |  |  |
| 69 | B |  |  | [defect] add raid card sensor |  |  |  |  |  |  |
| 70 | B |  |  | [defect] update CPDGDSA_V30(INA219) for G241-G40/G41 |  |  |  |  |  |  |
| 71 | F |  |  | [feature] add devmap of R182-Z90-SN./ |  |  |  |  |  |  |
| 72 | B |  |  | Add function to List devmap error and fanprofile error systems |  |  |  |  |  |  |
| 73 | B |  |  | [defect] CNBH34 add M2 sensor |  |  |  |  |  |  |
| 74 | B |  |  | [defect] add G482-HA0-SW-CX-001 devmap |  |  |  |  |  |  |
| 75 | B |  |  | [defect] G482-HA0-SW-CX-001 remove EXT_FAN sensor |  |  |  |  |  |  |
| 76 | B |  |  | [defect] modify model name from G482-HA0-SW-CX-001 to G481-HA0-SW-CX-001 |  |  |  |  |  |  |
| 77 | B |  |  | [defect] add CMC H262-Z6B-ES-Ubisoft-003 devmap |  |  |  |  |  |  |
| 78 | B |  |  | [defect] update CMC H263-S62/63-LAN1 FSC |  |  |  |  |  |  |
| 79 | B |  |  | [defect] CMC inlet_temp sensor use MB_TEMP SDR |  |  |  |  |  |  |
| 80 | B |  |  | [defect] update GPU ADM1278_IOUT/VOUT sensor |  |  |  |  |  |  |
| 81 | B |  |  | [defect] update GPU sensor for G152-Z12 |  |  |  |  |  |  |
| 82 | F |  |  | [feature] add devmap/sku of H262-Z6A-ES-Ciara-029 base on H262-Z6A-00 |  |  |  |  |  |  |
| 83 | B |  |  | [defect] remove duplicate chnl path |  |  |  |  |  |  |
| 84 | F |  |  | [feature] Add MZ32-AR0-SW-JN-001 for Phison/ |  |  |  |  |  |  |
| 85 | B |  |  | [defect] fix validator missingNamespaces error |  |  |  |  |  |  |
| 86 | B |  |  | [feature] add HTTP method for redfish mount iso |  |  |  |  |  |  |
| 12.60.11 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | Merged revision(s) 6935 from trunk/V12.2_20191206_rc:/[feature] Merge SNMP function from Tank branch r5810~r6787, and the sdr/power integer data uses new OID./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] fix the issue that sending opposite messages for case open |  |  |  |  |  |  |
| 3 | B |  |  | [defect] remove raid card and add nic card by G242-002-UL |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Add INA219 sensor in G492-Z51 and G482-Z54. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] commit fanprofile R282_Z93_00.json by kate.kung |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Modify Support Belfuse power brick for TO52-Z50/ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Add INA219 sensor in G482-Z50, G482-Z51, and G482-Z53. |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add G152-ZL0-00 sku/devmap |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Add INA219 sensor in G242-Z10. |  |  |  |  |  |  |
| 10 | B |  |  | [defect] G481/G482 PDB ADM1278 change to INA219 |  |  |  |  |  |  |
| 11 | B |  |  | [defect] G242 power board(CBPG041) change to v2.0 of INA219 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] Add INA219 sensor in G242-Z11. |  |  |  |  |  |  |
| 13 | B |  |  | [defect] remove CPU1 ADC sensor of G242-Z10 |  |  |  |  |  |  |
| 14 | B |  |  | [defect] remove duplicate sensor |  |  |  |  |  |  |
| 15 | B |  |  | [defect] remove PHYSICAL_SECUR hide tag in S472-Z30 |  |  |  |  |  |  |
| 12.60.09 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Merge r5038 r5039 from V12.2_20191206_rc, let HBA card info can displayed by webui and sync to redfish/ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix: webui can not display HBA card info/ |  |  |  |  |  |  |
| 3 | B |  |  | [defeat] change release.sh svn ip/ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] write the value to e4 for A100X and A30X |  |  |  |  |  |  |
| 6 | B |  |  | Merged revision(s) 6496,6633 from trunk/V12.2_20191206_rc:/[feature] Add dynamic device map feature for IGSI projects./[feature] Add OEM command for get/set BPB model name./[defect] Sperate L/S model for Gen3/4 BPB./[feature] Support all MB to check dynamic device map for IGSI projects./[defect] Change BPB CBP-20O5 to CBP-20O8 for IGSI projects./[feature] Add BPB info to IPMI Cfg when factory reset./[feature] Add fan profile RI15 (RI15-L00 & RI15-S00) and RI27 (RI27-L00 & RI27-S00) support for IGSI project./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Synchronize skugen\channel\MainboardIDs.h |  |  |  |  |  |  |
| 8 | B |  |  | [defect] fix ipmitool fru print 5 error issue |  |  |  |  |  |  |
| 9 | B |  |  | merge r6990 from 12.83.72. [defect] Support Nvidia GPU Manager opcode 02h temperature sensor. |  |  |  |  |  |  |
| 10 | B |  |  | [defect] ignore the temp is over critical |  |  |  |  |  |  |
| 11 | B |  |  | [defect] ignore all nvme sensor temp of over upper critical |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 13 | B |  |  | [defect] commit fanprofile H263-S60-AAN1-000_CMC.json by autofan_admin |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile H263-S60-AAN1-000_CMC.json by autofan_admin |  |  |  |  |  |  |
| 15 | B |  |  | [defect] commit fanprofile H263-S60-AAN1-000_CMC.json by autofan_admin |  |  |  |  |  |  |
| 16 | B |  |  | [defect] commit fanprofile H263-S60-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 17 | B |  |  | [defect] commit fanprofile H263-S61-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 18 | B |  |  | [defect] commit fanprofile H263-S61-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 19 | B |  |  | [defect] commit fanprofile H263-S62-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 20 | B |  |  | [defect] commit fanprofile H263-S62-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 21 | B |  |  | [defect] commit fanprofile H263-S63-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile H263-S63-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 23 | B |  |  | [defect] commit fanprofile H263-S64-AAN1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 24 | B |  |  | [defect] commit fanprofile H263-S64-AAW1-000_CMC.json by kate.kung |  |  |  |  |  |  |
| 25 | B |  |  | [defect] commit fanprofile CNBH32.json by kate.kung |  |  |  |  |  |  |
| 26 | B |  |  | [defect] commit fanprofile G242-Z11.json by autofan_admin |  |  |  |  |  |  |
| 27 | B |  |  | [defect] commit fanprofile R281_3C4_YE.json by mike.yu/gigabyte.com |  |  |  |  |  |  |
| 28 | B |  |  | [defect] commit fanprofile T182_Z70.json by TA200092 |  |  |  |  |  |  |
| 29 | B |  |  | [defect][CMC] Modify BPB HDD present status support to more then 16 HDDs for H263-S6x platform/ |  |  |  |  |  |  |
| 30 | F |  |  | [feature] add G152-Z12-00 sku/devmap |  |  |  |  |  |  |
| 31 | B |  |  | [defect] Adjust the GPU UC/UNC value to 105/100, let the system will not be critical all the time. |  |  |  |  |  |  |
| 32 | B |  |  | [defect] add G242-002-UL sku and devmap |  |  |  |  |  |  |
| 33 | B |  |  | [detect] delete link Z42 to Z40 |  |  |  |  |  |  |
| 34 | B |  |  | [defect] update the GPU sensor for G292-Z4x GPU location project |  |  |  |  |  |  |
| 35 | B |  |  | [defect] add INA219 sensor in G481-HA0 devmap |  |  |  |  |  |  |
| 36 | B |  |  | [defect] update the acclosing value by G481-HA0-00 |  |  |  |  |  |  |
| 37 | B |  |  | [defect] modify MZC2-TS0 devmap sensor LM5066. |  |  |  |  |  |  |
| 38 | B |  |  | [defect]modify MZC2-TS0 BUSBAR sensor name |  |  |  |  |  |  |
| 39 | B |  |  | [defect]remove BUSBAR VOUT Sensor in MZC2-TS0-00 |  |  |  |  |  |  |
| 40 | F |  |  | [feature] add devmap of R162-Z13-CD2./ |  |  |  |  |  |  |
| 45 | B |  |  | [defect] add H252-001/002-FC BMC,CMC devmap. |  |  |  |  |  |  |
| 46 | B |  |  | [defect]1. remove ADC7 sensor for H252-Z10-00 ,H252-001-FC 2.remove PCH_TEMP sensor for H252-001-FC CMC |  |  |  |  |  |  |
| 47 | B |  |  | [defect] add I2C 4 NVME / ND0X_TEMP sensor for H262-NO0/PC1 CMC |  |  |  |  |  |  |
| 48 | F |  |  | [feature] follow H262-Z6B-ES-2CRSi-001 system add H262-001-W5 CMC / BMC devmap |  |  |  |  |  |  |
| 49 | B |  |  | [defect] H252-Z10-FK CMC add POUT sensor |  |  |  |  |  |  |
| 50 | B |  |  | [defect] update R281-3C4-YE GPU sensor name. |  |  |  |  |  |  |
| 51 | B |  |  | [defect] remove unused M2_G1/G2_AMB_TEMP ,RISER1_TEMP sensor. |  |  |  |  |  |  |
| 52 | B |  |  | [defect] modify LA project FRU product name |  |  |  |  |  |  |
| 53 | B |  |  | [defect] Add opcode 02h temperature sensor of G262-ZRA-SU. |  |  |  |  |  |  |
| 54 | F |  |  | [feature] Add Mellanox CX6 sensor |  |  |  |  |  |  |
| 55 | B |  |  | [defect] the GPU_SXM_TEMP addr is by slot |  |  |  |  |  |  |
| 56 | F |  |  | [feature] add second Mellanox CX6 sensor and change name. |  |  |  |  |  |  |
| 57 | B |  |  | [defect] sensor no can't use 0xFF |  |  |  |  |  |  |
| 58 | B |  |  | [defect] PHYSICAL_SECUR sensor add hide tag |  |  |  |  |  |  |
| 59 | F |  |  | [feature] add devmap/SKU of G152-Z11-SU (based on G152-Z11-C4) |  |  |  |  |  |  |
| 60 | F |  |  | [redfish] show ctrl_id in StorageController info/ |  |  |  |  |  |  |
| 61 | B |  |  | [defect] add MH61-HD7-ZB devmap |  |  |  |  |  |  |
| 62 | B |  |  | [defect] commit fanprofile G482_Z50.json by TA200092 |  |  |  |  |  |  |
| 63 | B |  |  | [defect] fixed some key mappings are wrong in ikvm French keyboard |  |  |  |  |  |  |
| 64 | B |  |  | [defect] update the acclosing value by G481-HA1-00 |  |  |  |  |  |  |
| 65 | B |  |  | [defect] Merge from test fw 12.60.95: Fix PSU alert mask issue |  |  |  |  |  |  |
| 66 | B |  |  | [defect] ignore all nvme sensor temp of over upper critical 5 degree |  |  |  |  |  |  |
| 67 | B |  |  | [defect] Modify MX23-CE0, MX32-BS0, MX32-BS1 and MX32-BSA are enable UART2/ |  |  |  |  |  |  |
| 12.60.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Some of parameter don't need to release. It lead to ipmi crash when change boot option |  |  |  |  |  |  |
| 2 | B |  |  | [defect]Modify Ti Vr_vpp sensor critical. |  |  |  |  |  |  |
| 3 | B |  |  | [Merge] CMC update Altera CPLD function by SGPIO feature to support MINIDP |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Fix GetNodeID IPMI command no response/Merge from http://10.1.27.226/svn/AMI/trunk/V12.2_20191206_rc r6984 |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add raid_temp sdr and update the raid temp |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Let raid info can sync to redfish when Create/Delete by webui |  |  |  |  |  |  |
| 7 | B |  |  | add pure code |  |  |  |  |  |  |
| 8 | B |  |  | [feature] add H5ViewerFrenchKeyboard |  |  |  |  |  |  |
| 12.60.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | Merged revions(s) 6118 from rc:[defect] when IPMB error don't clear data for keep node page info |  |  |  |  |  |  |
| 2 | B |  |  | Merged revions(s) 6253 from rc:[defect] 1.fix all node capping when insert PSU module 2.merge git d2115a5b:[defect] Fixed can not set alert mask problem |  |  |  |  |  |  |
| 3 | B |  |  | [Merge] add pure code for merge rc commit r5572, r5577, r5603. |  |  |  |  |  |  |
| 4 | B |  |  | [Merge] CMC update Altera CPLD function by SGPIO feature, rc commit r5572, r5577, r5603. |  |  |  |  |  |  |
| 5 | B |  |  | [feature] Add check firmware type in verify image function. (merge from rc r5452) |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Change firmware type judgment to stricter. (merge from rc r5453) |  |  |  |  |  |  |
| 7 | B |  |  | Add pure code. (merge from rc r5476) |  |  |  |  |  |  |
| 8 | B |  |  | [feature] Add the boot option function in H5Viewer KVM. (merge from rc r5477) |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Fix some Chinese translation in the Web UI. (merge from rc r5487) |  |  |  |  |  |  |
| 10 | B |  |  | Merged revision(s) 6095, 6140 from trunk/V12.2_20191206_rc:/[defect] Add the node power status judgment for CMC to filter the non-existent node power readings./[defect] For node power status data struct.// |  |  |  |  |  |  |
| 11 | B |  |  | [defect][CMC] Merge r5963: Fix FAN down to low speed when PTU stress CPU for H262-PC1/NO0/ |  |  |  |  |  |  |
| 12 | B |  |  | Merged revision(s) 6818 from trunk/V12.2_20191206_rc:/[defect] Workaround for BMC backup issue on ROT platform./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Merge r6119: Add support 0xC2, 0xC3 sensor type email format/ |  |  |  |  |  |  |
| 14 | B |  |  | [defect][CMC] Merge r6146: Remove "Save" button in "Power Consumption" page/ |  |  |  |  |  |  |
| 15 | B |  |  | [defect][CMC] Merge r6147: Change CPLD update selection list name to "CPLD" for CMC / |  |  |  |  |  |  |
| 16 | B |  |  | [defect][CMC] Merge r6150: Use compile flag to switch CMC CPLD update name./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect][CMC] Merge r6274: CMC's CPLD not need to power on when upgrade CPLD. (remove message)/ |  |  |  |  |  |  |
| 18 | B |  |  | [defect][CMC] Merge r6273: Modify CR status follow PSU CR command when set PSU CR command./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect][CMC] Revert r6826/ |  |  |  |  |  |  |
| 20 | B |  |  | [defect][CMC] Merge r6273: Modify CR status follow PSU CR command when set PSU CR command./ |  |  |  |  |  |  |
| 21 | B |  |  | [defect][CMC] Mrege r6406: Modify hdd redriver for H262-Z6A-00/ |  |  |  |  |  |  |
| 22 | B |  |  | [defect][CMC] Merge r6575: CMC CR default setting follow devmap when node BMC send enable CR status./ |  |  |  |  |  |  |
| 23 | B |  |  | [Merge] merge rc commit r5968, fix MP32-AR0 SOL not work, for always be set as MPA2-G40. |  |  |  |  |  |  |
| 24 | B |  |  | [Merge] merge rc commit r6084, fix scp upgrade version not change problem mantis 4781. |  |  |  |  |  |  |
| 25 | B |  |  | [Merge] merge rc commit r6137, support cpld hpm upgrade. |  |  |  |  |  |  |
| 26 | B |  |  | [Merge] merge rc commit r6183, for MPA2-G40 set CPU UART default to pin header. |  |  |  |  |  |  |
| 27 | B |  |  | [Merge] merge rc commit r6239, parse smbios type 129 HDD controller name to struct data CtrlName. |  |  |  |  |  |  |
| 28 | B |  |  | [Merge] merge rc commit r6366, Fix bios update over 300 times will fail. |  |  |  |  |  |  |
| 29 | B |  |  | [Merge] merge rc commit r6376, Set PSU mask command must use channel number. |  |  |  |  |  |  |
| 30 | B |  |  | [Merge] merge rc commit r6396, fix PSU set mask command not work, and not use i2c channel number in command. |  |  |  |  |  |  |
| 31 | B |  |  | [Merge] merge rc commit r6774, change SOC_TEMP critical value to 105, 108. |  |  |  |  |  |  |
| 32 | B |  |  | [Merge] merge rc commit r5434, Solve the row deployment on NIC inventory page with two same chips on a LAN card. |  |  |  |  |  |  |
| 33 | B |  |  | [defect] Remove megre confict for CR status/ |  |  |  |  |  |  |
| 34 | F |  |  | Merge revision(s) 5941,5942 from http://10.1.27.226/svn/AMI/trunk/V12.2_20191206_rc: Add pure code/ |  |  |  |  |  |  |
| 35 | F |  |  | Merge revision(s) 5951 from http://10.1.27.226/svn/AMI/trunk/V12.2_20191206_rc:/[feature] Update redfish raid data when create/delete by WEB UI./ |  |  |  |  |  |  |
| 36 | B |  |  | Add pure code, for commit r6863 lost pre-modify. |  |  |  |  |  |  |
| 37 | B |  |  | [defect] for commit r6863 lost pre-modify. |  |  |  |  |  |  |
| 38 | B |  |  | Add pure code for commit r6863 lost code. |  |  |  |  |  |  |
| 39 | B |  |  | [defect] add gbt lib in makefile for commit r6863. |  |  |  |  |  |  |
| 40 | B |  |  | Merged revision(s) 6775 from trunk/V12.2_20191206:[defect] set ADC clock before read ADC voltage. |  |  |  |  |  |  |
| 41 | B |  |  | [defect] commit fanprofile R262_ZA2.json by peter.lin2 |  |  |  |  |  |  |
| 42 | B |  |  | [defect] remove unused FAN for H263-SL0/SL1/SL2/SL3 system |  |  |  |  |  |  |
| 43 | B |  |  | [defect] modify CMC system name |  |  |  |  |  |  |
| 44 | B |  |  | [defect] commit fanprofile G242_P32.json by jerry.kao |  |  |  |  |  |  |
| 45 | B |  |  | [defect] modify inlet temp sensor for H261-H60-00_CMC |  |  |  |  |  |  |
| 46 | F |  |  | [feature] add H242-Z10-SW-DX-001 devmap |  |  |  |  |  |  |
| 47 | B |  |  | [defect] update the GPU name and 12V_GPU |  |  |  |  |  |  |
| 48 | B |  |  | [defect] change MS63 CMC system name |  |  |  |  |  |  |
| 49 | B |  |  | [defect]update the GPU and 12V_GPU sensor |  |  |  |  |  |  |
| 50 | B |  |  | [defect] modify FAN chnl for H263 system |  |  |  |  |  |  |
| 51 | B |  |  | [defect] add devmap/driver about LM5066, Q50SN, ADM1278./ |  |  |  |  |  |  |
| 52 | B |  |  | [defect] commit fanprofile CNBH32.json by rick.kao |  |  |  |  |  |  |
| 53 | B |  |  | [defect] remove unused INA219 sensor for H263 system |  |  |  |  |  |  |
| 54 | B |  |  | [defect] modify FRU for LTech project |  |  |  |  |  |  |
| 55 | F |  |  | Add BP_TEMP sensor |  |  |  |  |  |  |
| 56 | B |  |  | [defect] commit fanprofile G292_Z44.json by peter.lin2 |  |  |  |  |  |  |
| 57 | B |  |  | [defect] update the gpu sensor and sensor no |  |  |  |  |  |  |
| 58 | B |  |  | [defect] hide 12V_GPUx sensor |  |  |  |  |  |  |
| 59 | F |  |  | [feature] Add MZ91-FS0-FK devmap. |  |  |  |  |  |  |
| 60 | B |  |  | [defect] update the GPU sensor |  |  |  |  |  |  |
| 61 | B |  |  | [defect] update the gpu sensor Z46 |  |  |  |  |  |  |
| 62 | F |  |  | [feature] add devmap/sku of R162-ZA1-ES-NorthernData-001/ |  |  |  |  |  |  |
| 63 | B |  |  | [defect] Add devmap for H262-ZLB-NJ2/ |  |  |  |  |  |  |
| 64 | B |  |  | [defect] commit fanprofile G292_Z40.json by peter.lin2 |  |  |  |  |  |  |
| 65 | B |  |  | [defect] remove unused sensor RISER_LAN_1 |  |  |  |  |  |  |
| 66 | F |  |  | [feature] add devmap of MC13-LE0-00./ |  |  |  |  |  |  |
| 67 | B |  |  | [defect][CMC] Fix DC cycle issue for H262 Intel Platform/ |  |  |  |  |  |  |
| 68 | B |  |  | [defect] add M.2A_TMP and M.2B_TMP sensor |  |  |  |  |  |  |
| 69 | B |  |  | [defect] remove HWSKU parameter for H261-003-IC_CMC |  |  |  |  |  |  |
| 70 | B |  |  | [defect] update the GPU sensor and 12V_GPU G292-Z43 |  |  |  |  |  |  |
| 71 | B |  |  | [defect] commit fanprofile G482_Z53.json by bruce.su |  |  |  |  |  |  |
| 72 | B |  |  | [defect] commit fanprofile R162_ZA2.json by kate.kung |  |  |  |  |  |  |
| 73 | B |  |  | Merge revision(s) 5511,5875,5900,6570-6572 from http://10.1.27.226/svn/AMI/trunk/CommonRTP1.8_rc:/1.[defect] Fix init update service fw info fail and set correct firmware inventory info/2.[defect] Add LogEntryCode 195 for avoid init sel fail./3.[defetc] Fix HBA info can't display issue./4.[defetc] Let create/delete raid can work by redfish/5.[redfish] fix validator error (SimpleStorage / IPv6StaticDefaultGateways) / |  |  |  |  |  |  |
| 74 | B |  |  | Merge revision(s) 5932,5949,5950,6015,6016 from http://10.1.27.226/svn/AMI/trunk/CommonRTP1.8_rc:/1.[defect] If inventory support, init RAID/HBA information and sync data./2.[defect] Fix raid sync with inventory data issue. [defect] Init RAID/HBA when power cycle and power status is on. [defect] Fix some of RAID data error issue./3.[feature] Update RAID data when create/delete raid./4.[defect] Fix active power limit error handle crash issue/5.[defect] Remove debug message./// |  |  |  |  |  |  |
| 75 | B |  |  | Merge revision(s) 6499,6609 from http://10.1.27.226/svn/AMI/trunk/CommonRTP1.8_rc:/1.[defect] update service can not use https server/2.[defect] fix can not use https server update/ |  |  |  |  |  |  |
| 12.60.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Missing files in commit r6640, fix the issue that redirecting the "Existing Firewall Settings" page to the "Add Firewall Settings" page does not work. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] update Device ID for U55C and U200 |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Do not power off after PSGood Asserts timeout./ |  |  |  |  |  |  |
| 4 | B |  |  | Merged revision(s) 6627 from tags/test_version/CMC_12.40/12.40.62:[defect] fix node BMC inlet_temp sensor disable |  |  |  |  |  |  |
| 5 | F |  |  | [feature] add devmap/sku of W791-Z01-ES-Electrolux-002/ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Change model name for MS63-HD1/ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile W791_Z00.json by TA180408 |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add sku/devmaps of I282-ZD0-00 |  |  |  |  |  |  |
| 9 | B |  |  | [defect][CMC] Add devmap for H273-ZL0/ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] update the 12V_GPU number |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Enable cold redundant./ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile T182_Z70.json by TA200092 |  |  |  |  |  |  |
| 13 | F |  |  | [feature] Add LM5066_VIN and LM5066_IIN/ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] de-hide PHYSICAL_SECUR by hide tag tool/ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] commit fanprofile R282_Z96.json by kate.kung |  |  |  |  |  |  |
| 16 | B |  |  | [defect] commit fanprofile R262_ZA2.json by bruce.su |  |  |  |  |  |  |
| 17 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 18 | B |  |  | [defect] update the GPU name |  |  |  |  |  |  |
| 19 | B |  |  | [defect] update the NVME sensor |  |  |  |  |  |  |
| 20 | B |  |  | [defect] remove pwm for no used fans |  |  |  |  |  |  |
| 21 | B |  |  | [defect] update the NVME sensor |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile CNBH32.json by kate.kung |  |  |  |  |  |  |
| 23 | B |  |  | [defect] add M2 sensor for H273-Z80/Z81/ZL0 CMC system |  |  |  |  |  |  |
| 24 | B |  |  | [defect] update the 12V_GPU sensor |  |  |  |  |  |  |
| 25 | F |  |  | [feature] Add MZ72-HB0-SW-ZR-001 devmap and sku for ZhengRui. |  |  |  |  |  |  |
| 26 | B |  |  | [defect] update GPU sensor |  |  |  |  |  |  |
| 27 | B |  |  | [defect] add G242-P31-JG |  |  |  |  |  |  |
| 28 | F |  |  | [feature] Add H262-Z6B-ES-2CRSi-001 devmap and sku |  |  |  |  |  |  |
| 29 | F |  |  | [feature] add H262-Z6B-ES-2CRSi-001 CMC system devmap |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Change LM5066 VIN and IIN sensor for TSMC project. |  |  |  |  |  |  |
| 31 | B |  |  | [defect] commit fanprofile CNBH30.json by jerry.kao |  |  |  |  |  |  |
| 32 | F |  |  | [feature] add H262-ZLA-NJ2 BMC / CMC system devmap. |  |  |  |  |  |  |
| 33 | B |  |  | [defect] remove soft link of CNBH30-00 |  |  |  |  |  |  |
| 34 | B |  |  | [defect]1. add CNBH30 devmap 2.modify ADC0/1 sensor for H262-P60-00 CMC |  |  |  |  |  |  |
| 35 | F |  |  | [feature] add sku/devmaps of S252-ZC1-00 |  |  |  |  |  |  |
| 36 | B |  |  | [defect] add S251-3O1 sku devmaps |  |  |  |  |  |  |
| 37 | F |  |  | [feature] add sku/devmap of R282-005-EZ |  |  |  |  |  |  |
| 38 | B |  |  | [defect] Set cold redundant value for H273./ |  |  |  |  |  |  |
| 39 | B |  |  | [defect] Independent fan profile of R282-Z92-00./ |  |  |  |  |  |  |
| 40 | B |  |  | [defect] modify fan profile to correct form for R282-Z92-00./ |  |  |  |  |  |  |
| 41 | B |  |  | [defect] remove unused model devmap/SKU |  |  |  |  |  |  |
| 42 | B |  |  | [defect] add R282-UV1/UV2-00 devmap |  |  |  |  |  |  |
| 43 | B |  |  | [defect] update the GPU sensor |  |  |  |  |  |  |
| 44 | B |  |  | [defect] update the GPU sensor |  |  |  |  |  |  |
| 45 | B |  |  | [defect] update devmap of I282-ZD0 by request form |  |  |  |  |  |  |
| 46 | B |  |  | [defect] commit fanprofile R262_ZA2.json by peter.lin2 |  |  |  |  |  |  |
| 47 | F |  |  | [feature] add H261-003-IC CMC/BMC devmap |  |  |  |  |  |  |
| 48 | B |  |  | [defect] modify the duplicate sensor no |  |  |  |  |  |  |
| 49 | F |  |  | [feature] add devmap of R162-ZA2-ZB./ |  |  |  |  |  |  |
| 50 | B |  |  | [defect] commit fanprofile G242_P32.json by jerry.kao |  |  |  |  |  |  |
| 51 | B |  |  | [defect] commit fanprofile R282_Z93_00.json by kate.kung |  |  |  |  |  |  |
| 52 | B |  |  | [defect] add PCIE CX6 sensor and NVMeG0_TEMP chahge to Gen4 |  |  |  |  |  |  |
| 53 | B |  |  | [defect] commit fanprofile G242_P32.json by jerry.kao |  |  |  |  |  |  |
| 12.60.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Fix parse the wrong channel of memory error SEL. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix the issue that redirecting the "Existing Firewall Settings" page to the "Add Firewall Settings" page does not work. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Add PhysicalSecurity sensor |  |  |  |  |  |  |
| 4 | B |  |  | [defect] modify GPU sensor location |  |  |  |  |  |  |
| 5 | B |  |  | [defect] change sensor name X550_LAN_TEMP to I210_LAN_TEMP for R152-Z30-ES-EntryUA-001 |  |  |  |  |  |  |
| 12.59.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] add fan board LED light/unlight function |  |  |  |  |  |  |
| 2 | B |  |  | [defect]Add check raid info function for avoid webui get raid count but have no data// |  |  |  |  |  |  |
| 3 | F |  |  | [Merge] merge from V12 rev 6184 6290 6354 6525 6549 6550 : [feature] add judge VR_brand TI/MPS. |  |  |  |  |  |  |
| 4 | B |  |  | [defect] commit fanprofile G292_Z22.json by bruce.su |  |  |  |  |  |  |
| 5 | B |  |  | [defect] commit fanprofile R282_Z96.json by kate.kung |  |  |  |  |  |  |
| 6 | B |  |  | [defect] commit fanprofile MC12_LE0.json by jerry.kao |  |  |  |  |  |  |
| 7 | B |  |  | [defect][CMC] follow r6575 to change H282-Z60 and H282-ZC1 default CR setting/ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Add new devmap MH62-HD0-R5/ |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Add RI15/27 L/S devmap of IGIS./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] add R281-3C4-YE sku devmaps |  |  |  |  |  |  |
| 11 | F |  |  | [feature] Add fan profile RI15 (RI15-L00 & RI15-S00) and RI27 (RI27-L00 & RI27-S00) support for IGSI project./ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] change MB MZ32-AR0 to MZ12-LE0 for R152-Z30-ES-EntryUA-001 |  |  |  |  |  |  |
| 13 | B |  |  | [defect] modify BPB FAN for R152-Z30-ES-EntryUA-001 |  |  |  |  |  |  |
| 14 | B |  |  | [defect] remove soft link of H261-H60-00 ,H261-H60-NJ2 devmap |  |  |  |  |  |  |
| 15 | B |  |  | [defect] add H261-H60-00 ,H261-H60-NJ2 devmap |  |  |  |  |  |  |
| 16 | B |  |  | [defect] add INLET_TEMP sensor for H261-H60-00 |  |  |  |  |  |  |
| 17 | B |  |  | [defect] add GPU sensor for MZ72-HB0 |  |  |  |  |  |  |
| 18 | F |  |  | [feature] add W791-Z00-AM devmap. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] modify H261-H60-00_CMC inlet_temp sensor |  |  |  |  |  |  |
| 20 | B |  |  | [defect] modify inlet temp sensor SDR for H261-H60 CMC |  |  |  |  |  |  |
| 21 | B |  |  | [defect] remove no used fans |  |  |  |  |  |  |
| 22 | B |  |  | [defect] add the sensor of SYS_POWER. |  |  |  |  |  |  |
| 23 | B |  |  | [defect] Add cmc sensor for H273-Z80/81. |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Update cmc sensor of H233/H273-Z80/81./ |  |  |  |  |  |  |
| 25 | B |  |  | [defect] Modify link num of OCP20 and remove nvme temp./ |  |  |  |  |  |  |
| 26 | B |  |  | [defect] Modify link number of OCP20./ |  |  |  |  |  |  |
| 27 | F |  |  | Merge revision(s) 6551,6560 from http://10.1.27.226/svn/AMI/trunk/CommonRTP1.8_rc:/1. add pure code/2. [redfish][feature] Let remote bios setup functions (Bios/SD, ChangePassword, ResetBios) have the same behavior in host-interface and normal interface./ |  |  |  |  |  |  |
| 12.59.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] add BC160 deviceid |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix webui cannot login after replace with default password./1. Change default password from "admin" to "password"./2. Fix array not initialize issue which will cause webui cannot login./ |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Support MI210 GPU card |  |  |  |  |  |  |
| 4 | F |  |  | [feature] Add MI210 device ID/Merge from r6510/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] remove fan_policy_cpu_tdp maximum limit./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] commit fanprofile R292.json by bruce.su |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile G482_Z53.json by bruce.su |  |  |  |  |  |  |
| 8 | B |  |  | [defect] commit fanprofile G482_Z50.json by TA200092 |  |  |  |  |  |  |
| 9 | B |  |  | [defect] add G482-Z54-SW-G2-001 sku devmaps |  |  |  |  |  |  |
| 10 | B |  |  | [defect] update TO52-Z50-ZB fan |  |  |  |  |  |  |
| 11 | B |  |  | [defect] update 12V_GPU number |  |  |  |  |  |  |
| 12 | B |  |  | [defect] update CPLD and CX6 name |  |  |  |  |  |  |
| 13 | B |  |  | [defect] update 12V_GPU number |  |  |  |  |  |  |
| 14 | B |  |  | [defect] 1. CMC MS63 system model name change 2.add H263-S64 CMC system devmap. |  |  |  |  |  |  |
| 15 | B |  |  | [defect] add MH62-HD0-SW-R5-001 devmap for GSI/ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] commit fanprofile G482_Z53.json by TA200092 |  |  |  |  |  |  |
| 17 | B |  |  | [defect] commit fanprofile G492_ZD0.json by Gigagyte/rick.kao |  |  |  |  |  |  |
| 18 | B |  |  | [defect] support svn version for MPA2/ |  |  |  |  |  |  |
| 19 | B |  |  | [defect]update the sensor number |  |  |  |  |  |  |
| 20 | F |  |  | [feature] add devmap of W791-Z00-00./ |  |  |  |  |  |  |
| 21 | F |  |  | [feature] add R152-Z30-ES-Scaleway-001 and R152-Z30-ES-EntryUA-001 devmap link./ |  |  |  |  |  |  |
| 22 | B |  |  | [defect] separate R282-Z96-00 and R282-Z96-ES-ASBISC-001 |  |  |  |  |  |  |
| 23 | F |  |  | [feature] add G292-Z24-SW-NJ-001 devmap and SKU |  |  |  |  |  |  |
| 24 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 25 | B |  |  | [defect] remove ledbus and add ledchnl on S252-ZC0 and S251-3O0 |  |  |  |  |  |  |
| 26 | B |  |  | [defect] hide 0.85V sensor |  |  |  |  |  |  |
| 27 | B |  |  | [defect] modify devmap of MZC2-TS0-00/TS for ASM106xR driver./ |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Fix MPA2 I2C switch leak current |  |  |  |  |  |  |
| 29 | F |  |  | [feature] add H252-Z10-FK devmap and CMC devmap. |  |  |  |  |  |  |
| 30 | B |  |  | [defect] add MX33-BSA-V1 |  |  |  |  |  |  |
| 31 | B |  |  | [defect] add G242-P31-UL sku devmap |  |  |  |  |  |  |
| 32 | B |  |  | [defect] H252-Z12-00 remove M2_G1_AMB_TEMP sensor. |  |  |  |  |  |  |
| 33 | F |  |  | [feature] add S451-3R0-ES-Ciara-030 SKU/devmap. |  |  |  |  |  |  |
| 34 | B |  |  | [defect] add TO52-Z50-ZB sku and devmap |  |  |  |  |  |  |
| 12.58.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Set to no auth for redfish host interface |  |  |  |  |  |  |
| 2 | B |  |  | [defect] H252-Z12-00 remove M2_G1_AMB_TEMP sensor. |  |  |  |  |  |  |
| 3 | F |  |  | [feature] add S451-3R0-ES-Ciara-030 SKU/devmap. |  |  |  |  |  |  |
| 4 | B |  |  | [defect] add TO52-Z50-ZB sku and devmap |  |  |  |  |  |  |
| 5 | B |  |  | [defect] /1. Remove sensor of GPU_PUMP & CPU_PUMP./2. Modify the smbus path of NVME_TEMP./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Modify FAKE_FAN to MB_TEMP_MZ5 for FAKE_SENSOR./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] add G242-P31-UL sku devmap |  |  |  |  |  |  |
| 12.58.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Get current bios size and remove old file before dump the bios image. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] update AMPR sdr no threshold |  |  |  |  |  |  |
| 3 | B |  |  | [defect] update AMPR sensor sdr setting |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Fix cannot use bkconf recovery conf when conf mount fail./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect]Fixed update mac not executed immediately with gigaflash// |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Modify the smbus path of 12V Sensor through parallel./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile G292_Z43.json by bruce.su |  |  |  |  |  |  |
| 8 | F |  |  | [feature] Add CEC sensor to get backup BIOS version on Ampere/ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] remove hide tag sensor P_0V85_VDDC |  |  |  |  |  |  |
| 10 | B |  |  | [defect] modify devmap/sensor of R162-ZA2-00 for PCIE_TEMP./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Support BIOS force authentication on G492-PD0-00 / |  |  |  |  |  |  |
| 12 | B |  |  | [defect] modify devmap/sensor of R162-ZA2-00 for OCP_TEMP./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] commit fanprofile G292_Z43.json by bruce.su |  |  |  |  |  |  |
| 14 | B |  |  | [defect] update the GPU chnl |  |  |  |  |  |  |
| 15 | B |  |  | [defect] commit fanprofile R162_ZA1_ES.json by kate.kung |  |  |  |  |  |  |
| 16 | B |  |  | [defect] update the BPB_FAN_5B |  |  |  |  |  |  |
| 17 | B |  |  | [defect] modify devmap/sensor of H242-Z11-00 for duplicate name/ |  |  |  |  |  |  |
| 18 | B |  |  | [defect] commit fanprofile R162_ZA1_ES.json by kate.kung |  |  |  |  |  |  |
| 19 | B |  |  | [defect] MD71-HB2 model name modify |  |  |  |  |  |  |
| 12.58.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add acceleration card to accepted PCI-E card. |  |  |  |  |  |  |
| 2 | B |  |  | Merged revision(s) 6316 from tags/test_version/12.57/12.57.95/V12.2_20191206:/[defect] device ID change |  |  |  |  |  |  |
| 3 | B |  |  | [defect] commit fanprofile R162_ZA2.json by kate.kung |  |  |  |  |  |  |
| 4 | B |  |  | [defect] commit fanprofile G262_ZR0.json by gigabbye/tim.kuo |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add R162-ZA1-ES-TZAG sku devmap |  |  |  |  |  |  |
| 6 | F |  |  | [feature] add ledbus for fan board LED in <TACH> |  |  |  |  |  |  |
| 7 | B |  |  | [defect] update the BF2 card name |  |  |  |  |  |  |
| 8 | B |  |  | [defect] remove 2 sensor of MZ12-HD0-00./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Modify M.2, VR sensor for MZC2-LM0-00./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] fix group number the same for MZC2-LM0-00./ |  |  |  |  |  |  |
| 11 | F |  |  | [feature] add G241-G41,MD71-HB2 devmap |  |  |  |  |  |  |
| 12 | F |  |  | [feature] add MZ12-HD8-00 devmap./ |  |  |  |  |  |  |
| 12.57.09 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add PSU cold redundant status to Normal Mode ipmi OEM command, and merge part of cold redundant policy code. (merge parts from rc r4420/r4453) |  |  |  |  |  |  |
| 2 | B |  |  | [Merge] merge from V12 rc rev 6211:[defect] Fix get recovery status cmd fail when bios recovering. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Add error handler for hpm update bmc error |  |  |  |  |  |  |
| 4 | F |  |  | [feature] Add reading AMD MI200 temperature./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Add pure code for PEF/ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Merge from rc r6241: Fix "Sensor Type: OEM" with "Sensor Number: All Sensors" can't send OEM Email in WEB/ |  |  |  |  |  |  |
| 7 | B |  |  | [Merge] merge from V12 rc rev 6265: remove G* judge because Power Restore Policy setting is on the SKU2. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] modify MS63 CMC system model name. |  |  |  |  |  |  |
| 9 | B |  |  | [defect] add NVME TEMP |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Host can't boot up and console will keep display message of "Not found HSC!". |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Modify gpio sensor for cpu thermal trip./ |  |  |  |  |  |  |
| 12 | F |  |  | [feature] Add R162-ZA1-ES-BTPN-001 devmap and SKU |  |  |  |  |  |  |
| 13 | B |  |  | Model name should be include L and S. |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile R162_ZA1.json by kate.kung |  |  |  |  |  |  |
| 15 | B |  |  | [defect] modify R162-ZA1-ES-BTPN-001 to add HDD and RAID CARD |  |  |  |  |  |  |
| 16 | B |  |  | [defect] remove the duplicate RAID_INFO |  |  |  |  |  |  |
| 17 | B |  |  | [defect] modify sensor name from HDD to NVMe |  |  |  |  |  |  |
| 18 | B |  |  | [defect] modify H263 CMC system name. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] commit fanprofile R162_ZA1.json by kate.kung |  |  |  |  |  |  |
| 20 | B |  |  | [defect] commit fanprofile CNBH30.json by marc.huang |  |  |  |  |  |  |
| 21 | B |  |  | [defect] remove the system sensor |  |  |  |  |  |  |
| 22 | B |  |  | [defect] Modify the smbus path of G262-ZO0-00 sensor./ |  |  |  |  |  |  |
| 23 | B |  |  | [defect] remove unused sensor and add fan sensor for R162-ZA2-00./ |  |  |  |  |  |  |
| 24 | B |  |  | [defect] add G482-Z54-ES-NVIDIA-002 sku and devmap |  |  |  |  |  |  |
| 25 | B |  |  | [defect] remove the PSU3 hotspot |  |  |  |  |  |  |
| 26 | F |  |  | [feature] add devmap of R272-Z33-OB1. / |  |  |  |  |  |  |
| 27 | B |  |  | [defect] add E252-P31 devmap and sku |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Modify fan driver for R162-ZA2-00./ |  |  |  |  |  |  |
| 29 | B |  |  | [defect]/1. Restore R282_Z93.json to r6088./2. Add FSC of R282-Z93-CY./ |  |  |  |  |  |  |
| 30 | F |  |  | [feature] display some hide sensor for R152-P30-CD/ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] Add SYS_FAN11~14 of G262-ZO0-00./ |  |  |  |  |  |  |
| 32 | B |  |  | [defect] add MZ71-OP2 devmap and update the T182-ZM0-ZB MB to MZ71-OP2 |  |  |  |  |  |  |
| 33 | B |  |  | [defect] commit fanprofile G241_G40.json by TA200092 |  |  |  |  |  |  |
| 34 | B |  |  | [defect] CMC MS63 system model name change. |  |  |  |  |  |  |
| 35 | F |  |  | [feature] add ledbus for fan board LED in <TACH> |  |  |  |  |  |  |
| 36 | F |  |  | Add raid card to H282-Z60 |  |  |  |  |  |  |
| 37 | B |  |  | [defect] Recover H262-Z60-00.xml |  |  |  |  |  |  |
| 38 | B |  |  | [defect] commit fanprofile R162_ZA2.json by kate.kung |  |  |  |  |  |  |
| 39 | B |  |  | [defect] add MZ72-OP2-ZB sku devmap |  |  |  |  |  |  |
| 40 | B |  |  | [defect] modify sku.h ctx2 define size. |  |  |  |  |  |  |
| 41 | B |  |  | [defect] remove these VOL sensor because power on show the error log |  |  |  |  |  |  |
| 42 | F |  |  | [feature] add Z63_001 test FSC |  |  |  |  |  |  |
| 43 | F |  |  | [feature] add CMT4034 on S472-Z30 |  |  |  |  |  |  |
| 44 | B |  |  | [defect] add NVME sensor |  |  |  |  |  |  |
| 45 | B |  |  | [CEC][defect]AP pubkeys always are got from BMC flash0/[CEC][Release] update version to v01.15 |  |  |  |  |  |  |
| 12.57.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Fix the sel log page is empty because of parsing the extended sel log fail. |  |  |  |  |  |  |
| 2 | B |  |  | [CMC][defect] Using default device map if "NodeProductName_CMC.xml" not exist in current FW/ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] commit fanprofile CNBH30.json by Gibagyte/kevin.tsan |  |  |  |  |  |  |
| 4 | B |  |  | [defect] commit fanprofile G292_Z22.json by bruce.su |  |  |  |  |  |  |
| 5 | B |  |  | [defect] commit fanprofile G262_ZL0.json by Gigagyte/rick.kao |  |  |  |  |  |  |
| 6 | B |  |  | [defect] commit fanprofile G242-Z11.json by TA200092 |  |  |  |  |  |  |
| 7 | B |  |  | [defect] commit fanprofile R282_Z93.json by bruce.su |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Fix duplicate taker of R162-ZA2. |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Add RI15 RI27 L/S MZ72-HB0/ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] Add RI15/27 L/S MD72-HB0./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Modify R162-ZA2 for thermal request./ |  |  |  |  |  |  |
| 12 | F |  |  | [feature] Add hide tag in all BMC model./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] add MPA2-G40 devmap |  |  |  |  |  |  |
| 14 | B |  |  | [defect] add G242-P35 P36 R152-P31 P32 R272-P31 P32 P33 devmaps |  |  |  |  |  |  |
| 15 | B |  |  | [defect] add S461 fanprofile |  |  |  |  |  |  |
| 16 | B |  |  | [defect] add CX5 sensor |  |  |  |  |  |  |
| 17 | F |  |  | [feature] add H261-Z60-00 CMC system devmap. |  |  |  |  |  |  |
| 18 | F |  |  | [feature] add CMC system devmap. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] H262-NO1 CMC remove M2 sensor. |  |  |  |  |  |  |
| 20 | B |  |  | [defect] revert r6153 ,H262-NO1 cmc remove M2 sensor. |  |  |  |  |  |  |
| 21 | B |  |  | [defect] remove soft link of H262-PC2 CMC devmap |  |  |  |  |  |  |
| 22 | B |  |  | [defect] H262-PC2 CMC devmap remove M2 sensor. |  |  |  |  |  |  |
| 23 | B |  |  | [defect] H262-NO1/PC2 CMC devmap add M2_TEMP sensor. |  |  |  |  |  |  |
| 24 | F |  |  | [feature] Add RAID_INFO in S472-Z30 |  |  |  |  |  |  |
| 25 | B |  |  | [defect] modify R282-Z93-CY for update GPU_TEMP |  |  |  |  |  |  |
| 26 | B |  |  | [defect] Add qualcomm sensor of R282-Z93-00./ |  |  |  |  |  |  |
| 27 | B |  |  | Merged revision(s) 6159 from trunk/CommonRTP1.8_rc:/[defect] The hyphen(-) is allowed include in hostname./ |  |  |  |  |  |  |
| 12.57.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Merge from V13: add support 0xC2, 0xC3 sensor type email format/ |  |  |  |  |  |  |
| 2 | B |  |  | Merged revision(s) 6006 from trunk/V12.2_20191206_rc:/[defect] Disable BPSKU feature, since EEPROM on BP will be used for dynamic devmap in the future./ |  |  |  |  |  |  |
| 3 | B |  |  | Merged revision(s) 6046 from trunk/V12.2_20191206_rc:/[defect] Fix IPMI lanplus 16 bytes password issue./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] commit fanprofile R282_G30.json by kate.kung |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Update FSC for G431-MM1-GO./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] add CX6 temp./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] update the fan chnl |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Update FSC for G262_ZL0./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Update FSC for G431-MM1./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] add R282-Z90-UL-M device map |  |  |  |  |  |  |
| 11 | B |  |  | [defect] commit fanprofile R282_Z93.json by kate.kung |  |  |  |  |  |  |
| 12 | B |  |  | [defect] update the VR sensor |  |  |  |  |  |  |
| 13 | B |  |  | [defect] update the CX6_9 chnl |  |  |  |  |  |  |
| 14 | B |  |  | [defect] add G242-P33 and G242-P34 devmap |  |  |  |  |  |  |
| 15 | B |  |  | [defect] add G242-P32-00 devmap |  |  |  |  |  |  |
| 16 | B |  |  | [defect] add R282-Z93-CY devmap |  |  |  |  |  |  |
| 17 | F |  |  | [feature] add Ltech MR91 system devmap |  |  |  |  |  |  |
| 18 | F |  |  | [feature] Add hide tag in all BMC model except MB./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Remove PCIE_TEMP_1/2/7 from MZ3/S472-Z30-00./ |  |  |  |  |  |  |
| 20 | F |  |  | [feature] Add IGIS model./ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] commit fanprofile G431_MM1.json by a |  |  |  |  |  |  |
| 22 | B |  |  | [revert] r6122, revert FanProfile/G431_MM1.json/ |  |  |  |  |  |  |
| 23 | B |  |  | [defect] update 12V_GPU number |  |  |  |  |  |  |
| 24 | B |  |  | [defect] update the fan count and add raid card |  |  |  |  |  |  |
| 25 | B |  |  | [defect] update the fan number and pwm |  |  |  |  |  |  |
| 26 | B |  |  | [defect] change Sensor name LM5066_PIN to MB_Consumption for MZC2-TS0-00. / |  |  |  |  |  |  |
| 27 | B |  |  | [CEC][defect] Fix abnormal LED blink after BMC, BIOS recovery on AC cycle./[defect] Set back EC_STS frequency after clear recovery status. |  |  |  |  |  |  |
| 28 | F |  |  | [Release] update to v01.13 |  |  |  |  |  |  |
| 12.57.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add new q50 current driver for higher threshold./ |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Add IGIS model./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] remove soft link of H262-NO1 cmc system devmap |  |  |  |  |  |  |
| 4 | B |  |  | [defect] H262-NO1 CMC system remove M2 sensor |  |  |  |  |  |  |
| 5 | B |  |  | [defect] commit fanprofile G482_Z50.json by bruce.su |  |  |  |  |  |  |
| 6 | B |  |  | [defect] CNBH32 remove ND0X_VIN sensor. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] modify CNBH32 CMC system FAN addr. |  |  |  |  |  |  |
| 8 | F |  |  | [feature] Removed unused sensors M2_SK0_TEMP and M2_SK1_TEMP for TSMC TANK project./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] commit fanprofile G242-Z11.json by bruce.su |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Add PSU3 sensor of CNBH32-00./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] commit fanprofile S472_Z30.json by gigabyte/jeff.li |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile G292_Z22.json by bruce.su |  |  |  |  |  |  |
| 13 | B |  |  | [defect] commit fanprofile G482_Z53.json by TA200092 |  |  |  |  |  |  |
| 14 | F |  |  | [feature] Add LM5066 and Q50 sensors to T182-ZM0-ZB./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Remove ND0X_MEM_VR_TEMP sensor of H262-P60-00_CMC./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Modify Q50 temp threshold sdr./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect]fix the DIMM can't show temp and 47196 issue |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Modify G431-MM1-GO file path./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Fix FRU write through problem. |  |  |  |  |  |  |
| 12.57.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] commit fanprofile G431_MM2.json by TA200092 |  |  |  |  |  |  |
| 2 | B |  |  | [defect] commit fanprofile Default.json by Gibagyte/kevin.tsan |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Disable cold redundant for cloudflare models. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] Add hide tag in R161/R162 system./ |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Add MZ12-HD7-C4 device map/ |  |  |  |  |  |  |
| 6 | F |  |  | [feature] Add Raid sensor and pcie ina219 sensor in G492-ZD2./ |  |  |  |  |  |  |
| 7 | F |  |  | [feature] Add S472-Z30-00 device map copy from S472-Z30-ES-ThomasKrenn-002./ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Remove hide tag for GPIO_SWITCH./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Remove MegaRAID_TEMP for G292-Z45-00./ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] Add IGIS model./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect]add G492-ZL2 |  |  |  |  |  |  |
| 12 | B |  |  | [defect]add R152-P30-ES-Ambedded-001 devmap |  |  |  |  |  |  |
| 13 | B |  |  | [defect] add CPU and DIMM PWR |  |  |  |  |  |  |
| 14 | B |  |  | [defect] R182-NA0 remove M2 sensor. |  |  |  |  |  |  |
| 15 | B |  |  | [defect] MR92 remove OCP3 and M2 sensor. |  |  |  |  |  |  |
| 16 | F |  |  | [feature] add CMC CNBH34 and system devmap ,SKU |  |  |  |  |  |  |
| 17 | B |  |  | [defect] modify CNBH34 system devmap. |  |  |  |  |  |  |
| 18 | B |  |  | [defect] R271-B50-ES modify NVME ,CPU0_FAN sensor. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] MR92 system add OCP3_TEMP sensor. |  |  |  |  |  |  |
| 20 | F |  |  | [feature] modify H273/H233 CMC system module |  |  |  |  |  |  |
| 21 | B |  |  | [defect] remove H233-Z80-00,H273-Z80-00,H273-Z81 CMC system devmap |  |  |  |  |  |  |
| 22 | B |  |  | [defect] remove soft link of H262-NO1 cmc system devmap |  |  |  |  |  |  |
| 23 | B |  |  | [defect] H262-NO1 CMC system remove M2 sensor |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Modify the divisor of adm1278 to 2 for H263-S60-00./ |  |  |  |  |  |  |
| 25 | B |  |  | [defect] Add PSU3 sensor of H263-S60-00./ |  |  |  |  |  |  |
| 26 | B |  |  | [defect]/1. Add PSU3 sensor of H263-S61-00./2. Modify the divisor of adm1278 to 2 for H263-S61-00./ |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Modify the divisor of adm1278 to 1 for H263-S6X-00 & CNBH32-00./ |  |  |  |  |  |  |
| 12.56.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Enable Erp lot 9 command, let BIOS control the cold redundant and spec power. (Revert some codes in r4357) |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Add new SDR for BarLowPass DIMM./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect]Force reboot by linux cmd after ipmitool HPM update finish. |  |  |  |  |  |  |
| 4 | F |  |  | [Merge] merge from /tags/test_version/12.56/12.56.96 rev 5914:[feature] new A16 device id in pci_device.json for thermal |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Only show ACD Log page link on Whitley platform. |  |  |  |  |  |  |
| 6 | F |  |  | [feature] 1.add SW-SGI sku ,devmap 2.modify FRU for SW-GSI. |  |  |  |  |  |  |
| 7 | F |  |  | [feature] add H262-P60 CMC system devmap. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Remove fan in T182-ZM0-ZB/ |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Add G292-002-SW-YE-001 device map./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] remove H262-P60-00_CMC link |  |  |  |  |  |  |
| 11 | B |  |  | [defect] 1.add H262-P60-00_CMC 2. remove PCH,NVME sensor. |  |  |  |  |  |  |
| 12 | F |  |  | [feature] add H261-Z60-ES-DownUnderGeoscience-002 devmap |  |  |  |  |  |  |
| 13 | B |  |  | [defect] 1.CMBH23 add OCP temp sensor 2.update CMBH23 FSC. |  |  |  |  |  |  |
| 14 | F |  |  | [feature] Add W792_Z70_ES_Qualcomm_003 fan profile./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] update FSC for CMBH23 |  |  |  |  |  |  |
| 16 | F |  |  | [feature] Add hide tag in R182/R181./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] remove unused sensor for MH12-HD0. |  |  |  |  |  |  |
| 18 | B |  |  | [defect] R182-N20 remove M2 sensor. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] add CMC system FSC for H282-ZC0-00_CMC |  |  |  |  |  |  |
| 20 | B |  |  | [defect] G291-280-00 add raid info sensor |  |  |  |  |  |  |
| 21 | B |  |  | [defect]update and add P_12V_GPU and 12V_GPU sensor number from 0 to 3 |  |  |  |  |  |  |
| 22 | B |  |  | [defect] commit fanprofile G482_Z50.json by TA200092 |  |  |  |  |  |  |
| 23 | B |  |  | [defect]update the OCP CARD |  |  |  |  |  |  |
| 24 | B |  |  | [defect] fix CNBH0L,CNBH30 webui show MB CPLD version |  |  |  |  |  |  |
| 25 | B |  |  | [defect]add 12V_FAN |  |  |  |  |  |  |
| 26 | B |  |  | [defect] 1.modify NVME temp sensor 2.fix webui show MB CPLD version. |  |  |  |  |  |  |
| 27 | F |  |  | [feature] Add GPU_PWR in G292-002-SW-YE-001/ |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Modify G292-002-SW-YE-001 GPU3_PWR wrong sensor name./ |  |  |  |  |  |  |
| 29 | B |  |  | [defect][CMC] Change model name for MH63-HD0 to MS63-HD0 platform/ |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Modify DIMM TEMP support BarlowPass for H262-PC0-00/ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] Modify 4 BPB to 1 BPB for G492-ZD0-00 NVMe sensors./ |  |  |  |  |  |  |
| 32 | B |  |  | [defect] revert G492-ZD0-00./[defect] Modify 4 BPB to 1 BPB for G492-ZD2-00 NVMe sensors./ |  |  |  |  |  |  |
| 33 | B |  |  | [defect] Remove soft link of R282-Z93-Q5./ |  |  |  |  |  |  |
| 34 | B |  |  | [defect] Add qualcomm sensor of R282-Z93-Q5./ |  |  |  |  |  |  |
| 35 | B |  |  | [defect] commit fanprofile R282_001.json by kate.kung |  |  |  |  |  |  |
| 36 | B |  |  | [defect]update fsc |  |  |  |  |  |  |
| 37 | B |  |  | [defect] Remove Fan sensors for TO32-Z50-ZB./ |  |  |  |  |  |  |
| 38 | B |  |  | [defect] Modify M2 sensor name for G292-002-SW-YE-001./ |  |  |  |  |  |  |
| 39 | B |  |  | [defect] commit fanprofile G292_Z40.json by bruce.su |  |  |  |  |  |  |
| 40 | B |  |  | [defect] commit fanprofile G292_Z44.json by bruce.su |  |  |  |  |  |  |
| 41 | B |  |  | [defect]fix the 12V_FAN and 12V_HDD rval value |  |  |  |  |  |  |
| 42 | F |  |  | [CEC][feature] Add BMC force recovery command./[CEC] Update version to 01.12 |  |  |  |  |  |  |
| 43 | B |  |  | [defect] show BIOS recovering... on webUI when doing BIOS force recovery |  |  |  |  |  |  |
| 12.56.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | isolate ISR for ampere, add ipmi command to get SCP version |  |  |  |  |  |  |
| 2 | B |  |  | [merge] merge from V12 rc rev 4597:[defect] Add callback selector option to user privilege. Arrange code typesetting. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] fix Video Recording not work on Pre-reset as rc svn5172 |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Change Ampere project CORE_PWR and SOC_PWR to CPU_PWR as rc svn5355 |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Add pure code, for modify GPIO access method. |  |  |  |  |  |  |
| 6 | B |  |  | [defect]Fixed update mac will update all sku.// |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Modify GPIO access by function not by system call, rc svn 5508 |  |  |  |  |  |  |
| 8 | F |  |  | Ampere project bios version over 11 program bios offset to 0x400000 |  |  |  |  |  |  |
| 9 | F |  |  | [merge] merge form V12 rc rev 5850:[feature] add driver support read OCP temp from CPLD reg. |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Remove REDUNDANT_STATUS in G482-Z51-00./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] modify sensor on W551-001-YU, remove SYSFAN1, SYSFAN2 & PCHFAN/ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] add NCT7802Y temp sensor. |  |  |  |  |  |  |
| 13 | F |  |  | [feature]add W792-Z70-ES-Qualcomm-003 devmap/ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] add LM5066_PIN sensor for MZC2-TS0-00./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Modify GPU8 position in device map./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] remove unused pwm for W551-001-YU./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Modify G292-Z46-00 GPU 12V position./ |  |  |  |  |  |  |
| 18 | B |  |  | [defect]update P_12V_GPU P_12V_HDD P_12V_FAN |  |  |  |  |  |  |
| 19 | F |  |  | [feature] Add G292_Z43 fan profile./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] commit fanprofile G292_Z44.json by GIGABYTE\bruce.su |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Modify R181-007-E2 NVME sensor to avoid IPMI_Main session crash. / |  |  |  |  |  |  |
| 22 | B |  |  | [defect]fix the 12V_HDD and P_12V_HDD sensor |  |  |  |  |  |  |
| 23 | B |  |  | [defect] add BPB CPLD version |  |  |  |  |  |  |
| 24 | F |  |  | [feature]add MZC2-TS0-TS devmap./ |  |  |  |  |  |  |
| 25 | B |  |  | [defect] add CX6 CARD |  |  |  |  |  |  |
| 26 | B |  |  | [defect] add CX6 CARD , total 10 CARDS |  |  |  |  |  |  |
| 27 | B |  |  | [defect]add 12V_GPU 12V_HDD P_12V_FAN P_12V_GPU P_12V_HDD |  |  |  |  |  |  |
| 28 | B |  |  | [defect] add OCP sensor for H282-Z60-00./ |  |  |  |  |  |  |
| 29 | B |  |  | [defect] Add hide tag in R262,R261 device map./ |  |  |  |  |  |  |
| 30 | F |  |  | [feature] H282-ZC0-00_CMC add OCP3_temp sensor. |  |  |  |  |  |  |
| 31 | F |  |  | [feature] add R271-B50-ES-Cloudflare-002 devmap. |  |  |  |  |  |  |
| 32 | B |  |  | [defect] CMC H263 remove ND0X_VIN sensor. |  |  |  |  |  |  |
| 33 | F |  |  | [CEC][feature] Add record BMC backup status i2c command/[CEC][feature] Add clear backup status i2c command/[CEC] Update version to 01.11 |  |  |  |  |  |  |
| 12.56.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] commit fanprofile G292_Z40.json by derek.lin |  |  |  |  |  |  |
| 2 | B |  |  | [defect] CNBH0I add Inlet_Temp sensor. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Add G182-C2B-SW-UB-001 devmaps/ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] modify amper sensor 1.sensor P_0V85 add hide tag 2.remove QKSL_CPU_PWR hide tag 3.modify QKSL_CPU_PWR SDR ,sensor name. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add G182-C2B-ES-LeasewebNL-001 devmap./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] commit fanprofile G292_Z44.json by derek.lin |  |  |  |  |  |  |
| 7 | B |  |  | [feature]add W551-001-YU Fanprofile/ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Remove hide for PSU./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] commit fanprofile G242-Z11.json by derek.lin |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Remove 12V_GPU8/9 Sensor of G482-Z53-00./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Fix BMC hpm webui upgrade APP version not correct problem. |  |  |  |  |  |  |
| 12 | B |  |  | [defect] for Ampere project move BIOS location to 0x400000. clean unused code. |  |  |  |  |  |  |
| 13 | F |  |  | [feature] Add PSU event to triggle CPU throttling |  |  |  |  |  |  |
| 14 | B |  |  | fix Ampere CPU on/off will boot fail problem |  |  |  |  |  |  |
| 15 | F |  |  | [feature] for SCP version display |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Revert FAN and TEMP sdr assert, deassert event mask./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Modify INLET_AIR_TEMP UNR to 127./ |  |  |  |  |  |  |
| 18 | F |  |  | [feature]Update bmcprog to version 0.22 in the bmc FW [Feature]Add update sku group: UPDATE_MAC_BPN_BSN, FRU_MAC_BSN_BPN_CPN_CSN_PPN_PV_PSN_AREA, FRU_BSN_BPN_CPN_CSN_PPN_PV_PSN_AREA, FRU_CPN_CSN_PPN_PV_PSN_AREA, FRU_MAC_BSN_BPN_AREA/ [feature]Add group for update SKU without BSN, CSN, AssetTag and Mac |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Fixed can not update CA file in adviced log settings page./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] Add pure code for Ampere CPU on/off the COM1 switch to SOL problem |  |  |  |  |  |  |
| 21 | F |  |  | [feature] add bmc cold reset function at power control page. |  |  |  |  |  |  |
| 22 | B |  |  | [defect] Fix ampere CPU on/off several times COM1 switch to SOL problem |  |  |  |  |  |  |
| 23 | B |  |  | [defect] fix clean CMOS not stable problem merge. |  |  |  |  |  |  |
| 24 | F |  |  | [feature] add oem command for getting tank id./ |  |  |  |  |  |  |
| 25 | B |  |  | [defect]Fix hpm upgdate SCP(BOOTFW) display wrong Existing Version. |  |  |  |  |  |  |
| 26 | B |  |  | [defect] fix: Redfish NTP ProtocolEnabled will fix to 'false' after mc reset cold/ |  |  |  |  |  |  |
| 27 | B |  |  | [defect] fix: Redfish cannot patch DNS hostname/ |  |  |  |  |  |  |
| 12.55.09 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect][CMC] Fix lost commit in r5660/ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] mark modify gpu threshold function./ |  |  |  |  |  |  |
| 3 | F |  |  | [feature] add FSC and update 54FAN |  |  |  |  |  |  |
| 4 | F |  |  | [feature] update TCA9548 for RAID_INFO |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Modify GPU sdr for G431-MM0-OT/ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] revert GPU sdr for G431-MM0-OT and modify G431-MM0-RG./ |  |  |  |  |  |  |
| 12.55.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add OEM command for getting node ID (merge form rc r5379)/ |  |  |  |  |  |  |
| 2 | F |  |  | [feature][CMC] Support H282-ZC0-00 (merge from rc r4111)/ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Merge r5118: Modify only MJ31-EC0 and MD71-HB0 are enable UART2/ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Merge r5082: Modify BIOS switch to 1/2 to email format/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Modify SDR's GPU_TEMP lower critical value./ |  |  |  |  |  |  |
| 6 | F |  |  | Merged revison(s) 5530 from https://10.1.27.226/svn/AMI/trunk/V12.2_20191206_rc:[feature][CMC] add Inlet Temp to oem command. |  |  |  |  |  |  |
| 7 | F |  |  | [bmc][feature] add Inlet Temp to BMC sensor list (merge from rc r5531)/ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] add MB_TEMP_V2 SDR for CNBH0G Inlet_Temp sensor. |  |  |  |  |  |  |
| 9 | F |  |  | [feature][CMC] Merge r4790: Support CMC with multi-devmaps/ |  |  |  |  |  |  |
| 10 | B |  |  | [defect][CMC] Merge r4791: Save FanProfile setting if user modified. Fix cannot find the device map in model_patch./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect][CMC] Merge r4793: Implement Multi-devmap mechanism function in choose.c/ |  |  |  |  |  |  |
| 12 | F |  |  | [Merge]merge from V12 rc:/rev 4103 [feature]Implement ipmi oem command for set/get PMBus switch direction (PCH=1/BMC=0)/rev 4143 [pure]Add pure code for video record./rev 5461 [feature]Add group for update SKU without BSN, CSN, AssetTag and Mac/ |  |  |  |  |  |  |
| 13 | B |  |  | [merge]merge from V12 rc: svn rev [defect] Fixed unable to play/download video on host reset/ |  |  |  |  |  |  |
| 14 | B |  |  | [defect][CMC] Merge r4796: Mixed Insertion Judgement/ |  |  |  |  |  |  |
| 15 | B |  |  | [defect][CMC] Merge r4795: Fix CMC HDD status log not correct issue/ |  |  |  |  |  |  |
| 16 | F |  |  | [feature][CMC] Merge r4797,r4801,r4802: Modify bpb HDD status for H282/ |  |  |  |  |  |  |
| 17 | F |  |  | [feature][CMC] Merge r4832: Modify CMC CR status must follow node BMC CR status/ |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Check component manager process number to prevent start two compoent./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Modify sdr Temperature lower critical, non-critical value./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] add R181-007-E2 devmap base R181-Z92-00/ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Modify the path of GPU8 & GPU9 of T182-Z71-ZB./ |  |  |  |  |  |  |
| 22 | B |  |  | [defect]port R162-Za2-00 devmap/ |  |  |  |  |  |  |
| 23 | B |  |  | [defect] Remove Nvidia GPU Manager opcode 02h temperature sensor./ |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Remove P_54V_FAN Sensor of G262-ZRA-SU./ |  |  |  |  |  |  |
| 25 | F |  |  | [feature] update the FAN sensor |  |  |  |  |  |  |
| 26 | F |  |  | [feature] update the sensor number |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Remove T182-Z71-ZB riser hide tag./ |  |  |  |  |  |  |
| 28 | F |  |  | [feature] update the NVME M.2 sensor |  |  |  |  |  |  |
| 29 | B |  |  | [defect] Modify G262-ZRA-SU RISER_TEMP position./ |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Modify G482-Z54-SW-OB-015 RAID card position./ |  |  |  |  |  |  |
| 31 | B |  |  | [defect][CMC] Fix lost commit in r5660 |  |  |  |  |  |  |
| 12.55.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Minidp Support RTP1.8/ |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Add GPU_TEMP_A4000 sdr./ |  |  |  |  |  |  |
| 3 | B |  |  | Merged revision(s) 5581 from trunk/V12.2_20191206_rc:[defect] add acc_analog4 to fix MR91 PSU_IIN sensor value. |  |  |  |  |  |  |
| 4 | B |  |  | [defect] add MB_TEMP_V2 SDR for CNBH0G. |  |  |  |  |  |  |
| 5 | B |  |  | revert r5600 |  |  |  |  |  |  |
| 6 | B |  |  | Merged revision(s) 5599 from test_version/12.55/12.55.99:/[defect] Update FSC of G482-Z55-00 and pci device of 6900XT.// |  |  |  |  |  |  |
| 7 | F |  |  | [feature] update the MC_TEMP HIC_TEMP and G292_Z40 fsc |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Adjust 5sec poll cycle, the next cycle will wait until the current request is completed. (merge from rc r4875)/[defect] Add check polling status to prevent interrupt the schedule poll not in time. (merge from rc r5197) |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Fix bug: always disable service status after setting. (merge from rc r5192) |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Add new API for GbtUtility to upload unprocessed BMC/BIOS firmware file. (merge from rc r5417/r5310) |  |  |  |  |  |  |
| 11 | F |  |  | [feature] Add the function of checking the firmware type before upload image file. (merge from rc r5401) |  |  |  |  |  |  |
| 12 | B |  |  | [defect] fix SimpleUpdate BMC/BIOS fail/ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] fix 'redfish update hpm_bmc fail' problem/ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Modify G262-ZRA-SU q50 sensor./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] MX23-CE0-00 remove VR_P0_VOUT sensor and revert P_VCC_CPU sensor/ |  |  |  |  |  |  |
| 16 | F |  |  | [feature] remove PCIE_TEMP sensor |  |  |  |  |  |  |
| 17 | F |  |  | [feature] add H261-Z60-ES-ICC-002 devmap ,SKU. |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Modify S472-Z30-ES-ThomasKrenn-002 PCB temp sensor name./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect]remove hide=1 from GPU sensor on G431-MM0-RG/ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] add R162-ZA2-00 devmaps/ |  |  |  |  |  |  |
| 21 | B |  |  | [defect]remove hide=1 from GPU sensor on G431-MM0-OT/ |  |  |  |  |  |  |
| 22 | B |  |  | [defect] modify INA219 acclosing to fix webui display value |  |  |  |  |  |  |
| 23 | F |  |  | [feature] Add TO32-ZM0-ZB device map./ |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Remove fan in TO32-ZM0-ZB./ |  |  |  |  |  |  |
| 25 | B |  |  | [defect] delete W551-001-YU from link to other devmap/ |  |  |  |  |  |  |
| 26 | B |  |  | [defect] port sensor on W551-001-YU/ |  |  |  |  |  |  |
| 27 | B |  |  | [defect] MR91 add PSU_IIN sensor. |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Modify the 12V_GPU voltage and current path of G482-Z55-00./ |  |  |  |  |  |  |
| 29 | B |  |  | [defect] CNBH0G add Inlet_Temp sensor. |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Add sku/devmap of T182-ZM0-ZB./ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] Add MC22-HS1-00 devmap from MC22-HS0-UB/ |  |  |  |  |  |  |
| 32 | B |  |  | [defect] Add sku/devmap of G482-Z53-ES-Woodman-001./ |  |  |  |  |  |  |
| 33 | B |  |  | [defect] modify MC22-HS1-00 BoardProductName and add MC22-HS1-UB devmap/ |  |  |  |  |  |  |
| 34 | B |  |  | [defect] Update FSC of G482-Z55-00 and pci device of 6900XT./ |  |  |  |  |  |  |
| 35 | B |  |  | [defect] modify CNBH0G Inlet_Temp SDR. |  |  |  |  |  |  |
| 36 | B |  |  | [defect] Remove P1_VDDCR_CPU of G242-Z11-00./ |  |  |  |  |  |  |
| 37 | B |  |  | revert r5601 |  |  |  |  |  |  |
| 38 | B |  |  | [defect] modify CNBH0G Inlet_temp SDR. |  |  |  |  |  |  |
| 39 | B |  |  | [defect] Add close mux tag to T182-Z71-ZB./ |  |  |  |  |  |  |
| 40 | F |  |  | [feature] add H262-PC0-ES-Ciara-027 devmap |  |  |  |  |  |  |
| 41 | F |  |  | [feature] add R282-3C0-ES-Phison-001 devmap. |  |  |  |  |  |  |
| 42 | F |  |  | [feature] Add G482-Z54-SW-OB-015 device map./ |  |  |  |  |  |  |
| 43 | B |  |  | [defect] Modify the path of RAID_INFO of G482-Z54-SW-OB-015./ |  |  |  |  |  |  |
| 44 | F |  |  | [feature] add CMC system devmap. |  |  |  |  |  |  |
| 45 | F |  |  | [feature]add P32 FSC |  |  |  |  |  |  |
| 46 | F |  |  | [feature] update the MC_TEMP HIC_TEMP and G292_Z40 fsc |  |  |  |  |  |  |
| 47 | B |  |  | [defect] Remove CPU DTS hide tag./ |  |  |  |  |  |  |
| 48 | B |  |  | [defect] Add hide sensor tag in T182-Z71-ZB./ |  |  |  |  |  |  |
| 12.55.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] modifty SOL for MPA2 |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Add sensor debug mode, the sensors which has <hide="1"> tag will not show by default./ |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Add upload speed in the Web UI update page. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] Add upload dialog to show upload progress, and it can abort the upload process. |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Automatically complete all update steps after click the "Start Update" button. |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Fix ROT recovery alert email not send on AC cycle, deley scan Recovery 3 minute |  |  |  |  |  |  |
| 7 | B |  |  | [defect] add device A5000 and A4000 on G431-MM0-RG/ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Update oem commands for Show/Hide Global Sensor since event id 35 has been used./ |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Add q50 temp driver./[defect] Modify q50 cur driver formula./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] revert q50 cur, EE not check yet./ |  |  |  |  |  |  |
| 11 | F |  |  | [feature] fix the SOL data not address |  |  |  |  |  |  |
| 12 | B |  |  | [defect] Add devmap/sku of G262-ZL0-00./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] update FSC for R162-Z12./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Update sdr for MX23-CE0./ |  |  |  |  |  |  |
| 15 | F |  |  | [feature] add G242-001-LT P31 remove raid card |  |  |  |  |  |  |
| 16 | F |  |  | [feature] update the MZ32-001-A1 devmap |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Remove SYS_FAN1~SYS_FAN6 of G262-ZL0-00./ |  |  |  |  |  |  |
| 18 | F |  |  | [feature] update FSC add A30 |  |  |  |  |  |  |
| 19 | B |  |  | [defect] modify CNBH32 FAN addr. |  |  |  |  |  |  |
| 20 | F |  |  | [feature] add S452-Z30-SW-L7-002 fsc and remove ocp |  |  |  |  |  |  |
| 21 | B |  |  | [defect]remove P_VCC_CPU sensor/ |  |  |  |  |  |  |
| 22 | F |  |  | [feature] Add PMC_TEMP to G292-Z40-00./ |  |  |  |  |  |  |
| 23 | B |  |  | [defect] commit fanprofile G292_Z40.json |  |  |  |  |  |  |
| 24 | B |  |  | [defect] commit fanprofile G241_G40.json |  |  |  |  |  |  |
| 25 | F |  |  | [feature] add devmap of R162-Z12-ES-Cloudflare-002./ |  |  |  |  |  |  |
| 26 | F |  |  | [feature] add FSC for R162-Z12-ES-Cloudflare-002./ |  |  |  |  |  |  |
| 27 | F |  |  | [feature] Add MZ92-FS0-M7 device map./ |  |  |  |  |  |  |
| 28 | B |  |  | [defect] commit fanprofile G431_MM0.json |  |  |  |  |  |  |
| 29 | B |  |  | [defect] commit fanprofile G292_Z40.json |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Modify S472-Z30 sensor name for EE./ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] /1. Add BPB COBP540./2. Modify the backplane of G262-ZL0-00 to COBP540./3. Remove NVMEG1_TEMP and add 2 NVME_TEMP to NVMEG0_TEMP.// |  |  |  |  |  |  |
| 32 | F |  |  | [feature] Add hide tag to R282 R281 hide tag./ |  |  |  |  |  |  |
| 33 | B |  |  | [defect] commit fanprofile R162_Z12_ES.json |  |  |  |  |  |  |
| 34 | F |  |  | [feature] change CMT4032 PCIE SLOT 5 to 4 |  |  |  |  |  |  |
| 35 | B |  |  | [defect] remove G431-MM0-RG.xml from link-file/ |  |  |  |  |  |  |
| 36 | B |  |  | [defect] commit fanprofile S452_SW.json |  |  |  |  |  |  |
| 37 | B |  |  | [defect]add G431-MM0-RG devmaps and fan profile/ |  |  |  |  |  |  |
| 38 | B |  |  | [defect]add G182-C20-00.xml & G182-C20-UB.xml/ |  |  |  |  |  |  |
| 39 | F |  |  | [feature] add S472-Z30-ES fsc |  |  |  |  |  |  |
| 40 | F |  |  | [feature] remove PCIE_TEMP 3,4,5,6 |  |  |  |  |  |  |
| 41 | B |  |  | [defect] Modify G262-ZRA-SU for EE request./ |  |  |  |  |  |  |
| 42 | B |  |  | [defect] Modify G262-ZRA-SU q50 sensor./ |  |  |  |  |  |  |
| 43 | B |  |  | [defect] MX23-CE0-00 remove VR_P0_VOUT sensor and revert P_VCC_CPU sensor/ |  |  |  |  |  |  |
| 44 | F |  |  | [feature] remove PCIE_TEMP sensor |  |  |  |  |  |  |
| 12.54.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] add MPA2 can power on enter shell |  |  |  |  |  |  |
| 2 | B |  |  | Merged revision(s) 5372 from http://10.1.27.226/svn/AMI/trunk/CommonRTP1.8_rc/[defect] reduce memory usage of Redfish smbios.// |  |  |  |  |  |  |
| 3 | B |  |  | Merge revision(s) 5357 from http://10.1.27.226/svn/AMI/trunk/CommonRTP1.8_rc: [defect] fix redfish update hpm_scp/ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] remove unused adc sensor./ |  |  |  |  |  |  |
| 5 | F |  |  | [feature] update the fsc G30/3C2 |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Modify voltage sensor name for MX23-CE0-00./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Add Nvidia GPU Manager opcode 02h temperature sensor./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] fix the GPU name match to 12V and P_12V |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Modify the path of the GPU sensor and the Address of RISER_TEMP./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] CNBH0P remove HWSKU sensor. |  |  |  |  |  |  |
| 11 | F |  |  | [feature] remove raid card add CX4 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] commit fanprofile R282_Z93.json by gigabyte\derek.lin |  |  |  |  |  |  |
| 13 | F |  |  | [feature] Add hide tag in G system./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Modify S472-Z30-ES-ThomasKrenn-002 for request form./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] add H261-Z60-ES-ICC-002_CMC devmap |  |  |  |  |  |  |
| 16 | B |  |  | [defect] commit fanprofile T182_Z71.json by gigabyte\derek.lin |  |  |  |  |  |  |
| 17 | B |  |  | [defect] add gpu sensor for R162-Z12./ |  |  |  |  |  |  |
| 18 | B |  |  | [defect] commit fanprofile G292_Z22.json by gigabyte\derek.lin |  |  |  |  |  |  |
| 12.54.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add PSU fan alert_mask setting./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] update pci_device.json/ |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Add NEC gpu card driver./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Modify MZ32-001-A1 ADC sensor./ |  |  |  |  |  |  |
| 5 | F |  |  | [feature] update fSC G492_ZD0 |  |  |  |  |  |  |
| 6 | F |  |  | [feature] add FSC S251 |  |  |  |  |  |  |
| 7 | F |  |  | [feature] add devmap of MJ11-EC1-00./ |  |  |  |  |  |  |
| 8 | B |  |  | [defect]/1. Modify INLET_AIR_TEMP_FIB of G492-ZD0/1/2 to INLET_AIR_FIB./2. Modify current of 54V_XXX sensor for G492-ZL0-00 & G492-ZL0-SW-NJ2-002./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Modify INLET_AIR_TEMP_FIB of G492-ZL0-XX to INLET_AIR_FIB./ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] add MH61-HD6-SW-SE-007 devmap. |  |  |  |  |  |  |
| 11 | F |  |  | [feature] add S452-Z30-SW-L7-002 MZ32 |  |  |  |  |  |  |
| 12 | F |  |  | [defect] Remove the RISER_LAN_X Sensor of R282-Z93-ES-KDDI-001./ |  |  |  |  |  |  |
| 13 | F |  |  | [feature]update device map S452-Z30-SW-L7-002 |  |  |  |  |  |  |
| 14 | B |  |  | [defect] commit fanprofile G482_Z53.json by gigabyte\derek.lin |  |  |  |  |  |  |
| 15 | F |  |  | [feature] update the sensor number |  |  |  |  |  |  |
| 16 | F |  |  | [feature] Add R271-Z00-SE.xml device map./ |  |  |  |  |  |  |
| 17 | F |  |  | [feature] Add R272-Z31-SE device map./ |  |  |  |  |  |  |
| 18 | F |  |  | [feature] Add MZ12-HD0-SE device map./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Remove the RISER_LAN_X Sensor of R182-Z91-ES-KDDI-002./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] Modify sdr and cal value of G292-002-YE(for TPS2480)./ |  |  |  |  |  |  |
| 12.54.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Revert r1767, hide CPU capability information in AMD platform. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Add the judgment mechanism of 16 fru bin file. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Add 16 FRU Device's display or hidden information. |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Increase buffer size to prevent show 'buffer full' error message during continuous typing. (merge from rc r5108) |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Modify TM5.sdr FAN and Temperature threshold all setable. |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Add AMI patch 0003 for EIP #596308 and fix RMCP Ping (-I lan) issue. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Remove with no Telco package. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Improve IPMI command response time (2). |  |  |  |  |  |  |
| 9 | F |  |  | [feature] add MZ32-001-A1 |  |  |  |  |  |  |
| 10 | F |  |  | [feature] Add G292-Z46 fan profile./ |  |  |  |  |  |  |
| 11 | F |  |  | [feature] add devmap of G431-MM0-RG./ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] Modify S472-Z30-ES-ThomasKrenn-002 device map for request form./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Remove the sensor of FIB_FAN, and modify the FSC using G492-ZL0./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Modify S472-Z30-ES-ThomasKrenn-002.xml sensor number./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] merge R11-7 R281-3C3-HP for HPE modify./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Update G292_002_YE fan profile for thermal./ |  |  |  |  |  |  |
| 17 | F |  |  | [feature] add R272-P3A-PB devmap |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Modify the sequence of P_12V Sensor of T182-Z7X./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Remove the BPB Fan of R182-Z91-ES-KDDI-002 and R282-Z93-ES-KDDI-001, and add 2 GPU_TEMP of R182-Z91-ES-KDDI-002./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] Change Ampere project CORE_PWR and SOC_PWR to CPU_PWR |  |  |  |  |  |  |
| 21 | F |  |  | [feature] add CMC CNBH32 and system devmap. |  |  |  |  |  |  |
| 22 | B |  |  | [defect] Restore HDD_TEMP_1 of R282-Z93-ES-KDDI-001./ |  |  |  |  |  |  |
| 23 | F |  |  | [feature] add G492-PD0 devmap |  |  |  |  |  |  |
| 24 | F |  |  | [feature] update the sensor number |  |  |  |  |  |  |
| 25 | F |  |  | [feature] update sensor number |  |  |  |  |  |  |
| 26 | F |  |  | [feature] Add G262-ZO0-00.xml device map./ |  |  |  |  |  |  |
| 27 | B |  |  | [defect] porting sensor for MZC2-TS0-00./ |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Update FSC of T182-Z70-ZB./ |  |  |  |  |  |  |
| 29 | F |  |  | [feature] add S251-3O0-SW-L7-001 |  |  |  |  |  |  |
| 30 | F |  |  | [feature] add devmap of I152-ZC0-00./ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] Modify G152-Z11-C4 NVMe sensor to i2c11./ |  |  |  |  |  |  |
| 32 | B |  |  | [defect] Modify MZ32-001-A1 ADC sensor./ |  |  |  |  |  |  |
| 33 | F |  |  | [feature] update fSC G492_ZD0 |  |  |  |  |  |  |
| 12.53.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Remove .svn directory in devmaps and FanProfile before copy to rootfs./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Add all Xilinx card to accepted PCI-E card/[feature] Add PCIE device ID for Xilinx U30/ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Update pci_device_id of A100_80G./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Restore the overwritten pci_device_id of U30./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Add FSC of G292-Z43-ES-Qualcomm-001./ |  |  |  |  |  |  |
| 6 | F |  |  | [feature] add T182_ZL0 fanprofile |  |  |  |  |  |  |
| 7 | F |  |  | [feature] Add S472-Z30-ES-ThomasKrenn-002 device map./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] update T182_ZL0 |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Update FSC of G482-Z54-00 and A100 device ID. / |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Add riser voltage, current and temperature of T182-Z71-ZB./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Fan profile for G292-Z43 + U30 GPU card/ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] update R292-4S0 FSC. |  |  |  |  |  |  |
| 13 | F |  |  | [feature] update FSC for A6000 |  |  |  |  |  |  |
| 14 | F |  |  | [feature] update the GPU name |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Add devmap/sku of R282-Z93-ES-KDDI-001./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Modfiy G152-Z11-C4 device map for request form./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Add SKU/devmap of R182-Z91-ES-KDDI-002./ |  |  |  |  |  |  |
| 18 | F |  |  | [redfish][feature] Support inventory R06+ items/ |  |  |  |  |  |  |
| 19 | B |  |  | [CEC][defect]Fix EC_STS abnormal if clear recovery flag command is sent form BMC continually/[CEC] Update version to 01.10 |  |  |  |  |  |  |
| 12.53.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Add MFR_ID funtion for BELF sensor./ |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Check firmware is test version and highlight it. (merge from rc r5119) |  |  |  |  |  |  |
| 3 | F |  |  | [feature] intel acd function |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Add AMI solution to avoid kernel panic when update BMC. |  |  |  |  |  |  |
| 5 | F |  |  | [feature] intel ASD function |  |  |  |  |  |  |
| 6 | F |  |  | [feature] enable ASD ACD option for wolfpass_1.8.PRJ and wolfpass.PRJ/ |  |  |  |  |  |  |
| 7 | F |  |  | [feature][ACD] Add ACD function to front-end and back-end. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] add VPP_MEM sdr for MC22. |  |  |  |  |  |  |
| 9 | F |  |  | [feature] add devmap of R272-Z30-ES-ThomasKrenn-001./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Modify G292_002_YE fan profile for thermal./ |  |  |  |  |  |  |
| 11 | F |  |  | [feature] add CPLD_BIOS status |  |  |  |  |  |  |
| 12 | B |  |  | [defect] remove G152-Z11-C4 link./ |  |  |  |  |  |  |
| 13 | F |  |  | [feature] create new G152-Z11-C4 device map. / |  |  |  |  |  |  |
| 14 | B |  |  | [defect] add adc sensor for G182-C2A-00./ |  |  |  |  |  |  |
| 15 | F |  |  | [feature] add FSC for R152-C10-ES-Celeris-001./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] ajust VPP_MEM sdr for MC22./ |  |  |  |  |  |  |
| 12.53.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] add U250 |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Reading Max FPGA die temperature for Xilinx GPU card/ |  |  |  |  |  |  |
| 3 | F |  |  | 1. [feature] let bmc receive inventory from bios/2. [feature] Merge from ami pure 1.8 tag b17f4c4c/3. [defect] let share memory return odata.id and Id of Systems/Self when get /Oem/Ami/InventoryData/4. [defect] correct the usage of json related function/5. [feature] receive inventory for rtp1.8, not for rtp1.7/6. [defect] let rtp1.7 can parse smbios// |  |  |  |  |  |  |
| 4 | F |  |  | [feature] upport CommonRTP1.8/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add AMD_CPU_TEMP for MC22./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Modify the path to RISER5_TEMP and RISER6_TEMP./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] add NVMe temp for R281-Z91-00./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmap of H262-Z66-SW-AE5-003./ |  |  |  |  |  |  |
| 9 | F |  |  | [feature] add devmap of R152-C10-ES-Celeris-001./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] fix sensor num the same./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Modify the position of temperature, voltage and current of G292-Z4X series./ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] fix T181-Z70 GPU current sensor of mismatch problem./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] remove X550 temp, and add CX6 temp./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] update MH11-OC3-Y9 FSC. |  |  |  |  |  |  |
| 15 | F |  |  | [fearure] add CX6 and CMT4032 |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Modify CPU temp, VPP_MEM sdr for MC22./ |  |  |  |  |  |  |
| 17 | F |  |  | [feature] fix CPU GPIOSENSOR |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Fix system serial number and sku disappear issue. |  |  |  |  |  |  |
| 19 | F |  |  | [feature] Reduce start up time./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] Remove redfish subagent sleep time. It will casue ipmi restart./ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Modify to correct format remove ^M for server.pem/ |  |  |  |  |  |  |
| 22 | B |  |  | [defect] Modify inventory pcie, ethernet and network interface info./ |  |  |  |  |  |  |
| 23 | B |  |  | [redfish][defect] Let pcie slots info can be parsed by inventory parser/ |  |  |  |  |  |  |
| 24 | B |  |  | [redfish][defect] Let pcie device(NVMe) info sync to InventoryDataInfo/ |  |  |  |  |  |  |
| 25 | B |  |  | [redfish][defect] rename PCIeDevices item (under Chassis/Self/PCIeSlots page) to PCIeDevice to match redfish official schema/ |  |  |  |  |  |  |
| 26 | F |  |  | [redfish] replace empty table with empty array for output of Fanprofile/ |  |  |  |  |  |  |
| 27 | B |  |  | [defect][redfish]Initial telemetry when power on or get sensor data./ |  |  |  |  |  |  |
| 28 | B |  |  | [redfish] modify oem schema, let dual image can pass validator/ |  |  |  |  |  |  |
| 29 | F |  |  | [redfish] add PCIe Gen4 slot type for smbios Systems Slot/ |  |  |  |  |  |  |
| 30 | B |  |  | [defect] recover url: UpdateService/Actions/Oem/UpdateService.BMCFwUpdate, user can select different uploadSelector(image1/image2/both/autoinactive) for dual image bmc update/ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] correct the bmc2 version displayed by Redfish UpdateService/ |  |  |  |  |  |  |
| 32 | B |  |  | [defect] fix redfish bootsource Once/UefiShell issue/ |  |  |  |  |  |  |
| 33 | B |  |  | [defect] fix validator fail for ResourceBlocks/DrivesBlock/ |  |  |  |  |  |  |
| 34 | F |  |  | [feature] change rtp tag to 1_8/ |  |  |  |  |  |  |
| 35 | B |  |  | [defect] fix validator fail: can not get Systems/Self/Boot/Certificates after dc cycle/ |  |  |  |  |  |  |
| 36 | B |  |  | [defect] recover content of AMIDynamicExtension.v1_0_0.json to valid json format |  |  |  |  |  |  |
| 12.53.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Modify current of 54V_XXX sensor for G492-ZD0/1/2. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] add U250,A30 device |  |  |  |  |  |  |
| 3 | B |  |  | [defect] remove BIOS write to offset 0x400000 feature |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Modify G292-Z46 VR sensor/ |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Add G292_002_YE fan profile/ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Modify Intersil VR sensor for G292-Z40-00./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Modify Intersil VR sensor for G292-Z43-00./ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Modify Intersil VR sensor for G292-Z44-00./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Modify Intersil VR sensor for G292-Z45-00./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Update fan profile for GS-MH11-OC3-Y9/ - All fan set to 100% duty/ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Modify current of 54V_XXX sensor for G492-ZD2-00. |  |  |  |  |  |  |
| 12 | B |  |  | [defect] Fix current of 54V_XXX sensor. |  |  |  |  |  |  |
| 13 | F |  |  | [feature] fix TCA9548 and chnl can show raid management |  |  |  |  |  |  |
| 14 | F |  |  | [feature] fix GPIO_SENSOR for CPU Thermal Trip |  |  |  |  |  |  |
| 15 | F |  |  | [feature] add T182-ZL0-ZB |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Modify R282-004-WE link to R282-Z96-00./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] remove unused fan for W781-Z00-ES-Thales-002./ |  |  |  |  |  |  |
| 18 | F |  |  | [feature] add FSC for W781-Z00-ES-Thales-002./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] remove NVME sensor for R282-Z91./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] add PLX temp sensor for TO32-Z50-ZB./ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Modify driver, SDR and Cal values ?sed in 12V_PDB./ |  |  |  |  |  |  |
| 22 | B |  |  | [defect] Fix EC_STS frequency |  |  |  |  |  |  |
| 23 | F |  |  | [CEC] Update version to 01.0f |  |  |  |  |  |  |
| 12.52.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] fix RAID card remove, but show 0 degree |  |  |  |  |  |  |
| 2 | B |  |  | [defect] for Ampere project move BIOS location to 0x400000. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Modify R152-P30-CD PSU from 4 devices to 2 devices. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] delete P31-JG and add CX4 for P31-00 |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Add R282-Z90-UL fan profile and update SKU. |  |  |  |  |  |  |
| 6 | B |  |  | [defect] H252-3C0 add M2 temp sensor. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] add BPB CPLD for G431-MM1-GO./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmap of R282-004-WE./ |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Add T182-Z71-ZB devmap and SKU. |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Modify G292-Z46 VR sensor/ |  |  |  |  |  |  |
| 11 | F |  |  | [feature] Add G292_002_YE fan profile/ |  |  |  |  |  |  |
| 12.52.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add RAID SMBUS NUM 5/ |  |  |  |  |  |  |
| 2 | F |  |  | Merged revision(s) 4924,4937,4962 from trunk/V12.2_20191206_rc:/1. [defect] AMI patch for EIP #596308./2. [defect] Improve IPMI command response time./3. [defect] Change process manager interval to 60 seconds./4. [defect] Remove AMI patch 0003 for EIP #596308, it will let ipmi response slowly with lan interface (but lanplus work normally)./5. [defect] Revert libipmiredfishhooks changes in r4924, it should be modified in CommonRTP./6. [defect] Process manager check cmdline instead stat when search process pid, to avoid some process pid cannot be found./ |  |  |  |  |  |  |
| 3 | F |  |  | Merge revision(s) 2312 from CommonRTP1.8: [defect] When user get CPLD version from firmware inventory, trigger sync agent for update CPLD firmware version./ |  |  |  |  |  |  |
| 4 | F |  |  | Merged revision(s) 4945 from trunk/CommonRTP1.7_rc:/1. [defect] Improve IPMI command response time./ |  |  |  |  |  |  |
| 5 | F |  |  | [defect] Remove P1 sensors of H252-Z12 because there is only one CPU |  |  |  |  |  |  |
| 6 | F |  |  | [feature] add CPLD vision |  |  |  |  |  |  |
| 7 | F |  |  | [feature] fix sensor name the same |  |  |  |  |  |  |
| 8 | F |  |  | [feature] update FSC for G482-Z52-00 and G292-001-RS |  |  |  |  |  |  |
| 9 | F |  |  | [defect] modify Ampere project P_0V85_VDDC use P_0V85 for increase UC to 1.078V |  |  |  |  |  |  |
| 10 | F |  |  | [feature] update the GPU number |  |  |  |  |  |  |
| 11 | F |  |  | [feature] Add project R152-P30-CD |  |  |  |  |  |  |
| 12 | F |  |  | [feature] add G242-P32 device map |  |  |  |  |  |  |
| 13 | F |  |  | [feature] add H262-NO1-00_CMC H262-PC1-00_CMC H262-PC2-00_CMC link H262-NO0-00_CMC |  |  |  |  |  |  |
| 14 | F |  |  | [feature] add G242-P31-JG and remove CX4121A G242-P31-00 |  |  |  |  |  |  |
| 15 | F |  |  | [feature] add U250 device |  |  |  |  |  |  |
| 16 | F |  |  | [feature] add G242-P30-LT.xml and G242-P31-LT.xml |  |  |  |  |  |  |
| 17 | F |  |  | [defect] Modify MC12-LE0 MUX to PCA9545 and RAID position./ |  |  |  |  |  |  |
| 18 | F |  |  | [feature] update the DIMM UC&UNC 83&81 |  |  |  |  |  |  |
| 19 | F |  |  | [defect] fix G242-P32-QZ EC version, front panel temperature, GPU temperature problem. |  |  |  |  |  |  |
| 20 | F |  |  | [feature] Update fan profile for MH11-OC3-Y9/ |  |  |  |  |  |  |
| 12.52.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] add devmap of G182-C2B-UB./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Modify devmap name of G182-C2B-UB./ |  |  |  |  |  |  |
| 3 | F |  |  | [feature] add devmap of G182-C2A-UB./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect]Fixed ROT force authentication by ipmitool in R182-NA0/ |  |  |  |  |  |  |
| 5 | F |  |  | [feature] add G242_P31 fanprofile |  |  |  |  |  |  |
| 6 | F |  |  | [feature] add devmap of W781-Z00-ES./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] change model name W781-Z00-ES to W781-Z00-ES-Thales-002./ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Fixed sensor number duplicate in R182-NA0/ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] modefy total "ME_STATUS" sensor number to 0x203 and revert R182-NA0 "CPLD_BIOS_STATUS" sensor number to 0x200/ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] update R282_G30 FSC |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Change devmap for access method change of AMPR_SCP_VERSION |  |  |  |  |  |  |
| 12 | B |  |  | [defect] remove sel reserved entry/ |  |  |  |  |  |  |
| 13 | F |  |  | [feature] recover url: UpdateService/Actions/Oem/UpdateService.BMCFwUpdate, user can select different uploadSelector(image1/image2/both/autoinactive) for dual image bmc update/[defect] let SimpleUpdate can work at single image platform/ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] add workaround solution to avoid manager/self crash issue/[defect] fix redfish bootsource Once/UefiShell issue/ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] add workaround solution to avoid manager/self crash issue/[defect] fix redfish bootsource Once/UefiShell issue/ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] let SimpleUpdate can work at singleimage/RoT platform/ |  |  |  |  |  |  |
| 12.52.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature]interface1 is DEDCIATE interface2 is SHARED |  |  |  |  |  |  |
| 2 | B |  |  | [defect]hpm bios update Flash 2 cannot be updated successfully./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect]Fixed enable/disable IPV6 will re-write bond config. |  |  |  |  |  |  |
| 4 | F |  |  | [feature]save devmap version to workspace/Build/output/devmap_version/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect]Fixed when BMC set dedicated mode & static IP, BMC cannot get ip after mc reset cold/ |  |  |  |  |  |  |
| 6 | B |  |  | [defect]Avoid set interface eth0/eth1, they will be slave of bond interface. |  |  |  |  |  |  |
| 7 | F |  |  | [feature] add devmap of G431-MM0-MM./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmap of R282-R9G-00./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] change R282-R9G-00 to R282-Z9G-00./ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] add MX33-BS1-V1 device map |  |  |  |  |  |  |
| 11 | F |  |  | [feature]Add raid card for H262-Z63-00 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] fix fan sensor mismatch problem./ |  |  |  |  |  |  |
| 13 | F |  |  | [feature] add devmap of H252-Z12-00./ |  |  |  |  |  |  |
| 14 | F |  |  | [feature] Update FSC of G292-Z46-00. |  |  |  |  |  |  |
| 15 | F |  |  | [feature] Update FSC of G482-Z55-00. |  |  |  |  |  |  |
| 12.51.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Fix file not close issue, it will cause umount /conf failed during redfish simple update./ |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Merge RC check bios version to return Milan or Rome/ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Remove GPIO_S01_ALERT3_BMC_SALT3_L GPIO interrupt/ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Add the current read for tps2480(nvme)./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] remove RISER3_TEMP for R262-ZA1-00./ |  |  |  |  |  |  |
| 6 | F |  |  | [feature] Add devmap/sku of G482-Z54-ES-SIE-001./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] remove INLET_AIR_TEMP for TO32-Z50-ZB./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] update the SYS_FAN sensor for G431-MM2-YS_1616172507 |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Add M2 sensor for CNBH0P.xml/ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] update the SYS_FAN and GPU sensor |  |  |  |  |  |  |
| 11 | F |  |  | [feature] update the turn off the GPU chnl |  |  |  |  |  |  |
| 12 | F |  |  | [feature] poweroff the G431-MM2-YS |  |  |  |  |  |  |
| 13 | F |  |  | [feature] add devmap of R272-Z31-SW-SE-003./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] add raid info for MC12-LE0-00./ |  |  |  |  |  |  |
| 15 | F |  |  | [feature] Add new devmap for MH63-HD0-00/ |  |  |  |  |  |  |
| 16 | B |  |  | restore r4860: MH63 only in AST2600/ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Modify set ac restore policy to SKU setting./ |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Fix G242-P31-00 can not get PSU info |  |  |  |  |  |  |
| 19 | F |  |  | [feature] add MH61-HD6-SW-SE-001 device map and power on |  |  |  |  |  |  |
| 20 | F |  |  | [feature] update FAKE FAN for CPU FAN |  |  |  |  |  |  |
| 21 | F |  |  | [feature] add FSC for MC12-LE0-00./ |  |  |  |  |  |  |
| 22 | B |  |  | [defect] TO32-Z50-ZB Remove sensor for EE and modify scan time/ |  |  |  |  |  |  |
| 23 | F |  |  | [feature] add devmap of R282-Z96-ES-ASBISC-001./ |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Modify sdr and cal value of G292-Z20-00./ |  |  |  |  |  |  |
| 25 | F |  |  | [feature] add RAID INFO and move OCP to PCIE_2 |  |  |  |  |  |  |
| 26 | B |  |  | [defect] remove 12V_GPU for R282-Z96-ES-ASBISC-001./ |  |  |  |  |  |  |
| 27 | F |  |  | [feature] add G431-MM2 FOR 3070 FSC |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Add CPLD_STS to read HDD present status./ |  |  |  |  |  |  |
| 29 | F |  |  | [feature] update strname default and SPECpower |  |  |  |  |  |  |
| 30 | F |  |  | [feature] add FSC for R282-Z96./ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] Update FSC for H252-Z12. |  |  |  |  |  |  |
| 32 | B |  |  | [defect] 1.synchronize CMBH23.xml and H282-ZC0-00.xml 2.fix webui show MB CPLD version |  |  |  |  |  |  |
| 33 | F |  |  | [feature] add device map CR set zero |  |  |  |  |  |  |
| 34 | B |  |  | [defect] Modify sdr and cal value of G292-Z24-00./ |  |  |  |  |  |  |
| 35 | B |  |  | [defect] Modify sdr and cal value of G292-Z20-00./ |  |  |  |  |  |  |
| 36 | B |  |  | [defect] Modify sensor for G431-MM1-GO./ |  |  |  |  |  |  |
| 37 | F |  |  | [feature] Add Cloudflare devmaps MZ12-HD4-CD, R162-Z10-ES-Cloudflare-001, R162-Z12-CD, R162-Z13-CD, and fanprofile R162_Z12. |  |  |  |  |  |  |
| 38 | B |  |  | [defect] fix sensor number the same./ |  |  |  |  |  |  |
| 39 | F |  |  | [feature] add devmap of R162-Z12-CD1./ |  |  |  |  |  |  |
| 40 | B |  |  | [defect] Modify raid info for MC12-LE0-00./ |  |  |  |  |  |  |
| 41 | B |  |  | [defect]/1. Remove qualcomm voltage sensor of R282-Z93-ES-Qualcomm-001./2. Add CPLD_STS for MZ5 model./ |  |  |  |  |  |  |
| 42 | F |  |  | [feature] for display SCP version on WebUI |  |  |  |  |  |  |
| 43 | B |  |  | [defect] Add the current read for tps2480(nvme)./ |  |  |  |  |  |  |
| 12.51.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature][CMC] Support H282-ZC0-00/ |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Remove IPMIMain restart SEL log support, it has been record in system log./ |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Merge RC driver to trunk, and i2c bus number dynamicly change by platform/ |  |  |  |  |  |  |
| 4 | B |  |  | Merged revision(s) 4749 from trunk/V12.2_20191206_rc:/[defect] Add the current read for M.2.// |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Merge RC intersil P0_IOUT too low issue./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Fix when power cycle have ipmi main error issue for G482-Z54/ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] add GPU temp, remove unused nvme temp for R282-002-RS./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmap of W551-001-YU./ |  |  |  |  |  |  |
| 9 | F |  |  | [feature] add devmap of R162-001-00./ |  |  |  |  |  |  |
| 10 | F |  |  | [defect] Update FSC for R282-002-RS./ |  |  |  |  |  |  |
| 11 | B |  |  | [feature] fix the GPU sensor |  |  |  |  |  |  |
| 12 | F |  |  | [feature]fix the GPU sensor number |  |  |  |  |  |  |
| 13 | F |  |  | [feature]update G191_H44 fanprofile |  |  |  |  |  |  |
| 14 | B |  |  | [defect] fix raid info problem for MX23-CE0-00./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] fix the same adc sensor name problem./ |  |  |  |  |  |  |
| 16 | F |  |  | [feature] add devmap of MZ12-HD0-SW-SE-002./ |  |  |  |  |  |  |
| 17 | F |  |  | [feature] add devmap of MZ72-OP1-ZB./ |  |  |  |  |  |  |
| 18 | F |  |  | [feature] Add SKU and add devmap for G262-ZRA-SU. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] remove raid info for MC12-LE0-00./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] divide PCIE_TEMP and OCP_TEMP sensor into a group, and take the maximum value./ |  |  |  |  |  |  |
| 21 | F |  |  | [feature] add devmap of R271-Z00-SW-SE-004./ |  |  |  |  |  |  |
| 22 | F |  |  | [feature] update the sensor FAN for G431-MM2-YS |  |  |  |  |  |  |
| 23 | F |  |  | [feature] add ADT7462_PWM for G431-MM2-YS |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Modify the SMbus path of M.2 sensor./ |  |  |  |  |  |  |
| 25 | F |  |  | [feature] update FAN name and CPUFAN chnl for G431-MM2-YS |  |  |  |  |  |  |
| 26 | B |  |  | Merge revision(s) 4408,4640,4726 from http://10.1.27.226/svn/AMI/trunk/CommonRTP1.7_rc: /[redfish] modify oem schema, let dual image can pass validator/[redfish] add PCIe Gen4 slot type for smbios Systems Slot/[redfish] replace empty table with empty array for output of Fanprofile/ |  |  |  |  |  |  |
| 12.51.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect]Fixed difine error/ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] reverse dedicate and share nic mac when update sku whthout update mac/ |  |  |  |  |  |  |
| 3 | B |  |  | [defect]Fixed bond.conf incorrect, when update bmc with preserve config/ |  |  |  |  |  |  |
| 4 | B |  |  | [defect][CMC]cmc should update cpu temperature 's threshold when tjmax change/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect][CMC] Merge: Fix node can't power on issue when AC on(CMC not need BIOS ready)./ |  |  |  |  |  |  |
| 6 | B |  |  | Merged revision(s) 4106 from trunk/V12.2_20191206_rc:/[defect][CMC] Fix nodes information page which display firmware version problem. |  |  |  |  |  |  |
| 7 | B |  |  | [defect][CMC] Merge: Fix node pwr_sts is incorrect when BMC reset./ |  |  |  |  |  |  |
| 8 | B |  |  | Merged revision(s) 4570 from trunk/V12.2_20191206_rc:[defect][CMC] fix cpu_dts show value 3,because cache_clear() and handler_3830() clear cpu_dts value different. |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Support get BIOS version through IPMI command. (merge from rc r4525) |  |  |  |  |  |  |
| 10 | F |  |  | [feature] Update FSC of G292-Z44-00 |  |  |  |  |  |  |
| 11 | B |  |  | [defect] update FSC of G481-HA0 |  |  |  |  |  |  |
| 12 | F |  |  | [feature] fix GPU number and current sensors |  |  |  |  |  |  |
| 13 | F |  |  | [feature] fix the GPU number accroding riser card slot |  |  |  |  |  |  |
| 14 | B |  |  | [defect]Modify fan sensor for TO32-Z50 and add fan profile/ |  |  |  |  |  |  |
| 15 | F |  |  | [feature] fix the AMPERE system sku can't build |  |  |  |  |  |  |
| 16 | F |  |  | [feature] add devmap of MZ01-CE2-GO./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] remove unused nvme temp sensors for R282-Z9A-RS./ |  |  |  |  |  |  |
| 18 | F |  |  | [feature] add CRAO338 OCP HBA card |  |  |  |  |  |  |
| 19 | F |  |  | [feature] build arm sku need to chmod 777 /tmp/devmap.xml |  |  |  |  |  |  |
| 20 | F |  |  | [feature] accroding EE to change the GPU number |  |  |  |  |  |  |
| 21 | B |  |  | [defect]1.H252-3C0 add RAID_INFO 2.modify OCP sensor |  |  |  |  |  |  |
| 22 | F |  |  | [feature] update the fanprofile G292-Z24-00 and G292-Z22-00 |  |  |  |  |  |  |
| 23 | F |  |  | [feature] add devmap of MC12-LE2-V1./ |  |  |  |  |  |  |
| 24 | F |  |  | [feature] add G291-2G0-SW-APY-001 devmap and remove GPU56E_FAN |  |  |  |  |  |  |
| 25 | F |  |  | [feature] add devmap of H262-Z6C-NJ2./ |  |  |  |  |  |  |
| 26 | B |  |  | [defect] Modify GPU sensor to i2c 0 and 13./ |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Remove the sensor related to I2C 1 OOB CMD./ |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Revert to r4733./ |  |  |  |  |  |  |
| 29 | B |  |  | [defect] add M.2 temp for MC12-LE0-00./ |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Modify temp sensor for MZC2-TS0-00./ |  |  |  |  |  |  |
| 31 | B |  |  | [defect]/1. Add the current read for M.2./2. Modify the M.2 Thermal Sensor smbus path of G492-ZD2-00./ |  |  |  |  |  |  |
| 32 | B |  |  | [defect] Modify GPU sensor to i2c 0 and 13./ |  |  |  |  |  |  |
| 33 | B |  |  | [defect] Modify TO32-Z50-00 to TO32-Z50-ZB/ |  |  |  |  |  |  |
| 34 | F |  |  | [feature] add end of PWM chl=6 |  |  |  |  |  |  |
| 35 | F |  |  | [feature] Add read redundant status tag/ |  |  |  |  |  |  |
| 36 | B |  |  | [defect] Update FSC(A10) of G492-Z51-00./ |  |  |  |  |  |  |
| 37 | B |  |  | [defect] Modify cold redundant setting./ |  |  |  |  |  |  |
| 38 | F |  |  | [feature] add A6000 FSC |  |  |  |  |  |  |
| 12.51.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature]interface1 is DEDCIATE interface2 is SHARED |  |  |  |  |  |  |
| 2 | B |  |  | [defect]hpm bios update Flash 2 cannot be updated successfully./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect]Fixed enable/disable IPV6 will re-write bond config. |  |  |  |  |  |  |
| 4 | F |  |  | [feature]save devmap version to workspace/Build/output/devmap_version/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect]Fixed when BMC set dedicated mode & static IP, BMC cannot get ip after mc reset cold/ |  |  |  |  |  |  |
| 6 | B |  |  | [defect]Avoid set interface eth0/eth1, they will be slave of bond interface. |  |  |  |  |  |  |
| 7 | F |  |  | [feature] add devmap of G431-MM0-MM./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmap of R282-R9G-00./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] change R282-R9G-00 to R282-Z9G-00./ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] add MX33-BS1-V1 device map |  |  |  |  |  |  |
| 11 | F |  |  | [feature]Add raid card for H262-Z63-00 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] fix fan sensor mismatch problem./ |  |  |  |  |  |  |
| 13 | F |  |  | [feature] add devmap of H252-Z12-00./ |  |  |  |  |  |  |
| 14 | F |  |  | [feature] Update FSC of G292-Z46-00. |  |  |  |  |  |  |
| 15 | F |  |  | [feature] Update FSC of G482-Z55-00. |  |  |  |  |  |  |
| 12.50.11 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Update FSC and Device ID of G482-Z51/Z52/Z53/Z54. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Update AI100 PCI device./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] merge check select upload firmware file size is valid, before click update firmware button from rc branch/ |  |  |  |  |  |  |
| 4 | F |  |  | [feature] merge: Modify CPU IERR log event for Ampere platform/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Fix BMC function transfer problem on DP series by searching primary IPMB bus number instead of fixed value./[defect] Fix warning name in NVAPI of FPGA information part./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect]add back BIOS switch oem cmd for factory BIOS test. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] For Ampere power button no passthrough mode, Add p_0V85, fix BMC load default system shutdown problem |  |  |  |  |  |  |
| 8 | F |  |  | [feature] Add IPMIMain restart SEL log support./[defect] Fix some issue for thread monitor in ipmimain:/1. Fix KCS, SSIF, and USB interface task cannot record thread name when thread timeout occurred./2. Fix thread monitor in ipmimain would not check the last thread in the table./[defect] Preserve sensor status to avoid CPU/PSU/HDD event SEL log re-generated when IPMIMain restart./[defect] Fix PSU_STATUS put wrong value to buffer when first time scan./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Move some of variables, because there is ipmi restart issue when dc cycle. |  |  |  |  |  |  |
| 12.50.09 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] add temp sensor for G182-C2B-00./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] fix CPLD count for CNBH0P |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Add M.2 sensor for G482-Z52-SW-QZ-001. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] R181-340 riser card 3 add gpu for T4 |  |  |  |  |  |  |
| 5 | F |  |  | [feature] add R281-3C1-K6 from R281-3C2-00 |  |  |  |  |  |  |
| 6 | F |  |  | [feature] E251-U70 U280 fan policy |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Modify sensors for MC12-LE0-00./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmap of WRX80-SU8-IPMI./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect][CMC] Remove HDD status for H282/ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] fix VR temp sensor |  |  |  |  |  |  |
| 11 | B |  |  | [defect] add NVMe sensor of G481-S80-00 |  |  |  |  |  |  |
| 12 | F |  |  | [feature] add R181_340 fanprofile |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Add CPU1 PROCHOT support for T182-Z60/Z70./ |  |  |  |  |  |  |
| 14 | F |  |  | [feature] Update FSC of G482-Z51/G482-Z52/G482-Z53/G482-Z54. |  |  |  |  |  |  |
| 15 | F |  |  | [feature] add MX33_BS0 fanprofile |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Modify G482-001 to G482-001-QZ. |  |  |  |  |  |  |
| 17 | F |  |  | [feature] Add SKU and add devmap for G492-ZD1/ZD2. |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Modify sensor number for G492-ZD2-00. |  |  |  |  |  |  |
| 19 | F |  |  | [feature] Add SKU and add devmap for G292-001-RS. |  |  |  |  |  |  |
| 20 | B |  |  | [defect] Modify NVME temp sensor for R282-Z9A-RS./ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] 1.fix H252-3C0-00 and CNBH0P OCP,FAN,Inlet temp sensor. 2.remove NVMe,M2,GPU temp sensor |  |  |  |  |  |  |
| 22 | B |  |  | [defect] Modify the position of the GPU Sensor slot in devmap./ |  |  |  |  |  |  |
| 23 | F |  |  | [feature] Update FSC of G492-Z51-00. |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Modify the position of the HIC or GPU Sensor slot in devmap./ |  |  |  |  |  |  |
| 25 | B |  |  | [defect] add GPU A10 fan policy of R292-4S0 |  |  |  |  |  |  |
| 12.50.08 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature]implment AMPERA dcmi power reading, and dcmi power limit |  |  |  |  |  |  |
| 2 | B |  |  | [defect] 1. hide current active image if hpm update is ROT or single image update, 2. scp hpm update shuld support update image-2 options |  |  |  |  |  |  |
| 3 | B |  |  | [defect]if hpm only support update single image, change update option message to "Image" |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Adjust Cold Redundant policy, and default setting is 0 (disabled). |  |  |  |  |  |  |
| 5 | B |  |  | Merged revision(s) 4195 from tags/test_version/12.49/12.49.77:/[feature] Add IPMIMain restart SEL log support./[defect] Fix some issue for thread monitor in ipmimain:/1. Fix KCS, SSIF, and USB interface task cannot record thread name when thread timeout occurred./2. Fix thread monitor in ipmimain would not check the last thread in the table./[defect] Preserve sensor status to avoid CPU/PSU/HDD event SEL log re-generated when IPMIMain restart./[defect] Fix PSU_STATUS put wrong value to buffer when first time scan./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect]AMPERA dcmi power limit, calculate logic not correct |  |  |  |  |  |  |
| 7 | F |  |  | [feature] intel acd function/ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] merge gbt_cb with wrong branch, merge remove code back |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Add PSU cold redundant status to Normal Mode OEM command. |  |  |  |  |  |  |
| 10 | F |  |  | [feature] intel ASD function/ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] merge gbt_cb with wrong branch, merge remove code back |  |  |  |  |  |  |
| 12 | B |  |  | [defect]merge tags/test_version/12.50/12.50.93: for BMC load default cause OS reboot problem |  |  |  |  |  |  |
| 13 | B |  |  | [redfish] modify oem schema, let dual image can pass validator/ |  |  |  |  |  |  |
| 12.50.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Workaround to avoid some abnormal situation when setting unique password./[feature] Add mechanism to restore default config when IPMIConfig.dat abnormal./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Update FSC of R282-Z93/Z96./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Modify the order of GPU voltage and current./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Modify FSC of G492-ZL0-SW-NJ2-002. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Update FSC of G292-Z43-00./ |  |  |  |  |  |  |
| 6 | F |  |  | [feature] add devmap of MC12-LE0-00./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Modify air/water cooling system's FanProfile name in framework of multi-devmaps CMC / |  |  |  |  |  |  |
| 8 | F |  |  | [feature] delete R181-340-00.xml cut link |  |  |  |  |  |  |
| 9 | F |  |  | [feature] add devmap of R282-003-EZ./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Update FSC for R262_ZA2./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Add fanprofile for CNBH0P-00 |  |  |  |  |  |  |
| 12 | B |  |  | [defect]make gensku MYBOARD=CNBH0P-00, output fanprofile not correct |  |  |  |  |  |  |
| 13 | F |  |  | [feature] remove the sensor P_0V92_PHY |  |  |  |  |  |  |
| 14 | F |  |  | [feature] Add devmap of G482-Z54-SW-W7-001./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Update FSC of G242-Z11-00./ |  |  |  |  |  |  |
| 16 | F |  |  | [feature] HB1 remove P_0V92_PHY sensor and HB0 add back sensor |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Remove not define sensor GPU8/9 from G482-Z54-00/G482-Z54-ES-NVIDIA-001/G482-Z54-SW-W7-001/G482-Z55-00. |  |  |  |  |  |  |
| 18 | B |  |  | Merged revision(s) 4136-4140 from trunk/CommonRTP1.7_rc:/1.[defect][redfish]Initial telemetry when power on or get sensor data./2.Add pure code |  |  |  |  |  |  |
| 12.50.06 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect]fix bug, ghw_i2c_rw only master read always return failed |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Update AI100 to pci device./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Workaround to avoid some abnormal situation when setting unique password./[feature] Add mechanism to restore default config when IPMIConfig.dat abnormal./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Fix BMC function transfer problem on DP series by searching primary IPMB bus number instead of fixed value./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] fix sensor abnormal problem for H282-ZC0/H282-ZC1./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] fix sensor and SDR table not match problem./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] modify MH12-HD0 & H252-3C0 for use ME read CPU & Dimm temp |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmap for G431-MM1-OT,R282-002-RS,R282-003-00,R282-Z9A-RS,MZC2-TS0-00./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Update FSC of G292-Z44-00./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Modify ADC14 sensor for MZC2-TS0-00./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Update FSC of R282-Z93-ES-Qualcomm-001./ |  |  |  |  |  |  |
| 12 | F |  |  | [feature] Add SKU and devmap of G292-Z45-00./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] CMBH23 disable PSU cold redundant |  |  |  |  |  |  |
| 14 | F |  |  | [feature] add FSC for R282-Z9A/R282-Z9B/R282-Z9C./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] R161-340-00 device map change to R161-340-Y2 |  |  |  |  |  |  |
| 16 | B |  |  | [defect]delete R161-N20-ES-iQIYI-004 link to R161-340-00 |  |  |  |  |  |  |
| 17 | B |  |  | [defect]create R161-N20-ES-iQIYI-004 copy R161-340-Y2 |  |  |  |  |  |  |
| 12.50.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] hide KVM hd turn_on turn_off button when it support MINIDP./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Enable FANIN13,FANIN14 for W83795G./ |  |  |  |  |  |  |
| 3 | B |  |  | Merged revision(s) 4101, 4104 from trunk/V12.2_20191206_rc:/[defect] if can't update raid info, keep last data./[feature] Enable SAS HBA card support |  |  |  |  |  |  |
| 4 | B |  |  | Merged revision(s) 4141 from trunk/V12.2_20191206_rc:/[defect]BMCCurInfo should set array index to zero or can't sync sensor to redfish. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Adjust PSU Cold Redundant policy. (merge from rc r4102) |  |  |  |  |  |  |
| 6 | B |  |  | [defect] fix sensor abnormal problem for H282-ZC0/H282-ZC1./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] fix sensor and SDR table not match problem./ |  |  |  |  |  |  |
| 8 | B |  |  | [defect] modify MH12-HD0 & H252-3C0 for use ME read CPU & Dimm temp |  |  |  |  |  |  |
| 9 | F |  |  | [feature] add devmap for G431-MM1-OT,R282-002-RS,R282-003-00,R282-Z9A-RS,MZC2-TS0-00./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Update FSC of G292-Z44-00./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Modify ADC14 sensor for MZC2-TS0-00./ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] Update FSC of R282-Z93-ES-Qualcomm-001./ |  |  |  |  |  |  |
| 13 | F |  |  | [feature] Add SKU and devmap of G292-Z45-00./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] CMBH23 disable PSU cold redundant |  |  |  |  |  |  |
| 15 | F |  |  | [feature] add FSC for R282-Z9A/R282-Z9B/R282-Z9C./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] R161-340-00 device map change to R161-340-Y2 |  |  |  |  |  |  |
| 17 | B |  |  | [defect]delete R161-N20-ES-iQIYI-004 link to R161-340-00 |  |  |  |  |  |  |
| 18 | B |  |  | [defect]create R161-N20-ES-iQIYI-004 copy R161-340-Y2 |  |  |  |  |  |  |
| 12.50.04 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature]/1. Increase the driver to read the temperature and voltage of Qualcomm AI100, and the SDR of the sensor./2. Add reading qualcomm ai100 fru data and generating fru bin file./ |  |  |  |  |  |  |
| 2 | B |  |  | [feature] Modify CPU IERR log event for Ampere platform/ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] update MainboardIDs.h |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Add sdr of qualcomm AI100 sensor./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] add SDR ADM1278_IOUT_V3 for CNBH0P sensor NDXX_CUR UC&UNC(135&130) |  |  |  |  |  |  |
| 6 | B |  |  | [defect]hpm bios update Flash 2 cannot be updated successfully. |  |  |  |  |  |  |
| 12.50.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Fixed uboot env section abnormal in BMC backup SPI after BMC auto backup./[feature] Erase uboot env section in BMC backup SPI when doing BMC backup or auto backup./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix GPIOH7 have low pulse when BMC reset/ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Hide empty FRU items. |  |  |  |  |  |  |
| 4 | B |  |  | [defect] add SDR ADM1278_IOUT_V3 for CNBH0P sensor NDXX_CUR UC&UNC(135&130) |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Change TINFO to TDBG. Because if there are no raid present, it will keep print error message. |  |  |  |  |  |  |
| 6 | B |  |  | [defect] update MainboardIDs.h |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Update the pci device of A10 and A6000./ |  |  |  |  |  |  |
| 12.50.02 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature]Change Dual BIOS platform behavior, CPLD handle switch BIOS duty. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Chaneg MP32-AR0 power button to none passthrough mode, and fix BMC load default system shutdown problem |  |  |  |  |  |  |
| 3 | B |  |  | [defect] 1.merge test_version 12.48.93 2.add when BMC reboot determine whether it is eSPI or LPC |  |  |  |  |  |  |
| 12.50.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Modify VR_IOUT_CPU_AMD threshold |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix BMC i2c bus sometimes crash if CEC is working. [CEC] Update version to 01.0e |  |  |  |  |  |  |
| 12.49.08 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] Hide empty FRU items. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix GPIOH7 have low pulse when BMC reset/ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] hide KVM hd turn_on turn_off button when it support MINIDP./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Modify VR_IOUT_CPU_AMD threshold/ |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Erase uboot env section in BMC backup SPI when doing BMC backup or auto backup./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect]BMCCurInfo should set array index to zero or can't sync sensor to redfish. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] For MP32-AR0 power button non passthrough mode |  |  |  |  |  |  |
| 8 | B |  |  | [defect] revert to r4143 for remove power button no passthrough mode |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Fixed uboot env section abnormal in BMC backup SPI after BMC auto backup./ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] merge from 12.49.99 -r3886 for let user can change raid card slot. |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Enable FANIN13,FANIN14 for W83795G./ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] add comment for r4154./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Update the pci device of A10 and A6000./ |  |  |  |  |  |  |
| 14 | F |  |  | [feature] Modify SKU and add devmap for G482-Z55-00. |  |  |  |  |  |  |
| 15 | B |  |  | [defect] fixed cpld version for R282-Z95-ES-EPITS-001./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Revert SKU and add devmap for G482-Z55-00. |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Modify sensor for G492-Z51-00. |  |  |  |  |  |  |
| 18 | B |  |  | [defect] fix the MD-72 M.2 sensor value unstable |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Update the FSC of G292 series./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] add MD72 fanprofile |  |  |  |  |  |  |
| 21 | B |  |  | [defect] add R242-P31-JG four GPU |  |  |  |  |  |  |
| 22 | B |  |  | [defect] Update FSC of G242-Z11-00./ |  |  |  |  |  |  |
| 23 | B |  |  | [defect] add E252-P30 with CEC |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Update FSC of G482-Z50, G492-Z50/Z51. |  |  |  |  |  |  |
| 25 | B |  |  | [defect] Update fan profile for G481-HA0 with U280/ |  |  |  |  |  |  |
| 26 | B |  |  | [defect] fix PSU_HOTSPOT reading for S252-ZC0-00./ |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Fix force AUTH triggered by BMC cannot work./ |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Modify sensor for MX23-CE0-00,T182-Z70-ZB./ |  |  |  |  |  |  |
| 29 | B |  |  | [defect] Update FSC of G242-Z11-00./ |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Update FSC of G482-Z53-00./ |  |  |  |  |  |  |
| 31 | B |  |  | [defect][redfish]Initial telemetry when power on or get sensor data. |  |  |  |  |  |  |
| 32 | B |  |  | [defect] Fix BMC i2c bus sometimes crash if CEC is working. |  |  |  |  |  |  |
| 12.49.07 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] if can't update raid info, keep last data. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Adjust PSU Cold Redundant policy. |  |  |  |  |  |  |
| 3 | F |  |  | [feature]Implement ipmi oem command for set/get PMBus switch direction (PCH=1/BMC=0)/ |  |  |  |  |  |  |
| 4 | F |  |  | Merged revision(s) 3885 from tags/test_version/12.49/12.49.99:/[feature] Enable SAS HBA card support/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect][CMC] Fix nodes information page which display firmware version problem. |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Fix title name missing when transform language to China. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Add mechanism to check special case for redefine position number of BPB HDD. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Fix spelled the word wrong of internal HDD. |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Fix abnormal display when change language on remote control page. |  |  |  |  |  |  |
| 10 | F |  |  | [feature][CMC] Support H282-ZC0-00/ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Show correct OEM platform ID for MP32-AR0, Add graceful shutdown for MP32-AR0 |  |  |  |  |  |  |
| 12 | B |  |  | [defect] fix GPIO setting bug,if set data before direction the output will all become high |  |  |  |  |  |  |
| 12.49.06 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add additional check mechanism for IPMIMain./[feature] After IPMIMain restart, start the sensor scan directly./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect][CMC] Support CMC work with SKU2.0/ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Modify G492-ZD0-00 fan profile. |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Modify Intersil VR sensor for H262-ZL2/ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Modify sku and add fanprofile for G292-Z44-00. |  |  |  |  |  |  |
| 6 | F |  |  | [feature][CMC] Add CMBH23-00 fan profile/ |  |  |  |  |  |  |
| 7 | F |  |  | [feature] add CNBH0P devmap |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Modify sensor for T182-Z70-ZB. / |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Add CEC sensor for supporting ROT mode./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] add M2_AMB_TEMP1 and M2_AMB_TEMP2 sensor |  |  |  |  |  |  |
| 11 | F |  |  | [feature] add devmap of R282-Z95-ES-EPITS-001./ |  |  |  |  |  |  |
| 12 | F |  |  | [feature] add fan profile for R272-Z30-SW-OB-011./ |  |  |  |  |  |  |
| 13 | F |  |  | [feature] add devmap of R272-Z30-SW-OB-011./ |  |  |  |  |  |  |
| 14 | F |  |  | [feature] add devmap of R282-Z93-EM./ |  |  |  |  |  |  |
| 15 | B |  |  | [defect] delete R281-3C8-00 change to R281-3C8-M7 |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Disable cold redundant for G431-MM0-OT./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] add SYS_FAN5 and remove ME_TEMP2 sensor |  |  |  |  |  |  |
| 18 | F |  |  | [feature] Modify SKU and add devmap for G482-Z54-ES-NVIDIA-001. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Disable cold redundant for R282-Z93./ |  |  |  |  |  |  |
| 12.49.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature]add fan profile for R251_U71_ES_MSS_001 |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Update FSC of R282-Z96-00./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect]/1. Modify the SDR used by HIC_TEMP for R292-Z95-ZY, G292-ZR0-00, G292-Z44-00, G292-Z24-00, G492-HA0-00./2. Modify sku and add fanprofile for G292-Z44-00. |  |  |  |  |  |  |
| 4 | F |  |  | [feature] add devmap for MZ92-FS0-OB1./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] fix PSU_HOTSPOT sensor show NA |  |  |  |  |  |  |
| 6 | F |  |  | [feature] Add RAID_INFO to R162-ZA1-00/ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Fix problem of losing VLAN IP after reboot BMC. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Remove the HBM Sensor in R282-Z96-00./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] add new R281-3C8 and fanprofile |  |  |  |  |  |  |
| 10 | F |  |  | [feature] Add VR_IOUT_CPU_AMD sdr/ |  |  |  |  |  |  |
| 11 | F |  |  | [feature] Add old iQIYI devmap. |  |  |  |  |  |  |
| 12 | B |  |  | [defect] add OCP temp for H282-ZC0-00, H282-ZC1-00./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] remove DIMMG0 DIMMG1 temp sensor |  |  |  |  |  |  |
| 14 | B |  |  | [defect]as Andy.lin ask, rename fan profile R251_U71_ES_MSS_001 to R251_U7I_ES_MSS_001 |  |  |  |  |  |  |
| 15 | B |  |  | as Andy.lin ask, rename devmap R251-U71-ES-MSS-001 to R251-U7I-ES-MSS-001 |  |  |  |  |  |  |
| 16 | F |  |  | [feature] Fix the path of devmap to sku |  |  |  |  |  |  |
| 17 | F |  |  | [feature] Fix the path of fanprofile to sku |  |  |  |  |  |  |
| 18 | F |  |  | [feature] Add external link to sku path for devmaps and Fanprofile |  |  |  |  |  |  |
| 19 | F |  |  | [feature] Modify VR_P0_IOUT/VR_P1_IOUT threshold for AMD CPU in acc_analog, cmd = 0xd0/ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] Remove inactive image option if support ROT type. |  |  |  |  |  |  |
| 21 | B |  |  | [defect] /1. Read the internal / externel / HBM temperature and take the maximum value./2. Relax the filter conditions and only read MI100 characters in the FRU as judgment./ |  |  |  |  |  |  |
| 12.49.04 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect]MP32-AR0 support graceful shutdown |  |  |  |  |  |  |
| 2 | B |  |  | [defect] For MP32-AR0 graceful shutdown use define to isolate code. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] revert to SVN 3835 |  |  |  |  |  |  |
| 4 | F |  |  | [feature] psu firmware update , support show psu firmware version |  |  |  |  |  |  |
| 5 | B |  |  | [defect] r3870 compile failed |  |  |  |  |  |  |
| 6 | F |  |  | [feature] let bmc receive inventory from bios/ |  |  |  |  |  |  |
| 7 | F |  |  | [feature] remove psu firmware update webui temporary/ |  |  |  |  |  |  |
| 8 | F |  |  | [feature]Implement ipmi oem command for set/get PMBus switch direction (PCH=1/BMC=0) |  |  |  |  |  |  |
| 9 | F |  |  | [feature] remove all psu firmware update temporary |  |  |  |  |  |  |
| 10 | B |  |  | [defect] MP32-AR0 graceful shutdown, power button not passthrough |  |  |  |  |  |  |
| 11 | B |  |  | Merged revision(s) 3839-3840 from trunk/CommonRTP1.8:/[defect] Change start up timing or host interface will not display./ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] correct the judgement of inventory redis key/ |  |  |  |  |  |  |
| 13 | B |  |  | Merge r3671,r3706,r3709 from http://10.1.27.226/svn/AMI/tags/test_version/12.48/12.48.95/CommonRTP1.8:/1. let physic/logic device info created by raid card intergrated with inventory storage info/2. adjust the id of drives and volumes/3. fix: storage instance will disappear from storage collection page after dc cycle// |  |  |  |  |  |  |
| 14 | B |  |  | Merged revision(s) 3901 from trunk/CommonRTP1.8:/[feature] Support GPU information/ |  |  |  |  |  |  |
| 15 | B |  |  | [redfish][defect] fix: redfish will not show raid info if don't support inventory/ |  |  |  |  |  |  |
| 12.49.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] add R281 fanprofile |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix bridge command problem that user cannot use ipmitool of bridge request by LAN to access CMC./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Update the definition of radius field name on webUI. |  |  |  |  |  |  |
| 4 | F |  |  | [feature]add R251-U71-ES-MSS-001 devmap. |  |  |  |  |  |  |
| 5 | B |  |  | [defect]remove R251-U71-ES-MSS-001 devmap timestamp. |  |  |  |  |  |  |
| 6 | F |  |  | [feature] Add NVSwitch temp for G492-ZL0-00. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] fix fan5 no speed |  |  |  |  |  |  |
| 8 | B |  |  | [defect] accroding Ampere Project model name list |  |  |  |  |  |  |
| 9 | B |  |  | [defect]devmap R251-U71-ES-MSS-001 add PSU_inlet_temp node. |  |  |  |  |  |  |
| 10 | B |  |  | [defect] fix 12V_GPU and P_12V_GPU number start from zero |  |  |  |  |  |  |
| 11 | B |  |  | [defect] remove CPU and SYS FAN |  |  |  |  |  |  |
| 12 | F |  |  | [feature] Modify SKU and add FanProfile for G492-ZL0-00./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] recovery SYS FAN , because E252-P30 use SYS_FAN for chassis fan control, so should keep SYS_FAN in system device map (R272-P30 use BPB FAN) |  |  |  |  |  |  |
| 12.49.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] add devmap of T182-Z70-00./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] R282-3C0/3C1/NO0/N80 add raid info |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Modify VR sensor for MZ62-HD4 rev2.0/ |  |  |  |  |  |  |
| 4 | F |  |  | [feature] add devmap of G182-C2B-00./ |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Set Ampere project CORE_PWR up threshold editable. |  |  |  |  |  |  |
| 6 | F |  |  | [feature] add devmap of G182-C2A-00./ |  |  |  |  |  |  |
| 7 | F |  |  | [feature] add devmap of MH12-HD0-00. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] skugen/channel and gbt_module-src/data/include synchronize |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Fix for build CMC error |  |  |  |  |  |  |
| 10 | B |  |  | [defect] remove unused code |  |  |  |  |  |  |
| 11 | F |  |  | [feature] add fan profile for MC22-HS0-00./ |  |  |  |  |  |  |
| 12 | B |  |  | [defect][CMC] Patch the Rex's code to fix system fan full speed when chassis power off./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Modify VR sensor for MZ32-AR1 rev2.0/ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] G481-HA0-00-OT5G fan can't control |  |  |  |  |  |  |
| 15 | F |  |  | [feature] Add R282_Z93_OB1 fan profile./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] G481-HA0-00-OT5G remove unused fan device |  |  |  |  |  |  |
| 17 | B |  |  | [defect] change PMBus READ_PIN to READ_POUT for SYS_POWER sensor |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Synchronize skugen\channel\MainboardIDs.h |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Update FSC of G292-Z44-00./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] fix the sensor and solve PSU FRU show N/A |  |  |  |  |  |  |
| 21 | B |  |  | [defect] remove Ampere project graceful power off function |  |  |  |  |  |  |
| 22 | B |  |  | [defect] fix FAN5 no speed |  |  |  |  |  |  |
| 23 | B |  |  | [defect] Filter font-end selector if support ROT type when update HPM firmware. |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Remove GPU2 sensor./ |  |  |  |  |  |  |
| 25 | B |  |  | [defect] add G242-P30 fanprofile |  |  |  |  |  |  |
| 26 | F |  |  | [feature] add fan profile for G182-C2B-00./ |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Modify MZC2-LM0 CPU1_STATUS GPIO pin/ |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Add lost adc sensor for MZA2/ |  |  |  |  |  |  |
| 29 | B |  |  | [defect] add PCIE card MCX653106A-HDAT |  |  |  |  |  |  |
| 30 | F |  |  | [feature] Change PSU TEMP register to 0x8D for GS-MH11-OC3-Y9/ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] For MP32-AR0 CORE_PWR over threshold generate event |  |  |  |  |  |  |
| 12.48.04 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect]recovery, set the NCSI_DEFAULT_VETOBIT to 0 |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Name OCP_TEMP change to PCIE_TEMP |  |  |  |  |  |  |
| 3 | B |  |  | [defect] 1. Modify the Address of 12V_REAR_FAN. 2. Modify the description of 12V Sensor through parallel. |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Fix EC recovery problem which default status is hidden. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Modify R262-ZA1/ZA2 NVMe sensor |  |  |  |  |  |  |
| 6 | F |  |  | [feature] add devmap of MZ72-OP1-00. |  |  |  |  |  |  |
| 7 | F |  |  | [feature] GS-MH11-OC3-Y9 1. Add RISER3_TEMP sensor 2. Change RISER2_TEMP and RISER3_TEMP's slave address |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Fix host side halt on Whitley platform when BMC reboot of ROT mode. |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Fix ampere graceful shutdown, set control pin 231 to output |  |  |  |  |  |  |
| 10 | F |  |  | [feature] Add R162-ZA1 fan profile |  |  |  |  |  |  |
| 11 | B |  |  | [defect] When setting up RAID sgpio, you need to check MBPSON_IN |  |  |  |  |  |  |
| 12 | B |  |  | [defect]Change check Ampere project ID, , fix WebUI hpm update Existing version display. |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Add MI100 Status judgment to avoid reading temperature without OS driver. |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Only delete sessions when updating BMC. |  |  |  |  |  |  |
| 15 | F |  |  | [feature] add fan profile for R262-ZA2-00. |  |  |  |  |  |  |
| 16 | B |  |  | [defect] update FSC of R292-4S0 |  |  |  |  |  |  |
| 17 | F |  |  | [feature] 1. Add RAID INFO 2. Add PDB FAN (main board product is not need) 3. Sync system product devmap to main board devmap |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Add W25Q256JW BMC flash support. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Add raid info and MegaRAID_TEMP for G292-Z43-00. |  |  |  |  |  |  |
| 20 | B |  |  | [defect] Update FSC and device id(A40) of G482-Z54-00. |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Delete all sessions except this update session to prevent update failure. |  |  |  |  |  |  |
| 22 | B |  |  | [defect] add PCH fan for MC22-HS0-00. |  |  |  |  |  |  |
| 23 | F |  |  | [feature] Add GPU_HBM for G292-Z40-00,G291-Z20/Z22/Z24-00,G242-Z11/Z10-00,R282-Z96/Z93-00 |  |  |  |  |  |  |
| 24 | B |  |  | [defect]replace system call with unlink to improve performance. |  |  |  |  |  |  |
| 25 | B |  |  | [defect] add R281-N40-SW-OB-012 fanprofile |  |  |  |  |  |  |
| 26 | F |  |  | [feature]add ipmi oem command for read dual_image and Rot system backup bmc version. |  |  |  |  |  |  |
| 27 | B |  |  | [defect] set GPIOAC7 as GPIO pin to control graceful shutdown |  |  |  |  |  |  |
| 28 | F |  |  | [feature] Add R262-ZA2 device map. |  |  |  |  |  |  |
| 29 | F |  |  | [feature] add GPU sensor and modify CNV3134 |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Add MI100 GPU HBM temp to devmap of G292-Z44-00. |  |  |  |  |  |  |
| 12.48.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] chnage DIMM sensor address for Ampere projects |  |  |  |  |  |  |
| 2 | B |  |  | [defect] fix R292-4S0/4S1 GPU_TEMP error value problem |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Add the read switching mechanism of external temp and internal temp./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Fix BMC doesn't send CEC recovery SEL./ |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Fixed CPU1 throttle problem of R282-Z90-00./ |  |  |  |  |  |  |
| 6 | B |  |  | [defect] fix G181-G10-UB FSC,Test_R03 rename default |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Modify P_VPP_MEM_AD, P_VPP_MEM_EH sensor reading for MC22-HS0-00./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmap of MZ32-AR0-OB1./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Update FSC of G292-Z44-00./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Modify PSU sensor for G431-MM0-OT. / |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Send SPEC power check with ErP always on.BIOS team remove ERP Lot9 option from BIOS menu |  |  |  |  |  |  |
| 12 | F |  |  | [feature] add fan profile for R282-Z93-SW-AD-001./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] add RAID_INFO on Z91-OB1 and Z93-OB1 |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Modify fanprofile for G492-ZD0-00. |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Add CEC sensor in MH62 system./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] add T181-H60-SW-ZB-013 , remove all fan and add three ADM1278 CUR sensor |  |  |  |  |  |  |
| 17 | B |  |  | [defect] add T181-G20-SW-ZB-012 , remove all fan and add four ADM1278 CUR sensor |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Update FSC of G482-Z54-00./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Modify Max link size / |  |  |  |  |  |  |
| 20 | B |  |  | [feature] Add ISL692xx VR sensor/ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] For MP32-AR0 webUI HPM upgrade SCP and BIOS into flash1 and flash2 |  |  |  |  |  |  |
| 22 | B |  |  | [defect] R182-340-00 add M.2 sensor |  |  |  |  |  |  |
| 23 | B |  |  | [defect] Change MP32-AR0 CORE_TEMP to CORE_VRD_TEMP |  |  |  |  |  |  |
| 24 | B |  |  | [defect] Modify GPU threshold for G431-MM0-OT./ |  |  |  |  |  |  |
| 25 | B |  |  | [defect] Update FSC of G482-Z50 & G492-Z50/51./ |  |  |  |  |  |  |
| 26 | B |  |  | [defect] set I2C bus to Byte Mode |  |  |  |  |  |  |
| 27 | F |  |  | [feature] add devmap of MR92-FS0-K2 |  |  |  |  |  |  |
| 28 | B |  |  | [defect] fix to last vision |  |  |  |  |  |  |
| 29 | B |  |  | [defect] Modify VR sensor for ISL692xx, and change i2c-8, i2c-11 for CBP20C5 and CBP2022/ |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Correct fan sensor and add NVMe Temp sensor./ |  |  |  |  |  |  |
| 31 | B |  |  | [defect] Modify VR sensor for ISL692xx/ |  |  |  |  |  |  |
| 32 | B |  |  | [defect] fix the RAID CARD for CRAO338 |  |  |  |  |  |  |
| 33 | B |  |  | [defect] Add CPU1, VR sensor for ISL692xx, dimm chnl, and remove fan/ |  |  |  |  |  |  |
| 34 | B |  |  | [defect] Modify link number to avoid old version FW crash./ |  |  |  |  |  |  |
| 35 | B |  |  | [defect] Update FSC of G492-ZL0-SW-NJ2-002./ |  |  |  |  |  |  |
| 36 | F |  |  | [feature] Support MP32-AR0 graceful power off |  |  |  |  |  |  |
| 37 | B |  |  | [defect] Fixed some sensors show no reading problem when DC power cycle, move sensor scan behind scan on./ |  |  |  |  |  |  |
| 38 | B |  |  | [defect] Modify the GPU Smbus path of G482-Z54-00./ |  |  |  |  |  |  |
| 39 | F |  |  | [feature] Add OCP sensor on RISER cards, CRS2033, CRS2014/ |  |  |  |  |  |  |
| 40 | F |  |  | [feature] Add NVSwitch temp for G492-ZD0-00. |  |  |  |  |  |  |
| 41 | B |  |  | [defect] Update DNS configuration rule about setting domain server. |  |  |  |  |  |  |
| 42 | B |  |  | [defect] Update FSC of G242-Z11-00./ |  |  |  |  |  |  |
| 43 | B |  |  | [defect] R282-3C0/3C1/N80/NO0,R182-NA0 add raid info |  |  |  |  |  |  |
| 44 | F |  |  | [feature] Add MCX6/5 sensor on Riser cards./ |  |  |  |  |  |  |
| 45 | F |  |  | [feature] Add MCX6/5 sensor on Riser cards./ |  |  |  |  |  |  |
| 46 | B |  |  | [defect] Modify sensor name for MCX5/6 and sensor number error./[feature] Add CNV3134 sensor for R262-ZA1/ZA2./ |  |  |  |  |  |  |
| 47 | B |  |  | [defect] revert r3676, r3386./ |  |  |  |  |  |  |
| 48 | B |  |  | [defect] remove NVMEG1 to NVMEG5_TEMP |  |  |  |  |  |  |
| 12.48.02 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add tmp75 function to read nvme_test card./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Modify sensor for MX23-CE0-00./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] add NVMe temp sensor for R282-Z96-00./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Modify NVMe temp sensor for R282-Z96-00./ |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Porting new BPB(CBP10A5) for R282-Z93-OB1. / |  |  |  |  |  |  |
| 6 | F |  |  | [feature] Add SKU and devmap of G492-ZL0, G492-ZL0-SW-NJ2-002./ |  |  |  |  |  |  |
| 7 | B |  |  | [defect] add E252-P30 Fanprofile |  |  |  |  |  |  |
| 8 | B |  |  | [defect] add fan and cpu1_status |  |  |  |  |  |  |
| 9 | B |  |  | [defect] support RAID info on R272-Z31-OB1 |  |  |  |  |  |  |
| 10 | B |  |  | [defect] update FSC of G181-G10-UB |  |  |  |  |  |  |
| 11 | B |  |  | [defect] fix webui GPU_TMP value problem |  |  |  |  |  |  |
| 12 | B |  |  | [defect] Improve PCIe/RAID skip function for SpecPower mode, to avoid ipmi crash when getting PCIe info from SMBIOS./ |  |  |  |  |  |  |
| 13 | F |  |  | [feature] add devmap of R282-Z92-ES-RAIDMedia-001./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] fix R282-G30 NVMeG0_TEMP can't read |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Modify sensor for R282-Z96-00./ |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Update pci.ids to Version 2020.10.25./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] add R152-P30-JG |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Fixed READ_VOUT threshold calculation. |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Reload api and filter features when click refresh button on settings page. |  |  |  |  |  |  |
| 20 | B |  |  | [defect] /1. Modify the SDR used by HIC_TEMP to MB_TEMP_MZ5./2. Modify the Address of HDD_TEMP./ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Modify FPGA SMBUS path./ |  |  |  |  |  |  |
| 22 | B |  |  | [defect] fix E252-P30 fan number |  |  |  |  |  |  |
| 23 | B |  |  | [defect] fix EXT_FAN on G492-HA0-00 can't be control, fix MP32-AR0 SCP fail over can't reboot problem |  |  |  |  |  |  |
| 24 | B |  |  | [defect] fix G492-HA0 NVMe_TEMP webui show disable when install NVMe |  |  |  |  |  |  |
| 25 | F |  |  | [feature] Add ISL692xx access api/ |  |  |  |  |  |  |
| 12.48.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] When CPLD is not return correct count of HDD bay, it will return 0 to avoid HDD detect error. |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix detect HDD status error for R152-Z33. |  |  |  |  |  |  |
| 3 | F |  |  | [feature] let bmc not receive inventory from bios |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Update GPU name field. |  |  |  |  |  |  |
| 5 | B |  |  | [defect] Fix kvm power menu item error. |  |  |  |  |  |  |
| 6 | B |  |  | [defect] Fix upload firmware problem./1. Change time from 90 to 180 seconds./2. Upload percent reset./3. Update information when re-loading occurred. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Add NULL judgement to prevent errors. |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Hidden GPU inventory page./[defect] Add a OEM command to control OOB function and default state is stopping./ |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Fix missing GPU Inventory problem on WebUI./ |  |  |  |  |  |  |
| 10 | B |  |  | [feature] link R181-Z90-SW-W5-001 to R181-Z90-00 |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Fix always return error when CPU1 not present/ |  |  |  |  |  |  |
| 12 | B |  |  | [defect] Fix i2c switch 2 not work when chennal is "0". |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Fix hpm auto generate use wrong file |  |  |  |  |  |  |
| 14 | B |  |  | [defect] enable BIOS,SCP fail over detect after 1 second, disable console hardware flow control pins for some UART cable show garbled message |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Fix Clean CMOS not work problem, /disable automatically clear boot flag |  |  |  |  |  |  |
| 16 | B |  |  | [defect] R272-P30 change fan profile |  |  |  |  |  |  |
| 17 | F |  |  | [feature] add projec G481-HA0-00-0T5G |  |  |  |  |  |  |
| 18 | F |  |  | [feature] Enable BIOS fail over function for MP32-AR0 |  |  |  |  |  |  |
| 19 | B |  |  | [defect]solve Intel i350 Keep_Phy_Link_Up problem. |  |  |  |  |  |  |
| 20 | F |  |  | [Feature] add R182/ R282 Whitley Mellanox CX4, CX5, CX6 PCIE cards |  |  |  |  |  |  |
| 21 | B |  |  | [defect] add MD72-HB0 device map |  |  |  |  |  |  |
| 22 | B |  |  | [defect]fix MU92 sensor reading |  |  |  |  |  |  |
| 23 | B |  |  | [defect]add CX4121A OCP sensor |  |  |  |  |  |  |
| 24 | B |  |  | [defect]add CPU and SYS FAN |  |  |  |  |  |  |
| 25 | B |  |  | [defect] add R181-341-SW-Y9-001 device map |  |  |  |  |  |  |
| 26 | B |  |  | [defect] fix RAID CARD and RISER3 |  |  |  |  |  |  |
| 27 | B |  |  | [defect] add MU92 fanpolicy and fix device map |  |  |  |  |  |  |
| 28 | B |  |  | [defect] fix G291-280/ 281 Fan policy and update PCIE DEVICE |  |  |  |  |  |  |
| 29 | B |  |  | [defect]remove CPU0_FAN |  |  |  |  |  |  |
| 30 | B |  |  | [defect]add MX33-BS0 device map |  |  |  |  |  |  |
| 31 | B |  |  | [defect]add G242-P30-JG and will delete G242-P30-00 |  |  |  |  |  |  |
| 32 | B |  |  | [defect]fix GPU sensor combine 0xE6 and 0xEA |  |  |  |  |  |  |
| 33 | B |  |  | [defect] add senor FCH_TEMP for MC22-HS0-00./ |  |  |  |  |  |  |
| 34 | B |  |  | [defect] Modify P_VCORE sensor threshold, DIMM address for MA300MT-SI./ |  |  |  |  |  |  |
| 35 | B |  |  | [defect] Fixed fan fail problem for R272-Z31-OB1./ |  |  |  |  |  |  |
| 36 | B |  |  | [defect] Fixed IPMI will not received REAR_HDD sensor of type drive_slot problem./ |  |  |  |  |  |  |
| 37 | B |  |  | [defect] add cx5/6 PCIE temp for H262./ |  |  |  |  |  |  |
| 38 | B |  |  | [defect] Modify DIMM sensor for MA300MT-SI./ |  |  |  |  |  |  |
| 39 | B |  |  | [feature] add fan profile and device for G431-MM0-OT./ |  |  |  |  |  |  |
| 40 | B |  |  | [defect] Modify sensor for R162-ZA1-00./ |  |  |  |  |  |  |
| 41 | B |  |  | [defect] Modify G431-MM0-OT sensor. |  |  |  |  |  |  |
| 42 | F |  |  | [feature] add devmap of R272-Z32-ES-OVH-004. |  |  |  |  |  |  |
| 43 | B |  |  | [defect] Modify the model name for MA300MT-SI. |  |  |  |  |  |  |
| 44 | F |  |  | [feature] Add devmap for R162-ZA1-00, R262-ZA1-00, R262-ZA2-00. |  |  |  |  |  |  |
| 45 | F |  |  | [feature] Add devmap of R282-Z93-SW-AD-001. |  |  |  |  |  |  |
| 46 | B |  |  | [defect] Add P_12V_A, P_12V_B, fan sensor for G482-Z53-00, G482-Z54-00./ |  |  |  |  |  |  |
| 47 | B |  |  | [defect] 1.Add PSU1, PSU2, PSU3 temp. 2.Set PSU cold rebundant disable. 3.Set AC back power off./ |  |  |  |  |  |  |
| 48 | B |  |  | [defect] Remove unnecessary sensor for MA300MT-SI./ |  |  |  |  |  |  |
| 49 | B |  |  | [defect] Modify the sensor number for G482-Z53-00, G482-Z54-00./ |  |  |  |  |  |  |
| 50 | B |  |  | [defect] Modify the fan sensor name for MZ31-AR0-00, S451-Z30-00./ |  |  |  |  |  |  |
| 51 | F |  |  | [feature] add CPU_FAN sensor for G431-MM0-OT./ |  |  |  |  |  |  |
| 52 | B |  |  | [defect] Add P_12V_A, P_12V_B, fan sensor for G482-Z50,1,2,3,4 and G492-Z50,1. / |  |  |  |  |  |  |
| 53 | B |  |  | [defect] Change some WDT2 behavior to avoid BMC hang up:/1. Increased watchdog timeout value to 10 minutes/2. Only dual image platforms can trigger WDT2 when some error occurred./ |  |  |  |  |  |  |
| 54 | B |  |  | [defect] Remove the BIOS FW image after the update/backup/calculate checksum process done./ |  |  |  |  |  |  |
| 55 | B |  |  | [defect] Make sure BIOS flash in 4-byte address mode if flash size >= 32MB./ |  |  |  |  |  |  |
| 56 | B |  |  | [defect] Temporarily remove PCIe/RAID skip function for SpecPower mode, it has some problem./ |  |  |  |  |  |  |
| 57 | B |  |  | [defect] Workaround for kernel panic during update BMC/BIOS FW:/1. Remove the BIOS FW image after the update process done./2. Stop component manager during FW updating via REST API./ |  |  |  |  |  |  |
| 58 | B |  |  | [defect] fix vlan not working on Windows platform |  |  |  |  |  |  |
| 59 | B |  |  | [defect] fix MB_TEMP1 always 16 when trigger UNC |  |  |  |  |  |  |
| 60 | B |  |  | [defect] update FSC of G241-G40 |  |  |  |  |  |  |
| 61 | B |  |  | [defect] modify CNBHOI ND01/2/3/4_CUR UNC&UC |  |  |  |  |  |  |
| 62 | B |  |  | [defect] remove NVMeG1_TEMP for H262-NO0 |  |  |  |  |  |  |
| 63 | B |  |  | [defect] add raid info for R282-3C0/3C1/N80 |  |  |  |  |  |  |
| 64 | B |  |  | [defect] 1.Modify sensor name and remove sensor for G492-ZD0-00./2.Modify V12,54V,CPU_TEMP,INLET_TEMP,GPU_TEMP,OUTLET_TEMP,NVMe_TEMP threshold. |  |  |  |  |  |  |
| 65 | B |  |  | [defect] Update FSC of G292-Z24-00./ |  |  |  |  |  |  |
| 12.47.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] fix G291-280/ 281 Fan policy and update PCIE DEVICE |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Fix i2c switch 2 not work when chennal is "0"./ |  |  |  |  |  |  |
| 3 | B |  |  | [defect] Modify G431-MM0-OT sensor./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] fix vlan not working on Windows platform |  |  |  |  |  |  |
| 5 | F |  |  | [merge] Merge r2906,r2973,r3036 from branch/for_Inventory_SMBIOS/V12.2_20191206_inventory_smbios/V12.2_20191206 for dealing with Bios inventory.json/ |  |  |  |  |  |  |
| 6 | F |  |  | [feature] link R181-Z90-SW-W5-001 to R181-Z90-00/ |  |  |  |  |  |  |
| 7 | F |  |  | [feature] add devmap of R272-Z32-ES-OVH-004./ |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add projec G481-HA0-00-0T5G |  |  |  |  |  |  |
| 9 | B |  |  | [defect] Modify the model name for MA300MT-SI./ |  |  |  |  |  |  |
| 10 | F |  |  | [feature] Add devmap for R162-ZA1-00, R262-ZA1-00, R262-ZA2-00./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect]remove CPU0_FAN |  |  |  |  |  |  |
| 12 | F |  |  | [feature] Enable BIOS fail over function for MP32-AR0 |  |  |  |  |  |  |
| 13 | F |  |  | [feature] Add devmap of R282-Z93-SW-AD-001./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] fix MB_TEMP1 always 16 when trigger UNC |  |  |  |  |  |  |
| 15 | B |  |  | [defect] update FSC of G241-G40 |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Fix kvm power menu item error. |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Add P_12V_A, P_12V_B, fan sensor for G482-Z53-00, G482-Z54-00./ |  |  |  |  |  |  |
| 18 | B |  |  | [defect] 1.Add PSU1, PSU2, PSU3 temp. 2.Set PSU cold rebundant disable. 3.Set AC back power off./ |  |  |  |  |  |  |
| 19 | B |  |  | [defect] Remove unnecessary sensor for MA300MT-SI./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect] Modify the sensor number for G482-Z53-00, G482-Z54-00./ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Fix missing GPU Inventory problem on WebUI./ |  |  |  |  |  |  |
| 22 | B |  |  | [defect] Modify the fan sensor name for MZ31-AR0-00, S451-Z30-00./ |  |  |  |  |  |  |
| 23 | B |  |  | [defect] modify CNBHOI ND01/2/3/4_CUR UNC&UC |  |  |  |  |  |  |
| 24 | B |  |  | [defect]add MX33-BS0 device map |  |  |  |  |  |  |
| 25 | B |  |  | [defect] Workaround for kernel panic during update BMC/BIOS FW:/1. Remove the BIOS FW image after the update process done./2. Stop component manager during FW updating via REST API./ |  |  |  |  |  |  |
| 26 | B |  |  | [defect] Fix upload firmware problem./1. Change time from 90 to 180 seconds./2. Upload percent reset./3. Update information when re-loading occurred. |  |  |  |  |  |  |
| 27 | F |  |  | [feature] add CPU_FAN sensor for G431-MM0-OT./ |  |  |  |  |  |  |
| 28 | B |  |  | [defect]add G242-P30-JG and will delete G242-P30-00 |  |  |  |  |  |  |
| 29 | B |  |  | [defect] Add P_12V_A, P_12V_B, fan sensor for G482-Z50,1,2,3,4 and G492-Z50,1. / |  |  |  |  |  |  |
| 30 | B |  |  | [defect] remove NVMeG1_TEMP for H262-NO0 |  |  |  |  |  |  |
| 31 | B |  |  | [defect] add raid info for R282-3C0/3C1/N80 |  |  |  |  |  |  |
| 32 | B |  |  | [defect] Fix MP32-AR0 GPIO_SENSOR pin define, [feature] Add PSU_PWR_IN, PSU_PWR_OUT information |  |  |  |  |  |  |
| 33 | B |  |  | [defect] change PRJ selection to support redfish1.8/ |  |  |  |  |  |  |
| 34 | B |  |  | [defect] Fix detect HDD status error for R152-Z33. / |  |  |  |  |  |  |
| 35 | B |  |  | [defect]fix GPU sensor combine 0xE6 and 0xEA |  |  |  |  |  |  |
| 36 | B |  |  | [defect]solve Intel i350 Keep_Phy_Link_Up problem. |  |  |  |  |  |  |
| 37 | B |  |  | [defect] remove FAKE_FAN & PWM6-13,fix buzzer problem |  |  |  |  |  |  |
| 38 | B |  |  | [defect] fix: PRJ has different version number of libupnp-* item/ |  |  |  |  |  |  |
| 39 | F |  |  | Merge r3360-r3413 from branch/for_Inventory_SMBIOS/CommonRTP1.8_inventory_smbios/ |  |  |  |  |  |  |
| 40 | F |  |  | [feature][defect] correct the redis key for append raid info/ |  |  |  |  |  |  |
| 41 | F |  |  | Merge r3016 from branch/for_Inventory_SMBIOS/CommonRTP1.7_inventory_smbios/CommonRTP1.7: /[defect] fix: inventory parser didn't parse processor CurrentFrequency attribute/ |  |  |  |  |  |  |
| 42 | F |  |  | [redfish] 1. show PCIeDevices under Chassis layer in inventory debug page/2. let Links/NetworkDeviceFunctions can be displayed in inventory debug page/3. let SubProcessors and SubProcessors_Thread displayed in different layers in inventory debug page |  |  |  |  |  |  |
| 43 | B |  |  | [defect] For redfish auto test fail issue. |  |  |  |  |  |  |
| 12.47.02 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | B |  |  | [defect] restore r3157 and modify ADM1278 for disable VIN_UV_FAULT alert |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Add the mechanism of reading RX5700 temperature./ |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Add H262-Z61-SW-MB-002 device map./ |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Update BPB HDD position. Distinguish between rear and internal HDD. |  |  |  |  |  |  |
| 5 | F |  |  | [feature] Add the mechanism of reading RX5700 temperature./ |  |  |  |  |  |  |
| 6 | F |  |  | [feature] Add GPU_HBM for G492-Z51, G482-Z50, G492-Z50. |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Fix G492-H80 VR_VCCIN_P0_IO,VR_VCCIN_P1_IO current is double problem |  |  |  |  |  |  |
| 8 | F |  |  | [feature] add devmap of G431-MM0-OT./ |  |  |  |  |  |  |
| 9 | F |  |  | [feature] add devmap of R182-Z92-SW-YS-004./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] Get BIOS flash size dynamically for dump BIOS image./ |  |  |  |  |  |  |
| 11 | B |  |  | [defect] fix G492-H80 VR_VCCIN_P0_IO,VR_VCCIN_P1_IO critical value. |  |  |  |  |  |  |
| 12 | F |  |  | [feature] Add NVAPI FPGA and NVSwitch support to G262-ZR0./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] Fix missing NVAPI information problem for G242-Z11-00./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] Fix G492-H80 devmap |  |  |  |  |  |  |
| 15 | B |  |  | [defect]add R181-NA0-SW-YS-003.xml |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Modify sensor number for G431-MM0-OT./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] Send discovery not use pointer/ |  |  |  |  |  |  |
| 18 | B |  |  | [defect] When BIOS is working that don't get RAID INFO. / |  |  |  |  |  |  |
| 19 | B |  |  | [defect]/1. In order to comply with HW, increase the voltage and current of 2 GPUs./2. Modify the order of GPU voltage and current display./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect]/1. Update FSC of G292-Z20-00./ |  |  |  |  |  |  |
| 21 | B |  |  | [defect] update FSC of R282-G30 |  |  |  |  |  |  |
| 22 | B |  |  | [defect]accroding the productname and RAID card to in specpower fanprofile |  |  |  |  |  |  |
| 23 | F |  |  | [feature] add libary to scan devmap |  |  |  |  |  |  |
| 24 | F |  |  | [feature]/1. Check raid support or not(Patch provided by Sean)./ |  |  |  |  |  |  |
| 25 | F |  |  | [feature] add debug libary |  |  |  |  |  |  |
| 26 | B |  |  | [defect] check DEBUG_UPDATE_PROGRESS method not correct |  |  |  |  |  |  |
| 27 | B |  |  | [defect] Modify sensor number to run Conan for G492-ZD0-00. |  |  |  |  |  |  |
| 28 | F |  |  | [feature] PSU firmware update |  |  |  |  |  |  |
| 29 | B |  |  | [defect] Modify i2c channel number for G431-MM0-OT./ |  |  |  |  |  |  |
| 30 | F |  |  | [feature] PSU firmwarev update spx rest full api |  |  |  |  |  |  |
| 31 | F |  |  | [feature] PSU firmware update web ui |  |  |  |  |  |  |
| 32 | B |  |  | [defect]add R282-NO0 in specpower |  |  |  |  |  |  |
| 33 | F |  |  | [feature] remove PSU firmware update option temporarily |  |  |  |  |  |  |
| 12.47.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] Add H261-Z60-ES-ICCUSA-001 devmap./ |  |  |  |  |  |  |
| 2 | B |  |  | [defect] Modified to read the temperature of D1~D6 through devmap design./ |  |  |  |  |  |  |
| 3 | F |  |  | [feature] add devmap of H261-Z60-ES-DownUnderGeoscience-001./ |  |  |  |  |  |  |
| 4 | F |  |  | [feature] Add SKU and devmap of MZ62-HD5-00. |  |  |  |  |  |  |
| 5 | B |  |  | [defect]add new device map H261-NO0-SW-YS-002 |  |  |  |  |  |  |
| 6 | B |  |  | [defect]fix Processor Automatically Throttled issue with RTC ON OFF test |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Modify fanprofile for G492-ZD0 |  |  |  |  |  |  |
| 8 | B |  |  | [defect] Fix BMC send recovery SEL if it get unexpect value sometime/ |  |  |  |  |  |  |
| 9 | F |  |  | [feature] add devmap of MJ11-EC1-OT./ |  |  |  |  |  |  |
| 10 | B |  |  | [defect]add CPLD vision |  |  |  |  |  |  |
| 11 | B |  |  | [defect]remove sku vision |  |  |  |  |  |  |
| 12 | B |  |  | [defect] Add CPU0_DTS, VR sensor for MC12-CE0-00./ |  |  |  |  |  |  |
| 13 | B |  |  | [defect]merge 9/17 william's modify back |  |  |  |  |  |  |
| 14 | B |  |  | [defect] R281-3C3-HP/R181-2A1-HP add sensor,fix SDR table not match webui |  |  |  |  |  |  |
| 15 | B |  |  | [defect] Add "Cedar_Island" platform and ID is 0x0A / |  |  |  |  |  |  |
| 16 | F |  |  | [feature] Add R282-Z96 device map/ |  |  |  |  |  |  |
| 17 | B |  |  | [defect] fix G241-G40 webui GPU show 1pcs when install 4pcs GPU |  |  |  |  |  |  |
| 18 | B |  |  | [defect] 1.take off gbt_header when webUI update CPLD 2.modify CMC PRJ file to fix dependence problem 3.add more details comment and delete some debug log |  |  |  |  |  |  |
| 19 | B |  |  | [defect] remove unnecessary comment./ |  |  |  |  |  |  |
| 20 | B |  |  | [defect]add G242-P30 device map |  |  |  |  |  |  |
| 21 | B |  |  | [defect] Modify MB CPLD version sensor for devmap./ |  |  |  |  |  |  |
| 22 | B |  |  | [defect]base on gbt_modify rule, delete the files which is not modify. |  |  |  |  |  |  |
| 23 | B |  |  | [defect]fix sensor no the same |  |  |  |  |  |  |
| 24 | B |  |  | [defect] fix ocp sensor disable problem/ |  |  |  |  |  |  |
| 25 | B |  |  | [defect] fix ocp sensor disabled problem/ |  |  |  |  |  |  |
| 26 | B |  |  | [defect] Fix DCM consol inlet air temperature mismatch BMC inlet air temperature value issue/ |  |  |  |  |  |  |
| 27 | F |  |  | [feature] add devmap of H262-Z61-SW-U2-001./ |  |  |  |  |  |  |
| 28 | B |  |  | [defect] Fix the ipmimain crash issue when the IPMB command stuck./ |  |  |  |  |  |  |
| 29 | B |  |  | [defect] Fix the CPU throttle event issue./ |  |  |  |  |  |  |
| 30 | B |  |  | [defect] Fix the sensor scan sometimes not stop issue when power reset./ |  |  |  |  |  |  |
| 31 | F |  |  | [feature] add open case for G242-Z11./ |  |  |  |  |  |  |
| 32 | F |  |  | [merge] Merge dual image branch V12.2_20191206_non-CEC r2151-r3054./ |  |  |  |  |  |  |
| 33 | B |  |  | [defect] R292-4S1/4S0 add raid info |  |  |  |  |  |  |
| 34 | F |  |  | [feature] Modify devmap of G292-Z43-00. |  |  |  |  |  |  |
| 35 | F |  |  | [feature] Add API for get bpb type (old/new bpb)/ |  |  |  |  |  |  |
| 36 | B |  |  | [defect] fix H262-PC0/NO0 M2_G1_TEMP UC and UNC |  |  |  |  |  |  |
| 37 | B |  |  | [defect] Fix CPLD2 data is incorrect when DC cycle./ - CPLD discovery command must ready when DC cycle. / |  |  |  |  |  |  |
| 38 | B |  |  | [defect] Modify devmap for G492-ZD0-00. |  |  |  |  |  |  |
| 39 | F |  |  | [feature] add devmap of R272-Z31-OB1, R282-Z91-OB1, R282-Z93-OB1./ |  |  |  |  |  |  |
| 40 | B |  |  | [defect] Restore svn 1702/ - Remove CPU ierr and CPU throttle from ME for Whitley platform/ |  |  |  |  |  |  |
| 41 | B |  |  | [defect] 1. add error handler for hiredis api/2. release resource for redisCommand/3. use file instead of pointer to pass the share memory info to thread/4. check if boot_order_file opened successfully or not/ |  |  |  |  |  |  |
| 42 | B |  |  | [defect] modify IOUT on MG62-G40 |  |  |  |  |  |  |
| 43 | B |  |  | [defect] Fixed cannot set SPI address mode during the BIOS update for the dual image./ |  |  |  |  |  |  |
| 44 | B |  |  | [defect] Delete all NVAPI keys after system power off./ |  |  |  |  |  |  |
| 45 | B |  |  | [defect] Change FRU order to ascending order. |  |  |  |  |  |  |
| 46 | B |  |  | [defect] fix: release memory properly, remove unused raw_data_file/ |  |  |  |  |  |  |
| 47 | F |  |  | [feature] Add interrupt to switch BIOS flash for the dual image on Intel Whitley and Cedar Island./ |  |  |  |  |  |  |
| 48 | B |  |  | [defect]fix GPU sensor add OCP card |  |  |  |  |  |  |
| 49 | B |  |  | [defect] remove sensor NVMe0_TEMP, NVMe1_TEMP, NVMe2_TEMP, NVMe3_TEMP./ |  |  |  |  |  |  |
| 50 | B |  |  | [defect] Fix compile error because of r3291 of compile order problem./ |  |  |  |  |  |  |
| 51 | F |  |  | [feature] Add iQIYI devmap R182-Z90-DD, R282-Z90-DD, R162-ZA0-DD. |  |  |  |  |  |  |
| 52 | F |  |  | [feature] Add iQIYI devmap MZ92-FS0-DD, MZA2-CE0-DD. |  |  |  |  |  |  |
| 53 | B |  |  | [defect] base on 2020/10/14 E-mail HW change 12V_CPU0/12V_CPU1 current shunt resistor to 0.125m |  |  |  |  |  |  |
| 54 | F |  |  | [feature] Add SKU and devmap for G482-Z52-ES-Go2Invest-001. |  |  |  |  |  |  |
| 55 | B |  |  | [defect] Fix count of HDD bay abnormal when detect HDD status and get HDD bay count on first time to reduce loading./ |  |  |  |  |  |  |
| 56 | F |  |  | [feature] add devmap of MX23-CE0-00./ |  |  |  |  |  |  |
| 57 | B |  |  | [defect] fix R292-4S0 P_12V_GPU locate |  |  |  |  |  |  |
| 58 | B |  |  | [defect] fix R282-NO0,R182-NA0 raid info locate |  |  |  |  |  |  |
| 59 | B |  |  | [defect] Update power reading and power limit functions on Intel and AMD platform./[defect] Control minimum power limit information field when enable/disable power limit function on AMD platform. |  |  |  |  |  |  |
| 60 | F |  |  | [feature] Add generate bmc hpm file automatically |  |  |  |  |  |  |
| 61 | B |  |  | [defect]add OCP CARD |  |  |  |  |  |  |
| 62 | B |  |  | [defect] fix generate hpm file command |  |  |  |  |  |  |
| 63 | B |  |  | [defect] MH62 remove M2_G0_TEMP |  |  |  |  |  |  |
| 64 | B |  |  | [defect] update R292.jason for R292-4S0/4S1 |  |  |  |  |  |  |
| 65 | B |  |  | [defect] Workaround for fix sometimes dual image support misjudgment./ |  |  |  |  |  |  |
| 66 | F |  |  | [CEC][feature] 1.Create Support flash table list 2.Get flash ID to set flash size 3.Update EC version to 01.0c |  |  |  |  |  |  |
| 12.46.06 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature]support JTAG update MB/BPB CPLD, support jam file update ALTERA CPLD. |  |  |  |  |  |  |
| 2 | D |  |  | [defect] Remove unused CEC1702 sensor and let the sensor task more stable. |  |  |  |  |  |  |
| 3 | F |  |  | [feature] Support MI100-A2 GPU card for G482-Z53-00 and not support MI100-A1 |  |  |  |  |  |  |
| 4 | B |  |  | [defect] Modify MC22-HS0-00 sensor. |  |  |  |  |  |  |
| 5 | B |  |  | [defect]R152-P30 remove sysfan |  |  |  |  |  |  |
| 6 | B |  |  | [CMC][defect] Rename fan profile of H262-Z61 to support dynamic change fan profile if CMC board(CNBH0L) with MB(H262-Z61-IC) |  |  |  |  |  |  |
| 7 | B |  |  | [defect] Update PSU_FRU information fields consistency. |  |  |  |  |  |  |
| 8 | F |  |  | [feature] Add devmap of H252-Z10-SW-YS-001, R282-Z92-SW-Q8-005. |  |  |  |  |  |  |
| 9 | B |  |  | [defect] fix error msg showing when open KVM and remove video record at the same time on webui |  |  |  |  |  |  |
| 10 | B |  |  | [defect] (Merge from v12.46.88) Add retry mechanism in eeprom read function to fix SKU.xml extraction problem. |  |  |  |  |  |  |
| 11 | B |  |  | [defect] Fixed DIMMG1_TEMP sensor display error. |  |  |  |  |  |  |
| 12 | B |  |  | [defect] deprecating the AMI ethernet driver replace aspeed version [defect] fix random MAC address issue |  |  |  |  |  |  |
| 13 | B |  |  | [defece] remove unused message for PSU cold redundant. |  |  |  |  |  |  |
| 14 | B |  |  | [defect] add RAID_INFO on MC12 |  |  |  |  |  |  |
| 15 | B |  |  | [defect] fix G181-G10-UB adm1278 Alert2 to VIN_UV_FAULT |  |  |  |  |  |  |
| 16 | F |  |  | [Feature]Support arm for get ipmi response. (use check dual image platform) |  |  |  |  |  |  |
| 17 | B |  |  | [defect]R182-NA0,R282-NO0 add raid info management |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Modify G492-ZD0 fanprofile. |  |  |  |  |  |  |
| 19 | F |  |  | [feature] Add SKU and devmap of G482-Z50-ES-TechData-002. |  |  |  |  |  |  |
| 20 | B |  |  | [defect]Fixed webUI can't update ALTERA cpld. |  |  |  |  |  |  |
| 21 | B |  |  | [redfish][defect] Add description item at audit log when run hpm and fw update. |  |  |  |  |  |  |
| 22 | B |  |  | [redfish][defect] The telemetry log entry page crash issue has been fixed. |  |  |  |  |  |  |
| 12.46.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 | F |  |  | [feature] New fan profile applys for G492-ZD0 model. |  |  |  |  |  |  |
| 2 | F |  |  | [feature] Web UI update FPGA. |  |  |  |  |  |  |
| 3 | B |  |  | [defect] temporarily remove nvme me webui |  |  |  |  |  |  |
| 4 | B |  |  | [defect] 1.Modify CPLD interface number 2.change sdr number |  |  |  |  |  |  |
| 5 | B |  |  | [defect]fix Error in Setting the Power Limit can not lower than 10 |  |  |  |  |  |  |
| 6 | B |  |  | [defect]add the 12V_GPU |  |  |  |  |  |  |
| 7 | B |  |  | [defect] add devices for G492-H80-00 |  |  |  |  |  |  |
| 8 | B |  |  | [defect] mark out SCP fail over code, for it cause SCP reboot |  |  |  |  |  |  |
| 9 | F |  |  | [feature] Update fan profile for R182-NA0 and R182-M80/ |  |  |  |  |  |  |
| 10 | B |  |  | [defect] fix sensor number name |  |  |  |  |  |  |
| 11 | F |  |  | [Feature] Add devmap of G482-Z50-ES-HKU-001./ |  |  |  |  |  |  |
| 12 | B |  |  | Revert r3107, restore CPU1_FAN for MZ31-AR0-00/ |  |  |  |  |  |  |
| 13 | B |  |  | [defect] fix T181-Z70-ZB?GPU temperature/current sensors of mismatch problem./ |  |  |  |  |  |  |
| 14 | B |  |  | [defect] add sensors for G492-HA0, MG62-G40 |  |  |  |  |  |  |
| 15 | B |  |  | [defect] modify conflict sensor number for G492-HA0-00 |  |  |  |  |  |  |
| 16 | B |  |  | [defect] Fix CPU TDP uses 0xFD as normal value when not get the response from Intel ME./[defect] When the CPU TDP value is zero, stop checking the CPU TDP changes to avoid regenerating fan policies./ |  |  |  |  |  |  |
| 17 | B |  |  | [defect]remove empty sku's model name and timestamp |  |  |  |  |  |  |
| 18 | B |  |  | [defect] Modify sensor for MZC2-LM0-00./ |  |  |  |  |  |  |
| 19 | F |  |  | [defect]/1. Remove D3 and D4 temperature of f75308 driver (For G262-ZR0-00 short-term solution)./2. Add Fake Sensor to enable I2C_Bonding to successfully power BPB./ |  |  |  |  |  |  |
| 20 | B |  |  | [feature] add devmap of MA300MT./ |  |  |  |  |  |  |
| 21 | F |  |  | [defact] Fixed when cold redundant enable and psu slave enter sleep mode, BMC will fan fail/ |  |  |  |  |  |  |
| 22 | B |  |  | [Feature] Add FSC of G262-ZR0-00./ |  |  |  |  |  |  |
| 23 | B |  |  | [defect]add front panel temp |  |  |  |  |  |  |
| 24 | B |  |  | [defect]add front panel temp fsc |  |  |  |  |  |  |
| 12.46.04 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] Remove cpu throttle event, add SYS_FAN5 sensor for MC12-CE0-00./ |  |  |  |  |  |
| 2 |  | B |  |  | [defect] Update the MB 1.0 Sensor of G262-ZR0-00./ |  |  |  |  |  |
| 3 |  | B |  |  | [defect] update FSC for H262-ZL0/ZL2 |  |  |  |  |  |
| 4 |  | B |  |  | [defect] Add FRONT_PANEL_TEMP forR272-P30, R152-P30 |  |  |  |  |  |
| 5 |  | B |  |  | [defect]Modify S252-ZC0 device map for ocp card |  |  |  |  |  |
| 6 |  | F |  |  | [feature] Modify devmap G492-Z51-00 |  |  |  |  |  |
| 7 |  | B |  |  | [defect] Add CPLD version for R272-P30 |  |  |  |  |  |
| 8 |  | F |  |  | [feature] Update fan profile for R182-NA0 and R182-M80 |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Add M.2 TEMP sensor for R182-NA0 and R182-M80 |  |  |  |  |  |
| 10 |  | B |  |  | [defect] Fixed SYS_FAN5 contol problem, modified sensor name, add DIMMG0_TEMP/DIMMG1 sensor for MC12-CE0-00. |  |  |  |  |  |
| 11 |  | B |  |  | [defect] fix R292-4S0-00 GPU_IOUT , GPU_VOUT locate |  |  |  |  |  |
| 12 |  | B |  |  | [defect] fix and add sdr DIMM_TEMP_MRQ2 for MRQ2 |  |  |  |  |  |
| 13 |  | F |  |  | [feature] Add devmap of R272-Z35-DI. |  |  |  |  |  |
| 14 |  | B |  |  | [defect] Prolong sensor scan of delay time for VR ready. |  |  |  |  |  |
| 15 |  | B |  |  | [defect] Fix 12V_PDB sensor reading for G291/G292-Z2x systems. |  |  |  |  |  |
| 16 |  | B |  |  | [defect] fix MR92 VR_VDDQG0-G3_IO |  |  |  |  |  |
| 17 |  | F |  |  | [feature] Add GPU Manager of NVAPI FPGA and NVSwitch parts for information and temperature collections./[feature] Provide RESTful API for getting |  |  |  |  |  |
| 18 |  | F |  |  | [feature][fanprofile]Create PCIe SKIP List function to determine the operation of spec power fanprofile for ERP LOT9 |  |  |  |  |  |
| 19 |  | B |  |  | [defect] Add a mechanism to pull low GPIOF2 for minidp config, so that BPB CPLD can be updated. |  |  |  |  |  |
| 20 |  | F |  |  | [feature] Add fan profile for R282-3C1 |  |  |  |  |  |
| 21 |  | B |  |  | [defect] change keyword from SPECPower to SPECpower |  |  |  |  |  |
| 22 |  | B |  |  | [defect] add new E252-P30-00 device map |  |  |  |  |  |
| 23 |  | B |  |  | [defect] remove m2 sensor |  |  |  |  |  |
| 24 |  | B |  |  | [defect] remove the webui local log file size |  |  |  |  |  |
| 25 |  | F |  |  | [feature] Add NVAPI FPGA and NVSwitch features on GPU inventory page./[feature] Add FPGA and NVSwitch RESTful API functions on back-end. |  |  |  |  |  |
| 26 |  | B |  |  | [defect] Modify NVSwitch json format. |  |  |  |  |  |
| 27 |  | F |  |  | [feature] add R281-N40-SW-OB-012 for 2 GPU sensor |  |  |  |  |  |
| 28 |  | F |  |  | Merge from Cyberagent and Mimecast branches./[feature] Add a OEM command feature to catch CMC sensor informations./[feature] Add a fake sensor tag to inherit CMC sensors./[feature] Add a Restful API to get the system power consumption for power limit website./[feature] New restful API for WebUI sends entire system of power limit request to CMC via IPMB./[feature] Forward Node power control request to CMC./[feature] Support chassis serial number update and store node ID./[feature] Provide RESTful API for WebUI to get node ID./[feature] Add a H262-Z61-SW-MB-001 devmap./[feature] Add a H262-Z61-SW-YJ-001 devmap./[feature] Modify H262-Z66 devmap to support CMC sensor display./ |  |  |  |  |  |
| 29 |  | F |  |  | Merge from Cyberagent and Mimecast branches:/[feature] Add chassis power comsumption and limit function./[feature] Power control function for front-end and back-end./ |  |  |  |  |  |
| 30 |  | F |  |  | [CMC] Merge from Cyberagent and Mimecast branches./[feature] Implement OEM command function for BMC transfer to CMC./[feature] CMC send function proxy ipmi oem command to BMC firmware/[feature] Adding get nodeID and chassis serial number in OEM command to BMC/[feature] Implement BMC could power control to specific node by CMC |  |  |  |  |  |
| 31 |  | B |  |  | [defect] Modify PWM for G492-ZD0-00. |  |  |  |  |  |
| 32 |  | B |  |  | [defect] Modify devmap for G492-ZD0-00. |  |  |  |  |  |
| 12.46.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] Support RAID on M32-AR0. |  |  |  |  |  |
| 2 |  | B |  |  | [defect] Fix BMC self test fail when use FSP PSU. |  |  |  |  |  |
| 3 |  | B |  |  | [defect] Fix R261-3C1-M7 of GPU inventory display issue. |  |  |  |  |  |
| 4 |  | B |  |  | [defect] Add error count when PSU AC lost deassert. |  |  |  |  |  |
| 5 |  | B |  |  | [defect] Fix can’t update CPLD. |  |  |  |  |  |
| 12.46.02 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] fix G292-Z42-00?GPU temperature/current sensors of mismatch problem./ |  |  |  |  |  |
| 2 |  | B |  |  | [defect]R182-NA0 remove M2_G0_TEMP sensor |  |  |  |  |  |
| 3 |  | B |  |  | [defect]DIMM Inventory cannot detect any information under WebUI(BMC need to max dimm channel number to 24, and support new format memory status event data 3) |  |  |  |  |  |
| 4 |  | B |  |  | [defect] system install mutiple NVIDIA card, GPU Inventory only show 1pcs GPU information |  |  |  |  |  |
| 5 |  | B |  |  | [defect] Fix power reading are "0" on webUI Power-Consumption page if it is 2U4N system. |  |  |  |  |  |
| 6 |  | F |  |  | [feature] Add the FSC of S252-ZC0-00. |  |  |  |  |  |
| 7 |  | B |  |  | [defect]BIOS BootOrder issue, save BootOrder into a file for recovery. |  |  |  |  |  |
| 8 |  | B |  |  | [defect]update G492.json and fix G492-HA0-00 Lower Critical |  |  |  |  |  |
| 9 |  | B |  |  | [defect]fix G492-HA0/H80,MG62-G40 webui VDDQ_G0-4_IO |  |  |  |  |  |
| 10 |  | B |  |  | [defect]fix ocp30_tmp,ocp_fan sensor |  |  |  |  |  |
| 11 |  | B |  |  | [defect] remove R282-001-Q8 OCP20_TEMP,OCP30_TEMP sensor. |  |  |  |  |  |
| 12 |  | F |  |  | [feature] Add new oem command to enable/disable auto NTP time status. |  |  |  |  |  |
| 13 |  | B |  |  | [defect] Fix SKU 2.0 paser failed for GS-MH11-OC3-Y9 and R261-3CE-GL |  |  |  |  |  |
| 14 |  | B |  |  | redo svn2338 for enable MP32-AR0 bios fail over function |  |  |  |  |  |
| 15 |  | B |  |  | [defect] Fixed MG31-G10-00.xml, R281-006-V6.xml, R281-T96-ES.xml devmaps format error |  |  |  |  |  |
| 16 |  | B |  |  | [defect] Fixed TO22-Z62-00, R162-Z11-00, T181-G30-AA, T181-G25-AA devmaps format error. |  |  |  |  |  |
| 17 |  | B |  |  | [defect] fix SKU2.0 paser filed for CNBH0F-00,CNBH0I-00,CNBH0G-02 |  |  |  |  |  |
| 18 |  | F |  |  | [feature] Add PCH_FAN for MC22-HS0-00. |  |  |  |  |  |
| 19 |  | B |  |  | [defect] add pure code for change I2C hold time |  |  |  |  |  |
| 20 |  | B |  |  | [defect]Change I2C hold time to around 640ns |  |  |  |  |  |
| 21 |  | B |  |  | [defect] remove case open function for MC12-CE0-00, MC22-HS0-00, MJ11-EC0-00. |  |  |  |  |  |
| 22 |  | F |  |  | [feature] Add MP32-AR0 SCP fail over. mark out BIOS fail over since CPLD not ready |  |  |  |  |  |
| 23 |  | B |  |  | [defect]add S251-3O0 device map and fanprofile |  |  |  |  |  |
| 24 |  | B |  |  | [defect]add G191_H44 fanprofile |  |  |  |  |  |
| 25 |  | B |  |  | [defect] Add MDS configuration "FEATURE_MINI_DP_SUPPORT". |  |  |  |  |  |
| 26 |  | B |  |  | [defect] fix MR92 VR_VDDQ_G0-4_IO and VR_IOUT_DIMM UNC/URC |  |  |  |  |  |
| 27 |  | B |  |  | [defect]fix VR_IOOUT_DIMM UNC/URC |  |  |  |  |  |
| 28 |  | F |  |  | [feature] /1. Add the devmap of G262-ZR0-00./2. Add the reading of the output voltage of E50SN12051 Sensor./3. Add the reading of the output voltage of Q50SN120A4 Sensor. |  |  |  |  |  |
| 29 |  | B |  |  | [defect] Align GPU temperature of slot number with GPU number to fix GPU information of mismatch problem. |  |  |  |  |  |
| 30 |  | B |  |  | [defect]add MU92-TU0 |  |  |  |  |  |
| 31 |  | B |  |  | [defect]fix MU92-TU0 device map |  |  |  |  |  |
| 32 |  | B |  |  | [defect] Add the mechanism of CPLD GPIO path for G262-ZR0-00. |  |  |  |  |  |
| 33 |  | B |  |  | [defect] Fix the CPU threshold issue, avoid setting threshold before getting TJMAX from Intel ME. |  |  |  |  |  |
| 34 |  | B |  |  | [feature] Create OEM command for switching PSU Master/Slave of cold redunant/ |  |  |  |  |  |
| 35 |  | B |  |  | [defect]BIOS BootOrder issue |  |  |  |  |  |
| 36 |  | B |  |  | [defect]BIOS BootOrder issue, factory default del bootorder.txt |  |  |  |  |  |
| 12.46.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] modify cpu_pwr to access point/ |  |  |  |  |  |
| 2 |  | B |  |  | [defect] fix chinese garbled problem./ |  |  |  |  |  |
| 3 |  | B |  |  | [defect] modify G291-280/281 fnaprofile G291.json |  |  |  |  |  |
| 4 |  | B |  |  | [defect] Fix: Preserve config issue/ |  |  |  |  |  |
| 5 |  | B |  |  | [defect] Fix showing amber status LED when system power off. *// |  |  |  |  |  |
| 6 |  | B |  |  | [defect]Modify power limit, fetch current pwr every second/ |  |  |  |  |  |
| 7 |  | B |  |  | [defect] Add mechanism to check power status before update BPB_CPLD. |  |  |  |  |  |
| 8 |  | B |  |  | [defect]modify H262-PC0/NO0 add riser card M.2 sensor |  |  |  |  |  |
| 9 |  | F |  |  | [feature] Add R181-004-AE5.xml device map/ |  |  |  |  |  |
| 10 |  | F |  |  | [feature] Add PLX PCI Bridge to skip list which VendorID=0x10B5 and DeviceID=0x9749. When counting the PCIe device for ErP lot 9 mode, it will be ignored./ |  |  |  |  |  |
| 11 |  | B |  |  | [defect] Replace Chenbro_FAN with SYS_FAN(S252-ZC0-00)./ |  |  |  |  |  |
| 12 |  | F |  |  | [feature] merge gen 2 sku function from develop branch/ |  |  |  |  |  |
| 13 |  | B |  |  | [defect] modify R281.json for R281-NO0 |  |  |  |  |  |
| 14 |  | F |  |  | [feature] From Atos merge FPGA Update tool to Channel(Atos svn r216)./ |  |  |  |  |  |
| 15 |  | B |  |  | [defect] Update fan profile for G241-G40/ |  |  |  |  |  |
| 16 |  | B |  |  | [defect] Support show Milan BIOS version in Web UI. |  |  |  |  |  |
| 17 |  | B |  |  | [redfish][defect] Fix: Preserve config issue/ |  |  |  |  |  |
| 18 |  | B |  |  | [defect] Support show Milan BIOS version in Web UI. |  |  |  |  |  |
| 19 |  | B |  |  | [defect]add the fake fan pwm can control |  |  |  |  |  |
| 20 |  | F |  |  | [feature] 1.Add devmap G492-ZD0-00 2.Add sensor and sdr for lm5066 3.Add sensor GPU_SXM for gpu |  |  |  |  |  |
| 12.45.06 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  | [feature] add devmap of G262-ZR0-00. |  |  |  |  |  |
| 2 |  | F |  |  | [defect] Add CPU1 TEMP to MZC2-CE0-00 devamp. |  |  |  |  |  |
| 3 |  | B |  |  | [defect] fix RAID management storage summary help page is empty. |  |  |  |  |  |
| 4 |  | F |  |  | [feature] Integrate RTC function for BMC/CMC. |  |  |  |  |  |
| 5 |  | F |  |  | [feature] add R261-3C1-M7 |  |  |  |  |  |
| 6 |  | B |  |  | [defect]R281-G30 Riser Card and NVMe can't read problem |  |  |  |  |  |
| 7 |  | F |  |  | [feature] Add iptables settings function. |  |  |  |  |  |
| 8 |  | B |  |  | [defect] modify R261-3C1-M7 devmap to meet hardware design |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Modify MZ72 P_1V0_AUX_LAN threshold. |  |  |  |  |  |
| 10 |  | B |  |  | [defect] Remove some sensor to reduce bmc loading for MRQ2 |  |  |  |  |  |
| 11 |  | F |  |  | [feature] Add R152-P30-00 devmap |  |  |  |  |  |
| 12 |  | B |  |  | [defect] fix R152-P30-00 sensor number conflict |  |  |  |  |  |
| 13 |  | B |  |  | [defect] Modified to read PMC_TEMP through PM40100. |  |  |  |  |  |
| 14 |  | B |  |  | [defect] modify fanprofile R292.json for R292-4S1 T4 |  |  |  |  |  |
| 15 |  | F |  |  | [Feature]Add device map and fan profile for E251_U71. |  |  |  |  |  |
| 16 |  | B |  |  | [defect]add and modify R281-005-V6.xml , add fanprofile R281_005.json |  |  |  |  |  |
| 17 |  | B |  |  | [defect] Add RAID Info for H262-NO0/H262-PC0 |  |  |  |  |  |
| 18 |  | B |  |  | [defect] modify R261-3C7-M7 fan profile for NVMe T4 FSC |  |  |  |  |  |
| 19 |  | B |  |  | [defect]Modify fanprofile for R261-3C1-M7 add SPECpower portion |  |  |  |  |  |
| 20 |  | B |  |  | [defect] modify Sensor P_VPP_MEM_AD threshold formula parameter. |  |  |  |  |  |
| 21 |  | B |  |  | [defect] Update FSC of G292-Z20/Z22/Z24. |  |  |  |  |  |
| 22 |  | B |  |  | [defect] P_1V0_AUX_LAN threshold in CE0 is 10G, CE1 is 1G. |  |  |  |  |  |
| 23 |  | B |  |  | [defect] add GPU0~2 and CX516A lan card |  |  |  |  |  |
| 12.45.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect]Modify R292-4S1-00.xml nvme sensor and remove 53 sensor |  |  |  |  |  |
| 2 |  | B |  |  | [defect]BMC sel time and timezone issue |  |  |  |  |  |
| 3 |  | B |  |  | [defect]add MR91-FS0-M7 link to MR91-FS0-00 |  |  |  |  |  |
| 4 |  | B |  |  | [defect] Fix CPU prochot is not work for R292-4S0/R292-4S1 |  |  |  |  |  |
| 5 |  | B |  |  | [defect] modify for i2c-reset only do 3 times |  |  |  |  |  |
| 6 |  | B |  |  | [defect] 1. Update the FSC of the G292-Z40. 2. Update the FSC of G482/G492. 3. Add the FSC of the G482-Z53/Z54. |  |  |  |  |  |
| 7 |  | B |  |  | [defect] Fix R282-001-Q8 OCPCARD_TEMP group link. |  |  |  |  |  |
| 8 |  | B |  |  | Remove debug message for GPU FAN sensor |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Fix GPU FAN issue for R292-4S0/R292-4S1 |  |  |  |  |  |
| 10 |  | B |  |  | [redfish] let bad redis info can be reset by fwupdate |  |  |  |  |  |
| 11 |  | B |  |  | [redfish][defect]Fix: Manufacturer and Model didn't included in CMC Redfish output |  |  |  |  |  |
| 12 |  | B |  |  | [defect]BMC sel time and timezone issue |  |  |  |  |  |
| 12.45.04 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] fix R281-3C7-M7 READ_HDD not generate SEL event |  |  |  |  |  |
| 2 |  | B |  |  | [defect]add the new Backplane CPLD vision |  |  |  |  |  |
| 3 |  | B |  |  | [defect] remove R181-NA2-M7 NVMeG3_TEMP,NVMeG4_TEMP,NVMeG5_TEMP for they are notused |  |  |  |  |  |
| 4 |  | F |  |  | [feature] SNMP supports the SHA auth protocol. |  |  |  |  |  |
| 5 |  | F |  |  | Add pure code for SNMP. |  |  |  |  |  |
| 6 |  | B |  |  | [defect] Fix wrong GPU information when NVAPI execute power supply status command and get disabled status. |  |  |  |  |  |
| 7 |  | B |  |  | [feature] Modify devmap G482-Z54-00 |  |  |  |  |  |
| 8 |  | B |  |  | [defect] Fix MB have not CEC1702, the EC version should show 00 to response data |  |  |  |  |  |
| 9 |  | B |  |  | update GPU FAN's SDR for R292-4S0/R292-4S1 |  |  |  |  |  |
| 10 |  | F |  |  | [feature] For new bios to support more memory channels. |  |  |  |  |  |
| 11 |  | B |  |  | [defect] Modify MZ72-HB0-00 SDR table、Fan sensor, merge with MZ71-CE0-00 |  |  |  |  |  |
| 12 |  | B |  |  | [defect] fix BMC crash issue on the board which have mini display port |  |  |  |  |  |
| 13 |  | B |  |  | [defect] remove Inventory feature to avoid redfish display wrong information due to data conflict between inventory and smbios |  |  |  |  |  |
| 14 |  | B |  |  | [defect]fix RISER card 1.0 CRSE520 |  |  |  |  |  |
| 15 |  | B |  |  | [defect] Modify H242 fan profile for H242-Z10 |  |  |  |  |  |
| 16 |  | B |  |  | Add sensor of "CPU/CPU VR/DIMM/DIMM VR/Front IO/NVME/PSU" for S252-ZC0-00. |  |  |  |  |  |
| 17 |  | B |  |  | [CMC][defect] Fix get platform ID command is incorrect |  |  |  |  |  |
| 12.45.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] fix PPT limit 256W |  |  |  |  |  |
| 2 |  | F |  |  | [feature] add devmap of H282-ZC0-00, H282-ZC1-00, H282-Z60-00 |  |  |  |  |  |
| 3 |  | B |  |  | [defect] Update the FSC of G482/G492. |  |  |  |  |  |
| 4 |  | F |  |  | [feature] add devmap of MZC2-LM0-00 |  |  |  |  |  |
| 5 |  | B |  |  | [defect] modify Sensor P_1V0_AUX_LAN threshold |  |  |  |  |  |
| 6 |  | B |  |  | [defect] Modify MP32-AR0 CORE_VOL threshold value |  |  |  |  |  |
| 7 |  | F |  |  | [feature] add devmap of H262-ZL0-00, H262-ZL1-00, H262-ZL2-00 |  |  |  |  |  |
| 8 |  | B |  |  | [defect] Modify R281_3C2,R281_G30 fan profile |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Fix CMC FW can't update for CNBH0L and CNBH0G. (with r2352) |  |  |  |  |  |
| 10 |  | B |  |  | [defect] support raid card info on web |  |  |  |  |  |
| 11 |  | B |  |  | [defect] Update RAID_INFO connect to PCIE3 for MX32-WH0 |  |  |  |  |  |
| 12 |  | B |  |  | [defect] Update VR sensor for G492-H80 |  |  |  |  |  |
| 13 |  | B |  |  | [feature] Add fan profile for CNBH30 |  |  |  |  |  |
| 14 |  | F |  |  | [feature] preserve bmc time offset after factory-default or firmware-update |  |  |  |  |  |
| 15 |  | F |  |  | [feature] Prepare SI model named H262-Z62-IC in advance. |  |  |  |  |  |
| 16 |  | B |  |  | [defect] Modfiy R292-4S0 fan, nvme sensor and fan profile, pci_device |  |  |  |  |  |
| 17 |  | B |  |  | [defect] Fix hpm update current version always zero problem, same version still able upgrade firmware. |  |  |  |  |  |
| 18 |  | B |  |  | [defect] Modified to read HBM temperature through OOB CMD. |  |  |  |  |  |
| 29 |  | B |  |  | Restore r2499 with some bugs fixed: 1. Delay 4us before lock RTC. 2. Fix get FRU Mfg date/time function. |  |  |  |  |  |
| 20 |  | F |  |  | [dp501] sync mini dp PRJ with channel PRJ |  |  |  |  |  |
| 12.45.02 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] support RAID info |  |  |  |  |  |
| 2 |  | F |  |  | [feature] Support two CX5 OCP card for R261-3CE-GL |  |  |  |  |  |
| 3 |  | B |  |  | [defect] Users API only supports permissions above the user. |  |  |  |  |  |
| 4 |  | B |  |  | [defect] support read raid info without any i2c mux/[defect] support raid card on MJ11 |  |  |  |  |  |
| 5 |  | B |  |  | [defect] support raid card on MX570MM |  |  |  |  |  |
| 6 |  | F |  |  | [feature] New fan profile for R282-Z90-SW-NJ2-001./ |  |  |  |  |  |
| 7 |  | F |  |  | [feature]Add devicemap of G482-Z54-00. |  |  |  |  |  |
| 8 |  | B |  |  | [defect] modify R152-Z33 NVMe and fan sensor/ |  |  |  |  |  |
| 9 |  | F |  |  | [feature]Add devicemap of MZ52-G41-00. |  |  |  |  |  |
| 10 |  | F |  |  | [feature] add devmap of MC22-HS0-00/ |  |  |  |  |  |
| 11 |  | B |  |  | [defect]Modify the driver that supports Chenbro BP 8 FAN, and increase the CPU1 temperature reading S252-ZC0-00./ |  |  |  |  |  |
| 12 |  | B |  |  | [defect] Release memory ,or it will lead to bmc kernel panic when parsing smbios type 130./......../ |  |  |  |  |  |
| 12.45.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] Remove the sensor that G492-Z51-00 does not support./ |  |  |  |  |  |
| 2 |  | F |  |  | [feature] Update device maps of MZ4, MZ5 and MZ6, CPU1 throttle event now reads same GPIO as CPU0./ |  |  |  |  |  |
| 3 |  | F |  |  | [feature] for MP32-AR0 after program BIOS 2 switch back to BIOS 1 |  |  |  |  |  |
| 4 |  | F |  |  | [feature] 1. provide /Oem/Ami/InventoryData information to bios through share memory/2. receive inventory.json and store in /conf/redfish/bios/3. preserve redfish-related configurations (redis data, /conf/smbios.dmp, /conf/redfish/bios/*) for fwupdate and factory default/ |  |  |  |  |  |
| 5 |  | B |  |  | [defect] support raid card under two mux |  |  |  |  |  |
| 6 |  | B |  |  | [defect] disable debug message |  |  |  |  |  |
| 7 |  | B |  |  | [defect] Fix MZ71-CE0 FAN sensor of mismatch problem./ |  |  |  |  |  |
| 8 |  | B |  |  | [defect] Add devmap for MH11-OC0-ES-Ciara-001 and MH11-OC2-ES-Ciara-001/ |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Update R282-Z93 model of fan profile to support A100./ |  |  |  |  |  |
| 10 |  | B |  |  | [defect] Fix: If GracefulShutdown take a long time will lead to ipmi restart./......../ |  |  |  |  |  |
| 11 |  | F |  |  | [Feature] Add PCIE1_TEMP of CX6 PCIE card in R282-Z90-SW-NJ2-001 devmap./ |  |  |  |  |  |
| 12 |  | F |  |  | [Feature] Increase read MI100 HBM temperature driver./ |  |  |  |  |  |
| 13 |  | B |  |  | [defect] fix mux chnl record failed when chnl is 0/[defect] support RAID info (mantis issue 43586, 41868, 40260, 40272) |  |  |  |  |  |
| 14 |  | B |  |  | [redfish] preserve config for /conf/smbios.dmp/ |  |  |  |  |  |
| 15 |  | B |  |  | [defect]Don't get power status and boot option info by ipmi on redfish. It lead to redfish response take long time./......../ |  |  |  |  |  |
| 12.44.06 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [redfish] Remove flag to upload accounts info faster. |  |  |  |  |  |
| 2 |  | F |  |  | [feature] Add a new model R282-001-Q8. |  |  |  |  |  |
| 3 |  | B |  |  | [defect]Fixed lan mode incorrect in bond page |  |  |  |  |  |
| 4 |  | B |  |  | [defect]fix R181-NA2-M7 delete FAN 1,4,5,8B |  |  |  |  |  |
| 5 |  | B |  |  | [defect] modify R292-4S1 8 gpu sensor and gpu fan sensor |  |  |  |  |  |
| 6 |  | F |  |  | [feature] Add device map R282-Z90-SW-NJ2-001.xml |  |  |  |  |  |
| 7 |  | F |  |  | [defect]add new R181-NA2_M7 |  |  |  |  |  |
| 8 |  | B |  |  | [defect]fix R181_NA2 fanpolicy |  |  |  |  |  |
| 9 |  | B |  |  | [defect]fix E251-U70 fan number |  |  |  |  |  |
| 12.44.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] Change MP32-AR0 sensor name for custom modify spec. |  |  |  |  |  |
| 2 |  | B |  |  | [defect] add R181_NA2_M7 |  |  |  |  |  |
| 3 |  | B |  |  | [defect] modify R292-4S0 nvme temp and gpu fan |  |  |  |  |  |
| 4 |  | B |  |  | [defect] fix MP32-AR0 CPU voltage threshold value |  |  |  |  |  |
| 5 |  | B |  |  | [defect] Fix fan running on full speed with 40% duty on Chenbro BP. |  |  |  |  |  |
| 6 |  | B |  |  | update Upper Critical and Upper Non-Critical of G482/G492. |  |  |  |  |  |
| 7 |  | B |  |  | [defect] Fix read raid info too slow influce sensor reading |  |  |  |  |  |
| 8 |  | B |  |  | [defect] Update fan profile for R292-4S0 and R292-4S1 |  |  |  |  |  |
| 9 |  | B |  |  | Update FSC of G482/G492. |  |  |  |  |  |
| 10 |  | B |  |  | [defect] Fixed FRU 0/1 Mfg date/time issue: 1. When update SKU, preserve Mfg date/time if Mfg date/time not in 2000 years. 2. Move FRU1 data to EEPROM 17K offset to avoid Mfg date/time of FRU data lost. 3. Using ASPEED RTC to preserve timestamp when BMC update/reboot (need sync time with BIOS first). |  |  |  |  |  |
| 11 |  | B |  |  | [defect] fix MP32-AR0,R272-P30 sensor name string over 16 bytes will cause wrong threshold value. |  |  |  |  |  |
| 12 |  | B |  |  | [defect] add RISER temp for H242-Z10 |  |  |  |  |  |
| 13 |  | B |  |  | [defect] Switch CPU0_FAN and CPU1_FAN for G492-H80 |  |  |  |  |  |
| 14 |  | F |  |  | [feature] Add change lan mode function. |  |  |  |  |  |
| 15 |  | B |  |  | [defect] Update option description of power consumption limit function on Intel platform. |  |  |  |  |  |
| 16 |  | B |  |  | [defect] add W271-F50-ES* fanprofile |  |  |  |  |  |
| 17 |  | F |  |  | [feature] eSPI handshake time on uboot stage |  |  |  |  |  |
| 18 |  | B |  |  | [defect] Fix wrong behavior of 1.Bios.ResetBios 2.Bios.ChangePassword 3.Bios/SD after ac cycle |  |  |  |  |  |
| 19 |  | B |  |  | [defect] Remove CPLD BPB version for MR92-FS0-00 |  |  |  |  |  |
| 20 |  | B |  |  | [defect] Optimize nvapi scan each period for saving time. |  |  |  |  |  |
| 21 |  | F |  |  | [feature] Change BP i2c slave address to 0xC2 for Chenbro BP with 4 fans model C-251-U71-L8-0-4. |  |  |  |  |  |
| 22 |  | B |  |  | [defect] accroding system spec remove CPUFAN SYSFAN5,6 |  |  |  |  |  |
| 23 |  | B |  |  | [defect] Fix GPU web page display error problem. |  |  |  |  |  |
| 24 |  | B |  |  | [defect] remove MB_temp for MZ42 |  |  |  |  |  |
| 25 |  | B |  |  | [defect] Fix GPU_PROC are incorrect for G492-H80 |  |  |  |  |  |
| 26 |  | F |  |  | [feature] Update fan profile for G481-HA0/HA1/H80/H81 |  |  |  |  |  |
| 27 |  | B |  |  | [defect] Fix E251-U70-00 cold redundanc disable as default setting. |  |  |  |  |  |
| 28 |  | B |  |  | [defect] Modify sensor position of gen4 riser. |  |  |  |  |  |
| 29 |  | F |  |  | [feature] Change CPU FAN's low critical threshold for G492-H80-00 |  |  |  |  |  |
| 30 |  | F |  |  | [feature] Add devmap for G492-HA0-00 |  |  |  |  |  |
| 12.44.04 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] for SCP not ready will keep GPIOP7 always low so move bios fail over function |  |  |  |  |  |
| 2 |  | F |  |  | [feature] Add VGSI models, C-251-U71-L8-0 for 3 fan sku, C-251-U71-L8-0-4 for 4 fan sku. |  |  |  |  |  |
| 3 |  | B |  |  | [defect]add R281-005-V6 for WX5100 R281-005-ES-YOUHUA-001 |  |  |  |  |  |
| 4 |  | B |  |  | [defect] Update service non-secure/secure port. |  |  |  |  |  |
| 5 |  | B |  |  | [defect] add handler to generate BiosStaticFiles Crc Info rather than local curl method |  |  |  |  |  |
| 6 |  | B |  |  | Update MI100 device ID and FSC of G482-Z53-00. |  |  |  |  |  |
| 7 |  | B |  |  | [defect]GSI- Mail.Ru R281-3C7-M7 (Support x8 T4) |  |  |  |  |  |
| 8 |  | B |  |  | [defect] Entry level workstation demand MF51-ES2-00 modifity four Pre-GSI |  |  |  |  |  |
| 9 |  | B |  |  | [defect] GSI- Mail.Ru R281-3C7-M7 (Support x8 T4) device map |  |  |  |  |  |
| 10 |  | F |  |  | [feature] set min password to 6 from 8. (WebUI & IPMI) |  |  |  |  |  |
| 11 |  | B |  |  | [defect] Prevent duplicate basic rules in iptables |  |  |  |  |  |
| 12 |  | F |  |  | [feature] MP32-AR0 WebUI support dual BIOS programming |  |  |  |  |  |
| 13 |  | B |  |  | Remove webUI dual bios support |  |  |  |  |  |
| 14 |  | B |  |  | [defect] Improve BIOS flash 3-byte/4-byte address mode solution for BIOS update: 1. Remove old workaround. 2. Add new IOCTL command to host SPI driver for control 3-byte/4-byte address mode. 3. Switch 3-byte/4-byte address mode for CPU which needs the BIOS flash in 3-byte address mode, for now, only support on AMD/ThunderX2 platform. |  |  |  |  |  |
| 15 |  | F |  |  | [feature] Add R181_Z93 fan profile |  |  |  |  |  |
| 16 |  | B |  |  | [defect] Modify MZC2 device map/[defect] Modify PDKGBT power cycle/ |  |  |  |  |  |
| 17 |  | F |  |  | [feature] Write power restore policy to CPLD register 0x50 |  |  |  |  |  |
| 18 |  | B |  |  | [defect] AMI patch, Fixed ths issue that usb interface is able to ping by external network |  |  |  |  |  |
| 19 |  | F |  |  | [feature] Update fan profile for G492-H80 |  |  |  |  |  |
| 20 |  | F |  |  | [feature] Add a new fan profile for all R282-Z93 model. |  |  |  |  |  |
| 21 |  | F |  |  | [feature] Update pci device list to support Xilinx U280. |  |  |  |  |  |
| 22 |  | F |  |  | [feature] MP32-AR0 Add power on procedure if detect CPU not boot up power off it. |  |  |  |  |  |
| 23 |  | F |  |  | [feature] Add a new fan profile for G242-Z11 model. |  |  |  |  |  |
| 24 |  | F |  |  | [feature] Update pci device list to support A100. |  |  |  |  |  |
| 25 |  | F |  |  | [feature]Add group for update CSN, PSN, ASSET (update sku) |  |  |  |  |  |
| 26 |  | B |  |  | [defect] MP32-AR0 fix power on procedure GPIOD6 initial value setup. |  |  |  |  |  |
| 27 |  | B |  |  | [defect]Add CMC_slave tag to decide show or hide kvm hd_turn_on and hd_turn_off button. |  |  |  |  |  |
| 28 |  | F |  |  | [feature]Add R281-3C6-A1, R281-3C4-A1 support Raid Manager |  |  |  |  |  |
| 29 |  | F |  |  | [feature] Update G292 series of fan profile. |  |  |  |  |  |
| 30 |  | B |  |  | [defect]Add sol date time event will enable functionally when auto video setting date time event enable too in help description |  |  |  |  |  |
| 31 |  | B |  |  | [defect] Modify gen4 for R152-Z33 |  |  |  |  |  |
| 32 |  | B |  |  | [defect] R281-3C7-M7/R281-3C7-M71 merge for 8 T4 card |  |  |  |  |  |
| 33 |  | F |  |  | [feature] Add a OEM command for PSU max power capacity. |  |  |  |  |  |
| 34 |  | F |  |  | [feature] Update R292 series of fan profile. |  |  |  |  |  |
| 35 |  | F |  |  | [feature] GPU Manager of NVAPI GPU part for memory, information, status, temperature, power and clock collections. |  |  |  |  |  |
| 36 |  | F |  |  | [feature] Add GPU inventory feature for webUI and back end. |  |  |  |  |  |
| 37 |  | B |  |  | [defect] Add power limit minimum ui |  |  |  |  |  |
| 38 |  | B |  |  | [defect] remove i2c unused bus show SDA_LOW, SCL_LOW message |  |  |  |  |  |
| 39 |  | F |  |  | [feature] Update G292 series of fan profile. |  |  |  |  |  |
| 40 |  | B |  |  | [defect] Fix wrong GPU temperature. |  |  |  |  |  |
| 41 |  | B |  |  | [defect] Fix SMBPBI of unavailable problem when it is in ready status. |  |  |  |  |  |
| 12.44.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect]Add SSIF NACK support. |  |  |  |  |  |
| 2 |  | B |  |  | [defect] Fix MT61(ARM) could not power on when doing power cycle. |  |  |  |  |  |
| 3 |  | F |  |  | [feature] Add a OEM command for capping TDP and minimum power limit. |  |  |  |  |  |
| 4 |  | B |  |  | [defect] Dynamically adjust AMD platform of minimux power limit on the power limit website. |  |  |  |  |  |
| 5 |  | B |  |  | [redfish][defect] Fix: Change PasswordChangeRequired setting |  |  |  |  |  |
| 6 |  | B |  |  | [defect] modify H242 fan profile, modify R162-ZA0 dimm group, modify R262-ZA0 dimm, riser temp, m2 temp, P_1V0_AUX_LAN sensor |  |  |  |  |  |
| 7 |  | B |  |  | [defect] Fix detect HDD12~23 status are incorrect for CNBH0L |  |  |  |  |  |
| 8 |  | B |  |  | [defect] Update link of edit user profile |  |  |  |  |  |
| 12.44.02 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  | Add 1.8V BIOS flash MX25U12873F support/ |  |  |  |  |  |
| 2 |  | B |  |  | [defect]Add monitor GPIOAA0 to solve Ampere wake on lan problem |  |  |  |  |  |
| 3 |  | B |  |  | [defect] Remove unused pages from quick links |  |  |  |  |  |
| 4 |  | B |  |  | [redfish][defect] Don't get psu model and sn from pmbus. Beacause it has garbled message. |  |  |  |  |  |
| 5 |  | B |  |  | [defect] For MP32-AR0 PCB 0.3 change circuit so devmap do some modify for CPLD version |  |  |  |  |  |
| 6 |  | B |  |  | [defect] Thermal team release R272_P30 fan profile |  |  |  |  |  |
| 7 |  | B |  |  | [defect] Modify H262-Z61-00 CPU_Status for Throttled |  |  |  |  |  |
| 8 |  | F |  |  | [feature] local_curl to support share memory transfer BiosStaticFiles/ |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Modify G292-Z40, G292-Z42, G292-Z44, G482-Z51 slot position of GPU sensor/ |  |  |  |  |  |
| 10 |  | B |  |  | [defect] Modify H262-Z6X CPU_Status for Throttled |  |  |  |  |  |
| 11 |  | F |  |  | [feature] Judge power limit value which is valid on AMD platform./ |  |  |  |  |  |
| 12 |  | B |  |  | [defect] initialize aspeed tach pins using ASPEED_TACH tag |  |  |  |  |  |
| 13 |  | B |  |  | [defect] mp2975 do not detect PMBUS_PAGE page attribute any more, all mp2975 sensor sholud have page attribute |  |  |  |  |  |
| 14 |  | B |  |  | [defect] add R281-005-ES-YOUHUA-001 and R281-005-ES-YOUHUA-002 for T4 and WX5100 , FM_SMI_ACTIVE_N(GPIOG7) high to low |  |  |  |  |  |
| 15 |  | B |  |  | [defect] add R281-005-ES-YOUHUA-001 and R281-005-ES-YOUHUA-002 for T4 and WX5100 , FM_SMI_ACTIVE_N(GPIOG7) high to low |  |  |  |  |  |
| 16 |  | B |  |  | [defect] add FPGA card to control the fan speed |  |  |  |  |  |
| 17 |  | B |  |  | [defect]Monitor GPIOG5 for Ampere wake on lan problem |  |  |  |  |  |
| 18 |  | B |  |  | [redfish][defect] Fix: Patch BootSourceOverrideTarget to UefiTarget or UefiBootNext fail |  |  |  |  |  |
| 19 |  | B |  |  | [redfish][defect] Get psu info from fru and if chassis power on, initialize psu info again. |  |  |  |  |  |
| 12.44.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] Fix CPU DTS overflow issue for MT61 and MT91 |  |  |  |  |  |
| 2 |  | F |  |  | [feature] Add MZ71-CE0 MZ71-CE1 device map |  |  |  |  |  |
| 3 |  | B |  |  | [defect]New fan profile delete SYS_FAN2B move to CPU_FAN0B N111_KL0 fanprofile |  |  |  |  |  |
| 4 |  | B |  |  | [defect] remove for loop to fix HDD present mistakes |  |  |  |  |  |
| 5 |  | B |  |  | [defect]disable cold redundant function |  |  |  |  |  |
| 6 |  | B |  |  | [defect] Add M2 sensor for MZ32-AR1 model same topology as MZ32-AR0 |  |  |  |  |  |
| 7 |  | F |  |  | [feature] MP32-AR0 Add HPM mode write second SCP |  |  |  |  |  |
| 8 |  | F |  |  | [Feature]/1. Add devmap for OCP FAN in G492-Z50/Z51. |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Modify MC12 adc sensor threshold |  |  |  |  |  |
| 10 |  | B |  |  | [defect] fix fan profile webui PCIE support list can not edit |  |  |  |  |  |
| 11 |  | B |  |  | [defect] add cpmment for r2178 |  |  |  |  |  |
| 12 |  | B |  |  | Update RTX8000 device ID and FSC of G242-Z11-00. |  |  |  |  |  |
| 13 |  | B |  |  | [defect] Add ocp tmp and remove PMBUS_COLD_REDUNDANT for R181-Z93-FK |  |  |  |  |  |
| 14 |  | F |  |  | [feature] Modify the additional log manager, change the maximum limit to 30,000 lines. |  |  |  |  |  |
| 15 |  | B |  |  | [defect] Fix that leap year cause Mfg date not correct in FRU information page. |  |  |  |  |  |
| 16 |  | F |  |  | [feature] Add devmap for MX32-BS0-CU |  |  |  |  |  |
| 17 |  | B |  |  | [defect] current fanprofile pci_devices design can not detect 2080 is zotac or Leadtek, so remove string zotac and Leadtek |  |  |  |  |  |
| 18 |  | B |  |  | [defect] Improve speed of login web UI |  |  |  |  |  |
| 19 |  | F |  |  | [feature] Fan Profile Update for G481-HA0/HA1/H80/H81 |  |  |  |  |  |
| 20 |  | F |  |  | [feature] add soft link R272-Z31-00.xml to R272-Z31-SW-OB-011.xml |  |  |  |  |  |
| 21 |  | B |  |  | [defect] Add I2C bonding for G492-H80 |  |  |  |  |  |
| 22 |  | B |  |  | [defect] Fix SYS_FAN can't full speed for R292-4S0 and R292-4S1 |  |  |  |  |  |
| 23 |  | F |  |  | [feature] Add fan profile for R292-4S0 and R292-4S1 |  |  |  |  |  |
| 24 |  | F |  |  | [feature] Add devmap driver for Chenbro BP and sample devmap xml. |  |  |  |  |  |
| 25 |  | F |  |  | [feature] Create Get Node Type OEM command |  |  |  |  |  |
| 26 |  | B |  |  | [redfish][defect] Fix: After delete account, sync account feature had error |  |  |  |  |  |
| 27 |  | B |  |  | [redfish][defect] Fix: Can not get memory size than 32G |  |  |  |  |  |
| 12.43.06 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] update MRQ2-4S0 devmap, lost commit file |  |  |  |  |  |
| 2 |  | F |  |  | [feature] add oem command of node function behavior/ |  |  |  |  |  |
| 3 |  | B |  |  | [defect] fix compile error of cmc/ |  |  |  |  |  |
| 4 |  | F |  |  | [feature] Add G292-Z44, G492-Z51 device map and modify PEX880XX template calculation/ |  |  |  |  |  |
| 5 |  | B |  |  | [defect] fix compile error for bmc (flag variable that cmc only)/ |  |  |  |  |  |
| 6 |  | B |  |  | [defect] Add RAID_INFO to RISER SLOT 1 and 2 for R161-R12 and R161-R13/ |  |  |  |  |  |
| 7 |  | F |  |  | [defect] Add SNMPv3 Trap |  |  |  |  |  |
| 8 |  | B |  |  | [defect] The system randomly triggers the event log of the HDD |  |  |  |  |  |
| 9 |  | F |  |  | [feature] Add G292-Z24 device map |  |  |  |  |  |
| 10 |  | B |  |  | [defect] update PRJ for mini dp project |  |  |  |  |  |
| 11 |  | B |  |  | [Defect] Fix ipmi command update BMC via hpm file will fail sometimes problem. |  |  |  |  |  |
| 12 |  | B |  |  | [defect] Add RAID_INFO to PCIE SLOT 1 and 2 for R122-X30/ |  |  |  |  |  |
| 13 |  | B |  |  | [defect] Modify cpld for gen4 BPB / |  |  |  |  |  |
| 14 |  | B |  |  | [Defect] Fix MP32-AR0 CPU_DIMM temperature, CORE_VOL, CPU_VOL webUI not show correct value. |  |  |  |  |  |
| 15 |  | B |  |  | Disable EEE LED to fix ethernet led abnormal |  |  |  |  |  |
| 16 |  | B |  |  | [defect] Disable list PSU FRU page in 2U4N system platform/ - Move fru.c from "data/oem_modify" to "data" folder/ |  |  |  |  |  |
| 17 |  | F |  |  | [feature] Add devmap for R272-P31-JG |  |  |  |  |  |
| 18 |  | B |  |  | [defect] Modify CPB sensor for R272-Z34/ |  |  |  |  |  |
| 19 |  | B |  |  | [defect] Add CAT34 sensor for CBP20O8 and CBP2023 on R272-Z34/ |  |  |  |  |  |
| 20 |  | B |  |  | [defect] It fix that webUI cannot login after BMC IP is changed./ |  |  |  |  |  |
| 21 |  | B |  |  | [defect] Fix MB CPLD version fail for MT61 and MT91 platform/ |  |  |  |  |  |
| 22 |  | B |  |  | [defect] Modify R282-Z93 fan profile/ |  |  |  |  |  |
| 23 |  | F |  |  | [feature] Update fan profile for R282-NO0/ |  |  |  |  |  |
| 24 |  | B |  |  | [defect] Sync all MB CPLD version format for MT61 and MT91 platform/ |  |  |  |  |  |
| 25 |  | B |  |  | [defect] Remove RISER3_TEMP for GS-MH11-OC3-Y9 / |  |  |  |  |  |
| 26 |  | B |  |  | [defect] modfiy MC12-CE0 adc and mb_temp sensor/[defect] remove R262-ZA0 5a 5b fan/ |  |  |  |  |  |
| 27 |  | B |  |  | [defect] Support RISER1_TEMP to H262-Z6A/Z6B |  |  |  |  |  |
| 28 |  | B |  |  | [defect] fix: can not detect HDD status |  |  |  |  |  |
| 29 |  | F |  |  | [feature] Add devmap for R272-P30-JG |  |  |  |  |  |
| 30 |  | B |  |  | [defect] Disable M3 sensor when get incorrect value for MT61 and MT91/ |  |  |  |  |  |
| 31 |  | B |  |  | [defect]Add Intel FPGA and Xilinx FPGA card to accepted PCI-E card and R281_3C2 fanprofile |  |  |  |  |  |
| 32 |  | F |  |  | [feature] add program second BIOS |  |  |  |  |  |
| 33 |  | F |  |  | [feature] Add MC12 fan profile/ |  |  |  |  |  |
| 12.43.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  | Add feature of dump BIOS image. |  |  |  |  |  |
| 2 |  | F |  |  | add OCP sensor and fan profile for R261-3CE-GL |  |  |  |  |  |
| 3 |  | F |  |  | add fan profile of R161-R13 |  |  |  |  |  |
| 4 |  | B |  |  | New Fan Policy G291-280/G291-281(add RTX4000) |  |  |  |  |  |
| 5 |  | B |  |  | Remove the SNMP OID of AMI built-in |  |  |  |  |  |
| 6 |  | B |  |  | do not display an unnecessary message when executing NVDIMM trigger |  |  |  |  |  |
| 7 |  | B |  |  | workaround for wrong operation remove node processor-hot control by cmc |  |  |  |  |  |
| 8 |  | B |  |  | Add RAID_INFO to PCIE solt 1 and 2 for GS-MH11-OC2-Y9 |  |  |  |  |  |
| 9 |  | B |  |  | Add RAID_INFO to PCIE SLOT 1 and 2 for MX32-4L0 |  |  |  |  |  |
| 10 |  | B |  |  | MR11-LC0 MB CPLD update function removed |  |  |  |  |  |
| 11 |  | B |  |  | Fix BIOS flash 3-byte/4-byte address mode issue for AMD Naples:/1. Fix can not dump BIOS image from flash with AMD |  |  |  |  |  |
| 12 |  | B |  |  | Fix PCA9545_BUS chnl is over PCA9545 number, ipmistack will crash.(commit : f057c120aa8b72700bff9fe4319d4ffcfe74fd17) |  |  |  |  |  |
| 13 |  | B |  |  | Merge branch V12.2_20191206_Cray svn tag 2053,2057 into trunk. Fix some model can't get PSU info issue. |  |  |  |  |  |
| 14 |  | F |  |  | Add PSU info for CNBH0L-00,R282-Z90-YF,R282-Z93-YF model |  |  |  |  |  |
| 15 |  | B |  |  | remove m2 sensor from G242-Z11 add m2 sensor for MZ92-FS0 |  |  |  |  |  |
| 16 |  | F |  |  | add new devmap CNBH30-00 (same as CNBH0L-00) |  |  |  |  |  |
| 17 |  | F |  |  | update fan profile of R282-G30 |  |  |  |  |  |
| 18 |  | B |  |  | Add RAID_INFO to PCIE SLOT 1 and 2 for MB51-PS0 |  |  |  |  |  |
| 19 |  | F |  |  | Add devmap of G482-Z53-00 |  |  |  |  |  |
| 20 |  | B |  |  | show CBP1043 & CBP2020 CPLD firmware version in firmware information page |  |  |  |  |  |
| 21 |  | F |  |  | Add IPMI command to get backup BMC version(Major,Minor,Aux) from CEC1702. |  |  |  |  |  |
| 22 |  | B |  |  | Modify P_0V6 threshold value in TM5.sdr |  |  |  |  |  |
| 23 |  | B |  |  | Restore error count solution svn r1792 and r1904 |  |  |  |  |  |
| 24 |  | B |  |  | Add RAID_INFO to OCP slot for GS-MH11-OC2-Y9 |  |  |  |  |  |
| 25 |  | B |  |  | Fix MP32-AR0 scp webui/hpm upgrade fail on Ver 0.3 PCB. |  |  |  |  |  |
| 26 |  | B |  |  | update MRQ2-4S0 devmap |  |  |  |  |  |
| 27 |  | B |  |  | update G481-H81 devmap |  |  |  |  |  |
| 28 |  | F |  |  | Add "recovering" definition in recovery flag |  |  |  |  |  |
| 29 |  | F |  |  | Use GPIO040 and GPIO046 to recognize system platform. |  |  |  |  |  |
| 30 |  | F |  |  | Get BMC backup FW version. |  |  |  |  |  |
| 31 |  | F |  |  | [CEC][release] update version to 01.0b |  |  |  |  |  |
| 12.43.04 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect]add comment for r1977 |  |  |  |  |  |
| 2 |  | B |  |  | [defect]add MN51-KL0-00 power status always-on |  |  |  |  |  |
| 3 |  | B |  |  | Fix power capping function of AMD plaform. |  |  |  |  |  |
| 4 |  | F |  |  | [Feature] Add M2 TEMP sensor for R182-N20 and R182-NA0 |  |  |  |  |  |
| 5 |  | F |  |  | [feature] Modify the additional log manager, it will check the log file every two minutes and reduce it if it exceeds 90,000 lines now. |  |  |  |  |  |
| 6 |  | F |  |  | [feature] Add function to notify CPLD current BIOS status. |  |  |  |  |  |
| 7 |  | F |  |  | [feature] Add access point to notify CPLD current BIOS status. |  |  |  |  |  |
| 8 |  | B |  |  | [defect] Hide "Exception Action" field of power consumption limit function when system is AMD platform. |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Remove power range value of power consumption limit function. |  |  |  |  |  |
| 10 |  | B |  |  | [defect] AMD MI50 threshold is abnormal |  |  |  |  |  |
| 11 |  | F |  |  | 1. Support read PCB version ver0.3 use GPIOR3(139) to switch BMC/CPU, 2. Add CLR_CMOS jump but send raw command to clean CMOS need BIOS E16 |  |  |  |  |  |
| 12 |  | B |  |  | [defect] Cancel reading show "default" value on sensor init stage replace to "no reading" |  |  |  |  |  |
| 13 |  | F |  |  | [feature] Add G292-Z43 device map/[defect] Modify R162-ZA0 fan sensor/ |  |  |  |  |  |
| 14 |  | B |  |  | [defect]change GPU name start from zero |  |  |  |  |  |
| 15 |  | B |  |  | [defect]After Close the SOL activate GUI, the SOL activate button remove disabled |  |  |  |  |  |
| 16 |  | B |  |  | [defect] Fix system fan not run full speed when ME status into recovery mode for MR92-FS0 |  |  |  |  |  |
| 17 |  | B |  |  | [defect] thermal request update G241_G40 fan profile |  |  |  |  |  |
| 18 |  | B |  |  | [defect] Add PSU sensor for R161-R12 and R161-R13 |  |  |  |  |  |
| 19 |  | B |  |  | [defect] Fix selftest command fail for R161-R12 and R161-R13/ - Check header when read PSU FRU data. |  |  |  |  |  |
| 20 |  | B |  |  | [defect] Remove PSU2 for R161-R13 / - R161-R13 use fixed PSU/ |  |  |  |  |  |
| 21 |  | B |  |  | [defect] support gen4 BPB |  |  |  |  |  |
| 22 |  | B |  |  | [defect]New fan profile delete SYS_FAN2B move to CPU_FAN0B |  |  |  |  |  |
| 23 |  | F |  |  | [feature] Add OCP TEMP sensor for H281-PE0-00 |  |  |  |  |  |
| 24 |  | B |  |  | [defect] Add scan CPLD ID and HWM_SEL function for MR92-FS0 |  |  |  |  |  |
| 25 |  | B |  |  | [defect] Every update step reset timer when update fw. |  |  |  |  |  |
| 26 |  | B |  |  | [defect] Add CPLD version of MotherBoard on IPMI OEM command. |  |  |  |  |  |
| 27 |  | B |  |  | [defect] modify max link for G292-Z43-00.xml/[defect] modify ocp20 to riser_temp for H262-ZA0, H262-ZB0/[defect] modify BPB gen4 sensor for R182-Z93 |  |  |  |  |  |
| 28 |  | B |  |  | [defect]BMC Send recovery SEL log no matter what is system power state. |  |  |  |  |  |
| 29 |  | F |  |  | [feature] When BMC auto backup during BMC update, alert the user to do the AC cycle to reload EC Firmware./ |  |  |  |  |  |
| 30 |  | B |  |  | [defect]RTX5000 don't cause any problem on MR91, So display RTX5000 again. |  |  |  |  |  |
| 31 |  | B |  |  | [defect]Modify R281-G30,R281-3C2 fan profile. |  |  |  |  |  |
| 32 |  | F |  |  | update G242_Z10, Z11 fan profile/ |  |  |  |  |  |
| 33 |  | B |  |  | [redfish] Modify power and fan SEL log messages. |  |  |  |  |  |
| 34 |  | F |  |  | [feature] Add R262_ZA0 fan policy |  |  |  |  |  |
| 12.43.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  | [Release] v12.43.03, remove nvparm package |  |  |  |  |  |
| 2 |  | B |  |  | [defect] For MP32-AR0 change nvpram because its CRC is mismatch |  |  |  |  |  |
| 3 |  | B |  |  | temporarily remove BPB sensor on R282-Z94-00 |  |  |  |  |  |
| 4 |  | B |  |  | let general GPU_TEMP sdr be high threshold |  |  |  |  |  |
| 5 |  | B |  |  | temporarily revert r1966 about gen4 BPB function |  |  |  |  |  |
| 6 |  | B |  |  | [defect] Switch P_12V_GPU1 and P_12V_GPU2 for R282-G30 |  |  |  |  |  |
| 7 |  | B |  |  | fix: webui datetime: some cities have no red point after click circle on map |  |  |  |  |  |
| 8 |  | B |  |  | [defect] Add NVMe temp sensor for R182-M80 |  |  |  |  |  |
| 9 |  | F |  |  | Fix some GPU temp and current sensors mapping to wrong locate for G291-280 |  |  |  |  |  |
| 10 |  | F |  |  | support gen4 backplane, merge from rex's team |  |  |  |  |  |
| 11 |  | F |  |  | add check compiler flag with CONFIG_SPX_FEATURE_CMC_SUPPORT |  |  |  |  |  |
| 12 |  | B |  |  | modify fan profile of E251_U70 |  |  |  |  |  |
| 13 |  | B |  |  | Add R282-Z94-00 devmap for support gen4 bp |  |  |  |  |  |
| 14 |  | B |  |  | adjust gpu threshold when GPU card is not AMD MI50 or AMD MI100, and adjust gpu threshold to default when power off |  |  |  |  |  |
| 15 |  | F |  |  | Avoid conflicts with device ID (MI100) of other cards. |  |  |  |  |  |
| 16 |  | B |  |  | [defect] Modify G241_G40 fan profile |  |  |  |  |  |
| 17 |  | B |  |  | [defect] Gigaflash would preserve IPMIConfig.dat which generated by the old version FW, we will re-generate it when there is abnormal data in IPMIConfig.dat. |  |  |  |  |  |
| 18 |  | F |  |  | Add new SDR for MI50/MI100 |  |  |  |  |  |
| 12.43.02 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] Fix VR sensor can't detect for H281-PE0-00/ |  |  |  |  |  |
| 2 |  | F |  |  | Add devmap for R261-3CE-GL/ |  |  |  |  |  |
| 3 |  | B |  |  | [defect] Change VDDQ threshold and Fix P_VCCIN_CPU0 sensor value for GS-MH11-OC2-Y9 and GS-MH11-OC3-Y9/ |  |  |  |  |  |
| 4 |  | B |  |  | [defect] fix SYS_FAN2A |  |  |  |  |  |
| 5 |  | F |  |  | [feature] Add MC12-CE0-00 device map/ |  |  |  |  |  |
| 6 |  | B |  |  | [defect] Modify fan sensor for R162/ [defect] Add NVMe sensor and remove HDD temp for R262/ |  |  |  |  |  |
| 7 |  | F |  |  | [Feature]/1. Add devmap of R282-Z93-SW-OB-010.// |  |  |  |  |  |
| 8 |  | B |  |  | [defect] Change GPU voltage to use INA219 API for GS-MH11-OC3-Y9/ |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Switch GPU1 and GPU2 TEMP sensor for R282-G30-00/ |  |  |  |  |  |
| 10 |  | B |  |  | [defect] Change riser temp sensor name for GS-MH11-OC3-Y9/ |  |  |  |  |  |
| 11 |  | B |  |  | [defect] Fix not return correct value in FAN sensor when error count is max/ |  |  |  |  |  |
| 12 |  | F |  |  | implement H231 GPU_PROC Sensor |  |  |  |  |  |
| 13 |  | F |  |  | implement cmc node gpu proc sensor |  |  |  |  |  |
| 14 |  | F |  |  | implement CNBH0G GPU PROC sensor |  |  |  |  |  |
| 15 |  | B |  |  | [defect] Fix OCP sensor for R182-N20, R182-NA0, R282-G30/ |  |  |  |  |  |
| 16 |  | F |  |  | [feature] Add UI to control chassis identify LED. |  |  |  |  |  |
| 17 |  | B |  |  | [defect] Mapping OCP solution into all MR92-FS0 platform/ |  |  |  |  |  |
| 18 |  | B |  |  | [defect] Change GPU TEMP and OCP TEMP's sensor number in all MR92-FS0 platform/ - follow MR91-FS0/ |  |  |  |  |  |
| 19 |  | B |  |  | [defect] Fix double sensor name in R282-NO0-00/ |  |  |  |  |  |
| 20 |  | B |  |  | [defect] Change M2_Gx_AMB_TEMP's sensor number for R282-NO0-00 / |  |  |  |  |  |
| 21 |  | B |  |  | Help to fix label error problem mantis 42516,switch temp sensor 1, 0, reverse order of current sensor to same as Label order |  |  |  |  |  |
| 22 |  | F |  |  | [Feature] Create default fan profile for MR92-FS0 platform/ |  |  |  |  |  |
| 23 |  | F |  |  | [Feature]/1. Add the mechanism of reading GPU MI100 temperature./ |  |  |  |  |  |
| 24 |  | F |  |  | [feature] Add MZ71-HB0 device map/ |  |  |  |  |  |
| 25 |  | B |  |  | [defect] Modify R162-ZA0 fan sensor/ |  |  |  |  |  |
| 26 |  | B |  |  | [defect] Modify CPLD version and EC FW version display on webUI and IPMI OEM command. / |  |  |  |  |  |
| 27 |  | B |  |  | [defect] Modify G242 fan profile/[defect] Modify pci device/ |  |  |  |  |  |
| 28 |  | F |  |  | [feature] Add R162_ZA0 fan profile/ |  |  |  |  |  |
| 29 |  | F |  |  | implment hwsku should save in eeprom |  |  |  |  |  |
| 30 |  | B |  |  | [defect] Sync the identify LED status to IPMI BMCInfo structure. |  |  |  |  |  |
| 31 |  | F |  |  | [Feature]/1. Add devmap of MZC2-CE0-00/ |  |  |  |  |  |
| 12.43.01 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] fix GPU sensor error for G152 |  |  |  |  |  |
| 2 |  | B |  |  | [defect]MN51new fan policy removed SYS_FAN2B Add CPU_FAN0B and power consumption |  |  |  |  |  |
| 3 |  | F |  |  | [feature] MP32-AR0 Add ipmi command to select target SCP for upgrade |  |  |  |  |  |
| 4 |  | F |  |  | sync with git commit 47c2c9bab516e15c31b7a7a64c9352b216343af3/ - Modified the fan policy for H262 that add the OCP3.0 card. |  |  |  |  |  |
| 5 |  | B |  |  | [defect] add can read CX6 lan card and m.2 temperature |  |  |  |  |  |
| 6 |  | F |  |  | Add a new pre-gsi model G242-Z10-ES-JSTech-004. |  |  |  |  |  |
| 7 |  | F |  |  | [defect] Update devmap for GS-MH11-OC3-Y9 |  |  |  |  |  |
| 8 |  | B |  |  | This is belong to Redfish library so move it to CommonRTP1.7. |  |  |  |  |  |
| 9 |  | F |  |  | add sensor M2_G1_AMB_TEMP and PCIE_TEMP back, H231 and H261 not exist M2_G0_AMB_TEMP sensor |  |  |  |  |  |
| 10 |  | B |  |  | H261-3C0 not support NVME sensor |  |  |  |  |  |
| 11 |  | B |  |  | [defect] Fix issue that AC back system and find system need to wait about 20 seconds to power on |  |  |  |  |  |
| 12 |  | F |  |  | add PSU2 info for MP32-AR0-00 & R272-P30-00 devmaps |  |  |  |  |  |
| 13 |  | B |  |  | [defect] delete fan sensor for R162-ZA0 |  |  |  |  |  |
| 14 |  | B |  |  | [defect] Set BIOS select to FLH2 for Mantis 4682 |  |  |  |  |  |
| 15 |  | B |  |  | [defect] Change GPU1 TEMP to riser card solt 1 for R282-G30-00 |  |  |  |  |  |
| 16 |  | B |  |  | [defect] temporarily remove for fix fan or other sensors abnormal |  |  |  |  |  |
| 17 |  | B |  |  | Let oem sel type 0xC1 don't bother status led |  |  |  |  |  |
| 18 |  | F |  |  | Add lost files of commit r1858 |  |  |  |  |  |
| 19 |  | B |  |  | [CEC][defect]Fix the EC_STS to 2Hz if conf table,public key and flash empty. |  |  |  |  |  |
| 12.42.06 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  | [defect] Add error count when PSU AC lost deassert. |  |  |  |  |  |
| 2 |  | F |  |  | [defect] Add error count when PSU AC lost deassert/ |  |  |  |  |  |
| 3 |  | F |  |  | [feature] MP32-AR0 Set VGA1-COM1 as CPU(OS) output, SOL also is CPU output |  |  |  |  |  |
| 4 |  | F |  |  | E251-U70 thermal fan policy R01 |  |  |  |  |  |
| 5 |  | B |  |  | removed SYS_FAN2B |  |  |  |  |  |
| 6 |  | F |  |  | [defect] disable failed setting to avoid waste of resource |  |  |  |  |  |
| 7 |  | B |  |  | [defect] 1. Change voltage error count to 6 sec./ 2. Double check data length in CPU PECI command./ |  |  |  |  |  |
| 8 |  | F |  |  | sync some properties for 0x38 0x30 from vertiv/ |  |  |  |  |  |
| 9 |  | B |  |  | [Defect] Fix MP32-AR0 COM1_VGA1 no output problem |  |  |  |  |  |
| 10 |  | B |  |  | [defect] Fix CPU Tjmax set to zero issue when DC cycle/ |  |  |  |  |  |
| 11 |  | B |  |  | [defect] Do not execute gen_openssl_trigger to replace CA. |  |  |  |  |  |
| 12 |  | B |  |  | [defect] Fix sel log only detected 16 HDD when hot plug 36+6 HDD./ |  |  |  |  |  |
| 13 |  | B |  |  | [defect] fix OCPCARD_TEMP for R162-ZA0/ |  |  |  |  |  |
| 14 |  | F |  |  | [defect] Change the uptime count, start from every time BMC startup. |  |  |  |  |  |
| 12.42.05 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  | [defect] Fix i2c bus sometimes may be busy when get infomation frwqom CEC1702/ |  |  |  |  |  |
| 2 |  | F |  |  | Modify G291-280-00 FSC./ |  |  |  |  |  |
| 3 |  | F |  |  | [defect] notify CPLD for NVDIMM trigger |  |  |  |  |  |
| 4 |  | B |  |  | Fix QKSL_CPU_VOLTAGE PWR to VOL/ |  |  |  |  |  |
| 5 |  | F |  |  | 1.Support ipmi command to upgrade scp image. 2.Change BIOS primary to GPIO227 high(default). |  |  |  |  |  |
| 6 |  | B |  |  | [defect] not to check configure item |  |  |  |  |  |
| 7 |  | B |  |  | [defect] Fix CPU STATUS sensor's error count is incorrect/1. Check reading with pre status/2. Must clear count when it is max count /3. CPU status count must 1 x 9 = 9 sec/ |  |  |  |  |  |
| 8 |  | F |  |  | [defect] Add GPU sensor for R282-G30-00/ |  |  |  |  |  |
| 9 |  | B |  |  | [defect] Clear thermal trip when BMC initial / |  |  |  |  |  |
| 10 |  | F |  |  | [defect] Shows CPU capability information in AMD platform. |  |  |  |  |  |
| 11 |  | F |  |  | [feature] Remove DC cycle verify by bmc. (verify by cpld now)/ |  |  |  |  |  |
| 12 |  | B |  |  | Fixed ipmi command force verify BIOS and notice cpld bmc update bios./ |  |  |  |  |  |
| 13 |  | B |  |  | Fixed message incorrect in power control page/ |  |  |  |  |  |
| 14 |  | B |  |  | because of one code's BPVERCBP1043 BPB ID is duplicated with our code BPVERCFP1012 BPB ID,after discussion, we we decided to add BPVERCBP1043 BPB ID with 0x0113 |  |  |  |  |  |
| 15 |  | F |  |  | [defect] remove p1 sensor for R162-ZA0/ |  |  |  |  |  |
| 16 |  | F |  |  | [defect] remove cpu sensor for MZA project/ |  |  |  |  |  |
| 17 |  | F |  |  | [defect] merge ec sensor for MZA/ |  |  |  |  |  |
| 18 |  | B |  |  | 1. Fix panic and ID button problem for mini-DP product./ |  |  |  |  |  |
| 19 |  | F |  |  | [redfish] Allow user modify min password length. |  |  |  |  |  |
| 20 |  | B |  |  | [redfish] Fix to after host reboot,in some case parsing smbios will make bmc crash. |  |  |  |  |  |
| 21 |  | F |  |  | [CEC] Add GPIO to determine BIOS flash to be set 3 or 4 byte mode after authentication.(MB should be rework) |  |  |  |  |  |
| 22 |  | B |  |  | [CEC]Fix LED showing error when re-auth after clear recovery flag. |  |  |  |  |  |
| 12.42.04 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | [feature] Add devmap for H231-G20-W9 |  |  |  |  |
| 2 |  | F |  |  |  | add PSU info PMBUS can read system power consumption under WEBUI |  |  |  |  |
| 3 |  | B |  |  |  | [defect]/1. Fix thermal trip issue for MRQ2-4S0-00, R292-4S0-00 and R292-4S1-00/2. Update VR sensor and SDR table for MRR2-4S0-00, R292-4S0-00 and R292-4S1-00/ |  |  |  |  |
| 4 |  | F |  |  |  | [feature] Add devmap for R272-P30-JG, MP32-AR0-JG |  |  |  |  |
| 5 |  | F |  |  |  | 1. Make BMC enable BMC firmware update with IPMI HPM./ |  |  |  |  |
| 6 |  | B |  |  |  | [defect] Change R272-P30-JG to R272-P32-JG |  |  |  |  |
| 7 |  | F |  |  |  | [feature] Add sensor FCH_TEMP for MX570MM/ |  |  |  |  |
| 8 |  | F |  |  |  | [defect] Fix snmpbulkwalk fail, return empty string or 0 if get data fail |  |  |  |  |
| 9 |  | F |  |  |  | [feature] Don't reboot host after hpm upgrade BIOS/SCP successful. |  |  |  |  |
| 10 |  | B |  |  |  | [defect] update SKU, but didn't change serial number error./ |  |  |  |  |
| 11 |  | B |  |  |  | [defect] Update sensor and SDR table for MG62-G40, MR92-FS0, MH62-HD0/ |  |  |  |  |
| 12 |  | F |  |  |  | [feature] Modify GPIO S3_MASK initial output to low/ |  |  |  |  |
| 13 |  | B |  |  |  | Update device map MN51-KL0 for Fan control./ |  |  |  |  |
| 14 |  | B |  |  |  | Update Fan policy for MN51_KL0/ |  |  |  |  |
| 15 |  | F |  |  |  | [feature] Add oem command for update checksum (dump image & calculate checksum)./ |  |  |  |  |
| 16 |  | F |  |  |  | [redfish][feature] Support hpm update BMC, BIOS, SCP/[redfish] Remove unused code./// |  |  |  |  |
| 17 |  | F |  |  |  | 1. Add devmap of G482-Z53-YF./2. The sensors in GPU_TEMP slot 3 and 4 are interchanged./// |  |  |  |  |
| 12.42.03 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | [feature] Add H231-G20-W9 support |  |  |  |  |
| 2 |  | B |  |  |  | add lost code of commit r1648 |  |  |  |  |
| 3 |  | B |  |  |  | [defect] Fix CPU throttle deassert not work for MG62-G40-00, MH62-HD0-00 and MR92-FS0-00 |  |  |  |  |
| 4 |  | B |  |  |  | [defect] MP32-AR0 set SCP console connect to SOC_UART2, set IO4 as UART mode |  |  |  |  |
| 5 |  | B |  |  |  | [defect] Modify CPU ierr and throttle follow INTEL PECI command for MG62-G40-00, MH62-HD0-00 and MR92-FS0-00 |  |  |  |  |
| 6 |  | B |  |  |  | [defect] Fix memory temp is incorrect for MRQ2-4S0-00 |  |  |  |  |
| 7 |  | F |  |  |  | modifity GPU0_PROC to GPU1_PROC,GPU1_PROC to GPU2_PROC,GPU2_PROC to GPU3_PROC |  |  |  |  |
| 8 |  | F |  |  |  | Add pure code to support AMI email format. |  |  |  |  |
| 9 |  | B |  |  |  | [defect] Update MN32_8L0 and MN51_KL0 fan profiles |  |  |  |  |
| 10 |  | B |  |  |  | [defect][dp501] fix CMC IP cannot display on WebUI [feature] sync newest PRJ to dp501 |  |  |  |  |
| 11 |  | B |  |  |  | [defect] Fix duplicate RISER1_TEMP issue for R282-NO0 |  |  |  |  |
| 12 |  | B |  |  |  | [defect] Fix SOL for MP32-AR0 |  |  |  |  |
| 12.42.02 |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  |  | [defect] Modify M2 sensor for H242-Z10-00, H242-Z11-00, H252-Z10-00/ |  |  |  |  |
| 2 |  | F |  |  |  | Increase CPU information and remove DIMMG temp from R272-P30-00/ |  |  |  |  |
| 3 |  | F |  |  |  | Add the second CPLD version in R182-M80-00/ |  |  |  |  |
| 4 |  | F |  |  |  | Add Ampere pure code to support SCP hpm upgrade |  |  |  |  |
| 5 |  | F |  |  |  | Add Ampere pure code to support SCP hpm upgrade |  |  |  |  |
| 6 |  | F |  |  |  | add Ampere suppoty SCP hpm upgrade pure code. |  |  |  |  |
| 7 |  | F |  |  |  | porting CMC hwsku function from git server |  |  |  |  |
| 8 |  | B |  |  |  | [defect] fix cannot read OCP20_TEMP and modify OCP30_TEMP from OCP20_TEMP |  |  |  |  |
| 9 |  | B |  |  |  | [defect] Modify devmap and remove "NVMeG0_TEMP" for R282-Z95-ZY/ |  |  |  |  |
| 10 |  | B |  |  |  | [defect] Close PCA9545 in NVMExx_TENP sensor for R182-NA0-00/ |  |  |  |  |
| 11 |  | F |  |  |  | Support SCP hpm upgrade |  |  |  |  |
| 12 |  | B |  |  |  | remove unused file will add only modify next commit version |  |  |  |  |
| 13 |  | B |  |  |  | Modify for webUI upgrade SCP hpm |  |  |  |  |
| 14 |  | B |  |  |  | [defect] Modify fanprofile and pci device for G292_Z40/ |  |  |  |  |
| 15 |  | B |  |  |  | [defect] [raid] Improve RAID function:/1. Update R181-002-Y9 and R281-G30-00 devmap for RAID_INFO./2. Follow gbt sensor design, add the raid driver and move RAID_INFO node from entry to it./3. Remove the driver pca9548, the driver pca9545 can handle both pca9545 (4-channels) and pca9548 (8-channels)./4. Remove the RAID scan function when init/re-init the RAID card. /5. For now, the devmap will trigger update raid info, and record the host/riser channel when finding the RAID device, other commands will re-connect the RAID device before execute./ |  |  |  |  |
| 16 |  | F |  |  |  | [feature] [raid] Update R261-3C0-00 devmap for RAID_INFO./ |  |  |  |  |
| 17 |  | B |  |  |  | [defect] Fix sometimes stuck in 99% issue when update FW, set complete before semaphore./ |  |  |  |  |
| 12.42.01(2020/04/10) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  |  | [defect] change "NVMexx_TEMP" sensor name for R282-Z95-ZY. [defect] update fan profile - R282-Z95. |  |  |  |  |
| 2 |  | B |  |  |  | fix Bios load default problem for UefiTargetBootSourceOverride |  |  |  |  |
| 3 |  | B |  |  |  | delete SecureBoot.ResetKeys right after bios get it |  |  |  |  |
| 4 |  | B |  |  |  | [defect]Get Backup Gateway IPAddr from bmc share memory. |  |  |  |  |
| 5 |  | B |  |  |  | [defect]When flash type is BMC,create keep alive thread. |  |  |  |  |
| 6 |  | B |  |  |  | [defect] Modify CPU1_STATUS and fan sensor for MZ72-HB0 |  |  |  |  |
| 7 |  | B |  |  |  | [defect] Modify G292_Z40 fan profile [defect] Modify GPU sensor for G292-Z42-ES-OIST-001 |  |  |  |  |
| 8 |  | B |  |  |  | [defect] Modify M2 sensor for H242-Z10-00, H242-Z11-00, H252-Z10-00 |  |  |  |  |
| 9 |  | B |  |  |  | [defect]Change redundant PSU1 to PSU2 and PSU2 to PSU1 for R162-Z10 |  |  |  |  |
| 10 |  | B |  |  |  | [defect] 1. Change "OCPxx_TEMP" and "NVMexx_TEMP" sensor name for MR92-FS0 platform/[defect] 2. Fix "PSUx_HOTSPOT" can't detect for MR92-FS0 platform |  |  |  |  |
| 11 |  | B |  |  |  | [defect] Support purley reflash CPU in get platform oem command |  |  |  |  |
| 12 |  | B |  |  |  | [defect] default disable cold redundant in R282-G30-00 |  |  |  |  |
| 13 |  | F |  |  |  | Add nvparm for AMP project debug, will remove after project finish |  |  |  |  |
| 14 |  | B |  |  |  | 1. [defect] When updating BIOS, set the end of flash progress to 99% to avoid not waiting flash complete. 2. [defect] When calculating BIOS backup checksum, dump the image with the BIOS area only (skip ME area) for the Intel platform, and dump the whole image for other platforms. |  |  |  |  |
| 15 |  | B |  |  |  | [redfish] Fixed ipmi user cover problem |  |  |  |  |
| 16 |  | B |  |  |  | [redfish] After disable/enable user account, check privileges. |  |  |  |  |
| 12.41.13(2020/04/01) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | Add M2,U56 sensor and modify fan sensor |  |  |  |  |
| 2 |  | B |  |  |  | [defect] revert "Workaround to prevent setting SEL time during repeated Host reboot test" to fix BIOS cannot sync time to the BMC issue. |  |  |  |  |
| 3 |  | F |  |  |  | add RISER4_TEMP |  |  |  |  |
| 4 |  | F |  |  |  | Support patching devmap and fan profile from external storage. Select the latest devmap dynamically. Display SKU and SDR version on website. |  |  |  |  |
| 5 |  | F |  |  |  | Add Device map G292-Z22-WS-LL-001 |  |  |  |  |
| 6 |  | B |  |  |  | Hide SKU and SDR version. |  |  |  |  |
| 7 |  | F |  |  |  | [feature]Update ErP lot 9 fan profile - G492-H80 |  |  |  |  |
| 8 |  | B |  |  |  | Fixed IPMI force authentication not verify BIOS. (When verify BMC + BIOS) |  |  |  |  |
| 9 |  | F |  |  |  | [feature] Add NVMe_Gx sensor to R282-Z95-ZY [feature] Add Fan profile for Sambanova. |  |  |  |  |
| 10 |  | B |  |  |  | Avoid wild pointer causing segement fault when BMC processes model patch. |  |  |  |  |
| 11 |  | F |  |  |  | [feature] Add devmap for MX570MM |  |  |  |  |
| 12 |  | F |  |  |  | 1. let oem sel type 0xC2 don't bother status led 2. add cec recovery status clear function |  |  |  |  |
| 13 |  | B |  |  |  | Fix wrong path for selecting external fan profile. |  |  |  |  |
| 14 |  | B |  |  |  | Remove sensor P_1V2 for MZ01-CE1 |  |  |  |  |
| 12.41.12(2020/03/27) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | Add devmap R282-Z95-ZY./[feature] Add pex88048 to read temperature sensor for HIC card of Sambanova./ |  |  |  |  |
| 2 |  | B |  |  |  | change HIC and CX-5 card setup location for Sambanova./ |  |  |  |  |
| 3 |  | F |  |  |  | enable BIOS PATCH AliasBootOrder with sharememory |  |  |  |  |
| 4 |  | F |  |  |  | get SecureBoot ResetKeys from originally existed redis key |  |  |  |  |
| 5 |  | B |  |  |  | Revert the disable user function of AMI V12.2. |  |  |  |  |
| 6 |  | B |  |  |  | Fix LUCKY13 security vulnerability |  |  |  |  |
| 7 |  | B |  |  |  | Fix G591-HS0's fan profile is incorrect |  |  |  |  |
| 8 |  | F |  |  |  | Modify RISER sensor and on board system FAN in GS-MH11-OC3-Y9 |  |  |  |  |
| 9 |  | B |  |  |  | Fix GPU temp can't detect in MH11-OC0-Y9 and MH11-OC2-Y9 |  |  |  |  |
| 10 |  | F |  |  |  | Modify riser temp and nvme temp sensor in MR92-FS0 platform |  |  |  |  |
| 11 |  | F |  |  |  | Update ErP lot 9 fan profile/ - R162-Z10 |  |  |  |  |
| 12 |  | F |  |  |  | Modify OCP temp in MR92-FS0 platform |  |  |  |  |
| 13 |  | F |  |  |  | Update ErP lot 9 fan profile/ - R281-T91 |  |  |  |  |
| 14 |  | F |  |  |  | Use ipmi_raw.sh to lock socflash to avoid password mismatch. |  |  |  |  |
| 15 |  | F |  |  |  | change sensor and name of GPU1_PROC and GPU2_PROC |  |  |  |  |
| 16 |  | B |  |  |  | Fix WEBUI MB CPLD version show NA |  |  |  |  |
| 17 |  | F |  |  |  | when DIMM_Temp get 0 , change to disable |  |  |  |  |
| 18 |  | F |  |  |  | add the log where I modified the code in m3.c |  |  |  |  |
| 19 |  | B |  |  |  | Modify fw version to 6 digits.(except Major number) |  |  |  |  |
| 20 |  | F |  |  |  | During the BMC firmware update, if the EC partition version in the uploaded firmware image is newer, the BMC backup SPI will be automatically updated. |  |  |  |  |
| 21 |  | B |  |  |  | Solved the problem of BMC restart suddenly. Need to stop the timeout counter when respond "BMC backup is not supported". |  |  |  |  |
| 22 |  | F |  |  |  | Add IPMI OEM command for GET/SET BMC test mode. In the test mode, the BMC/BIOS backup SPI will be automatically updated when the BMC/BIOS update. |  |  |  |  |
| 23 |  | B |  |  |  | Fixed the progress not set to Flash ready and OK when the BIOS backup. |  |  |  |  |
| 24 |  | F |  |  |  | Modify device map about CEC1702 |  |  |  |  |
| 25 |  | F |  |  |  | Modify the BIOS backup checksum algorithm for GbtUtility. Replace the md5sum (16 bytes) with the sum of all data (32 bits). |  |  |  |  |
| 26 |  | F |  |  |  | Enable MCTP/NVMe function, move the scan function to devmap avoid sensor abnormal |  |  |  |  |
| 27 |  | B |  |  |  | Modify get CMC ip oem command |  |  |  |  |
| 28 |  | B |  |  |  | R281-T95-00 remvoe RISER1_TEMP |  |  |  |  |
| 29 |  | F |  |  |  | Use API method to set ME Recovery or Default mode. |  |  |  |  |
| 12.41.11(2020/03/20) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | [feature] Add timeout feature. if connection fail,set timeout then reboot bmc. |  |  |  |  |
| 2 |  | B |  |  |  | Change file rsyncconfd permission |  |  |  |  |
| 3 |  | B |  |  |  | For version NA problem, this command fixed all ready response to let BIOS skip waittiong. (Reference Redfish r1573) |  |  |  |  |
| 4 |  | F |  |  |  | Add new devmap R182-340-00, R182-M80-00, R182-N20-00, R182-NA0-00 |  |  |  |  |
| 5 |  | F |  |  |  | Add devmap: - R282-2O0-00, R282-3C0-00, R282-3C1-00, R282-G30-00, R282-N80-00, - R282-NO0-00, R282-UV0-00, R282-UV1-00, R282-UV2-00, R282-UV3-00, |  |  |  |  |
| 6 |  | F |  |  |  | Update MR92-FS0 system devmap |  |  |  |  |
| 7 |  | B |  |  |  | Fix CPU FAN control is incorrect in main board plotform/ - Disable CPU auto config function in AMI timer task function/ |  |  |  |  |
| 8 |  | F |  |  |  | Add default enable cold redundant in not GPGPU platform / |  |  |  |  |
| 9 |  | F |  |  |  | Add redundant control in all have PMBUS plotform/ |  |  |  |  |
| 10 |  | B |  |  |  | Fix device map. remove Fan3 and Fan6 sensor/pwm / |  |  |  |  |
| 11 |  | F |  |  |  | Add device map (soft link) G221-Z30-ES-Waseda-001/ |  |  |  |  |
| 12 |  | B |  |  |  | Fix OCP and NVMe temperature reading of R282-Z91-OB/ |  |  |  |  |
| 13 |  | B |  |  |  | Fix AMD CPU threshold is not correctly setup./ |  |  |  |  |
| 14 |  | B |  |  |  | Fixed have no verify BIOS when cold reset. Add listen GPIO_Z2 for check cold reset. / |  |  |  |  |
| 15 |  | B |  |  |  | Fixed ipmi force authentication response not correct/ |  |  |  |  |
| 16 |  | B |  |  |  | Fixed r1562 When power on by ipmi command can not boot. (EC platform)/ |  |  |  |  |
| 17 |  | F |  |  |  | [feature] Add OEM command for bios backup checksum./ |  |  |  |  |
| 18 |  | F |  |  |  | [feature] Check BMC/BIOS backup is supported or not./ |  |  |  |  |
| 19 |  | B |  |  |  | [defect] Modify ResetBios and ChangePassword |  |  |  |  |
| 20 |  | F |  |  |  | [Pre-GSI] Add G292-Z42-ES-OIST-001 |  |  |  |  |
| 21 |  | F |  |  |  | Remove the Help icon and direct display Help string. |  |  |  |  |
| 22 |  | F |  |  |  | Add sensor for getting some status about EC |  |  |  |  |
| 23 |  | F |  |  |  | Add EC status sensor in devmap/ |  |  |  |  |
| 24 |  | B |  |  |  | [redfish] Modify ResetBios and ChangePassword |  |  |  |  |
| 25 |  | B |  |  |  | Postpone redfish and sync-agent service to fix version NA problem./ |  |  |  |  |
| 12.41.10(2020/03/16) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | Add CPLD version - T181-G25-AA, T181-G30-AA |  |  |  |  |
| 2 |  | F |  |  |  | Add IPMI callback function for getting unique password. |  |  |  |  |
| 3 |  | F |  |  |  | Disable MCTP feature and related nvme package. |  |  |  |  |
| 4 |  | B |  |  |  | Fix web login issue.Operator preserved some accounts from old version 12.40.xx and updated to 12.41.xx.These user accounts were unable to login web. |  |  |  |  |
| 5 |  | F |  |  |  | Update ErP lot 9 fan profile - R181-340, G291-Z20, G481-HA0, G481-HA1, G481-H80, G481-H81 |  |  |  |  |
| 6 |  | N |  |  |  | Fix SYS_FAN can't control in GS-MH11-OC0-Y9 and GS-MH11-OC2-Y9 |  |  |  |  |
| 7 |  | F |  |  |  | Add devmap E251-U70-00, E251_U70/ |  |  |  |  |
| 8 |  | B |  |  |  | Fix string case error in check platform ID function |  |  |  |  |
| 9 |  | F |  |  |  | Add support new platform ID: E3000, Milan and Quick_Silver |  |  |  |  |
| 10 |  | F |  |  |  | Switch SYS_FAN2 and SYS_FAN4 sensor in E251-U70/ |  |  |  |  |
| 11 |  | F |  |  |  | Update sensor list for G492-H80-00 |  |  |  |  |
| 12 |  | F |  |  |  | Add monitor GPIOB7 then power off system form Ampere platform |  |  |  |  |
| 13 |  | B |  |  |  | Ampere, Fix reboot command will trigger shutdown process and let reboot fail |  |  |  |  |
| 14 |  | B |  |  |  | for Ampere platform need to switch JTAG to BMC for CPLD update |  |  |  |  |
| 15 |  | F |  |  |  | Add BPB FAN for R272-P30-00 |  |  |  |  |
| 16 |  | B |  |  |  | P_0V6 can not change scale, otherwise the read back value will not correct |  |  |  |  |
| 17 |  | F |  |  |  | ADD device maps (soft link) G292-Z20-SW-OB-001/G292-Z22-SW-OB-002/R272-Z40-SW-OB-003/G292-Z42-SW-OB-004/H252-Z10-SW-OB-005/H262-Z61-SW-OB-006/R272-Z31-SW-OB-007/R282-Z91-SW-OB-008/G242-Z10-SW-OB-009 |  |  |  |  |
| 18 |  | B |  |  |  | Fixed GbtUtility connection failed. |  |  |  |  |
| 19 |  | F |  |  |  | Add EC and PSU and CPLD devmap modification |  |  |  |  |
| 20 |  | B |  |  |  | Fix Cannot boot to os in AMD platform. |  |  |  |  |
| 21 |  | B |  |  |  | Fixed power control message incorrect. |  |  |  |  |
| 22 |  | B |  |  |  | Correct the target path when preserving the backup /conf./ |  |  |  |  |
| 23 |  | B |  |  |  | Improve the BMC/BIOS flash switch function. |  |  |  |  |
| 24 |  | F |  |  |  | Add backup SEL log after BMC/BIOS backup. |  |  |  |  |
| 25 |  | B |  |  |  | Check i2c driver when BMC backup, sometimes it will be removed. |  |  |  |  |
| 26 |  | B |  |  |  | Fix File Information context |  |  |  |  |
| 27 |  | B |  |  |  | Modify MZ72-HB0-00 devmap |  |  |  |  |
| 28 |  | F |  |  |  | Pre-GSI Application R282-Z91 for Novarion |  |  |  |  |
| 29 |  | F |  |  |  | Pre-GSI : Add G482-Z52-ES-Cray-002.xml |  |  |  |  |
| 30 |  | B |  |  |  | Fixing EC version cannot show by webUI or IPMI in these systems. |  |  |  |  |
| 31 |  | B |  |  |  | Fixing MB_CPLD_VERSION cannot show on webUI in this system. |  |  |  |  |
| 32 |  | F |  |  |  | Modify VirtualMedia Server timeout |  |  |  |  |
| 33 |  | B |  |  |  | fix LogService Entries related "description is empty value" error from AutoTest report |  |  |  |  |
| 34 |  | B |  |  |  | Fix TSL1/1.1 security vulnerability |  |  |  |  |
| 35 |  | F |  |  |  | disable cache of redfish/v1/Registries |  |  |  |  |
| 12.41.09(2020/03/05) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  |  | Remove "Diags" from BootSourveOverrideTarget for share memory protocol |  |  |  |  |
| 2 |  | F |  |  |  | MR91-FS0-SW-AC-001 power on system while AC on |  |  |  |  |
| 3 |  | F |  |  |  | Add three device maps(soft-link) H252-Z10-ES-CECport-003 H261-Z60-ES-Ciara-023 R272-Z30-ES-SouthPole-001 |  |  |  |  |
| 4 |  | B |  |  |  | Fix PSU FRU data fail in MH11-OCx-Y9 |  |  |  |  |
| 5 |  | B |  |  |  | [defect] Fix bug: if user enter twice immediately, session will be close by bmc. |  |  |  |  |
| 6 |  | B |  |  |  | [defect] Force recovery /conf when checking /conf abnormal. |  |  |  |  |
| 7 |  | F |  |  |  | [WebUI & Redfish] Modify fw version to 6 digits. |  |  |  |  |
| 8 |  | B |  |  |  | Remove "Diags" from BootSourceOverrideTarget@Redfish.AllowableValues |  |  |  |  |
| 12.41.08(2020/03/03) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  |  |  |  |  | 1.Force kill all process related with rsync when update fw for avoid redfish update fail. |  |  |  |  |
| 2 |  |  |  |  |  | 1. Only return processor event when first time event value is same with second time event value. |  |  |  |  |
| 3 |  |  |  |  |  | Update ErP lot 9 fanprofile/ - R281-3C2/ |  |  |  |  |
| 4 |  |  |  |  |  | Update ErP lot 9 fan profile/ - G242-Z10, G242-Z11/ |  |  |  |  |
| 5 |  |  |  |  |  | Fix BMC reporting wrong HDD present logs. / |  |  |  |  |
| 6 |  |  |  |  |  | 1. Add CPLD version/2. Add PSU information/3. Add EC FW sensor/4. Remove CPU1 PROC HOT/- MZ0~MZ7/- MZ9/- MZA/- MJ11/- MJ31 / |  |  |  |  |
| 7 |  |  |  |  |  | Update comment of commit r1410/ |  |  |  |  |
| 8 |  |  |  |  |  | Fix R281_Z91_AMD Fanprofile/ |  |  |  |  |
| 9 |  |  |  |  |  | add devmap : R292-4S0 and R292-4S1 |  |  |  |  |
| 10 |  |  |  |  |  | Add ADC SDR 0.6V 1.5V for MP32-AR0, add 1.8V 3.3V for temporary, sync Fan number |  |  |  |  |
| 11 |  |  |  |  |  | 1. Add H262-PC0-00 devmap/2. Update MH62-HD0-00 devmap/ - Remove PSU sensor/ |  |  |  |  |
| 12 |  |  |  |  |  | 1. Rename sys_failsafeconf-6.2.0.0.0-src to sys_failsafeconf-src |  |  |  |  |
| 13 |  |  |  |  |  | Add devmap H262-NO0-00/ |  |  |  |  |
| 14 |  |  |  |  |  | Fix some fan profile issues:/1. Some fan profile does not update when the default fan profile change has been fixed./2. Set "SPECpower" to read-only, not allow the user to ADD/MODIFY/DELETE it./3. The factory reset not work on the fan profile has been fixed, it will contain by IPMI now./ |  |  |  |  |
| 15 |  |  |  |  |  | Update ErP lot 9 fan profile/ - G291-2G0/ - G291-Z20/ - G482-Z51, G482-Z52/ - G492-H80/ |  |  |  |  |
| 16 |  |  |  |  |  | Add support psu redundant / - G242-Z11-00 / |  |  |  |  |
| 17 |  |  |  |  |  | Change Device maps G292-Z22-00 temp sensor and current sensor/GPU3 to GPU2/GPU2 to GPU3/GPU4 to GPU5/GPU5 to GPU4/ |  |  |  |  |
| 18 |  |  |  |  |  | Recover to Revision 1435 / |  |  |  |  |
| 19 |  |  |  |  |  | Set R271_Z00 Fanprofile/ |  |  |  |  |
| 20 |  |  |  |  |  | 1. Update ErP lot 9 fan profile/ - G481-HA0, G481-HA1, G481-H80, G481-H81/2. Change EXT_FAN's threshold/ - G481-HA0, G481-HA1/ |  |  |  |  |
| 21 |  |  |  |  |  | Update ErP lot 9 fan profile/ - G241-G40/ - R281-G30/ - R281-NO0, R281-N40, R281-2O0/ |  |  |  |  |
| 22 |  |  |  |  |  | add pure code/ |  |  |  |  |
| 23 |  |  |  |  |  | add log to confirm that SEL-Entry related data will written to /var/pipe/rf_sel/ |  |  |  |  |
| 24 |  |  |  |  |  | Default enable PSU cold redundant in all R282 AMD project/ |  |  |  |  |
| 25 |  |  |  |  |  | Upload libncml-src pure code. |  |  |  |  |
| 26 |  |  |  |  |  | Add unlimited timeout option for kvm service. |  |  |  |  |
| 27 |  |  |  |  |  | Default enable PSU cold redundant in all R281 AMD project/ |  |  |  |  |
| 28 |  |  |  |  |  | Restore OEM devmap in R281/R282/ |  |  |  |  |
| 29 |  |  |  |  |  | EC and psu and cpld devmap modification/ |  |  |  |  |
| 30 |  |  |  |  |  | Lock socflash function after IPMI stack ready to make it unlockable./ |  |  |  |  |
| 31 |  |  |  |  |  | 1. Modify ECFW of devamps /2. Restore OEM devmaps/-MZ0~MZ7, MZ9, MZA, MJ11, MJ31/ |  |  |  |  |
| 32 |  |  |  |  |  | Add three device maps(soft-link)/H252-Z10-ES-CECport-003/H261-Z60-ES-Ciara-023/R272-Z30-ES-SouthPole-001/ |  |  |  |  |
| 33 |  |  |  |  |  | Update OEM command for All CPLD User Code / |  |  |  |  |
| 34 |  |  |  |  |  | Add monitor GPIOAB0 to reboot system for Ampere defect |  |  |  |  |
| 35 |  |  |  |  |  | 1. Fix LED dimming problem on R282-Z90 of rear side./ |  |  |  |  |
| 36 |  |  |  |  |  | recovery and add EC,psu,cpld devmap modification MR/ |  |  |  |  |
| 37 |  |  |  |  |  | Add i2c_reset I2C14 when power on for Ampere system |  |  |  |  |
| 38 |  |  |  |  |  | fix I2C14 to /dev/i2c13 |  |  |  |  |
| 39 |  |  |  |  |  | 1.Add verify BIOS when dc cycle or dc on./ |  |  |  |  |
| 40 |  |  |  |  |  | Remove license support |  |  |  |  |
| 41 |  |  |  |  |  | MR91FS0SWAC power on system while AC on/ |  |  |  |  |
| 42 |  |  |  |  |  | let more platform support cec recovery log/ |  |  |  |  |
| 43 |  |  |  |  |  | fix S10gbt-init.sh/ |  |  |  |  |
| 44 |  |  |  |  |  | [cec1702]Fix AP0/1 sometimes re-auth could not finish |  |  |  |  |
| 45 |  |  |  |  |  | Update EC version to 01.06 |  |  |  |  |
| 46 |  |  |  |  |  | Recovery flag is clear when AC cycle. |  |  |  |  |
| 47 |  |  |  |  |  | add pure code |  |  |  |  |
| 48 |  |  |  |  |  | 1.If BMC/BIOS's backup flash authentication is fail, stop the EC and showing LED pattern (2Hz,ON OFF ON OFF)/2.If BMC/BIOS's authentication is fail after recovery sequence, stop the EC and showing LED pattern (2Hz,ON OFF OFF)/3.Fix LED showing error |  |  |  |  |
| 49 |  |  |  |  |  | Update EC version to 01.07 |  |  |  |  |
| 50 |  |  |  |  |  | Modify old CPLD keys names |  |  |  |  |
| 51 |  |  |  |  |  | fix syntax error of redis-related lua code/ |  |  |  |  |
| 52 |  |  |  |  |  | 1. Add pcie serial number/2. Fix: get wrong pcie type. |  |  |  |  |
| 53 |  |  |  |  |  | 1. commit r1409 miss file |  |  |  |  |
| 54 |  |  |  |  |  | fix validator error about Chassis/LogServices/Entries/ |  |  |  |  |
| 55 |  |  |  |  |  | Add pure code |  |  |  |  |
| 56 |  |  |  |  |  | fix validator error about added AuditLog/Entries property "Id" |  |  |  |  |
| 57 |  |  |  |  |  | add pure code/ |  |  |  |  |
| 58 |  |  |  |  |  | let redfish do not get BootSourceOverride value from ipmi/ |  |  |  |  |
| 59 |  |  |  |  |  | add pure code/ |  |  |  |  |
| 60 |  |  |  |  |  | add log to confirm that SEL-Entry related data has been read from pipe and pushed to redis/ |  |  |  |  |
| 12.41.07(2020/02/24) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  |  | Force kill all process related with rsync when update fw for avoid redfish update fail. |  |  |  |  |
| 2 |  | F |  |  |  | 1. Add OEM command for EC FW Version/ 2. Add sensor to MZ32-AR0-00 for EC FW version/ 3. Display EC version on WebUI when EC exists./ |  |  |  |  |
| 3 |  | B |  |  |  | Fix some password cannot login issue./ |  |  |  |  |
| 4 |  | F |  |  |  | Update fan profile for R281-T95 and R281-3C2:/1. R281-T95 0217 change to default./2. R281-3C2 0218 change to default./ |  |  |  |  |
| 5 |  | F |  |  |  | Change R162-Z10-00 Device maps PSU1 to PSU2 and PSU2 to PSU1/ |  |  |  |  |
| 6 |  | B |  |  |  | Fix activate sol failed after interrupt the connection while running sol |  |  |  |  |
| 7 |  | F |  |  |  | Add devmap MH61-HD5-NJ2/ |  |  |  |  |
| 8 |  | F |  |  |  | Upload pure libipmisol-src code |  |  |  |  |
| 9 |  | B |  |  |  | Fix ipmi force authentication feature command not match ipmi oem spec. |  |  |  |  |
| 10 |  | F |  |  |  | Update ErP lot 9 fan profile - R181-Z90, R181-Z91-R181-Z92, R261-3C0, R271-Z31, R281-Z94 |  |  |  |  |
| 11 |  | F |  |  |  | Update ErP lot 9 fanprofile - G191-H44, G292-Z40, G292-Z42 |  |  |  |  |
| 12 |  | F |  |  |  | MiniDP: change detect SSName to MBName |  |  |  |  |
| 13 |  | F |  |  |  | Merge G492-H80 SDR table follow "ONE code RR12.1" |  |  |  |  |
| 14 |  | F |  |  |  | Update MH62-HD0, MR92-FS0 SDR table |  |  |  |  |
| 15 |  | B |  |  |  | move processor serial number from Oem location to SerialNumber location |  |  |  |  |
| 16 |  | F |  |  |  | include new schema Processor.v1_7_0 |  |  |  |  |
| 17 |  | F |  |  |  | merge AMI patch for Chassis/Self/LogServices |  |  |  |  |
| 18 |  | F |  |  |  | Modify old CPLD keys names |  |  |  |  |
| 19 |  | B |  |  |  | Fix AP0/1 sometimes re-auth could not finish |  |  |  |  |
| 20 |  | B |  |  |  | fix syntax error of redis-related lua code/ |  |  |  |  |
| 12.41.06(2020/02/21) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | Generate default FRU for FRU ID 4 |  |  |  |  |
| 2 |  | B |  |  |  | Fix MB CPLD version of S452-Z30/ |  |  |  |  |
| 3 |  | F |  |  |  | Add new fan profile for R281-T95, MJ11 |  |  |  |  |
| 4 |  | F |  |  |  | Update fan profile for R281-3C2, T181_G25, T181_G30 |  |  |  |  |
| 5 |  | F |  |  |  | update oem sensor number |  |  |  |  |
| 6 |  | F |  |  |  | Modify devicemap : increased PSU to R281-G30-00 |  |  |  |  |
| 7 |  | F |  |  |  | Add backup BMC from flash 1 to flash 0 support (need EC FW support)./BMC flash 1 is the main flash in the future. |  |  |  |  |
| 8 |  | F |  |  |  | Change EXT_FAN1 ~ EXT_FAN4 threshold in G482-Z50-00 |  |  |  |  |
| 9 |  | B |  |  |  | Fix wrong sensor name of hdd virtual event |  |  |  |  |
| 10 |  | F |  |  |  | Update ErP lot 9 fan profile/- R151-Z30/- G481-HA0, G481-HA1/- G221-Z30/ |  |  |  |  |
| 11 |  | F |  |  |  | Add MP32-AR0-00, R272-P30-00 support, add amp_hostfw_update for BIOS, SCP update |  |  |  |  |
| 12 |  | F |  |  |  | For unifying sensor scan use devmap call RAIDWorkerThread |  |  |  |  |
| 13 |  | B |  |  |  | Fix MP32-AR0-00, R272-P30-00 device address |  |  |  |  |
| 14 |  | F |  |  |  | Modify i2c command to switch each flash isolation pins. |  |  |  |  |
| 15 |  | F |  |  |  | [cec1702]Change BMC recovery source and destination/(copy from flash0 to flash1) |  |  |  |  |
| 16 |  | F |  |  |  | Update EC version to 01.05 |  |  |  |  |
| 17 |  | B |  |  |  | Remove bios image after update bios success for avoid update bmc fail. |  |  |  |  |
| 18 |  | B |  |  |  | Modify storage id for pass validator test. |  |  |  |  |
| 12.41.05 (2020/02/18) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  |  | Update MH62-HD0 sensor and devmap - Fix VR sensor not display - Fix MB TEMP not display |  |  |  |  |
| 2 |  | B |  |  |  | Fix dcmi power reading function of TO22-Z62 |  |  |  |  |
| 3 |  | F |  |  |  | Support ErP lot 9 - G482-Z50 - R152-Z30, R152-Z31, R152-Z32 - R272-Z30, R272-Z31, R272-Z32 - R281-Z91, R281-Z92 - R282-Z90, R282-Z91, R282-Z92 - R282-Z93 |  |  |  |  |
| 4 |  | B |  |  |  | Removed unused sensor P_0V83 |  |  |  |  |
| 5 |  | F |  |  |  | Support cec sensor and sel |  |  |  |  |
| 6 |  | B |  |  |  | Don't show GPU temp that if VGA card is Nvidia RTX5000 |  |  |  |  |
| 7 |  | B |  |  |  | Add return -1 when IC f75308 can not be scaned. |  |  |  |  |
| 8 |  | B |  |  |  | Correct the names of oem schemas from GbtMemoryOemProperty.xml to GbtMemoryOemProperty.v1_0_0.xml |  |  |  |  |
| 12.41.04 (2020/02/13) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | B |  |  |  | cancel the change of system.lua r981~r982/ |  |  |  |  |
| 2 |  | F |  |  |  | add user account status(Enabled) synchronize |  |  |  |  |
| 3 |  | F |  |  |  | for share memory feature, manually merge from branch: for_remote_bios/CommonRTP1.7_new/ |  |  |  |  |
| 4 |  | B |  |  |  | delete secureboot.lua/ |  |  |  |  |
| 5 |  | B |  |  |  | remove cache of SecureBoot/ |  |  |  |  |
| 6 |  | B |  |  |  | adjust the indents/ |  |  |  |  |
| 7 |  | B |  |  |  | 1. Fix redfish can't get fru information issue. 2. Add id to log service for validator test. |  |  |  |  |
| 8 |  | F |  |  |  | 1. support memory min/max/configured voltages 2. add oem schema for memory voltages/ |  |  |  |  |
| 9 |  | B |  |  |  | 1. Update power information when user refresh page. 2. Remove unused code. |  |  |  |  |
| 10 |  | F |  |  |  | When flash0 auth fail, copy data from flash1 to flash0. Then reload config table to do authentication. */ |  |  |  |  |
| 11 |  | F |  |  |  | Parsing config table to do authentication in each flash |  |  |  |  |
| 12 |  | F |  |  |  | Update EC version to 01.04 |  |  |  |  |
| 13 |  | B |  |  |  | Modify i2c command to switch each flash isolation pins. |  |  |  |  |
| 14 |  | F |  |  |  | Save recovery flag of AP0/AP1 when do rcovery sequence. |  |  |  |  |
| 15 |  | B |  |  |  | Fix some problems in the build process:/1. Cannot sign image when rebuild image with the new version of the Image Signing tool./2. Skip unpack the gbt_*.spx packages which are GBT packages./ |  |  |  |  |
| 16 |  | B |  |  |  | Fix CPU_DTS no reading./ |  |  |  |  |
| 17 |  | B |  |  |  | Modify G291-280-00, G291-Z20-00 and G291-Z22-00 open cold redundant config, but default is disable/ |  |  |  |  |
| 18 |  | F |  |  |  | Automatically log out the web ui when session timeout. |  |  |  |  |
| 19 |  | B |  |  |  | Fix GPU Temp sensor is unstable/ - Remove cmt2014 driver and M.2 PCI-E card, OCP card integration/ |  |  |  |  |
| 20 |  | F |  |  |  | G481 : thermal modify fan policy |  |  |  |  |
| 21 |  | F |  |  |  | support mini display port config |  |  |  |  |
| 22 |  | F |  |  |  | add H262-Z6A and H262-Z6B devmap |  |  |  |  |
| 23 |  | B |  |  |  | modify GPIO pin for dp501 |  |  |  |  |
| 24 |  | B |  |  |  | for share memory feature, manually merge from branch: for_remote_bios/V12.2_20191206/ |  |  |  |  |
| 25 |  | B |  |  |  | correct Device maps sensor |  |  |  |  |
| 26 |  | B |  |  |  | Fix MAX equation returns minux value./ |  |  |  |  |
| 27 |  | F |  |  |  | for support mini DP, move the pin of BF_ID_BTN_N to A2 from Q6 |  |  |  |  |
| 28 |  | F |  |  |  | 1. Add Firmware Image Operate OEM command. 2. Add backup BIOS from flash 0 to flash 1 support./ |  |  |  |  |
| 29 |  | B |  |  |  | Fix FRU 1 missing issue./ |  |  |  |  |
| 30 |  | F |  |  |  | Update G291 ErP lot 9 fan profile./ |  |  |  |  |
| 31 |  | B |  |  |  | S452-Z30-00 : fix MB CPLD version NA. |  |  |  |  |
| 32 |  | B |  |  |  | Fix some problems in the build process:/1. Cannot sign image when rebuild image with the new version of the Image Signing tool./2. Skip unpack the gbt_*.spx packages which are GBT packages./ |  |  |  |  |
| 12.41.03 (2020/02/07) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | Add MZ32-AR1-00.xml and R272-Z34-00.xml device map/ |  |  |  |  |
| 2 |  | F |  |  |  | Add MZ92-FS1-00.xml device map/ |  |  |  |  |
| 3 |  | F |  |  |  | Add MZ01-CE2-00.xml device map/ |  |  |  |  |
| 4 |  | F |  |  |  | Add ErP lot 9 support to SPEC Power mode./ |  |  |  |  |
| 5 |  | B |  |  |  | Modify G292-Z20-00 and G292-Z22-00 to support ErP lot 9/ |  |  |  |  |
| 6 |  | F |  |  |  | Add MZ12-HD3-00.xml device map/ |  |  |  |  |
| 7 |  | F |  |  |  | Add MZ62-HD4-00.xml device map/ |  |  |  |  |
| 8 |  | F |  |  |  | Add R282_Z91.json fanprofile/ |  |  |  |  |
| 9 |  | B |  |  |  | Modify R282-Z91-OB.xml to R282-Z91-0B.xml/ |  |  |  |  |
| 10 |  | B |  |  |  | Modify MZ9/R282-Z91-0B.xml to MZ9/R282-Z91-OB.xml/ |  |  |  |  |
| 11 |  | F |  |  |  | Add unique password feature:/1. skurw support read/write unique password section (last 32 byte)./2. Add OEM command for unique password./3. Remove user 3 ADMIN/ADMIN./ |  |  |  |  |
| 12 |  | B |  |  |  | Fix PECI platform doesn't adjust CPU_TEMP threshold dynamically and get TDP issue./ |  |  |  |  |
| 13 |  | B |  |  |  | G291-Z20-00 and G291-Z22 default disable psu redundant/ |  |  |  |  |
| 14 |  | F |  |  |  | Adding Sync unique password feature./ |  |  |  |  |
| 15 |  | F |  |  |  | Sync unique password to redfish default account./ |  |  |  |  |
| 12.41.02 (2020/02/03) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | Add device support GS-MH11-OC3-Y9 |  |  |  |  |
| 2 |  | B |  |  |  | Remove P_0V83 for W291-Z00-00. |  |  |  |  |
| 3 |  | B |  |  |  | Fix R161-R12-00 fan can’t be controlled. |  |  |  |  |
| 4 |  | B |  |  |  | Remove cold redundant control from SKU |  |  |  |  |
| 5 |  | F |  |  |  | Add new document for vertiv update to AMI |  |  |  |  |
| 6 |  | B |  |  |  | Fix CPU_INFO for G292-Z21-NJ, G292-Z22-00… |  |  |  |  |
| 12.41.97 (2020/01/21) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | Add device support R181-NA0-ES-AlliedControl-001, MR91-FS0-SW-AC-001. |  |  |  |  |
| 12.41.1 (2020/01/16) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | Update codebase to V12.2.03. |  |  |  |  |
| 2 |  | F |  |  |  | Add device support MH91-2S0-00, R181-003-AU, R281-002-NJ2, R282-Z91-OB, MR91-FS0-K2, R182-Z93-00.xml, and R282-Z94-00.xml. |  |  |  |  |
| 3 |  | F |  |  |  | Add unified user account support |  |  |  |  |
| 4 |  | B |  |  |  | FRU 1 should have the same serial number with FRU 0 |  |  |  |  |
| 5 |  | B |  |  |  | Fix sol and auto video function cannot record file when time offset not equal 0.(Use Date and Time Event) |  |  |  |  |
| 6 |  | F |  |  |  | Add EC support with v01.04 |  |  |  |  |
| 7 |  | B |  |  |  | Support power redundant enable for R162-Z10-00. |  |  |  |  |
| 8 |  | B |  |  |  | Modify get platform ID OEM command |  |  |  |  |
| 9 |  | F |  |  |  | Enable redfish host interface authentication function |  |  |  |  |
| 10 |  | B |  |  |  | Modify ADM1278 rval for T181-G25-AA and T181-G30-AA. |  |  |  |  |
| 11 |  | B |  |  |  | Remove P_1V0_AUX_LAN for G242-Z11-00. |  |  |  |  |
| 12 |  | B |  |  |  | Fix RAID function abnormal after update codebase. |  |  |  |  |
| 13 |  | B |  |  |  | Fixed WebUI Active Redirections page doesn't display Client IP. |  |  |  |  |
| 14 |  | F |  |  |  | Add MB CPLD version for G242-Z11. |  |  |  |  |
| 15 |  | B |  |  |  | Fix the function of stopping sensor scan. |  |  |  |  |
| 16 |  | F |  |  |  | Modify psu redundant control by SKU |  |  |  |  |
| 12.41.99 (2020/01/09) |  |  |  |  |  |  |  |  |  | P3 |
| 1 |  | F |  |  |  | First release test version for V12.2.03 codebase. |  |  |  |  |
| 2 |  | F |  |  |  | Add device support MH91-2S0-00, R181-003-AU, R281-002-NJ2, R282-Z91-OB, MR91-FS0-K2. |  |  |  |  |
| 3 |  | F |  |  |  | Add unified user account support |  |  |  |  |
| 4 |  | B |  |  |  | FRU 1 should have the same serial number with FRU 0 |  |  |  |  |
| 5 |  | B |  |  |  | Fix sol and auto video function cannot record file when time offset not equal 0.(Use Date and Time Event) |  |  |  |  |
| 6 |  | F |  |  |  | Add EC support |  |  |  |  |
| 7 |  | B |  |  |  | Fix EC don't re-authenticate when BMC reboot |  |  |  |  |
| 8 |  | F |  |  |  | Update EC to version v01.03 |  |  |  |  |

Known Issue

| No. |  | Type |  | Issue Description | Note |
| --- | --- | --- | --- | --- | --- |
| 1 | B |  | WebUI BIOS setup menu not work. Need new BIOS support. |  |  |
| 2 | B |  | Raid Management function work after bmc is ready one minute. |  |  |